## Updated
Facilities Management for 1526 Bachoura Bldgs Common Areas
# | Description | Frequency | Qty
Engineering and FM reports and services for the following:
1 | Emergency Preparedness plan development | Annually
2 | EPP evacuation Drill | Twice a year
3 | Critical Engineering Risk Management | Annually
4 | Single Point of Failure Analysis | Twice a year
5 | Witnessing Commissioning from contractor | Annually
6 | CAPEX and OPEX budgets preparation | Annually
7 | Condition survey for all premises | Twice a year
8 | Technical and Safety Risk Assessment | Twice a year
9 | Utilities Monitoring & Meter Readings (EDL, Water, Diesel) | Monthly
10 | Business continuity report | Annually
Security
11 | Main Underground Parking Entrance | 8 hours shift | 3
12 | Garden | 8 hours shift | 3
13 | Security for common areas patroling all over the project | 8 hours shift | 3
Maintenance & Cleaning
14 | BMS System | 2 PM visits / year
15 | Cleaning Supervisor | 8 hours shift | 1
16 | Cleaners in common areas of the project including the surroundings areas and parking ramps on weekly basis only (all common areas excluding entrance, lobbies, stairs, elevators' lobbies and inside offices of Blocks A & B) | 6 days / week (9 hours shift) | 2
17 | Pest Control | Quarterly in common areas
18 | Façade Cleaning | Twice per year (Blocks A & B)
19 | Generators (Fuel, Ventilation, Exhaust Pipes & Water cooling systems) | 12 PM visits / year
20 | Electrical Power (Until the SDBs that feed Blocks A & B floors) including but not limited to: all electrical panels (ATSs, MDBs, Synchro, Totalizing, etc...), cabling, etc… | 12 PM visits / year
21 | Water Treatment | 12 PM visits / year
22 | Water Treatment for Chillers System | 4 PM visits / year
23 | Fire Suppression | 2 PM visits / year
24 | Fire Extingushers | 1 PM visits / year
25 | CCTV and Fire alarm | 2 PM visits / year
26 | Barrier and Roller Shutter | 3 PM visits / year
27 | Fire pumps and Sprinklers | 4 PM visits / year
28 | Domestic pumps, tanks water filter and all parts related | 12 PM visits / year
29 | Chillers, AHUs and pumps with water filter system | 2 PM visits / year + 10 Free CM calls
30 | ERU, Exhaust fan primery and secondary at parking and shut Main domestique tanks | 4 PM visits / year
31 | General HVAC (Until the Gate Valves feeding the units of Blocks A & B) | 2 PM visits / year
32 | Main Exhaust fans & ERU for toilets (on Roof) | 4 PM visits / year
33 | General Plumbing and mechanical (Until the pipe feeding Blocks A & B) | 2 PM visits / year
34 | Metering System | 2 PM visits / year
35 | UPS | 2 PM visits / year
36 | Landscaping Services | Weekly visits
SLA Guidelines
37 | Services availability & Emergency for Chillers, Generators, Fire, Plumbing, Water Supply, Ventilation and Power System | 24/7
| Response Time | 30 minutes
| Restoration Time | 1 Hour (except Power Systems in 30 minutes)