## BOQ
Mobile Interim Company 2 S.A.L
MIC 2
Jdeideh Core site -Estimated BOQ (invoicing will be as per the final as built)
# | Description | Unit | Estimated Qty | U/Price $ | Total $ | Remarks
1 | Civil works
1 | Demolition works (aluminum walls,false ceiling,duct,..) | L.S | 1 |  |  | in case needed
2 | Hollow block wall 15cm | M2 | 10 |  |  | in case needed
3 | supply and installation of Gypsum double partition wall withh fire rated boards manufactured according to ASTM C- 36 , 12.5mm thick and rockwool filled as per RFP | M2 | 200 |  |  | in case needed
4 | Plastering as per RFP | M2 | 50 |  |  | in case needed
5 | Painting as per RFP | M2 | 50 |  |  | in case needed
6 | supply and insallation of False suspended ceiling similar to the exisiting one as per RFP | M2 | 50 |  |  | in case needed
7 | obsolete cables and DBs (ATS, MDB,…) dismantling and transportation to MIC2 warehouse | L.S | 1 |  |  | in case needed
8 | Supply and installation of fire rated door (2 hours) as per RFP | each | 1 |  |  | in case needed
9 | Supply and installation of raised floor panels (tiles 60x60 cm) as per RFP (including pedestals and stringers repairing) | each | 250 |  |  | in case needed
10 | Supply and installation of raised floor pereforated panels (tiles 60x60 cm) as per RFP | each | 30 |  |  | in case needed
11 | Supply and installation of external waterproofing | M2 | 50 |  |  | in case needed
12 | Supply and installation of fresh air damper wiith all related ducts and accessories | L.S | 2 |  |  | in case needed
2 | Mechanical works
1 | Supply and installation of generators monitoring system as per RFP | L.S. | 1
3 | Electrical Works (refer to RFP)
1 | Supply & installation of HDG cable tray 40cm as per RFP | L.m | 200 |  |  | in case needed
2 | Supply and installation of fiber runners with all related accessories | L.m | 200 |  |  | in case needed
3 | Supply & installation of HDG cable basket 30cm as per RFP | L.m | 150 |  |  | in case needed
4 | Supply & installation of outlet sockets (32A) | each | 20 |  |  | in case needed
5 | Supply and installation of new LED lighting lamps as per the RFP (Swap exisiting NEON lamp) | each | 60
6 | Supply and installation of a new emergency light similar to the exisiting | each | 5
7 | Supply & installation of grounding system (connection) | each | 1 |  |  | in case needed
8 | Supply & installation of power cable (1x35mm) cable for batteries | L.m | 500 |  |  | in case needed for rectifier's batteries
9 | Supply & installation of power cable (3x25mm+N) cable NYM as per RFP | L.m | 200 |  |  | in case needed
10 | Supply & installation of power cable (3x16mm+N) cable NYM as per RFP | L.m | 500 |  |  | in case needed
11 | Supply & installation of power cable (3x10mm+N) cable NYM as per RFP | L.m | 100 |  |  | in case needed
12 | Supply & installation of power cable (3x6mm+N) cable NYM as per RFP | L.m | 500 |  |  | in case needed
13 | Supply & installation of power cable (2x10mm) cable as per RFP | L.m | 100 |  |  | in case needed
14 | Supply & installation of power cable (2x2.5mm) cable as per RFP | L.m | 200 |  |  | in case needed
15 | Grounding cables 240mm | L.m | 100 |  |  | in case needed
16 | Grounding cables 10mm | L.m | 400 |  |  | in case needed
17 | Grounding cables 4mm |  | 100 |  |  | in case needed
18 | supply and installation of Industrial sockets (32A) as per RFP | each | 32
19 | supply and installation of Industrial sockets 16A) as per RFP | each | 32
3 | Precision A/C, comforter AC
1 | Supply & installation of Precision A/C 15 TONS with adequate connection to power source as per RFP and control connection between indoor and outdoor unit (chassis, supports, vibration pads…) | each | 10 |  |  | with 63A breaker
2 | Supply and installation of complete mechanical fittings for precision units(copper piping,control cable , insulation where needed) | L.m. | 1000 |  |  | relief valve to be covered
3 | Supply & installation of split duct type A/C unit 5T as per RFP (chassis, supports, vibration pads…) | each | 6 |  |  | deflection grill for vertical installation and insulated drainage pans
4 | Supply & installation of split duct type A/C unit 3T - ceiling type decorative (chassis, supports, vibration pads…) | each | 1
5 | Supply and installation of complete mechanical fittings for split type units(copper piping,control cable , ducts, diffusers, grills, cable trays where needed, insulation where needed) | L.m. | 950 |  |  | where needed
6 | Supply and installation on units drainage system 1" PVC (connection with the exisiting one) | Lm | 100
7 | Dismantling of 8 old precision units and 3x 5T units and transportation to MIC 2 warehouse | L.S | 1
8 | Supply of spare parts requested in Appendix 1 (cooling section) | L.S | 1
4 | Fire Protection
1 | Supply and installation of an early CO2 detection system in new power room(Vesda, design on the layout to be submitted to MIC 2 for approval) | each | 1
2 | supply & installation of FM200 fire cylinder with 414 LB of agent (mechanical fittings with manual switch, reserve) same as existing. | each | 1
3 | supply & installation of FM200 fire cylinder with 386 LB of agent (mechanical fittings with manual switch, reserve) same as existing. | each | 1
4 | supply & installation of FM200 fire cylinder with 358 LB of agent (mechanical fittings with manual switch, reserve) same as existing. | each | 1
5 | supply & installation of FM200 fire cylinder with 313 LB of agent (mechanical fittings with manual switch, reserve) same as existing. | each | 1
6 | supply & installation of FM200 fire cylinder with 142 LB of agent (mechanical fittings with manual switch, reserve) same as existing. | each | 2
7 | supply & installation of FM200 fire cylinder with 115 LB of agent (mechanical fittings with manual switch, reserve) same as existing. | each | 1
8 | supply & installation of FM200 fire cylinder with 82 LB of agent (mechanical fittings with manual switch, reserve) same as existing. | each | 1
8 | Supply and installation (extension) of a new fire fighting system completely matching the exisiting one (Kidde, FM200 certified) in the new area (30m2). System is to be connected to the exisiting panel (new cylinder, new smoke detectors similar to the exisiting(Kidde), new mechanical and electrical fittings similar to the exisiting are to be provided after the approval of MIC 2 engineer on the design prepared by the supplier prior to execution) | each | 1
9 | Integrity test execution | each | 1
6 | UPS
1 | Supply and installation of PDF panels for UPS output serving MSC 3 and MSC 2 rooms with complete adequate cabling from the UPSDB DB type 1B wall mounted panel (96 modules) Factory assembled, equipped with phase indicating lights; bottom cable entry only | each | 2 |  |  | 2 different colors (charcoal satin and blue for example)
2 | Supply & installation of high standard smart UPS 0U PDUs (with at least 20xC13, 4x C19 outlets with complete cabling from the source PDF to the last terminal (including server cables where needed) | each | 32
TOTAL
Justice core site -Estimated BOQ
# | Description | Unit | Estimated Qty | U/Price $ | Total $ | Remarks
1 | Civil works
1 | Demolition works (aluminum walls,false ceiling,duct,..) | L.S | 1 |  |  | in case needed
2 | Complete reparation and waterproofing of all windows and doors | L.S | 1 |  |  | in case needed
3 | supply and installation of Gypsum double partition wall withh fire rated boards manufactured according to ASTM C- 36 , 12.5mm thick and rockwool filled as per RFP | M2 | 100 |  |  | in case needed
4 | Plastering as per RFP | M2 | 50 |  |  | in case needed
5 | Painting as per RFP | M2 | 50 |  |  | in case needed
6 | supply and insallation of False suspended ceiling similar to the exisiting one as per RFP | M2 | 150 |  |  | in case needed
7 | obsolete cables dismantling and transportation to MIC2 warehouse | L.S | 1 |  |  | in case needed
8 | Supply and installation of fire rated door (2 hours) as per RFP | each | 1 |  |  | in case needed
9 | Supply and installation of raised floor panels (tiles 60x60 cm) as per RFP (including pedestals and stringers repairing) | each | 200 |  |  | in case needed
10 | Supply and installation of raised floor pereforated panels (tiles 60x60 cm) as per RFP | each | 30 |  |  | in case needed
11 | Supply and installation of external waterproofing | M2 | 50 |  |  | in case needed
12 | Supply and installation of fresh air damper wiith all related ducts and accessories | L.S | 2 |  |  | in case needed
2 | Mechanical Works
1 | Replacement for the Cyclone filters of the 650 KVA existing generators | L.S | 1
2 | Supply and installation of generators monitoring system as per RFP | L.S | 1
3 | Electrical Works (refer to RFP) | L.m | 150 |  |  | in case needed
1 | Supply & installation of HDG cable tray 30cm as per RFP | L.m | 150 |  |  | in case needed
2 | Supply and installation of fiber runners with all related acessories | L.m | 150 |  |  | in case needed
3 | Supply & installation of HDG cable basket 30cm as per RFP | each | 20 |  |  | in case needed
4 | Supply & installation of outlet sockets (32A) | each | 50 |  |  | in case needed
5 | Supply and installation of new LED lighting lamps as per the RFP (Swap exisiting NEON lamp) | each | 5 |  |  | in case needed
6 | Supply and installation of a new emergency light similar to the exisiting | each | 1 |  |  | in case needed
7 | Supply & installation of grounding system (connection) | L.m | 500 |  |  | in case needed for rectifier's batteries
8 | Supply & installation of power cable (1x35mm) cable for batteries | L.m | 500 |  |  | in case needed
9 | Supply & installation of power cable (3x16mm+N) cable NYM as per RFP | L.m | 100 |  |  | in case needed
10 | Supply & installation of power cable (3x10mm+N) cable NYM as per RFP | L.m | 150 |  |  | in case needed
11 | Supply & installation of power cable (3x6mm+N) cable NYM as per RFP | L.m | 100 |  |  | in case needed
12 | Supply & installation of power cable (2x10mm) cable as per RFP | L.m | 200 |  |  | in case needed
13 | Supply & installation of power cable (2x2.5mm) cable as per RFP | L.m | 100 |  |  | in case needed
14 | Grounding cables 1x240mm | L.m | 400 |  |  | in case needed
15 | Grounding cables 1x10mm | L.m | 150 |  |  | in case needed
16 | Grounding cables 1x4mm | each | 2
17 | Supply & installation of redundant Tier 3 ATS 1000 amp solution system with complete cabling as per the RFP | each | 2
18 | Supply and installation of ATS 200A as per the SLD | each | 1
19 | Supply and installation of ATS 63A as per the SLD | each | 1
20 | supply and installation of Industrial sockets (32A) as per RFP | each | 32
21 | supply and installation of Industrial sockets (16A) as per RFP | L.S | 1
22 | Supply of spare parts requested in Appendix 1 (ATS section, related to new installation only) | L.S | 1
4 | Precision A/C, comforter AC
1 | Supply & installation of Precision A/C 15 TONS with adequate connection to power source as per RFP and control connection between indoor and outdoor unit | each | 9 |  |  | With 4x50A breaker
2 | Supply and installation of complete mechanical fittings for precision units(copper piping,control cable , cable trays, insulation where needed) | L.m. | 900 |  |  | relief valve to be covered
3 | Supply & installation of split duct type A/C unit 5T as per RFP | each | 5 |  |  | with insulated drainange pans
4 | Supply and installation of complete mechanical fittings for split type units(copper piping,control cable , ducts, diffusers, grills, cable trays, insulation where needed) | L.m. | 150 |  |  | where needed
5 | Supply and installation on units drainage system 1" PVC (connection with the exisiting one) | L.m | 100
6 | Dismantling of 5 old precision units and 8x5T units and transportation to MIC 2 warehouse | L.S | 1
7 | Complete Relocation of 1x10T precision unit | L.S | 1
8 | Supply of spare parts requested in Appendix 1 (cooling section) | L.S | 1
5 | Fire Protection
1 | supply & installation of FM200 fire cylinder with 464 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
2 | supply & installation of FM200 fire cylinder with 259 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
3 | supply & installation of FM200 fire cylinder with 216 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
4 | supply & installation of FM200 fire cylinder with 176 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
5 | supply & installation of FM200 fire cylinder with 147 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
6 | supply & installation of FM200 fire cylinder with 90 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
7 | supply & installation of FM200 fire cylinder with 70 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
8 | supply & installation of FM200 fire cylinder with 68 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
9 | supply & installation of FM200 fire cylinder with 49 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
10 | Connection of all trouble alarms panels with NOC | each | 1
11 | Integrity test execution | each | 1
6 | UPS
1 | Supply & installation of modular UPS system (120 kW) with complete cabling from the source (MDB breaker) to the last terminal (PDU or UPSDB) as per the RFP | each | 2
2 | Supply & installation of UPS battery banks with adequate calculation of 15 min autonomy on 100 kW load as per the RFP | each | 2
3 | Supply and installation of batteries steel frame for 120 kW UPS | each | 2 |  |  | in case needed
4 | Supply and installation of UPSDB for 120 kW UPSwith complete adequate cabling. Input breaker size to be selected as per UPS manufacturer recommendation DB type 1B wall mounted panel (96 modules with minimum 48 breakers (1x32A,10kA) and 18 breakers (1x16A,10kA)) Factory assembled, equipped with phase indicating lights; bottom cable entry only | each | 2 |  |  | 2 different colors (charcoal satin and blue for example)
5 | Supply & installation of high standard smart UPS 0U PDUs (with at least 20xC13, 4x C19 outlets with complete cabling from the source PDF to the last terminal (including server cables where needed) | each | 24
6 | Supply & installation of UPS system (40 kW)and with complete cabling from the source (MDB breaker) to the last terminal (PDU or UPSDB) as per the RFP | each | 2
7 | Supply of spare parts as per Appendix 1 (UPS section) | L.S | 1
TOTAL
Saida RNC -Estimated BOQ (invoicing will be as per the final as built)
# | Description | Unit | Estimated Qty | U/Price $ | Total $ | Remarks
1 | Civil works
1 | Demolition works (aluminum walls,false ceiling,duct,..) | L.S | 1 |  |  | in case needed
2 | supply and installation of Gypsum double partition wall withh fire rated boards manufactured according to ASTM C- 36 , 12.5mm thick and rockwool filled as pere RFP | M2 | 25 |  |  | in case needed
3 | Plastering as per RFP | M2 | 50 |  |  | in case needed
4 | Painting as per RFP | M2 | 50 |  |  | in case needed
5 | supply and insallation of False suspended ceiling similar to the exisiting one as per RFP | M2 | 50 |  |  | in case needed
6 | obsolete cables and DBs (ATS, MDB,…) dismantling and transportation to MIC2 warehouse | L.S | 1 |  |  | in case needed
7 | Supply and installation of raised floor panels (tiles 60x60 cm) as per RFP | each | 50 |  |  | in case needed
8 | Supply and installation of raised floor pereforated panels (tiles 60x60 cm) as per RFP | each | 10 |  |  | in case needed
9 | Supply and installation of external waterproofing | M2 | 25 |  |  | in case needed
10 | Trench excavaion and backfiling (50x60)cm | L.m | 50 |  |  | in case needed
11 | Supply and installation of fresh air damper wiith all related ducts and accessories | L.S | 2 |  |  | in case needed
2 | Mechanical Works
1 | Supply and installation of a new canopy for the existing 400 KVA generator. | L.S | 1
2 | Supply and installation of generators monitoring system as per RFP | L.S | 1
3 | Electrical Works (refer to RFP)
1 | Supply & installation of HDG cable tray 30cm as per RFP | L.m | 50 |  |  | in case needed
2 | Supply & installation of HDG cover cable tray 30cm as per RFP | L.m | 50 |  |  | in case needed
3 | Supply & installation of HDG cable basket 30cm as per RFP | L.m | 50 |  |  | in case needed
4 | Supply and installation of fiber runner with all related accessories | L.m | 50 |  |  | in case needed
5 | Supply & installation of outlet sockets (16A) | each | 2 |  |  | in case needed
6 | Supply and installation of new LED lighting lamps as per the RFP (Swap exisiting NEON lamp) | each | 25 |  |  | in case needed
7 | Supply and installation of a new emergency light similar to the exisiting | each | 3 |  |  | in case needed
8 | Supply & installation of grounding system (connection) | each | 1 |  |  | in case needed
9 | Supply & installation of power cable (3x35mm+N) cable NYM as per RFP | L.m | 100
10 | Supply & installation of power cable (3x25mm+N) cable NYM as per RFP | L.m | 100
11 | Supply & installation of power cable (3x16mm+N) cable NYM as per RFP | L.m | 100
12 | Supply & installation of power cable (3x10mm+N) cable NYM as per RFP | L.m | 100
13 | Supply & installation of power cable (3x6mm+N) cable NYM as per RFP | L.m | 200
14 | Supply & installation of power cable (2x10mm) cable as per RFP | L.m | 100
15 | Supply & installation of power cable (2x2.5mm) cable as per RFP | L.m | 100
16 | Grounding cables 240mm | L.m | 100
17 | Grounding cables 10mm | L.m | 100
18 | supply and installation of Industrial sockets (32A) as per RFP | each | 32
19 | supply and installation of Industrial sockets (16A) as per RFP | each | 32
4 | Comfortable cooling
1 | Dismantling of 2 x5T units and transportation to MIC 2 warehouse | L.S | 1
2 | Supply & installation of split duct type A/C unit 5T as per RFP | each | 2 |  |  | suspended with insulated drainage pans
3 | Supply and installation of complete mechanical fittings (copper piping,control cable , insulation where needed) | L.m | 100
4 | Supply and installation on units drainage system 1" PVC (connection with the exisiting one) | L.m | 30
5 | Supply of spare parts as per Appendix 1 (cooling section, new installation only) | L.S | 1
5 | Fire Protection
1 | supply & installation of FM200 fire cylinder with 220 LB of agent (mechanical fittings with manual switch, reserve) same as existing. | each | 1
2 | supply & installation of FM200 fire cylinder with 113 LB of agent (mechanical fittings with manual switch, reserve) same as existing. | each | 1
3 | Integrity test execution | each | 1
6 | UPS
1 | Supply & installation of UPS (40 kW) with built in batteries and with complete cabling from the source (including UPS input breaker supply) to the last terminal (PDU or UPSDB in case no PDU) as per the RFP | each | 2
2 | Supply and installation of UPSDB with complete adequate cabling. Input breaker size to be selected as per UPS manufacturer recommendation DB type 1B wall mounted panel (48 modules with mimimum 24 breakers (1x32A,10kA) ) Factory assembled, equipped with phase indicating lights; bottom cable entry only | each | 2 |  |  | 2 different colors (charcoal satin and blue for example)
3 | Supply & installation of high standard smart UPS 0U PDUs (with at least 20xC13, 4x C19 outlets with complete cabling from the source PDF to the last terminal (including server cables where needed) | each | 10
4 | Supply of spare parts as per Appendix 1 (UPS section) | L.S | 1
TOTAL
Tripoli RNC -Estimated BOQ (invoicing will be as per the final as built)
# | Description | Unit | Estimated Qty | U/Price $ | Total $ | Remarks
1 | Civil works
1 | Demolition works (aluminum walls,false ceiling,duct,..) | L.S | 1 |  |  | in case needed
2 | Hollow block wall 15cm | M2 | 10 |  |  | in case needed
3 | supply and installation of Gypsum double partition wall withh fire rated boards manufactured according to ASTM C- 36 , 12.5mm thick and rockwool filled as pere RFP | M2 | 25 |  |  | in case needed
4 | Plastering as per RFP | M2 | 50 |  |  | in case needed
5 | Painting as per RFP | M2 | 50 |  |  | in case needed
6 | supply and insallation of False suspended ceiling similar to the exisiting one as per RFP | M2 | 25 |  |  | in case needed
7 | obsolete cables and DBs (ATS, MDB,…) dismantling and transportation to MIC2 warehouse | L.S | 1 |  |  | in case needed
8 | Supply and installation of fire rated door (2 hours) as per RFP | each | 1 |  |  | in case needed
9 | Supply and installation of external waterproofing | M2 | 75 |  |  | in case needed
10 | Supply and installation of fresh air damper wiith all related ducts and accessories | L.S | 2 |  |  | in case needed
2 | Electrical Works (refer to RFP)
1 | Supply & installation of HDG cable tray 30cm as per RFP | L.m | 100 |  |  | in case needed
2 | Supply & installation of HDG cover cable tray 30cm as per RFP | L.m | 100 |  |  | in case needed
3 | Supply & installation of HDG cable basket 30cm as per RFP | L.m | 50 |  |  | in case needed
4 | Supply & installation of outlet sockets (16A) | each | 2 |  |  | in case needed
5 | Supply and installation of fiber runner with all related accessories | L.m | 50 |  |  | in case needed
6 | Supply and installation of new LED lighting lamps as per the RFP (Swap exisiting NEON lamp) | each | 25 |  |  | in case needed
7 | Supply and installation of a new emergency light similar to the exisiting | each | 3 |  |  | in case needed
8 | Supply & installation of grounding system (connection) | each | 1 |  |  | in case needed
9 | Supply & installation of power cable (3x240mm+N) cable NYM as per RFP | L.m | 300
10 | Supply & installation of power cable (3x95mm+N) cable NYM as per RFP | L.m | 100
11 | Supply & installation of power cable (3x50mm+N) cable NYM as per RFP | L.m | 100
12 | Supply & installation of power cable (3x35mm+N) cable NYM as per RFP | L.m | 150
13 | Supply & installation of power cable (3x25mm+N) cable NYM as per RFP | L.m | 100
14 | Supply & installation of power cable (3x16mm+N) cable NYM as per RFP | L.m | 100
15 | Supply & installation of power cable (3x10mm+N) cable NYM as per RFP | L.m | 100
16 | Supply & installation of power cable (3x6mm+N) cable NYM as per RFP | L.m | 200
17 | Supply & installation of power cable (2x10mm) cable as per RFP | L.m | 100
18 | Supply & installation of power cable (2x2.5mm) cable as per RFP | L.m | 100
19 | Grounding cables 240mm | L.m | 100
19 | Supply & installation of redundant Tier 3 ATS 800 amp solution system with complete cabling as per the RFP | each | 2
20 | Supply & installation of MDB 800 amp with complete cabling as per SLD | each | 2
21 | Supply and installation of PDB with complete cabling as per SLD | each | 1
22 | Supply and installation of ATS 250A with complete cabling as per SLD | each | 1
23 | supply and installation of Industrial sockets (32A) as per RFP | each | 32
24 | supply and installation of Industrial sockets (16A) as per RFP | each | 32
25 | Supply of spare parts requested in Appendix 1 (ATS section) | L.S | 1
26 | Supply and installation of generators monitoring system as per RFP | L.S | 1
3 | Fire Protection
1 | supply & installation of FM200 fire cylinder with 398 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
2 | supply & installation of FM200 fire cylinder with 280 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
3 | supply & installation of FM200 fire cylinder with 145 LB of agent (mechanical fittings with manual switch, reserve) same as existing brand. | each | 1
4 | Integrity test execution | each | 1
4 | UPS
1 | Supply & installation of UPS system (40 kW) with buiilt in batteries and with complete cabling from the source (including UPS input breaker supply) to the last terminal (PDU or UPSDB in case no PDU) as per the RFP | each | 2
2 | Supply and installation of UPSDB with complete adequate cabling. Input breaker size to be selected as per UPS manufacturer recommendation DB type 1B wall mounted panel (48 modules with mimimum 24 breakers (1x32A,10kA) ) Factory assembled, equipped with phase indicating lights; bottom cable entry only | each | 2 |  |  | 2 different colors (charcoal satin and blue for example)
3 | Supply & installation of high standard smart UPS 0U PDUs (with at least 20xC13, 4x C19 outlets with complete cabling from the source PDF to the last terminal (including server cables where needed) | each | 10
4 | Supply of spare parts as per Appendix 1 (UPS section) | L.S | 1
TOTAL