## BOQ
Mobile Interim Company 2 S.A.L
MIC 2
Maintenanace Works/Repairs on Existing sites (Estimated BOQ)
# | Description | Unit | Estimated Qty | U/Price $ | Total
1 | Maintenance CW
1 | Repair for the damaged steel fence (all types) (Mesh-type;bars type;Louvre type;…) by replacing damaged part by installing new made up of same matching material. | M2 | 100
2 | Reinforcement of the existing steel fence by installing additional bars with 10cm spacing. | M2 | 60
3 | Repair for the damaged prefabricated shelter panel by removing the damaged part & install new with matching specs. | M2 | 3
4 | Reinforcement of the existing prefabricated shelter panels to protect the shelter by installing HDG sheets 3mm thick,1m wide | M2 | 6
5 | Repair for the damaged shelter door by replacing with new one including all accessories (lock,handle,intrusion alarm,..) & delivering the damaged one to MIC2 warehouse. | each | 5
6 | Repair for the damaged generators area door by replacing with new one including all accessories (lock,handle,..) & delivering the damaged one to MIC2 warehouse. | each | 5
7 | Reinforcement the shelter door by adding steel sheets & frames including lock. | each | 3
8 | Repair for the damaged block wall by properly removing all debris from site.Construction of the wall including plaster & paint. | M2 | 30
9 | Replacement of damaged cable tray 20cm by new one including cover & all accessories | L.m | 150
10 | Replacement of damaged cable tray 10cm by new one including cover & all accessories | L.m | 150
11 | Repair for the damaged FT delivery pipes by replacement old pipes including all accessories & connections.(GF/RT site) | each | 5
12 | Repair for the damaged refueling pipe.Works include replacement of damaged pipe & re install with all accessories needed. | L.m | 70
13 | Repair for the damaged muffler including removing of damaged part & install new with matching specs & dimensions including flanges,connections,.. | L.m | 100
14 | Replacement of the damaged CO2 filter including connections to main exhaust,removing the damaged one to warehouse. | each | 5
15 | Replacement of the damaged fuel tank by new one,including connections to generator,grounding,..and removing the old FT to warehouse. | each | 5
16 | S&I of down conductor 70mm2 to replace the stolen one (estimated per each GF site 100m),including clamps & connection to main bar. | each | 50
17 | S&I of down conductor 70mm2 to replace the stolen one (estimated per each RT site 70m),including clamps & connection to main bar. | each | 50
18 | S&I of ground cables to replace the stolen/damaged ones, including termination to panels & connection to ground bars. | L.m | 1500
19 | Repair for the damaged tent by replacing damaged sheets and steel bars | M2 | 350
20 | Repair for waterproofing membrane by removing the old one and apply new layer of granule 4mm SBS; including all preparation works (cleaning,concrete screeding where necessary,removing debris,cutting 20cm slabs 3M2,painting repair 20M2...) All complete with testing & guarantee. | M2 | 1500
21 | Repair for waterproofing membrane by removing the old one and apply 3 coats of PU liquid membrane (roof & parapet); including all preparation works (cleaning,removing debris,drains repair,cracks treatment,....).All complete with testing & guarantee. | M2 | 1500
TOTAL
1 | Supply & installation of antistatic carpet | M2 | 150
2 | Repair for shelter door by replacement of damaged lock,hinges,handle,door stop,shed,.. | each | 10
3 | Repair for shelter damaged floor (estimated 2M2).Works include replacement of damaged floor material (beams-steel sheets,wood,carpet) | each | 10
4 | Supply & installation of ceramic tiles (30x30)cm | M2 | 50
5 | Supply & installation of steel gate (2x2)m for site, made up of bars 80x40 & 40x40,including paint | each | 10
6 | Supply & installation of (100x220)cm fire rated door (2hr) (smoke seal/dust proof) with related accessories.(certified supplier) | each | 5
7 | Repair for the damaged obstruction light system of the tower,including cables,lamp,support. | each | 25
8 | Renovation for tower painting (Tower 35m) | each | 20