## Sheet1
|  |  |  | C1 | Comply | Yes | C1
| Killing Factors to be Answered as Yes or No | Compliance |  | C2 | Partially Comply (Explain the Gap) | No | C2
| If Bidder is non compliant with any killing factor, then the proposal will be full disgarded | Bidder 1 |  | C3 | Do not Comply (State Reason) |  | C3
| Requirements |  | Notes
| Killing Factors | Yes /No
Bidder should be licensed to conduct works of similar nature (Registration License to be provided).
Bidder has experience in conducting Telecom/DAS/IBS projects or projects with similar nature, since at least 3 years in Lebanon or abroad implementing at least 50 sites over the past 5 years (list of sites and projects to be provided)
Bidder has expereince in Rooftop and Greenfield Civil works Implementationssince at least 3 years in Lebanon or abroad implementating at least 20 sites over the past 5 years (list of sites and projects to be provided)
Any fake document or information provided as part of the response to the RFP should lead to the immediate disqualification of the Bidder.
A | General Requirements
Contractor should be licensed to conduct civil works (Registration License to be provided)
Contractor licensed to conduct electrical works (Registration License to be provided)
Contractor should have insurance policy covering all risks during sites constructions Sample of the insurance policy to be submitted
B | Material Specifications
Contractor needs to provide evidence (name of their suppliers) that they can provide all the needed materials for the telecom site constructions (for example: steel structures, electrical cables and panels, ready mix concreate, reinforcement steel, poles, etc.…
Reinforced concrete materials to be as per the technical specifications mentioned in Appendix 1
Plain concrete materials to be as per the technical specifications mentioned in Appendix 1
Concrete slab on grade materials to be as per the technical specifications mentioned in Appendix 1
Block Work materials to be as per the technical specifications mentioned in Appendix 1
All plastering works materials to be as per the technical specifications mentioned in Appendix 1
Paint materials to be as per the technical specifications mentioned in Appendix 1
Concrete slab on roof For Generators materials to be as per the technical specifications mentioned in Appendix 1
Concrete slab on roof For Poles/antenna masts materials to be as per the technical specifications mentioned in Appendix 1
Supply of all materials needed for the construction of Concrete equipment room to be as per the technical specifications mentioned in Appendix 1
Stairs and Climbing Ladders to be as per the technical specifications mentioned in Appendix 1
Fence & Gate needs to be as per the technical specifications mentioned in Appendix 1
Steel Tent needs to be as per the technical specifications mentioned in Appendix 1
Steel Doors & Steel Hand Rails to be as per the technical specifications mentioned in Appendix 1
Backfilling material shall be imported to site where necessary
Elevated Chassis for outdoor equipment to be as per the technical specifications mentioned in Appendix 1
Waterproofing materials to be as per the technical specifications mentioned in Appendix 1
The black cork insulating boards shall be used for acoustic and insulation purposes as well as an anti vibration media for the concrete slabs shall be as per the technical specifications mentioned in Appendix 1
equipment shelter Width = 2.75m, Length = 3.75m, Height = 2.85m to be as per the technical specifications mentioned in Appendix 1
Prefabricated shelter for the microcells (LxWxH) (2.0x2.0x2.0)m to be as per the technical specifications mentioned in Appendix 1
35m Tower Foundations (GF) materials to be as per the technical specifications mentioned in Appendix 1
18m Tower Foundations (GF) materials to be as per the technical specifications mentioned in Appendix 1
25m Tower Foundations (GF) materials to be as per the technical specifications mentioned in Appendix 1
18m Tower Foundations (RT) materials to be as per the technical specifications mentioned in Appendix 1
Mast/ pole for antennas (3" diameter, L=3m…4m) needs to be as per the technical specifications mentioned in Appendix 1
Mast/ pole for antennas(3" diameter, L=6m) needs to be as per the technical specifications mentioned in Appendix 1
Mast/ pole for antennas (4" diameter, L=9m) needs to be as per the technical specifications mentioned in Appendix 1
SDH frames needs to be as per the technical specifications mentioned in Appendix 1
Antenna mounts (for PDH antenna) needs to be as per the technical specifications mentioned in Appendix 1
Concrete Slab for poles needs to be as per the technical specifications mentioned in Appendix 1
CABLE LADDERS to be as per the technical specifications mentioned in Appendix 1
Air Conditioning Units to be as per the technical specifications mentioned in Appendix 1
Air conditioning Controller to be as per the technical specifications mentioned in Appendix 1
ATS to be as per the technical specifications mentioned in Appendix 1
Main Distribution Board (MDB) - Option A to be as per the technical specifications mentioned in Appendix 1
Main Distribution Board (MDB) - Option B to be as per the technical specifications mentioned in Appendix 1
Lighting & Sockets to be as per the technical specifications mentioned in Appendix 1
Automatic Voltage Stabilizer to be as per the technical specifications mentioned in Appendix 1
Stabilizer Aluminum Cover (Enclosure) to be as per the technical specifications mentioned in Appendix 1
RRU mounts/racks needs to be as per the technical specifications mentioned in Appendix 1
Supplied Cables need to be as per the technical specifications mentioned in Appendix 1
Cable Trays need to be as per the technical specifications mentioned in Appendix 1
A DC/AC inverter power system of 1000 watts capacity to be as per the technical specifications mentioned in Appendix 1
Indoor accessories for shelters to be as per the technical specifications mentioned in Appendix 1
Access control system (Intrusion alarm) to be as per the technical specifications mentioned in Appendix 1
LIGHTNING & GROUNDING to be as per the technical specifications mentioned in Appendix 1
OUTDOOR PANEL & ELECTRICAL ACCESSORIES to be as per the technical specifications mentioned in Appendix 1
Portable CO2 extinguisher to be as per the technical specifications mentioned in Appendix 1
FIRE PROTECTION SYSTEM to be as per the technical specifications mentioned in Appendix 1
Fuel Tank to be as per the technical specifications mentioned in Appendix 1
OUTDOOR INSTALLATIONS materials (Cold Shrink Tubing, Cable Ties Specification) to be as per the technical specifications mentioned in Appendix 1
Contractor needs to provide evidence (name of their suppliers) that they can supply all the needed materials for the telecom site constructions and as per the technical specifications mentioned in the RFP
Labeling materials to be in line with the technical specifications document as per the technical specifications mentioned in the RFP
Cable Trays to be in line as per the technical specifications mentioned in the RFP
Supply ancilliaries (Metal Pins, paint, renovation materials, fishers, clamps, cable ties, etc…) as per the technical specifications mentioned in the RFP
PVC conduits to be as per the technical specifications mentioned in the RFP
Metallic cable housing to be as per the technical specifications mentioned in the RFP
C | Warehousing
Supplier shall be responsible for warehousing all the materials to be supplied by them through out the project execution duration.
Where the materials are to be supplied by MIC2, Contractor shall be responsible for delivering all the materials from and to MIC2 warehouse(s).
D | Civil Works AND Electrical Services
Contractor should provide an evidence (document) showing their awareness of the best practices in relation to project quality standards, acceptance criteria, process quality inspection checklist, technical specifications and other related requirements.
Reinforced concrete to be as per the technical specifications mentioned in Appendix 1 (including transportation)
Plain concrete to be as per the technical specifications mentioned in Appendix 1 (including transportation)
Concrete slab on grade to be as per the technical specifications mentioned in Appendix 1 (including transportation)
Block Work to be as per the technical specifications mentioned in Appendix 1 (including transportation)
All plastering works to be as per the technical specifications mentioned in Appendix 1
Painting works to be as per the technical specifications mentioned in Appendix 1
Concrete slab on roof For Generators to be as per the technical specifications mentioned in Appendix 1 (including transportation)
Concrete slab on roof For Poles/antenna masts to be as per the technical specifications mentioned in Appendix 1 (including transportation)
Shelter installation on steel chassis to be as per the technical specifications mentioned in Appendix 1
Methods of steel chassis installation to be as per the technical specifications mentioned in Appendix 1
Shelter installation on concrete slab to be as per the technical specifications mentioned in Appendix 1
Construction of Concrete equipment room to be as per the technical specifications mentioned in Appendix 1 (including Transportation)
Transportation and Installation of Stairs and Climbing Ladders to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Fence & Gate needs to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Steel Tent needs to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Steel Doors & Steel Hand Rails to be as per the technical specifications mentioned in Appendix 1
Excavation, backfilling & compaction to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Elevated Chassis for outdoor equipment to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Waterproofing materials to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of The black cork insulating boards as per the technical specifications mentioned in Appendix 1
Transportation and Installation of equipment shelter Width = 2.75m, Length = 3.75m, Height = 2.85m to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Prefabricated shelter for the microcells (LxWxH) (2.0x2.0x2.0)m to be as per the technical specifications mentioned in Appendix 1
Site Topographic Survey
All needed tests to be conducted as advised by MIC2 (soil compactions test, Compressive strength of concrete tests, etc...).
35 meters Tower Foundations to be as per the technical specifications mentioned in Appendix 1 (Including transportation of materials)
35m Tower Painting as per the technical specifications mentioned in Appendix 1 (Including transportation of materials)
Transportation and installation of the 35m tower to be in line with the technical specifications mentioned in Appendix 1
18 meters Tower (GF) Foundations to be as per the technical specifications mentioned in Appendix 1 (Including transportation of materials)
18 meters Tower (RT) Foundations to be as per the technical specifications mentioned in Appendix 1 (Including transportation of materials)
18m Tower (GF) Painting as per the technical specifications mentioned in Appendix 1 (Including transportation of materials)
18m Tower (RT) Painting as per the technical specifications mentioned in Appendix 1 (Including transportation of materials)
Transportation and installation of the 18m tower (GF) to be in line with the technical specifications mentioned in Appendix 1
Transportation and installation of the 18m tower (RT) to be in line with the technical specifications mentioned in Appendix 1
25 meters Tower Foundations to be as per the technical specifications mentioned in Appendix 1 (Including transportation of materials)
25m Tower Painting as per the technical specifications mentioned in Appendix 1 (Including transportation of materials)
Transportation and installation of the 25m tower to be in line with the technical specifications mentioned in Appendix 1
Testing and Commissioning by Contractor / Supplier on site (including towers)
Transportation and Installation of Mast/ pole for antennas (3" diameter, L=3m…4m) needs to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Mast/ pole for antennas(3" diameter, L=6m) needs to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Mast/ pole for antennas (4" diameter, L=9m) needs to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of SDH frames needs to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Antenna mounts (for PDH antenna) needs to be as per the technical specifications mentioned in Appendix 1
Concrete Slab for poles needs to be as per the technical specifications mentioned in Appendix 1 (including transportation)
Transportation and Installation of CABLE LADDERS to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Air Conditioning Units to be as per the technical specifications mentioned in Appendix 1
Installation of Air Conditioning Units as per the technical specification mentioned in Appendix 1
Transportation and Installation of Air conditioning Controller to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of ATS to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Main Distribution Board (MDB) - Option A to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Main Distribution Board (MDB) - Option B to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Lighting & Sockets to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Automatic Voltage Stabilizer to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Stabilizer Aluminum Cover (Enclosure) to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of RRU mounts/racks needs to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Cables need to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Cable Trays need to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of DC/AC inverter power system of 1000 watts capacity to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Indoor accessories for shelters to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Access control system (Intrusion alarm) to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of LIGHTNING & GROUNDING materials to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of OUTDOOR PANEL & ELECTRICAL ACCESSORIES to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of FIRE PROTECTION SYSTEM to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of portable CO2 extinguisher to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of Fuel Tank to be as per the technical specifications mentioned in Appendix 1
OUTDOOR INSTALLATIONS (Cable Ladders, MW Cables, GSM and MW Antennas, Surge Arrestors and Grounding, Cold Shrink Tubing, Cable Ties Specification, Power Requirements) to be as per the technical specifications mentioned in Appendix 1
Transportation and Installation of antenna window
Dismantling of the existing poles, shelters, ladders, feeders, generators, cablings, electrical, mechanical, and steel installations, and ensure to restore the location as per the previous condition
Transportation of the dismantled materials back to MIC2 warehouse or any other location advised by MIC2
E | Telecom and DAS Services
Contractor to be responsible for Project Implementation Management & site coordination with Operator, Building Owner and assigned Designers
Review schematics, wiring & diagrams and On-ground Interpretation of the design/drawings
Contractor shall be responsible for the Electro-mechanical & Civil surveys related to DAS installations
Arranging for all permits needed for the implementation of the scope, and arrange for equipment storage area inside the building.
Installation of DAS as per the the design/drawings to be provided by MIC2 to the contractor
Installation of Fiber Optics cables (whenever needed) as per the design/drawings to be provided by MIC2 to the contractor
Installation of power cables (whenever needed) as per the design/drawings to be provided by MIC2 to the contractor
All civil needed works that is required to complete the DAS installation, including yet not limit to providing openings/coring in the wall and slab for antenna followed by restoration of the affected area.
The Contractor should be responsible for all the installation of the supplied civil works materials related to DAS scope as per the techncial specifications (for example installation of Metal Pins, Openings/coring in the ceiling/wall, Indoor Cable Trays, Painting of the ceiling/cables/antennas, PVC or metallic cable housing, fishers and clamps, antenna camouflage when needed etc..)
Indoor Antenna installation needs to be as per the technical specifications document provided by MIC2
Splitter/Coupler installation needs to be as per the technical specifications document provided by MIC2
Feeder cable installation needs to be as per the technical specifications document provided by MIC2
Contractor to fix any damages resulting from the work conducted on the site.
Testing of each feeder segment for VSWR and RSL result. The tests should be reviewed and approved by MIC2 Engineers
The Contractor should provide and install the label as per the agreed format with MIC2
The Contractor should provide an acceptance document sample template
The Contractor should conduct On-Site Acceptance in coordination and presence of MIC2 Field Engineers
The Contractor should generate As built drawings and photos for all the installation (FO and Power cable routes, indoor cable tray, Splitter exact location, Remote Units Location, Fiber Connection Boxes, etc...)
The Contractor should provide complete documentation within ONE weeks from putting the site on air
The Contractor should Implement any modification on the design during the optimization phase limited to 5% of the total works done on the said site
Replace any faulty passive component spotted during RF drive test or optimization phase
Transportation and Installation of Radio and MW antennas as well as RRU's, coaxial, fiber, and RG cables.
Where required, dismantling of the Radio & MW antennas, , feeders, generators, cablings, installations;
Transportation of the dismantled materials back to MIC2 warehouse or any other location advised by MIC2
F | Warranty
The bidder should provide warranty on the material and services provided starting from the PAC issuance date as per the technical specifications (Appendix 1); in case the warranty duration is not mentioned on certain item, it shall be considered as 5 years warranty.
The Contractor shall be accountable for any damages happening during installation in sites - Any cost implication to be covered
The Contractor to privde (5) years Warranty on all the installations executed by the Bidder
G | Implementation Timelines
The PIP time line is completed with the minimum amount of time taking into consideration the latest possible start and finish times for project activities, the uncertainties, the risks and assumptions; Detailed PIP to be provided for: - Telecom Implementation in O/D site - DAS deployement for medium sized building (~100 antennas) - Add Sector
The offer should include a responsibility matrix clearly splitting the role of the supplier and the operator
Upon PO issuance, Contractor shall immediately start the site execution process
Materials needs to be delivered within 3 days for the materials that can be purchased locally, while within 30 days for the materials that needs to be purchased abroad or to be manufactured based on MIC2 specs (for example HDG poles, shelters, etc…)
Proposal takes into consideration coordination between civil and telecom implementation.
H | Contractor Resources
Contractor should provide a detailed organization structure along with a definition of the critical roles and their responsibility, authorization, such as project manager, QA/QC manager, team leader, engineer. The organization chart should be relevent to projects of similar nature.
Contractor shall have enough qualified teams available to implement multiple sites simultaneously by providing different teams. The teams needs to have adquate expereince in Civil Works, Electrical, IBS and Telecom installations. Contractor shall present the maximum number of teams that can be arranged based on the workload assigned to them
Contractor has a qualified project manager with experience in Telecom Sites Constructions (CV needs to be sent)
Control needs to have a qualified resident supervisor through out the complete duration of the site construction to control all scope related tasks as well as team behavior on site (CV needs to be sent)
Contractor has at least sufficient of Civil Engineers/technicians with telecom sites constructions (CV's needs to be sent)
Contractor has at least sufficient of Electrical Engineers/Technicians with telecom sites constructions (CV's needs to be sent)
Contractor has to provide the max count of teams with experience in tower/pole erection that they can arrange based on the workload
Contractor has to provide the max count of teams with experience in concrete/foundation works that they can arrange based on the workload
Contractor has to provide the max count of teams with experience in electrical/electromechanic works that they can arrange based on the workload
I | Machinery and Tools
Contractor has at pickups/SUV to be used to teams transportation List of company cars to be provided
Contractor can arrange for cranes with various loading capacities (evidence to be provided)
Contractor should provide an evidence that they can arrange for execution machinery and detecting instrument like cement mixer.
Contractor needs to provide the name of the labs they deal with for the soil compactions test and Compressive strength of concrete tests.
Contractor to provide evidence that they have all the needed tools (magnetic thickness gauge for Galvanization coating thickness, professional pulley theodolite, torque spanner, earth-resistance meter, electric welding machine, gradienter, etc... List of tools to be provided
Contractor needs to provide the required equipment for troubleshooting and VSWR testing (i.e: Site Master, OTDR, etc...) List of tools to be provided
Contractor to provide a list of the tools needed for connectors preperations List of tools to be provided
Contractor to provide labeling machine Bidder to provide the details of their labeling machine.
J | Health and Safety
Contractor to provide evidence that all their teams are equipped with safety gears (Helmets, full body harness, safety boots, eyes protection, first aid medical kits, etc..).
Contractor to provide evidence that their rigging teams are properly trained and have official climbing certificates.
The supplier shall have a documented procedure working with electricity
Contractor needs to ensure that the site shall be clean and neat at any given time.
K | Expertise and References
Company portfolio to be submitted showing all telecom relevant projects projects of similar nature (Low current, etc…) executed by the company.
Contractor to provide the count of ROOFTOP Sites deployed by them in the last 10 years, detailing the projects/countries those were deployed in? (Contractor to provide a list of at least 20 sites)
Contractor to provide the count of GREENFIELD Sites deployed by them in the last 10 years, detailing the projects/countries those were deployed in? (Contractor to provide a list of at least 20 sites)
Contractor to provide the count of IBS/DAS sites deployed by them in the last 10 years, detailing the projects/countries those were deployed in? (Contractor to provide a list of at least 5 Projects)
Contractor to provide the count of Telecom deployes (2G, 3G, 4G, 5G, add sector, expansions, etc...) by them in the last 10 years, detailing the projects/countries those were deployed in? (Contractor to provide a list of at least 75 sites)
Contractor to provide sample photos of IBS sites executed by them.
Contractor to provide sample photos of Outdoor Telecom sites executed by them.
Contractor to provide sample photos of Rooftop sites (Civil Works) executed by them showing all stages of the construction.
Contractor to provide sample photos of Greenfield sites (Civil Works) sites executed by them showing all stages of the construction.

## Sheet2
3 | 4 | 2 | 7
8 | 6 | 6 | 7
1 | 9 | 5 | 3
122