## Summary (Tentative Qty)
| 1 Year Tentative Quantity | 4 Years Tentative Quantities | Total Cost (1 Year Quantities) | Total Cost (4 Years Quantities)
Relocation of GF Indoor | 5 | 20 | 0 | 0
Relocation of GF Outdoor | 7 | 28 | 0 | 0
Relocation of RT Indoor | 15 | 60 | 0 | 0
Relocation of RT Outdoor | 23 | 92 | 0 | 0
New GF Indoor | 1 | 8 | 0 | 0
New GF Outdoor | 12 | 96 | 0 | 0
New RT Indoor | 1 | 8 | 0 | 0
New RT Outdoor | 36 | 288 | 0 | 0
Sites Dismantling | 50 | 200 | 0 | 0
Sites Optimizations | 75 | 300 | 0 | 0
Infra Maintenance | 100 | 400 | 0 | 0
In-Building Solutions - DAS | 10 | 50 | 0 | 0
Bidder to price only the “Unit Price”, i.e. column “E” in "UPL" worksheet, where the prices in the other sheet will be automaticallly mapped from the UPL sheet.
The Quantities of the Sites/Scope Models are tentative and they are for simulation purposes, where the scope to be assigned will be based on MIC2 needs and requirements.
The Quantities in all the BoQ's for for simulation purposes and they are tentative; accordingly the works on the Site shall be invoiced by the contractor as per "As-Built" quantities that will be confirmed by MIC2
Prices to be quoted in USD, yet will be paid at market rate at the time of payment.

## UPL
| Description | Unit | Estimated Qty | Unit Price | Remarks
Civil Works
1 | Reinforced concrete (ground beams,roof slabs,columns,walls..) | M3 | 1
2 | Concrete for generators & site slab (20cm thick). | M2 | 1
3 | Plain concrete (average thickness 10cm) | M2 | 1
4 | Concrete blocks for cable ladder | each | 1
5 | Hollow block wall 15cm thick | M2 | 1
6 | Hollow block wall 20cm thick | M2 | 1
7 | Plastering | M2 | 1
8 | Painting | M2 | 1
9 | Supply & installation of Steel fence & gate | M2 | 1 |  | in GF sites
10 | Supply & installation of steel tent | M2 | 1 |  | in GF sites
11 | Steel door (1.6x2.0)m for generators room | L.S | 1
12 | Excavation & backfilling (excavation in any kind of soil,demolishing of walls,slabs & import material for backfill & compaction) | M3 | 1
13 | Supply and Installation of Waterproofing membrane 4mm | M2 | 1 |  | in GF sites
14 | PVC pipes 4" for underground cabling (including excavation & manhole) | L.m | 1
15 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1
16 | Supply and Installation of Galvanized barbed wire (Wires or Cross type) | L.m | 1
17 | Site Topographic Survey | each | 1 |  | in GF sites
18 | Reinforced concrete (slabs,beams,columns,walls,footings..) | M3 | 1 |  | on RT sites
19 | Concrete for generators & poles (20cm thick). | M2 | 1
20 | Concrete blocks for cable ladder/tray | each | 1
21 | Cork insulation 5cm thick | M2 | 1
22 | Supply & installation of seel fence & gate (for equipment ,generator area,site) | M2 | 1 |  | in RT sites
23 | Supply & installation of steel tent (generators area,equipment,..) | M2 | 1 |  | in RT sites
24 | Steel door (1.60x2.0)m for generators room | each | 1
25 | PVC pipes 4" for underground cabling including excavation & backfilling | L.m | 1
26 | Openings in walls / roof | each | 1
27 | Relocation of equipment on roof (V Sat,A/C,solar panels,water tank) | each | 1
28 | Supply and Installatoin Waterproofing membrane 4mm granuled | M2 | 1 |  | in RT sites
29 | Supply and Installation Waterproofing liquid membrane (PU) | M2 | 1
Equipment
30 | Supply of prefabricated shelter (3.75x2.75)m | each | 1
31 | Transportation & installation of prefabricated shelter (3.75x2.75)m | each | 1
31 | Supply & installation of steel chassis for shelter | kg | 1
32 | Supply & installation of steel ladder for shelter | each | 1
32 | Supply of HDG elevated chassis with grating on top (150x100)cm | each | 1
33 | Transportation & installation of HDG elevated chassis with grating on top (150x100)cm | each | 1
33 | Supply,Transportation & installation of HDG elevated chassis with grating on top (150x100)cm | each | 1
34 | Transportation, Rehabilitation & installation of prefabricated shelter (3.75x2.75)m | each | 1
34 | Supply of steel chassis for shelter | kg | 1
35 | Rehabilitation and Installation of steel chassis for shelter | kg | 1
35 | Supply of steel ladder for shelter | each | 1
36 | Rehabilitation and Installation of steel ladder for shelter | each | 1
Electrical Works
46 | Supply & installation of cable tray 22cm | L.m | 1
47 | Supply & installation of cover for cable tray 22cm | L.m | 1
48 | Supply & installation of cable tray 10cm | L.m | 1
49 | Supply & installation of cover for cable tray 10cm | L.m | 1
50 | Supply of power cables 3x16+N (armoured) | L.m | 1
51 | Erection & termination of power cables 3x16+N (armoured) | L.m | 1
52 | Supply of control cables (4 pairsx0.75mm) | L.m | 1
53 | Erection & termination of control cables (4 pairsx0.75mm) | L.m | 1
54 | Supply of grounding cables (1x50mm) | L.m | 1
55 | Erection & termination of grounding cables (1x50mm) | L.m | 1
56 | Supply of grounding cables (1x35mm) | L.m | 1
57 | installation of grounding cables (1x35mm) | L.m | 1
58 | Supply of power cable (2x2.5m) NYM | L.m | 1
59 | Installation of power cable (2x2.5m) NYM | L.m | 1
60 | Supply & installation of EDL voltage stabilizer | each | 1
61 | supply & installation of MDB (indoor site) | each | 1
62 | Supply & installation of indoor & outdoor lighting & electrical accessories 6x(120cm double,2x18w) LED, or equipment & generator area including (panel box 8module to contain CB,socket & switch) | each | 1
63 | Supply & installation of EDL stabilizer aluminium cover (60x60x80)cm | each | 1
64 | Supply & installation of HDG mast for EDL cable including concrete base | each | 1
65 | Supply & installation of DC/AC inverter 1000W | each | 1
66 | Supply & installation of indoor & outdoor lighting & electrical accessories 6x(120cm double,2x18w)LED,for equipment & generator area including (panel box 8module to contain CB,socket & switch) | each | 1
67 | Supply & installation of ATS panel for 2 Gensets | each | 1
68 | Transportation & Installation of ATS panel for 2 Gensets | each | 1
69 | Supply of ATS panel for 2 Gensets | each | 1
70 | Supply & installation of indoor & outdoor lighting & electrical accessories | each | 1
71 | Installation of EDL voltage stabilizer | each | 1
72 | Installation of EDL stabilizer aluminium cover (60x60x80)cm | each | 1
73 | Transportation & installation of outdoor MDB | each | 1
74 |  |  | 1
75 | Fire Fighting |  | 1
76 | Supply & installation of 6 kg portable CO2 extinguisher | each | 1
77 | Supply & installation of 12 kg dry powder automatic fire extinguisher | each | 1
78 | Supply of CO2 automatic fire suppresion system (with supply of minor items) | each | 1
79 | Transportation & installation of CO2 automatic fire suppresion system (with supply of minor items) | each | 1
Lightning & Grounding
80 | Supply & installation of GF lightning system including ESE head. | each | 1
81 | Supply & installation of GF grounding system . | each | 1
82 | Supply & installation of GF surge arrester block . | each | 1
83 | Supply & installation of RT lightning protection with SS rod | each | 1
84 | Supply & installation of RT grounding system . | each | 1
85 | Supply & installation of surge arrester block . | each | 1
Generators
86 | Supply & installation of muffler 3" diameter (wall thickness 4mm) without jacketing in GF Sites | L.m | 1
87 | Supply & installation of fuel tank & accessories. | each | 1
88 | Supply & installation of duct (cross section 60x60…100x100)cm | L.m | 1
89 | Transportation & installation of Generator with silencer (up to 40 KVA) | each | 1
90 | Supply & installation of muffler 3" diameter without jacketing in RT sites | L.m | 1
91 | Supply & installation of CO2 filter for the muffler | each | 1
92 | Supply of fuel tank & accessories. | each | 1
93 | Installation and Rehabilitation of fuel tank & accessories. | each | 1
Towers
94 | Transportation & installation of self supported tower 35m height on ground | each | 1
95 | Reinforced concrete for the tower foundation ( QTY varies according to tower design) | M3 | 1
96 | Supply & installation of tower anchor bolts including installation template | each | 1
97 | Supply & installation of tower installation set (bolts,nuts,washers,..) | each | 1
Mounts
98 | Supply & installation of MW pole 4",(2….3)m mounted on tower | each | 1
99 | Supply & installation of GSM pole 3",3m mounted on tower | each | 1
100 | Supply & installation of steel frame for antennas (SDH,..) | each | 1
101 | Supply & installation of support for RRU (pole type or handrail type) | each | 1
102 | Supply & installation of outdoor cable ladders | L.m | 1
103 | installation of MW pole 4",(2….3)m mounted on tower | each | 1
104 | installation of GSM pole 3",3m mounted on tower | each | 1
105 | installation of steel frame for antennas (SDH,..) | each | 1
106 | installation of support for RRU (pole type or handrail type) | each | 1
107 | Supply & installation of GSM pole 3", 6m on concrete | each | 1
108 | Supply & installation of MW pole 4",4m on concrete. | each | 1
109 | Supply & installation of MW pole 4",6m on concrete. | each | 1
110 | Supply & installation of GSM pole 8m height | each | 1
111 | Supply & installation of offset mast for radio antenna (3" diam. L=3….4)m | each | 1
112 | Supply accessories (bolts, screws, washers), treatement (where needed) of GSM pole 3", 6m on concrete | each | 1
113 | Installation of GSM pole 3", 6m on concrete |  | 1
114 | Supply accessories (bolts, screws, washers), treatement (where needed) of MW pole 4",4m on concrete. | each | 1
115 | installation of MW pole 4",4m on concrete. | each | 1
116 | Supply accessories (bolts, screws, washers), treatement (where needed) of of MW pole 4",6m on concrete. | each | 1
117 | installation of MW pole 4",6m on concrete. | each | 1
118 | Supply accessories (bolts, screws, washers), treatement (where needed) of GSM pole 8m height | each | 1
119 | Installation of GSM pole 8m height | each | 1
120 | Supply accessories (bolts, screws, washers), treatement (where needed) of offset mast for radio antenna (3" diam. L=3….4)m | each | 1
121 | Installation of offset mast for radio antenna (3" diam. L=3….4)m | each | 1
122 | Supply accessories (bolts, screws, washers), treatement (where needed) of RRU (pole type or handrail type) | each | 1
Telecom Installations
123 | Transportation & installation of GSM antenna.(including Jumpers) | each | 1
124 | Transportation & installation of MW antenna. | each | 1
125 | Transportation & installation of coaxial cables | L.m | 1
126 | Transportation & installation of RG/IF cables | L.m | 1
127 | Transportation & installation of antenna window | each | 1
128 | Transportation & installation of RRU | each | 1
129 | Transportation & installation of RRU cables (Fiber & power) | L.m | 1
130 | Transportation & installation telecom equipment | each | 1
Air Conditioning
131 | Supply,Transportation & installation of A/C unit 12000 BTU (split system,wall type,-48v DC power,cooling capacity 4000W@35 C) | each | 1
132 | Transportation & installation of A/C unit 12000 BTU (split system,wall type,-48v DC power,cooling capacity 4000W@35 C) | each | 1
133 | Transportation & installation of A/C control system | each | 1
134 | Supply,Transportation & installation of A/C FCU | each | 1
135 | Supply & installation of 2 pair cables (6 mm) | L.m | 1
136 | Supply & installation of 2 pair cables (1.5mm) | L.m | 1
137 | Supply & installation of 1 pair cables (1.5mm) | L.m | 1
138 | Supply, Transportation & installation of A/C control system | each | 1
Sites Dismantling
139 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor RT masts,with generators) | each | 1
140 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor RT18m tower,with generators) | each | 1
141 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor RT masts,with generators) | each | 1
142 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor RT 18m tower,with generators) | each | 1
143 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor RT masts,without generators) | each | 1
144 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor RT18m tower,without generators) | each | 1
145 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor RT masts,without generators) | each | 1
146 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor RT 18m tower,without generators) | each | 1
147 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor GF with 35m tower,with generators) | each | 1
148 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor GF with 35m tower,with generators) | each | 1
149 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor GF with 35m tower,without generators) | each | 1
150 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor GF with 35m tower,without generators) | each | 1
151 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of outdoor micro site (masts,cabinets,antenans,cables,..) | each | 1
152 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of Generators area for GF/RT site | each | 1
153 | Painting as minor restoration works after site dismantling | M2 | 1
Sites Optimization
154 | Mobilization & logistcs cost for optimization works/site | each | 1
155 | Concrete slab for poles 20cm thick with waterproofing dressing 4mm mambrane. | M2 | 1
156 | Supply & installation of 8m pole,5" concrete type | each | 1
157 | Supply & installation of offset for radio antenna (3m,3") | each | 1
158 | Dismantling & transportation to warehouse of radio antenna | each | 1
159 | Transporatation & Installation of radio antenna | each | 1
160 | Supply & installation of cable tray 20cm with cover | L.m | 1
161 | Supply & installation of blocks for cable tray | L.m | 1
162 | Supply & installation of 6m pole,4" concrete type | each | 1
163 | Supply & installation of 4m pole,4" | each | 1
164 | Transportation & Installation of radio antenna | each | 1
165 | Dismantling of radio antenna & transport to warehouse | each | 1
166 | Dismantling of antenna mount & transport to warehouse | each | 1
167 | Supply & installation of mount for radio/MW antenna on tower | each | 1
168 | Steel Chassis made up of HEA beams,bars & 3mm sheets/plates for platform construction needed for antenna installation | kg | 1
169 | Dismantling & re-installation of cable ladder 40cm | L.m | 1
170 | Supply & installation of mast for radio antenna (4m,3") | each | 1
171 | Dismantling & re-installation of coaxial cables | L.m | 1
172 | Dismantling & transportation to warehouse of radio antennas including the masts/offsets | each | 1
Sites Infrastructure Maintenance
173 | Repair for the damaged steel fence (all types) (Mesh-type;bars type;Louvre type;…) by replacing damaged part by installing new made up of same matching material. | M2 | 1
174 | Reinforcement of the existing steel fence by installing additional bars with 10cm spacing. | M2 | 1
175 | Repair for the damaged prefabricated shelter panel by removing the damaged part & install new with matching specs. | M2 | 1
176 | Reinforcement of the existing prefabricated shelter panels to protect the shelter by installing HDG sheets 3mm thick,1m wide | M2 | 1
177 | Repair for the damaged shelter door by replacing with new one including all accessories (lock,handle,intrusion alarm,..) & delivering the damaged one to MIC2 warehouse. | each | 1
178 | Repair for the damaged generators area door by replacing with new one including all accessories (lock,handle,..) & delivering the damaged one to MIC2 warehouse. | each | 1
179 | Reinforcement the shelter door by adding steel sheets & frames including lock. | each | 1
180 | Repair for the damaged block wall by properly removing all debris from site.Construction of the wall including plaster & paint. | M2 | 1
181 | Replacement of damaged cable tray 20cm by new one including cover & all accessories | L.m | 1
182 | Replacement of damaged cable tray 10cm by new one including cover & all accessories | L.m | 1
183 | Repair for the damaged FT delivery pipes by replacement old pipes including all accessories & connections.(GF/RT site) | each | 1
184 | Repair for the damaged refueling pipe.Works include replacement of damaged pipe & re install with all accessories needed. | L.m | 1
185 | Repair for the damaged muffler including removing of damaged part & install new with matching specs & dimensions including flanges,connections,.. | L.m | 1
186 | Replacement of the damaged CO2 filter including connections to main exhaust,removing the damaged one to warehouse. | each | 1
187 | Replacement of the damaged fuel tank by new one,including connections to generator,grounding,..and removing the old FT to warehouse. | each | 1
188 | S&I of down conductor 70mm2 to replace the stolen one (estimated per each GF site 100m),including clamps & connection to main bar. | each | 1
189 | S&I of down conductor 70mm2 to replace the stolen one (estimated per each RT site 70m),including clamps & connection to main bar. | each | 1
190 | S&I of ground cables to replace the stolen/damaged ones, including termination to panels & connection to ground bars. | L.m | 1
191 | Repair for the damaged tent by replacing damaged sheets and steel bars | M2 | 1
192 | Repair for waterproofing membrane by removing the old one and apply new layer of granule 4mm SBS; including all preparation works (cleaning,concrete screeding where necessary,removing debris,cutting 20cm slabs 3M2,painting repair 20M2...) All complete with testing & guarantee. | M2 | 1
193 | Repair for waterproofing membrane by removing the old one and apply 3 coats of PU liquid membrane (roof & parapet); including all preparation works (cleaning,removing debris,drains repair,cracks treatment,....).All complete with testing & guarantee. | M2 | 1
194 | Supply & installation of antistatic carpet | M2 | 1
195 | Repair for shelter door by replacement of damaged lock,hinges,handle,door stop,shed,.. | each | 1
196 | Repair for shelter damaged floor (estimated 2M2).Works include replacement of damaged floor material (beams-steel sheets,wood,carpet) | each | 1
197 | Supply & installation of ceramic tiles (30x30)cm | M2 | 1
198 | Supply & installation of steel gate (2x2)m for site, made up of bars 80x40 & 40x40,including paint | each | 1
199 | Supply & installation of (100x220)cm fire rated door (2hr) (smoke seal/dust proof) with related accessories.(certified supplier) | each | 1
200 | Repair for the damaged obstruction light system of the tower,including cables,lamp,support. | each | 1
201 | Renovation for tower painting (Tower 35m) | each | 1
202 | Supply & installation of antistatic carpet | M2 | 1
203 | Repair for shelter door by replacement of damaged lock,hinges,handle,door stop,shed,.. | each | 1
204 | Repair for shelter damaged floor (estimated 2M2).Works include replacement of damaged floor material (beams-steel sheets,wood,carpet) | each | 1
205 | Supply & installation of ceramic tiles (30x30)cm | M2 | 1
206 | Supply & installation of steel gate (2x2)m for site, made up of bars 80x40 & 40x40,including paint | each | 1
207 | Supply & installation of (100x220)cm fire rated door (2hr) (smoke seal/dust proof) with related accessories.(certified supplier) | each | 1
208 | Repair for the damaged obstruction light system of the tower,including cables,lamp,support. | each | 1
209 | Renovation for tower painting (Tower 35m) | each | 1
Distributed Antenna System
210 | DAS Models | Unit | 1 | Remarks | Remarks
211 | Model 1 - Small (up to 50 Antennas) | Antenna | 1 |  | The total quote per site will be the number of antennas installed in the site multiplied by the "by per antenna quote"; this price will cover the installation of all the components of the DAS including yet not limited to: antennas, splitters, feeders, couplers, jumpers, ceiling openings and restoration, ancilliaries, etc... * any item that is not mentioned in the optional items below shall be considered to be covered in the quote per antenna.
212 | Model 2 - Medium (51 - 150 Antennas) | Antenna | 1
213 | Model 3 - Large (151- 250 Antennas) | Antenna | 1
214 | Model 4 - Huge (251+ Antennas) | Antenna | 1
215 | Optional Items | Unit | 1 | Remarks | Remarks
216 | Supply and installation of indoor cable trays (10 cms) | L.M. | 1
217 | Supply and installation of indoor cable trays covers (10 cms) | L.M. | 1
218 | Supply and installation of indoor cable trays (20 cms) | L.M. | 1
219 | Supply and installation of indoor cable trays covers (20 cms) | L.M. | 1
220 | Supply and installation of PVC 2" conduit | L.M. | 1
221 | Supply and installation of PVC 3" conduit | L.M. | 1
222 | Supply and installation of Galvanized Flexible Cable Housing | L.M. | 1
223 | light weight Crane, Scaffoldings, or cherry picker needed to reach for very high ceilings. | day | 1
224 | Fiber Splicing and Testing | pcs. | 1
Cell on Wheels (COW) Mobilization
225 | Dismantling, transportation, and deployement of Mobile Station within a radius of 50 Km (with crane at both ends) | each | 1 |  | • MBTS are either truck mounted cow or shelters • All MBTS have telescopic towers and generators • MBTS should be driven by qualified accredited drivers • Contractor should arrange for needed labor needed for the dismantling and reinstallation of the mobile site • Installation/dismantling/transport works shall be implemented respecting safety & traffic law & by using all machinery needed for safe dismantling & re-installation in both locations (Crane, truck,..) and supervised by qualified leader.
226 | Dismantling, transportation, and deployement of Mobile Station within a radius of 100 Km (with crane at both ends) | each | 1
227 | Dismantling, transportation, and deployement of Mobile Station within a radius of 150 Km (with crane at both ends) | each | 1
228 | Dismantling, transportation, and deployement of Mobile Station within a radius of 200 Km (with crane at both ends) | each | 1
229 | Dismantling, transportation, and deployement of Mobile Station within a radius of 50 Km (without a crane) | each | 1
230 | Dismantling, transportation, and deployement of Mobile Station within a radius of 100 Km (without a crane) | each | 1
231 | Dismantling, transportation, and deployement of Mobile Station within a radius of 150 Km (without a crane) | each | 1
232 | Dismantling, transportation, and deployement of Mobile Station within a radius of 200 Km (without a crane) | each | 1
Labor and Machinary
233 | Supply of skilled technician/rigger | MWD | 1 |  | • Working hours will be 8-10 hours per days where transportation to and from the office should be arranged by the contractor. • Contractor will be responsible for any damages directly caused by their employees. • Technicians should have at least 2-3 years’ experience on such Scope. • Team should have the needed tools for Telecom Installations or Swap such as spanners, cutters, screw drivers, pulley, etc… • Technicians should have need needed safety gear (safety belt, hamlet, boots, etc…). • Team members should be either Lebanese, or holding a valid work visa. • Technician(s) should be fully insured against any work incident.
234 | Telscope crane (100 ton) | day | 1 |  | day is considered to be up to 10 hours, noting that MIC2 has the right to rent it for a fraction of a day (half a day).
235 | Telscope crane (60 ton) | day | 1 |  | day is considered to be up to 10 hours, noting that MIC2 has the right to rent it for a fraction of a day (half a day).
236 | crane with basket up to 15 meters | day | 1 |  | day is considered to be up to 10 hours, noting that MIC2 has the right to rent it for a fraction of a day (half a day).
237 | Supply of pick up | day | 1 |  | day is considered to be up to 10 hours, noting that MIC2 has the right to rent it for a fraction of a day (half a day).
238 | Supply of truck carne (5 ton) | day | 1 |  | day is considered to be up to 10 hours, noting that MIC2 has the right to rent it for a fraction of a day (half a day).
239 | Supply of truck (6 wheel) | day | 1 |  | day is considered to be up to 10 hours, noting that MIC2 has the right to rent it for a fraction of a day (half a day).
240 | Supply of Trailor (12 meters) | day | 1 |  | day is considered to be up to 10 hours, noting that MIC2 has the right to rent it for a fraction of a day (half a day).

## New GF ID
Mobile Interim Company 2 S.A.L
MIC 2
GF site (New Indoor)
| Description | Unit | Estimated Qty | Unit Price | Total
1 | Civil Works
1 | Reinforced concrete (ground beams,roof slabs,columns,walls..) | M3 | 10 | 0 | 0
2 | Concrete for generators & site slab (20cm thick). | M2 | 120 | 0 | 0
3 | Plain concrete (average thickness 10cm) | M2 | 12 | 0 | 0
4 | Concrete blocks for cable ladder | each | 5 | 0 | 0
5 | Hollow block wall 15cm thick | M2 | 20 | 0 | 0
6 | Hollow block wall 20cm thick | M2 | 110 | 0 | 0
7 | Plastering | M2 | 300 | 0 | 0
8 | Painting | M2 | 300 | 0 | 0
9 | Supply & installation of Steel fence & gate | M2 | 20 | 0 | 0
10 | Supply & installation of steel tent | M2 | 50 | 0 | 0
11 | Steel door (1.6x2.0)m for generators room | L.S | 1 | 0 | 0
12 | Excavation & backfilling (excavation in any kind of soil,demolishing of walls,slabs & import material for backfill & compaction) | M3 | 400 | 0 | 0
13 | Supply and Installation of Waterproofing membrane 4mm | M2 | 20 | 0 | 0
14 | PVC pipes 4" for underground cabling (including excavation & manhole) | L.m | 6 | 0 | 0
15 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1 | 0 | 0
16 | Supply and Installation of Galvanized barbed wire (Wires or Cross type) | L.m | 30 | 0 | 0
17 | Site Topographic Survey | each | 1 | 0 | 0
2 | Equipment
1 | Supply of prefabricated shelter (3.75x2.75)m | each | 1 | 0 | 0
2 | Transportation & installation of prefabricated shelter (3.75x2.75)m | each | 1 | 0 | 0
3 | Supply & installation of steel chassis for shelter | kg | 200 | 0 | 0
4 | Supply & installation of steel ladder for shelter | each | 1 | 0 | 0
3 | Electrical Works
1 | Supply & installation of cable tray 22cm | L.m | 80 | 0 | 0
2 | Supply & installation of cover for cable tray 22cm | L.m | 80 | 0 | 0
3 | Supply & installation of cable tray 10cm | L.m | 20 | 0 | 0
4 | Supply & installation of cover for cable tray 10cm | L.m | 20 | 0 | 0
5 | Supply of power cables 3x16+N (armoured) | L.m | 50 | 0 | 0
5 | Erection & termination of power cables 3x16+N (armoured) | L.m | 50 | 0 | 0
6 | Supply of control cables (4 pairsx0.75mm) | L.m | 10 | 0 | 0
6 | Erection & termination of control cables (4 pairsx0.75mm) | L.m | 10 | 0 | 0
7 | Supply of grounding cables (1x50mm) | L.m | 50 | 0 | 0
7 | Erection & termination of grounding cables (1x50mm) | L.m | 50 | 0 | 0
8 | Supply of grounding cables (1x35mm) | L.m | 20 | 0 | 0
8 | installation of grounding cables (1x35mm) | L.m | 20 | 0 | 0
9 | Supply of power cable (2x2.5m) NYM | L.m | 10 | 0 | 0
9 | Installation of power cable (2x2.5m) NYM | L.m | 10 | 0 | 0
10 | Supply & installation of EDL voltage stabilizer | each | 1 | 0 | 0
11 | supply & installation of MDB (indoor site) | each | 1 | 0 | 0
12 | Supply & installation of indoor & outdoor lighting & electrical accessories 6x(120cm double,2x18w) LED, or equipment & generator area including (panel box 8module to contain CB,socket & switch) | each | 2 | 0 | 0
13 | Supply & installation of EDL stabilizer aluminium cover (60x60x80)cm | each | 1 | 0 | 0
14 | Supply & installation of HDG mast for EDL cable including concrete base | each | 3 | 0 | 0
15 | Supply & installation of DC/AC inverter 1000W | each | 1 | 0 | 0
4 | Fire Fighting
1 | Supply & installation of 6 kg portable CO2 extinguisher | each | 1 | 0 | 0
2 | Supply & installation of 12 kg dry powder automatic fire extinguisher | each | 5 | 0 | 0
3 | Supply of CO2 automatic fire suppresion system (with supply of minor items) | each | 1 | 0 | 0
3 | Transportation & installation of CO2 automatic fire suppresion system (with supply of minor items) | each | 1 | 0 | 0
0
5 | Lightning & Grounding |  |  |  | 0
1 | Supply & installation of GF lightning system including ESE head. | each | 1 | 0 | 0
2 | Supply & installation of GF grounding system . | each | 1 | 0 | 0
3 | Supply & installation of GF surge arrester block . | each | 1 | 0 | 0
6 | Generators
1 | Supply & installation of muffler 3" diameter (wall thickness 4mm) without jacketing in GF Sites | L.m | 12 | 0 | 0
3 | Supply & installation of fuel tank & accessories. | each | 2 | 0 | 0
3 | Supply & installation of duct (cross section 60x60…100x100)cm | L.m | 2 | 0 | 0
7 | Towers
1 | Transportation & installation of self supported tower 35m height on ground | each | 1 | 0 | 0
2 | Reinforced concrete for the tower foundation ( QTY varies according to tower design) | M3 | 30 | 0 | 0
8 | Mounts
1 | Supply & installation of MW pole 4",(2….3)m mounted on tower | each | 1 | 0 | 0
2 | Supply & installation of GSM pole 3",3m mounted on tower | each | 3 | 0 | 0
3 | Supply & installation of steel frame for antennas (SDH,..) | each | 1 | 0 | 0
4 | Supply & installation of support for RRU (pole type or handrail type) | each | 1 | 0 | 0
5 | Supply & installation of outdoor cable ladders | L.m | 6 | 0 | 0
9 | Telecom Installations
1 | Transportation & installation of GSM antenna.(including Jumpers) | each | 3 | 0 | 0
| TOTAL |  |  |  | 0

## New GF OD
Mobile Interim Company 2 S.A.L
MIC 2
GF site (New Outdoor)
| Description | Unit | Estimated Qty | Unit Price | Total
1 | Civil Works
1 | Reinforced concrete (ground beams,roof slabs,columns,walls..) | M3 | 6 | 0 | 0
2 | Concrete for generators & site slab (20cm thick). | M2 | 120 | 0 | 0
3 | Plain concrete (average thickness 10cm) | M2 | 12 | 0 | 0
4 | Concrete blocks for cable ladder | each | 5 | 0 | 0
5 | Hollow block wall 15cm thick | M2 | 20 | 0 | 0
6 | Hollow block wall 20cm thick | M2 | 130 | 0 | 0
7 | Plastering | M2 | 300 | 0 | 0
8 | Painting | M2 | 300 | 0 | 0
9 | Supply & installation of Steel fence & gate | M2 | 30 | 0 | 0
10 | Supply & installation of steel tent | M2 | 60 | 0 | 0
11 | Steel door (1.6x2.0)m for generators room | L.S | 2 | 0 | 0
12 | Excavation & backfilling (excavation in any kind of soil,demolishing of walls,slabs & import material for backfill & compaction) | M3 | 400 | 0 | 0
13 | Supply and Installation of Waterproofing membrane 4mm | M2 | 20 | 0 | 0
14 | PVC pipes 4" for underground cabling (including excavation & manhole) | L.m | 6 | 0 | 0
15 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1 | 0 | 0
16 | Supply and Installation of Galvanized barbed wire (Wires or Cross type) | L.m | 24 | 0 | 0
17 | Site Topographic Survey | each | 1 | 0 | 0
2 | Equipment
1 | Transportation & installation of HDG elevated chassis with grating on top (150x100)cm | each | 1 | 0 | 0
2 | Supply,Transportation & installation of HDG elevated chassis with grating on top (150x100)cm | each | 1 | 0 | 0
3 | Electrical Works
1 | Supply & installation of cable tray 22cm | L.m | 80 | 0 | 0
2 | Supply & installation of cover for cable tray 22cm | L.m | 80 | 0 | 0
3 | Supply & installation of cable tray 10cm | L.m | 20 | 0 | 0
4 | Supply & installation of cover for cable tray 10cm | L.m | 20 | 0 | 0
5 | Erection & termination of power cables 3x16+N (armoured) | L.m | 50 | 0 | 0
6 | Erection & termination of control cables (4 pairsx0.75mm) | L.m | 10 | 0 | 0
5 | Supply of power cables 3x16+N (armoured) | L.m | 50 | 0 | 0
5 | Erection & termination of power cables 3x16+N (armoured) | L.m | 50 | 0 | 0
6 | Supply of control cables (4 pairsx0.75mm) | L.m | 10 | 0 | 0
6 | Erection & termination of control cables (4 pairsx0.75mm) | L.m | 10 | 0 | 0
7 | Supply of grounding cables (1x50mm) | L.m | 50 | 0 | 0
7 | Erection & termination of grounding cables (1x50mm) | L.m | 50 | 0 | 0
8 | Supply of grounding cables (1x35mm) | L.m | 20 | 0 | 0
8 | installation of grounding cables (1x35mm) | L.m | 20 | 0 | 0
9 | Supply of power cable (2x2.5m) NYM | L.m | 10 | 0 | 0
9 | Installation of power cable (2x2.5m) NYM | L.m | 10 | 0 | 0
10 | Supply & installation of EDL voltage stabilizer | each | 1 | 0 | 0
11 | Supply & installation of indoor & outdoor lighting & electrical accessories 6x(120cm double,2x18w)LED,for equipment & generator area including (panel box 8module to contain CB,socket & switch) | each | 2 | 0 | 0
12 | Supply & installation of EDL stabilizer aluminium cover (60x60x80)cm | each | 1 | 0 | 0
13 | Supply & installation of HDG mast for EDL cable including concrete base | each | 3 | 0 | 0
14 | Supply & installation of DC/AC inverter 1000W | each | 1 | 0 | 0
4 | Fire Fighting
1 | Supply & installation of 6 kg portable CO2 extinguisher | each | 1 | 0 | 0
2 | Supply & installation of 12 kg dry powder automatic fire extinguisher | each | 5 | 0 | 0
5 | Lightning & Grounding
1 | Supply & installation of GF lightning system including ESE head. | each | 1 | 0 | 0
2 | Supply & installation of GF grounding system . | each | 1 | 0 | 0
3 | Supply & installation of GF surge arrester block . | each | 1 | 0 | 0
6 | Generators
1 | Supply & installation of muffler 3" diameter (wall thickness 4mm) without jacketing in GF Sites | L.m | 12 | 0 | 0
3 | Supply & installation of fuel tank & accessories. | each | 2 | 0 | 0
3 | Supply & installation of duct (cross section 60x60…100x100)cm | L.m | 2 | 0 | 0
7 | Towers
1 | Transportation & installation of self supported tower 35m height on ground | each | 1 | 0 | 0
2 | Reinforced concrete for the tower foundation ( QTY varies according to tower design) | M3 | 30 | 0 | 0
8 | Mounts
1 | Supply & installation of MW pole 4",(2….3)m mounted on tower | each | 1 | 0 | 0
2 | Supply & installation of GSM pole 3",3m mounted on tower | each | 3 | 0 | 0
3 | Supply & installation of steel frame for antennas (SDH,..) | each | 1 | 0 | 0
4 | Supply & installation of support for RRU (pole type or handrail type) | each | 1 | 0 | 0
5 | Supply & installation of outdoor cable ladders | L.m | 6 | 0 | 0
9 | Telecom Installations
1 | Transportation & installation of GSM antenna.(including Jumpers) | each | 3 | 0 | 0
| TOTAL |  |  |  | 0

## Rel GF ID
Mobile Interim Company 2 S.A.L
MIC 2
GF site (Indoor) Relocation
| Description | Unit | Estimated Qty | Unit Price | Total
1 | Civil Works
1 | Reinforced concrete (ground beams,roof slabs,columns,walls..) | M3 | 10 | 0 | 0
2 | Concrete for generators & site slab (20cm thick). | M2 | 120 | 0 | 0
3 | Plain concrete (average thickness 10cm) | M2 | 12 | 0 | 0
4 | Concrete blocks for cable ladder | each | 5 | 0 | 0
5 | Hollow block wall 15cm thick | M2 | 20 | 0 | 0
6 | Hollow block wall 20cm thick | M2 | 110 | 0 | 0
7 | Plastering | M2 | 300 | 0 | 0
8 | Painting | M2 | 300 | 0 | 0
9 | Supply & installation of Steel fence & gate | M2 | 20 | 0 | 0
10 | Supply & installation of steel tent | M2 | 50 | 0 | 0
11 | Steel door (1.6x2.0)m for generators room | L.S | 1 | 0 | 0
12 | Excavation & backfilling (excavation in any kind of soil,demolishing of walls,slabs & import material for backfill & compaction) | M3 | 400 | 0 | 0
13 | Supply and Installation of Waterproofing membrane 4mm | M2 | 20 | 0 | 0
14 | PVC pipes 4" for underground cabling (including excavation & manhole) | L.m | 6 | 0 | 0
15 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1 | 0 | 0
16 | Supply and Installation of Galvanized barbed wire (Wires or Cross type) | L.m | 30 | 0 | 0
17 | Site Topographic Survey | each | 1 | 0 | 0
2 | Equipment
2 | Transportation, Rehabilitation & installation of prefabricated shelter (3.75x2.75)m | each | 1 | 0 | 0
3 | Supply of steel chassis for shelter | kg | 200 | 0 | 0
4 | Rehabilitation and Installation of steel chassis for shelter | kg | 200 | 0 | 0
5 | Supply of steel ladder for shelter | each | 1 | 0 | 0
6 | Rehabilitation and Installation of steel ladder for shelter | each | 1 | 0 | 0
3 | Electrical Works
1 | Supply & installation of cable tray 22cm | L.m | 80 | 0 | 0
2 | Supply & installation of cover for cable tray 22cm | L.m | 80 | 0 | 0
3 | Supply & installation of cable tray 10cm | L.m | 20 | 0 | 0
4 | Supply & installation of cover for cable tray 10cm | L.m | 20 | 0 | 0
5 | Supply of power cables 3x16+N (armoured) | L.m | 50 | 0 | 0
5 | Erection & termination of power cables 3x16+N (armoured) | L.m | 50 | 0 | 0
6 | Supply of control cables (4 pairsx0.75mm) | L.m | 10 | 0 | 0
6 | Erection & termination of control cables (4 pairsx0.75mm) | L.m | 10 | 0 | 0
7 | Supply of grounding cables (1x50mm) | L.m | 50 | 0 | 0
7 | Erection & termination of grounding cables (1x50mm) | L.m | 50 | 0 | 0
8 | Supply of grounding cables (1x35mm) | L.m | 20 | 0 | 0
8 | installation of grounding cables (1x35mm) | L.m | 20 | 0 | 0
| Supply & installation of 2 pair cables (6 mm) | L.m | 20 | 0 | 0
| Supply & installation of 2 pair cables (1.5mm) | L.m | 20 | 0 | 0
| Supply & installation of 1 pair cables (1.5mm) | L.m | 20 | 0 | 0
| Transportation & installation of ATS panel for 2 Gensets | each | 1 | 0 | 0
10 | Supply & installation of EDL voltage stabilizer | each | 1 | 0 | 0
12 | Supply & installation of indoor & outdoor lighting & electrical accessories | each | 2 | 0 | 0
13 | Supply & installation of EDL stabilizer aluminium cover (60x60x80)cm | each | 1 | 0 | 0
14 | Supply & installation of HDG mast for EDL cable including concrete base | each | 3 | 0 | 0
4 | Fire Fighting
1 | Supply & installation of 6 kg portable CO2 extinguisher | each | 1 | 0 | 0
2 | Supply & installation of 12 kg dry powder automatic fire extinguisher | each | 5 | 0 | 0
3 | Transportation & installation of CO2 automatic fire suppresion system (with supply of minor items) | each | 1 | 0 | 0
6 | Lightning & Grounding
1 | Supply & installation of GF lightning system including ESE head. | each | 1 | 0 | 0
2 | Supply & installation of GF grounding system . | each | 1 | 0 | 0
3 | Supply & installation of GF surge arrester block . | each | 1 | 0 | 0
7 | Generators
1 | Supply & installation of muffler 3" diameter (wall thickness 4mm) without jacketing in GF Sites | L.m | 12 | 0 | 0
2 | Supply & installation of fuel tank & accessories. | each | 2 | 0 | 0
3 | Supply & installation of duct (cross section 60x60…100x100)cm | L.m | 2 | 0 | 0
4 | Transportation & installation of Generator with silencer (up to 40 KVA) | each | 1 | 0 | 0
8 | Towers
1 | Transportation & installation of self supported tower 35m height on ground | each | 1 | 0 | 0
2 | Reinforced concrete for the tower foundation ( QTY varies according to tower design) | M3 | 30 | 0 | 0
3 | Supply & installation of tower anchor bolts including installation template | each | 1 | 0 | 0
4 | Supply & installation of tower installation set (bolts,nuts,washers,..) | each | 1 | 0 | 0
9 | Mounts
1 | Supply & installation of MW pole 4",(2….3)m mounted on tower | each | 1 | 0 | 0
2 | Supply & installation of GSM pole 3",3m mounted on tower | each | 3 | 0 | 0
3 | Supply & installation of steel frame for antennas (SDH,..) | each | 1 | 0 | 0
4 | Supply & installation of support for RRU (pole type or handrail type) | each | 1 | 0 | 0
5 | Supply & installation of outdoor cable ladders | L.m | 6 | 0 | 0
10 | Telecom Installations
1 | Transportation & installation of GSM antenna.(including Jumpers) | each | 3 | 0 | 0
2 | Transportation & installation of MW antenna. | each | 2 | 0 | 0
3 | Transportation & installation of coaxial cables | L.m | 300 | 0 | 0
4 | Transportation & installation of RG/IF cables | L.m | 150 | 0 | 0
5 | Transportation & installation of antenna window | each | 1 | 0 | 0
6 | Transportation & installation of RRU | each | 9 | 0 | 0
7 | Transportation & installation of RRU cables (Fiber & power) | L.m | 300 | 0 | 0
8 | Transportation & installation telecom equipment | each | 1 | 0 | 0
| TOTAL |  |  |  | 0

## Rel GF OD
Mobile Interim Company 2 S.A.L
MIC 2
GF site (Relocation Outdoor)
| Description | Unit | Estimated Qty | Unit Price | Total
1 | Civil Works
1 | Reinforced concrete (ground beams,roof slabs,columns,walls..) | M3 | 6 | 0 | 0
2 | Concrete for generators & site slab (20cm thick). | M2 | 120 | 0 | 0
3 | Plain concrete (average thickness 10cm) | M2 | 12 | 0 | 0
4 | Concrete blocks for cable ladder | each | 5 | 0 | 0
5 | Hollow block wall 15cm thick | M2 | 20 | 0 | 0
6 | Hollow block wall 20cm thick | M2 | 130 | 0 | 0
7 | Plastering | M2 | 300 | 0 | 0
8 | Painting | M2 | 300 | 0 | 0
9 | Supply & installation of Steel fence & gate | M2 | 30 | 0 | 0
10 | Supply & installation of steel tent | M2 | 60 | 0 | 0
11 | Steel door (1.6x2.0)m for generators room | L.S | 2 | 0 | 0
12 | Excavation & backfilling (excavation in any kind of soil,demolishing of walls,slabs & import material for backfill & compaction) | M3 | 400 | 0 | 0
13 | Supply and Installation of Waterproofing membrane 4mm | M2 | 20 | 0 | 0
14 | PVC pipes 4" for underground cabling (including excavation & manhole) | L.m | 6 | 0 | 0
15 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1 | 0 | 0
16 | Supply and Installation of Galvanized barbed wire (Wires or Cross type) | L.m | 24 | 0 | 0
17 | Site Topographic Survey | each | 1 | 0 | 0
2 | Equipment
1 | Transportation & installation of HDG elevated chassis with grating on top (150x100)cm | each | 3 | 0 | 0
3 | Electrical Works
1 | Supply & installation of cable tray 22cm | L.m | 80 | 0 | 0
2 | Supply & installation of cover for cable tray 22cm | L.m | 80 | 0 | 0
3 | Supply & installation of cable tray 10cm | L.m | 20 | 0 | 0
4 | Supply & installation of cover for cable tray 10cm | L.m | 20 | 0 | 0
5 | Supply of power cables 3x16+N (armoured) | L.m | 50 | 0 | 0
5 | Erection & termination of power cables 3x16+N (armoured) | L.m | 50 | 0 | 0
6 | Supply of control cables (4 pairsx0.75mm) | L.m | 10 | 0 | 0
6 | Erection & termination of control cables (4 pairsx0.75mm) | L.m | 10 | 0 | 0
7 | Supply of grounding cables (1x50mm) | L.m | 50 | 0 | 0
7 | Erection & termination of grounding cables (1x50mm) | L.m | 50 | 0 | 0
8 | Supply of grounding cables (1x35mm) | L.m | 20 | 0 | 0
8 | installation of grounding cables (1x35mm) | L.m | 20 | 0 | 0
9 | Supply of power cable (2x2.5m) NYM | L.m | 20 | 0 | 0
9 | Installation of power cable (2x2.5m) NYM | L.m | 20 | 0 | 0
| Supply & installation of 2 pair cables (6 mm) | L.m | 20 | 0 | 0
| Supply & installation of 2 pair cables (1.5mm) | L.m | 20 | 0 | 0
| Supply & installation of 1 pair cables (1.5mm) | L.m | 20 | 0 | 0
| Transportation & installation of ATS panel for 2 Gensets | each | 1 | 0 | 0
10 | Supply & installation of EDL voltage stabilizer | each | 1 | 0 | 0
11 | Supply & installation of indoor & outdoor lighting & electrical accessories | each | 2 | 0 | 0
12 | Supply & installation of EDL stabilizer aluminium cover (60x60x80)cm | each | 1 | 0 | 0
13 | Supply & installation of HDG mast for EDL cable including concrete base | each | 3 | 0 | 0
4 | Fire Fighting
1 | Supply & installation of 6 kg portable CO2 extinguisher | each | 1 | 0 | 0
2 | Supply & installation of 12 kg dry powder automatic fire extinguisher | each | 5 | 0 | 0
5 | Lightning & Grounding
1 | Supply & installation of GF lightning system including ESE head. | each | 1 | 0 | 0
2 | Supply & installation of GF grounding system . | each | 1 | 0 | 0
3 | Supply & installation of GF surge arrester block . | each | 1 | 0 | 0
6 | Generators
1 | Supply & installation of muffler 3" diameter (wall thickness 4mm) without jacketing in GF Sites | L.m | 12 | 0 | 0
2 | Supply & installation of fuel tank & accessories. | each | 2 | 0 | 0
3 | Supply & installation of duct (cross section 60x60…100x100)cm | L.m | 2 | 0 | 0
4 | Transportation & installation of Generator with silencer (up to 40 KVA) | each | 1 | 0 | 0
7 | Towers
1 | Transportation & installation of self supported tower 35m height on ground | each | 1 | 0 | 0
2 | Reinforced concrete for the tower foundation ( QTY varies according to tower design) | M3 | 30 | 0 | 0
3 | Supply & installation of tower anchor bolts including installation template | each | 1 | 0 | 0
4 | Supply & installation of tower installation set (bolts,nuts,washers,..) | each | 1 | 0 | 0
8 | Mounts
1 | Supply & installation of MW pole 4",(2….3)m mounted on tower | each | 1 | 0 | 0
2 | Supply & installation of GSM pole 3",3m mounted on tower | each | 3 | 0 | 0
3 | Supply & installation of steel frame for antennas (SDH,..) | each | 1 | 0 | 0
4 | Supply & installation of support for RRU (pole type or handrail type) | each | 1 | 0 | 0
5 | Supply & installation of outdoor cable ladders | L.m | 6 | 0 | 0
9 | Telecom Installations
1 | Transportation & installation of GSM antenna.(including Jumpers) | each | 3 | 0 | 0
2 | Transportation & installation of MW antenna. | each | 2 | 0 | 0
3 | Transportation & installation of coaxial cables | L.m | 300 | 0 | 0
4 | Transportation & installation of RG/IF cables | L.m | 150 | 0 | 0
5 | Transportation & installation of antenna window | each | 1 | 0 | 0
6 | Transportation & installation of RRU | each | 9 | 0 | 0
7 | Transportation & installation of RRU cables (Fiber & power) | L.m | 300 | 0 | 0
8 | Transportation & installation telecom equipment | each | 1 | 0 | 0
| TOTAL |  |  |  | 0

## New RT ID
Mobile Interim Company 2 S.A.L
MIC 2
RT site (New Indoor)
RT site
| Description | Unit | Estimated Qty | Unit Price | Total
1 | Civil Works
1 | Reinforced concrete (slabs,beams,columns,walls,footings..) | M3 | 5 | 0 | 0
2 | Concrete for generators & poles (20cm thick). | M2 | 40 | 0 | 0
3 | Plain concrete (average thickness 10cm) | M2 | 12 | 0 | 0
4 | Concrete blocks for cable ladder/tray | each | 30 | 0 | 0
5 | Cork insulation 5cm thick | M2 | 5 | 0 | 0
6 | Hollow block wall 20cm thick | M2 | 10 | 0 | 0
7 | Plastering | M2 | 20 | 0 | 0
8 | Painting | M2 | 20 | 0 | 0
9 | Supply & installation of seel fence & gate (for equipment ,generator area,site) | M2 | 40 | 0 | 0
10 | Supply & installation of steel tent (generators area,equipment,..) | M2 | 20 | 0 | 0
11 | Steel door (1.60x2.0)m for generators room | each | 1 | 0 | 0
12 | Excavation & backfilling (excavation in any kind of soil,demolishing of walls,slabs & import material for backfill & compaction) | M3 | 50 | 0 | 0
13 | Supply and Installatoin Waterproofing membrane 4mm granuled | M2 | 50 | 0 | 0
14 | PVC pipes 4" for underground cabling including excavation & backfilling | L.m | 6 | 0 | 0
15 | Openings in walls / roof | each | 1 | 0 | 0
16 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1 | 0 | 0
17 | Relocation of equipment on roof (V Sat,A/C,solar panels,water tank) | each | 3 | 0 | 0
18 | Supply and Installation Waterproofing liquid membrane (PU) | M2 | 20 | 0 | 0
2 | Equipment
1 | Supply of prefabricated shelter (3.75x2.75)m | each | 1 | 0 | 0
2 | Transportation & installation of prefabricated shelter (3.75x2.75)m | each | 1 | 0 | 0
3 | Supply & installation of steel chassis for shelter | kg | 1500 | 0 | 0
4 | Supply & installation of steel ladder for shelter | each | 1 | 0 | 0
3 | Electrical Works
1 | Supply & installation of cable tray 22cm | L.m | 60 | 0 | 0
2 | Supply & installation of cover for cable tray 22cm | L.m | 60 | 0 | 0
3 | Supply & installation of cable tray 10cm | L.m | 30 | 0 | 0
4 | Supply & installation of cover for cable tray 10cm | L.m | 30 | 0 | 0
5 | Supply of power cables 3x16+N (armoured) | L.m | 70 | 0 | 0
5 | Erection & termination of power cables 3x16+N (armoured) | L.m | 70 | 0 | 0
6 | Supply of control cables (4 pairsx0.75mm) | L.m | 30 | 0 | 0
6 | Erection & termination of control cables (4 pairsx0.75mm) | L.m | 30 | 0 | 0
7 | Supply of grounding cables (1x50mm) | L.m | 100 | 0 | 0
7 | Erection & termination of grounding cables (1x50mm) | L.m | 100 | 0 | 0
8 | Supply of grounding cables (1x35mm) | L.m | 20 | 0 | 0
8 | installation of grounding cables (1x35mm) | L.m | 20 | 0 | 0
9 | Supply of power cable (2x2.5m) NYM | L.m | 30 | 0 | 0
9 | Installation of power cable (2x2.5m) NYM | L.m | 30 | 0 | 0
10 | supply & installation of MDB (indoor site) | each | 1 | 0 | 0
11 | Supply & installation of indoor & outdoor lighting & electrical accessories 6x(120cm double,2x18w)LED,for equipment & generator area including (panel box 8module to contain CB,socket & switch) | each | 2 | 0 | 0
12 | Supply & installation of EDL stabilizer aluminium cover (60x60x80)cm | each | 1 | 0 | 0
4 | Fire Fighting
1 | Supply & installation of 6 kg portable CO2 extinguisher | each | 1 | 0 | 0
2 | Supply & installation of 12 kg dry powder automatic fire extinguisher | each | 2 | 0 | 0
3 | Supply of CO2 automatic fire suppresion system (with supply of minor items) | each | 1 | 0 | 0
3 | Transportation & installation of CO2 automatic fire suppresion system (with supply of minor items) | each | 1 | 0 | 0
5 | Lightning & Grounding
1 | Supply & installation of RT lightning protection with SS rod | each | 1 | 0 | 0
2 | Supply & installation of RT grounding system . | each | 1 | 0 | 0
3 | Supply & installation of surge arrester block . | each | 1 | 0 | 0
6 | Generators
1 | Supply & installation of muffler 3" diameter without jacketing in RT sites | L.m | 36 | 0 | 0
2 | Supply & installation of CO2 filter for the muffler | each | 1 | 0 | 0
3 | Supply & installation of fuel tank & accessories. | each | 1 | 0 | 0
7 | Mounts
1 | Supply & installation of GSM pole 3", 6m on concrete | each | 1 | 0 | 0
2 | Supply & installation of MW pole 4",4m on concrete. | each | 1 | 0 | 0
3 | Supply & installation of MW pole 4",6m on concrete. | each | 1 | 0 | 0
4 | Supply & installation of GSM pole 8m height | each | 2 | 0 | 0
5 | Supply & installation of offset mast for radio antenna (3" diam. L=3….4)m | each | 4 | 0 | 0
6 | Supply & installation of support for RRU (pole type or handrail type) | each | 4 | 0 | 0
7 | Supply & installation of outdoor cable ladders | L.m | 6 | 0 | 0
8 | Telecom installations
1 | Transportation & installation of GSM antenna.(including Jumpers) | each | 3 | 0 | 0
| TOTAL |  |  |  | 0

## New RT OD
Mobile Interim Company 2 S.A.L
MIC 2
RT site (New Outdoor)
RT site
| Description | Unit | Estimated Qty | Unit Price | Total
1 | Civil Works
1 | Reinforced concrete (slabs,beams,columns,walls,footings..) | M3 | 2 | 0 | 0
2 | Concrete for generators & poles (20cm thick). | M2 | 40 | 0 | 0
3 | Plain concrete (average thickness 10cm) | M2 | 12 | 0 | 0
4 | Concrete blocks for cable ladder/tray | each | 30 | 0 | 0
5 | Cork insulation 5cm thick | M2 | 5 | 0 | 0
6 | Hollow block wall 20cm thick | M2 | 10 | 0 | 0
7 | Plastering | M2 | 20 | 0 | 0
8 | Painting | M2 | 20 | 0 | 0
9 | Supply & installation of seel fence & gate (for equipment ,generator area,site) | M2 | 40 | 0 | 0
10 | Supply & installation of steel tent (generators area,equipment,..) | M2 | 32 | 0 | 0
11 | Steel door (1.60x2.0)m for generators room | each | 1 | 0 | 0
12 | Excavation & backfilling (excavation in any kind of soil,demolishing of walls,slabs & import material for backfill & compaction) | M3 | 10 | 0 | 0
13 | Supply and Installatoin Waterproofing membrane 4mm granuled | M2 | 50 | 0 | 0
14 | PVC pipes 4" for underground cabling including excavation & backfilling | L.m | 6 | 0 | 0
15 | Openings in walls / roof | each | 1 | 0 | 0
16 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1 | 0 | 0
17 | Relocation of equipment on roof (V Sat,A/C,solar panels,water tank) | each | 3 | 0 | 0
18 | Supply and Installation Waterproofing liquid membrane (PU) | M2 | 20 | 0 | 0
2 | Equipment
1 | Supply of HDG elevated chassis with grating on top (150x100)cm | each | 2 | 0 | 0
2 | Transportation & installation of HDG elevated chassis with grating on top (150x100)cm | each | 2 | 0 | 0
3 | Electrical Works
1 | Supply & installation of cable tray 22cm | L.m | 60 | 0 | 0
2 | Supply & installation of cover for cable tray 22cm | L.m | 60 | 0 | 0
3 | Supply & installation of cable tray 10cm | L.m | 30 | 0 | 0
4 | Supply & installation of cover for cable tray 10cm | L.m | 30 | 0 | 0
5 | Supply of power cables 3x16+N (armoured) | L.m | 70 | 0 | 0
5 | Erection & termination of power cables 3x16+N (armoured) | L.m | 70 | 0 | 0
6 | Supply of control cables (4 pairsx0.75mm) | L.m | 30 | 0 | 0
6 | Erection & termination of control cables (4 pairsx0.75mm) | L.m | 30 | 0 | 0
7 | Supply of grounding cables (1x50mm) | L.m | 100 | 0 | 0
7 | Erection & termination of grounding cables (1x50mm) | L.m | 100 | 0 | 0
8 | Supply of grounding cables (1x35mm) | L.m | 20 | 0 | 0
8 | installation of grounding cables (1x35mm) | L.m | 20 | 0 | 0
9 | Supply of power cable (2x2.5m) NYM | L.m | 30 | 0 | 0
9 | Installation of power cable (2x2.5m) NYM | L.m | 30 | 0 | 0
10 | Supply & installation of indoor & outdoor lighting & electrical accessories 6x(120cm double,2x18w)LED,for equipment & generator area including (panel box 8module to contain CB,socket & switch) | each | 2 | 0 | 0
11 | Supply & installation of EDL stabilizer aluminium cover (60x60x80)cm | each | 1 | 0 | 0
4 | Fire Fighting
1 | Supply & installation of 6 kg portable CO2 extinguisher | each | 1 | 0 | 0
2 | Supply & installation of 12 kg dry powder automatic fire extinguisher | each | 2 | 0 | 0
5 | Lightning & Grounding
1 | Supply & installation of RT lightning protection with SS rod | each | 1 | 0 | 0
2 | Supply & installation of RT grounding system . | each | 1 | 0 | 0
3 | Supply & installation of surge arrester block . | each | 1 | 0 | 0
6 | Generators
1 | Supply & installation of muffler 3" diameter without jacketing in RT sites | L.m | 36 | 0 | 0
2 | Supply & installation of CO2 filter for the muffler | each | 1 | 0 | 0
3 | Supply & installation of fuel tank & accessories. | each | 1 | 0 | 0
7 | Mounts
1 | Supply & installation of GSM pole 3", 6m on concrete | each | 1 | 0 | 0
2 | Supply & installation of MW pole 4",4m on concrete. | each | 1 | 0 | 0
3 | Supply & installation of MW pole 4",6m on concrete. | each | 1 | 0 | 0
4 | Supply & installation of GSM pole 8m height | each | 2 | 0 | 0
5 | Supply & installation of offset mast for radio antenna (3" diam. L=3….4)m | each | 4 | 0 | 0
6 | Supply & installation of support for RRU (pole type or handrail type) | each | 4 | 0 | 0
7 | Supply & installation of outdoor cable ladders | L.m | 6 | 0 | 0
8 | Telecom installations
1 | Transportation & installation of GSM antenna.(including Jumpers) | each | 3 | 0 | 0
| TOTAL |  |  |  | 0

## Rel RT ID
Mobile Interim Company 2 S.A.L
MIC 2
RT site (Relocation Indoor)
RT site
| Description | Unit | Estimated Qty | Unit Price | Total
1 | Civil Works
1 | Reinforced concrete (slabs,beams,columns,walls,footings..) | M3 | 5 | 0 | 0
2 | Concrete for generators & poles (20cm thick). | M2 | 40 | 0 | 0
3 | Plain concrete (average thickness 10cm) | M2 | 12 | 0 | 0
4 | Concrete blocks for cable ladder/tray | each | 30 | 0 | 0
5 | Cork insulation 5cm thick | M2 | 5 | 0 | 0
6 | Hollow block wall 20cm thick | M2 | 10 | 0 | 0
7 | Plastering | M2 | 20 | 0 | 0
8 | Painting | M2 | 20 | 0 | 0
9 | Supply & installation of seel fence & gate (for equipment ,generator area,site) | M2 | 40 | 0 | 0
10 | Supply & installation of steel tent (generators area,equipment,..) | M2 | 20 | 0 | 0
11 | Steel door (1.60x2.0)m for generators room | each | 1 | 0 | 0
12 | Excavation & backfilling (excavation in any kind of soil,demolishing of walls,slabs & import material for backfill & compaction) | M3 | 50 | 0 | 0
13 | Supply and Installatoin Waterproofing membrane 4mm granuled | M2 | 50 | 0 | 0
14 | PVC pipes 4" for underground cabling including excavation & backfilling | L.m | 6 | 0 | 0
15 | Openings in walls / roof | each | 1 | 0 | 0
16 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1 | 0 | 0
17 | Relocation of equipment on roof (V Sat,A/C,solar panels,water tank) | each | 3 | 0 | 0
18 | Supply and Installation Waterproofing liquid membrane (PU) | M2 | 20 | 0 | 0
2 | Equipment
2 | Transportation & installation of prefabricated shelter (3.75x2.75)m | each | 1 | 0 | 0
3 | Supply of steel chassis for shelter | kg | 1500 | 0 | 0
4 | Rehabilitation and Installation of steel chassis for shelter | kg | 1500 | 0 | 0
5 | Supply of steel ladder for shelter | each | 1 | 0 | 0
6 | Rehabilitation and Installation of steel ladder for shelter | each | 1 | 0 | 0
3 | Electrical Works
1 | Supply & installation of cable tray 22cm | L.m | 60 | 0 | 0
2 | Supply & installation of cover for cable tray 22cm | L.m | 60 | 0 | 0
3 | Supply & installation of cable tray 10cm | L.m | 30 | 0 | 0
4 | Supply & installation of cover for cable tray 10cm | L.m | 30 | 0 | 0
5 | Supply of power cables 3x16+N (armoured) | L.m | 70 | 0 | 0
5 | Erection & termination of power cables 3x16+N (armoured) | L.m | 70 | 0 | 0
6 | Supply of control cables (4 pairsx0.75mm) | L.m | 30 | 0 | 0
6 | Erection & termination of control cables (4 pairsx0.75mm) | L.m | 30 | 0 | 0
7 | Supply of grounding cables (1x50mm) | L.m | 100 | 0 | 0
7 | Erection & termination of grounding cables (1x50mm) | L.m | 100 | 0 | 0
8 | Supply of grounding cables (1x35mm) | L.m | 20 | 0 | 0
8 | installation of grounding cables (1x35mm) | L.m | 20 | 0 | 0
9 | Supply of power cable (2x2.5m) NYM | L.m | 30 | 0 | 0
9 | Installation of power cable (2x2.5m) NYM | L.m | 30 | 0 | 0
10 | supply & installation of MDB (indoor site) | each | 1 | 0 | 0
| Supply & installation of 2 pair cables (6 mm) | L.m | 20 | 0 | 0
| Supply & installation of 2 pair cables (1.5mm) | L.m | 20 | 0 | 0
| Supply & installation of 1 pair cables (1.5mm) | L.m | 20 | 0 | 0
| Transportation & installation of ATS panel for 2 Gensets | each | 1 | 0 | 0
11 | Supply & installation of indoor & outdoor lighting & electrical accessories 6x(120cm double,2x18w)LED,for equipment & generator area including (panel box 8module to contain CB,socket & switch) | each | 2 | 0 | 0
12 | Supply & installation of EDL stabilizer aluminium cover (60x60x80)cm | each | 1 | 0 | 0
4 | Fire Fighting
1 | Supply & installation of 6 kg portable CO2 extinguisher | each | 1 | 0 | 0
2 | Supply & installation of 12 kg dry powder automatic fire extinguisher | each | 2 | 0 | 0
3 | Transportation & installation of CO2 automatic fire suppresion system (with supply of minor items) | each | 1 | 0 | 0
6 | Lightning & Grounding
1 | Supply & installation of RT lightning protection with SS rod | each | 1 | 0 | 0
2 | Supply & installation of RT grounding system . | each | 1 | 0 | 0
3 | Supply & installation of surge arrester block . | each | 1 | 0 | 0
7 | Generators
1 | Supply & installation of muffler 3" diameter without jacketing in RT sites | L.m | 36 | 0 | 0
2 | Supply & installation of CO2 filter for the muffler | each | 1 | 0 | 0
3 | Supply of fuel tank & accessories. | each | 1 | 0 | 0
3 | Installation and Rehabilitation of fuel tank & accessories. | each | 1 | 0 | 0
4 | Transportation & installation of Generator with silencer (up to 40 KVA) | each | 1 | 0 | 0
8 | Mounts
1 | Supply accessories (bolts, screws, washers), treatement (where needed) of GSM pole 3", 6m on concrete | each | 1 | 0 | 0
2 | Installation of GSM pole 3", 6m on concrete |  |  | 0 | 0
2 | Supply accessories (bolts, screws, washers), treatement (where needed) of MW pole 4",4m on concrete. | each | 1 | 0 | 0
2 | installation of MW pole 4",4m on concrete. | each | 1 | 0 | 0
3 | Supply accessories (bolts, screws, washers), treatement (where needed) of of MW pole 4",6m on concrete. | each | 1 | 0 | 0
3 | installation of MW pole 4",6m on concrete. | each | 1 | 0 | 0
4 | Supply accessories (bolts, screws, washers), treatement (where needed) of GSM pole 8m height | each | 2 | 0 | 0
4 | Installation of GSM pole 8m height | each | 2 | 0 | 0
5 | Supply accessories (bolts, screws, washers), treatement (where needed) of offset mast for radio antenna (3" diam. L=3….4)m | each | 4 | 0 | 0
5 | Installation of offset mast for radio antenna (3" diam. L=3….4)m | each | 4 | 0 | 0
6 | Supply accessories (bolts, screws, washers), treatement (where needed) of RRU (pole type or handrail type) | each | 4 | 0 | 0
6 | Installation of support for RRU (pole type or handrail type) | each | 4 | 0 | 0
7 | Supply & installation of outdoor cable ladders | L.m | 6 | 0 | 0
9 | Telecom installations
1 | Transportation & installation of GSM antenna.(including Jumpers) | each | 4 | 0 | 0
2 | Transportation & installation of MW antenna. | each | 2 | 0 | 0
3 | Transportation & installation of coaxial cables | L.m | 300 | 0 | 0
4 | Transportation & installation of RG/IF cables | L.m | 150 | 0 | 0
5 | Transportation & installation of antenna window | each | 1 | 0 | 0
6 | Transportation & installation of RRU | each | 12 | 0 | 0
7 | Transportation & installation of RRU cables (Fiber & power) | L.m | 300 | 0 | 0
8 | Transportation & installation telecom equipment | each | 1 | 0 | 0
| TOTAL |  |  |  | 0

## Rel RT OD
Mobile Interim Company 2 S.A.L
MIC 2
RT site (Outdoor) Relocation
RT site
| Description | Unit | Estimated Qty | Unit Price | Total
1 | Civil Works
1 | Reinforced concrete (slabs,beams,columns,walls,footings..) | M3 | 2 | 0 | 0
2 | Concrete for generators & poles (20cm thick). | M2 | 40 | 0 | 0
3 | Plain concrete (average thickness 10cm) | M2 | 12 | 0 | 0
4 | Concrete blocks for cable ladder/tray | each | 30 | 0 | 0
5 | Cork insulation 5cm thick | M2 | 5 | 0 | 0
6 | Hollow block wall 20cm thick | M2 | 10 | 0 | 0
7 | Plastering | M2 | 20 | 0 | 0
8 | Painting | M2 | 20 | 0 | 0
9 | Supply & installation of seel fence & gate (for equipment ,generator area,site) | M2 | 40 | 0 | 0
10 | Supply & installation of steel tent (generators area,equipment,..) | M2 | 32 | 0 | 0
11 | Steel door (1.60x2.0)m for generators room | each | 1 | 0 | 0
12 | Excavation & backfilling (excavation in any kind of soil,demolishing of walls,slabs & import material for backfill & compaction) | M3 | 10 | 0 | 0
13 | Supply and Installatoin Waterproofing membrane 4mm granuled | M2 | 50 | 0 | 0
14 | PVC pipes 4" for underground cabling including excavation & backfilling | L.m | 6 | 0 | 0
15 | Openings in walls / roof | each | 1 | 0 | 0
16 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1 | 0 | 0
17 | Relocation of equipment on roof (V Sat,A/C,solar panels,water tank) | each | 3 | 0 | 0
18 | Supply and Installation Waterproofing liquid membrane (PU) | M2 | 20 | 0 | 0
2 | Equipment
1 | Supply of HDG elevated chassis with grating on top (150x100)cm | each | 0 | 0 | 0
2 | Transportation & installation of HDG elevated chassis with grating on top (150x100)cm | each | 3 | 0 | 0
3 | Electrical Works
1 | Supply & installation of cable tray 22cm | L.m | 60 | 0 | 0
2 | Supply & installation of cover for cable tray 22cm | L.m | 60 | 0 | 0
3 | Supply & installation of cable tray 10cm | L.m | 30 | 0 | 0
4 | Supply & installation of cover for cable tray 10cm | L.m | 30 | 0 | 0
5 | Supply of power cables 3x16+N (armoured) | L.m | 70 | 0 | 0
5 | Erection & termination of power cables 3x16+N (armoured) | L.m | 70 | 0 | 0
6 | Supply of control cables (4 pairsx0.75mm) | L.m | 30 | 0 | 0
6 | Erection & termination of control cables (4 pairsx0.75mm) | L.m | 30 | 0 | 0
7 | Supply of grounding cables (1x50mm) | L.m | 100 | 0 | 0
7 | Erection & termination of grounding cables (1x50mm) | L.m | 100 | 0 | 0
8 | Supply of grounding cables (1x35mm) | L.m | 20 | 0 | 0
8 | installation of grounding cables (1x35mm) | L.m | 20 | 0 | 0
9 | Supply of power cable (2x2.5m) NYM | L.m | 30 | 0 | 0
9 | Installation of power cable (2x2.5m) NYM | L.m | 30 | 0 | 0
| Transportation & installation of outdoor MDB | each | 1 | 0 | 0
| Supply & installation of 2 pair cables (6 mm) | L.m | 20 | 0 | 0
| Supply & installation of 2 pair cables (1.5mm) | L.m | 20 | 0 | 0
| Supply & installation of 1 pair cables (1.5mm) | L.m | 20 | 0 | 0
| Transportation & installation of ATS panel for 2 Gensets | each | 1 | 0 | 0
10 | Supply & installation of indoor & outdoor lighting & electrical accessories 6x(120cm double,2x18w)LED,for equipment & generator area including (panel box 8module to contain CB,socket & switch) | each | 2 | 0 | 0
11 | Supply & installation of EDL stabilizer aluminium cover (60x60x80)cm | each | 1 | 0 | 0
4 | Fire Fighting
1 | Supply & installation of 6 kg portable CO2 extinguisher | each | 1 | 0 | 0
2 | Supply & installation of 12 kg dry powder automatic fire extinguisher | each | 2 | 0 | 0
5 | Lightning & Grounding
1 | Supply & installation of RT lightning protection with SS rod | each | 1 | 0 | 0
2 | Supply & installation of RT grounding system . | each | 1 | 0 | 0
3 | Supply & installation of surge arrester block . | each | 1 | 0 | 0
6 | Generators
1 | Supply & installation of muffler 3" diameter without jacketing in RT sites | L.m | 36 | 0 | 0
2 | Supply & installation of CO2 filter for the muffler | each | 1 | 0 | 0
3 | Supply & installation of fuel tank & accessories. | each | 1 | 0 | 0
4 | Transportation & installation of Generator with silencer (up to 40 KVA) | each | 1 | 0 | 0
7 | Mounts
1 | Supply accessories (bolts, screws, washers), treatement (where needed) of GSM pole 3", 6m on concrete | each | 1 | 0 | 0
2 | Installation of GSM pole 3", 6m on concrete |  |  | 0 | 0
2 | Supply accessories (bolts, screws, washers), treatement (where needed) of MW pole 4",4m on concrete. | each | 1 | 0 | 0
2 | installation of MW pole 4",4m on concrete. | each | 1 | 0 | 0
3 | Supply accessories (bolts, screws, washers), treatement (where needed) of of MW pole 4",6m on concrete. | each | 1 | 0 | 0
3 | installation of MW pole 4",6m on concrete. | each | 1 | 0 | 0
4 | Supply accessories (bolts, screws, washers), treatement (where needed) of GSM pole 8m height | each | 2 | 0 | 0
4 | Installation of GSM pole 8m height | each | 2 | 0 | 0
5 | Supply accessories (bolts, screws, washers), treatement (where needed) of offset mast for radio antenna (3" diam. L=3….4)m | each | 4 | 0 | 0
5 | Installation of offset mast for radio antenna (3" diam. L=3….4)m | each | 4 | 0 | 0
6 | Supply accessories (bolts, screws, washers), treatement (where needed) of RRU (pole type or handrail type) | each | 4 | 0 | 0
6 | Installation of support for RRU (pole type or handrail type) | each | 4 | 0 | 0
7 | Supply & installation of outdoor cable ladders | L.m | 6 | 0 | 0
8 | Telecom installations
1 | Transportation & installation of GSM antenna.(including Jumpers) | each | 4 | 0 | 0
2 | Transportation & installation of MW antenna. | each | 2 | 0 | 0
3 | Transportation & installation of coaxial cables | L.m | 300 | 0 | 0
4 | Transportation & installation of RG/IF cables | L.m | 150 | 0 | 0
5 | Transportation & installation of antenna window | each | 1 | 0 | 0
6 | Transportation & installation of RRU | each | 12 | 0 | 0
7 | Transportation & installation of RRU cables (Fiber & power) | L.m | 300 | 0 | 0
8 | Transportation & installation telecom equipment | each | 1 | 0 | 0
| TOTAL |  |  |  | 0

## Site Dismantling
Mobile Interim Company 2 S.A.L
MIC 2
Dismantling of sites (Estimated BOQ)
# | Description | Unit | Estimated Qty | U/Price $ | Total
1 | Sites of various types
1 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor RT masts,with generators) | each | 22 | 0 | 0
2 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor RT18m tower,with generators) | each | 4 | 0 | 0
3 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor RT masts,with generators) | each | 8 | 0 | 0
4 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor RT 18m tower,with generators) | each | 2 | 0 | 0
5 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor RT masts,without generators) | each | 22 | 0 | 0
6 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor RT18m tower,without generators) | each | 4 | 0 | 0
7 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor RT masts,without generators) | each | 8 | 0 | 0
8 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor RT 18m tower,without generators) | each | 2 | 0 | 0
9 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor GF with 35m tower,with generators) | each | 2 | 0 | 0
10 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor GF with 35m tower,with generators) | each | 8 | 0 | 0
11 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (indoor GF with 35m tower,without generators) | each | 2 | 0 | 0
12 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of telecom site type (outdoor GF with 35m tower,without generators) | each | 4 | 0 | 0
13 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of outdoor micro site (masts,cabinets,antenans,cables,..) | each | 10 | 0 | 0
14 | Dismantling & transportation to MIC2 warehouses (Dekweneh & Mansourieh) of Generators area for GF/RT site | each | 2 | 0 | 0
OPTIONAL
1 | Supply and Installatoin Waterproofing membrane 4mm granuled | M2 | 2000 | 0 | 0
2 | Painting as minor restoration works after site dismantling | M2 | 2000 | 0 | 0
| TOTAL |  |  |  | 0

## Optimization
Mobile Interim Company 2 S.A.L
MIC 2
Radio Optimization
Relocation & Add sector-Estimated BOQ
# | Description | Unit | Estimated Qty | U/Price | Total
1 | Model 1 (8m mast) |  | 15 |  | 0
| Mobilization & logistcs cost for optimization works/site | each | 1 | 0 | 0
1 | Concrete slab for poles 20cm thick with waterproofing dressing 4mm mambrane. | M2 | 10 | 0 | 0
2 | Supply and Installation Waterproofing liquid membrane (PU) | M2 | 20 | 0 | 0
3 | Supply & installation of 8m pole,5" concrete type | each | 1 | 0 | 0
4 | Supply & installation of offset for radio antenna (3m,3") | each | 3 | 0 | 0
5 | Dismantling & transportation to warehouse of radio antenna | each | 4 | 0 | 0
6 | Transporatation & Installation of radio antenna | each | 5 | 0 | 0
6 | Transportation & installation of RRU | each | 4 | 0 | 0
7 | Transportation & installation of RRU cables (Fiber & power) | L.m | 200 | 0 | 0
8 | Supply & installation of cable tray 20cm with cover | L.m | 12 | 0 | 0
9 | Supply & installation of blocks for cable tray | L.m | 6 | 0 | 0
10 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1 | 0 | 0
2 | Model 2 (6m mast) |  | 15 |  | 0
| Mobilization & logistcs cost for optimization works/site | each | 1 | 0 | 0
1 | Concrete slab for poles 20cm thick with waterproofing dressing 4mm mambrane. | M2 | 10 | 0 | 0
2 | Supply and Installation Waterproofing liquid membrane (PU) | M2 | 20 | 0 | 0
3 | Supply & installation of 6m pole,4" concrete type | each | 1 | 0 | 0
4 | Supply & installation of offset for radio antenna (3m,3") | each | 3 | 0 | 0
5 | Dismantling & transportation to warehouse of radio antenna | each | 6 | 0 | 0
6 | Transporatation & Installation of radio antenna | each | 3 | 0 | 0
6 | Transportation & installation of RRU | each | 4 | 0 | 0
7 | Transportation & installation of RRU cables (Fiber & power) | L.m | 200 | 0 | 0
8 | Supply & installation of cable tray 20cm with cover | L.m | 12 | 0 | 0
9 | Supply & installation of blocks for cable tray | L.m | 6 | 0 | 0
3 | Model 3 (4m mast) |  | 15 |  | 0
| Mobilization & logistcs cost for optimization works/site | each | 1 | 0 | 0
1 | Concrete slab for poles 20cm thick with waterproofing dressing 4mm mambrane. | M2 | 6 | 0 | 0
2 | Supply & installation of 4m pole,4" | each | 2 | 0 | 0
3 | Supply & installation of offset for radio antenna (3m,3") | each | 4 | 0 | 0
4 | Transportation & Installation of radio antenna | each | 2 | 0 | 0
5 | Dismantling of radio antenna & transport to warehouse | each | 6 | 0 | 0
6 | Dismantling of antenna mount & transport to warehouse | each | 3 | 0 | 0
6 | Transportation & installation of RRU | each | 4 | 0 | 0
7 | Transportation & installation of RRU cables (Fiber & power) | L.m | 200 | 0 | 0
8 | Supply & installation of cable tray 20cm with cover | L.m | 20 | 0 | 0
9 | Supply & installation of blocks for cable tray | L.m | 10 | 0 | 0
4 | Model 4 (Antenna swap) |  | 15 |  | 0
| Mobilization & logistcs cost for optimization works/site | each | 1 | 0 | 0
1 | Supply & installation of mount for radio/MW antenna on tower | each | 3 | 0 | 0
2 | Transportation & Installation of radio antenna | each | 5 | 0 | 0
3 | Transportation & installation of MW antenna. | each | 5 | 0 | 0
4 | Transportation & installation of RG/IF cables | L.m | 500 | 0 | 0
5 | Transportation & installation of coaxial cables | L.m | 500 | 0 | 0
6 | Supply & installation of cable tray 20cm with cover | L.m | 30 | 0 | 0
5 | Model 5 (Steel frame) |  | 15 |  | 0
| Mobilization & logistcs cost for optimization works/site | each | 1 | 0 | 0
1 | Steel Chassis made up of HEA beams,bars & 3mm sheets/plates for platform construction needed for antenna installation | kg | 1000 | 0 | 0
2 | Supply and Installation of Galvanized steel climbing ladder (h=3m,w=60cm) | each | 1 | 0 | 0
3 | Relocation of equipment on roof (V Sat,A/C,solar panels,water tank) | each | 3 | 0 | 0
4 | Dismantling & re-installation of cable ladder 40cm | L.m | 30 | 0 | 0
5 | Supply & installation of mast for radio antenna (4m,3") | each | 4 | 0 | 0
6 | Supply & installation of offset for radio antenna (3m,3") | each | 4 | 0 | 0
7 | Transportation & Installation of radio antenna | each | 4 | 0 | 0
8 | Transportation & installation of MW antenna. | each | 2 | 0 | 0
9 | Transportation & installation of RG/IF cables | L.m | 100 | 0 | 0
10 | Dismantling & re-installation of coaxial cables | L.m | 200 | 0 | 0
11 | Dismantling & transportation to warehouse of radio antennas including the masts/offsets | each | 6 | 0 | 0
| TOTAL |  |  |  | 0

## Infra Maintenance
Mobile Interim Company 2 S.A.L
MIC 2
Maintenanace Works/Repairs on Existing sites (Estimated BOQ) for 100 Sites
# | Description | Unit | Estimated Qty | U/Price $ | Total
1 | Maintenance CW
1 | Repair for the damaged steel fence (all types) (Mesh-type;bars type;Louvre type;…) by replacing damaged part by installing new made up of same matching material. | M2 | 400 | 0 | 0
2 | Reinforcement of the existing steel fence by installing additional bars with 10cm spacing. | M2 | 300 | 0 | 0
3 | Repair for the damaged prefabricated shelter panel by removing the damaged part & install new with matching specs. | M2 | 100 | 0 | 0
4 | Reinforcement of the existing prefabricated shelter panels to protect the shelter by installing HDG sheets 3mm thick,1m wide | M2 | 100 | 0 | 0
5 | Repair for the damaged shelter door by replacing with new one including all accessories (lock,handle,intrusion alarm,..) & delivering the damaged one to MIC2 warehouse. | each | 20 | 0 | 0
6 | Repair for the damaged generators area door by replacing with new one including all accessories (lock,handle,..) & delivering the damaged one to MIC2 warehouse. | each | 20 | 0 | 0
7 | Reinforcement the shelter door by adding steel sheets & frames including lock. | each | 10 | 0 | 0
8 | Repair for the damaged block wall by properly removing all debris from site.Construction of the wall including plaster & paint. | M2 | 10 | 0 | 0
9 | Replacement of damaged cable tray 20cm by new one including cover & all accessories | L.m | 500 | 0 | 0
10 | Replacement of damaged cable tray 10cm by new one including cover & all accessories | L.m | 300 | 0 | 0
11 | Repair for the damaged FT delivery pipes by replacement old pipes including all accessories & connections.(GF/RT site) | each | 20 | 0 | 0
12 | Repair for the damaged refueling pipe.Works include replacement of damaged pipe & re install with all accessories needed. | L.m | 150 | 0 | 0
13 | Repair for the damaged muffler including removing of damaged part & install new with matching specs & dimensions including flanges,connections,.. | L.m | 300 | 0 | 0
14 | Replacement of the damaged CO2 filter including connections to main exhaust,removing the damaged one to warehouse. | each | 20 | 0 | 0
15 | Replacement of the damaged fuel tank by new one,including connections to generator,grounding,..and removing the old FT to warehouse. | each | 5 | 0 | 0
16 | S&I of down conductor 70mm2 to replace the stolen one (estimated per each GF site 100m),including clamps & connection to main bar. | each | 25 | 0 | 0
17 | S&I of down conductor 70mm2 to replace the stolen one (estimated per each RT site 70m),including clamps & connection to main bar. | each | 25 | 0 | 0
18 | S&I of ground cables to replace the stolen/damaged ones, including termination to panels & connection to ground bars. | L.m | 1500 | 0 | 0
19 | Repair for the damaged tent by replacing damaged sheets and steel bars | M2 | 100 | 0 | 0
20 | Repair for waterproofing membrane by removing the old one and apply new layer of granule 4mm SBS; including all preparation works (cleaning,concrete screeding where necessary,removing debris,cutting 20cm slabs 3M2,painting repair 20M2...) All complete with testing & guarantee. | M2 | 2000 | 0 | 0
21 | Repair for waterproofing membrane by removing the old one and apply 3 coats of PU liquid membrane (roof & parapet); including all preparation works (cleaning,removing debris,drains repair,cracks treatment,....).All complete with testing & guarantee. | M2 | 1000 | 0 | 0
| TOTAL |  |  |  | 0

## DAS
Distributed Antenna System BOQ
# | DAS Models | Unit | Quote per antenna (USD) | Remarks | 0
1 | Model 1 - Small (up to 50 Antennas) | Antenna | 0 | The total quote per site will be the number of antennas installed in the site multiplied by the "by per antenna quote"; this price will cover the installation of all the components of the DAS including yet not limited to: antennas, splitters, feeders, couplers, jumpers, ceiling openings and restoration, ancilliaries, etc... * any item that is not mentioned in the optional items below shall be considered to be covered in the quote per antenna.
2 | Model 2 - Medium (51 - 150 Antennas) | Antenna | 0
3 | Model 3 - Large (151- 250 Antennas) | Antenna | 0
4 | Model 4 - Huge (251+ Antennas) | Antenna | 0
# | Optional Items | Unit | Quote (USD) | Remarks
1 | Supply and installation of indoor cable trays (10 cms) | L.M. | 0
2 | Supply and installation of indoor cable trays covers (10 cms) | L.M. | 0
3 | Supply and installation of indoor cable trays (20 cms) | L.M. | 0
4 | Supply and installation of indoor cable trays covers (20 cms) | L.M. | 0
| Supply and installation of PVC 2" conduit | L.M. | 0
| Supply and installation of PVC 3" conduit | L.M. | 0
| Supply and installation of Galvanized Flexible Cable Housing | L.M. | 0
3 | light weight Crane, Scaffoldings, or cherry picker needed to reach for very high ceilings. | day | 0
4 | Fiber Splicing and Testing | pcs. | 0