# Datacenter Infrastructure Monitoring Maintenance RFQ

MIC2 is issuing a request for quotation to renew the hardware and software maintenance for its existing DCIM system located in HQ datacenter.

Duration of the support contract is for 3 years.

# Hardware Bill of Quantity

Spare parts to be delivered to MIC2 Warehouse:

| FusionModule2000-Monitor System |  | Quantity | Unit Price | Total Price |
| --- | --- | --- | --- | --- |
| ECC800 | ECC800-MCU controller-SMS support | 2 |  |  |
| EN3MEIM03C101 | IT Cabinet Collector | 4 |  |  |
| UT-H606 | Other Network Accessory-Smart ETH gateway-48VDC-POE | 2 |  |  |
| GRS-RHSI | Sensor Signal Controller-Multi-function Sensor (Smoke /Temperature/humidity detection )-POE/Zigbee | 2 |  |  |
| 33010445 | Sensor-Liquid Level Sensor-Non positioning water immersion sensor detecting rope-5m | 2 |  |  |
| EBTSensor005 | temperature and humidity sensor | 6 |  |  |
| TE820H103B | Temperature sensor-cabinet temperature sensor- -10 degC~ +55 degC- +- 0.5degC(@ 25degC) - with 6 temperature detection points, 2.35m | 4 |  |  |
| iManager NetEco For Data Center V600R008 |  |  |  |  |
| S5320-28X-PWR-SI | Network Equipment,Switch,S5320-28X-PWR-SI(24 Ethernet 10/100/1000 PoE+ ports,4 of which are dual-purpose 10/100/1000 or SFP,4 10 Gig SFP+,with 2 AC power) | 1 |  |  |
| IDSECC500SE0 | Energy Control Center 500 Serial | 1 |  |  |
| IDSRS485CMB0 | Controller - communication board, -RS485 communication board - supports 5 way isolated RS485 communication | 1 |  |  |
| IDSAIDIEXTB0 | Controller -AI/DI expansion board -AI/DI detection - support 4 channel AI/DI detection | 1 |  |  |
| 33010311 | Sensor-Smoke Sensor-12VDC-NO/NC | 1 |  |  |

| GRAND TOTAL PRICE 1 |  |
| --- | --- |

# Service level agreement

| Description | Total Price |
| --- | --- |
| 4 preventive maintenance visits per year – Total 12 visits in 3 years. |  |
| unlimited corrective visits including but not limited software and/or hardware, cabling with accessories failure for 3 years |  |
| software support and updates including new features (SSA) for 3 years |  |

| GRAND TOTAL PRICE 2 |  |
| --- | --- |

- Bidder must be an authorized Huawei partner especialized in datacenter vertical.

- Bidder must have certified Huawei engineer. Minimum 1 engineer certified as datacenter professional.

- Bidder must get an SSA (Software Service Agreement)  from Huawei for the DCIM.

- Bidder must provide a list of engineers CV.

- Bidder must share previous implementation references for Huawei Fusion solution and DCIM solution in Lebanon and in the region.

- Bidder must be able to perform both hardware and software maintenance.

# Key performance indicators

| KPI Package |  |
| --- | --- |
| Help Desk | 7*24 |
| Technical support information Sharing | Access to Huawei Tech |

| Remote CSR handling | Severity | Service Availability Time | Response Time | Emergency Recovery Time (98%) | Resolution Time (98%) |
| --- | --- | --- | --- | --- | --- |
|  | Critical | 7*24 | 15 min | 16Hr | 49 CD |
|  | Major | 5*8 | 30 min | 14 CD |  |
|  | Minor | 5*8 | 30 min | NA | 81 CD |
|  | Technical Enquiry | 5*8 | 120 min | NA | 28 CD |
| Software update and implementation | Included |  |  |  |  |

# Killing Factor

- Bidder must be an authorized Huawei partner especialized in datacenter vertical.

- Bidder must share previous implementation references for Huawei Fusion solution and DCIM solution in Lebanon and in the region.