## Air-Con
DEKWANEH WAREHOUSE BILL OF QUANTITIES - AIR-CONDITIONING
ITEM | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL USD
| Air Conditioners: |  |  |  | 0
1 | Air Conditioner, split, wall type, 12,000 BTU A/C Unit, inverter type, 220Vac, 1Ph, with auto-restart including copper pipes (up to 10m) and drain pipes | U | 8 |  | 0
2 | Air Conditioner, Precision, air-Cooled, 7.5KW total sensible cooling, with humidifier and heater, stand alone, upflow including copper pipes and drain pipes. | U | 3 |  | 0
Ducting:
Supply and Installation of GI Ducting according to SMACNA Rectangular indoor, according to specifications
3 | 500x500mm ducts | Lm | 45 |  | 0
0
Grills and Diffusers:
4 | 500x500mm rectangular Diffusers | U | 20 |  | 0
0
Total |  |  |  |  | 0