## Grade of Compliance Range
| RFT Scoring Sheet | Reference Number | SF-CF-87
|  | Owner | PRO/PMO
|  | Revision Code | 3.0
|  | Implementation Date | 2024-05-01
Grade of Compliance range from 0 to 15 with a step of 1 unit:
15 : Compliant with additional value, not initially included in the requirements
10 : Fully compliant
4 - 5 - 6: Partially compliant
0 : Not compliant
K : Disqualification
** Project owner should describe how each grade will be selected (0/4-5-6/10/15), and if there is any formula or margins to be mentioned.

## Technical Scoring
| RFT Scoring Sheet | [11 empty] | Reference Number |  | SF-CF-87
[13 empty] | Owner |  | PRO/PMO
[13 empty] | Revision Code |  | 3.0 | 3.0
[13 empty] | Implementation Date |  | 2024-05-01 | 2024-05-01
Project Name | DEKWANEH WAREHOUSE - Civil & Mechanical Works - Outdoor |  | * For Requirements defined as ''Killer'', a ‘’Fully Compliant’’ score should be the sole acceptable outcome. Failing to obtain a ‘’Fully Compliant’’ score on the requirements defined as Killers, will mandate immediate disqualification for bidders.
Article | Requirements | Weight | Responsible Entity | Supplier 1 | Supplier 2 | Supplier 3 | Supplier 4 | Supplier 5 | Supplier 6 | Remarks | Supplier 1 Final | Supplier 2 Final | Supplier 3 Final | Supplier 4 Final | Supplier 5 Final | Supplier 6 Final
| INTERNAL AND EXTERNAL WORKS | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| PRELIMINARY WORK | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Topographic Survey Plot No. 1668 (~15,000m²) including marking of plot boundaries, warehouse boundaries, existing infrastructure and facilities, and levels. | 5% | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| EXCAVATION | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Excavate, compact and level, where needed | 5% | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| FENCE (execution + additional concrete fence in case needed upon execution behind hangar - same length) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Masonry wall | 2% | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Columns 0.2*0.2*2.3m | 2% | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Columns foundation 0.4*0.4*0.2m | 2% | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Linear wall foundation 20x20cm | 2%
| Excavation (10cm wider than foundations all around) | 2%
| Barbed Wire + fence detail on top of walls | 2%
WAREHOUSE (HANGAR) 70m*40m
| Design and execution. Including, but not limited to, everything mentioned in the technical document and drawings. | 40%
PREFABRICATED SECURITY ROOMS
| 2.5x2.5x2.5m with door and 2 windows, including floor and structure, lighting, air-conditioner 9,000BTU, with 30cm high legs. | 5%
| 2.5x3.5x2.5m with door and 2 ventilation windows and lighting for fire pumps fixed to the concrete slab | 5%
OTHER CIVIL WORKS
| Concrete slab for fire pumps room and water tank: 3x10x0.2m | 5%
| Reinforced concrete foundation for lighting poles (refer to drawings for detail) including excavation and all needed works | 5%
| Tripod 4m 3"/4mm with offset pipe for transmission MW | 5%
| Cable Tray 98x48mm perforated with return edge and cover | 5%
Electrical Duct Bank Supply all required materials, and construct duct bank with four (4) PVC ducts 4"Ø each, complete including all necessary excavation, ducts, concrete bed & surround using moderate sulphate resistant cement to ASTM C150, Type II, 30 MPa on cylinder (38 MPa on cube), formwork, reinforcement, accessories, PVC covered wire rope for ducting, warning tape, application of two coats of bituminous paint to concrete surfaces in contact with soil, backfilling, compaction, removal of surplus material to approved dumping areas, and all other related works, all as specified, to the satisfaction of the Engineer, and in full coordination with relevant local authorities. Check provided trench drawing detail.
Supply all required materials, and construct 100x100x100cm [WxDxH] manhole complete including, but not limited to all necessary excavation, concrete works using moderate sulphate resistant cement to ASTM C150, Type II, 14 MPa on Cylinder (18 MPa on Cube) for blinding and 30 MPa on Cylinder (38 MPa on Cube) for reinforced concrete works, all necessary formwork, reinforcement, accessories, application of two coats of bituminous paint to concrete surfaces in contact with soil, backfilling, compaction, removal of surplus materials to approved dumping areas, covers and frames, and all other related works, all as specified, to the satisfaction of the Engineer, and in full coordination with relevant local authorities.
| Remove and transport existing metallic tent to junk area or wherever asked to | 2%
| Demolish external wall to create new entrance | 2%
| Execute a new main gate entrance | 2%
| Execute ramp at main warehouse entrance | 2%
Total |  | 100% | [7 empty] | Total | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | SUPPLIER 1 SCORE | SUPPLIER 2 SCORE | SUPPLIER 3 SCORE | SUPPLIER 4 SCORE | SUPPLIER 5 SCORE | SUPPLIER 6 SCORE
* For Requirements defined as ''Killer'', a ‘’Fully Compliant’’ score should be the sole acceptable outcome. Failing to obtain a ‘’Fully Compliant’’ score on the requirements defined as Killers, will mandate immediate disqualification for bidders.
Note on D8: Entity (Department/ Unit) that identified the requirement and that will be responsible for its evaluation.
Note on E8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on F8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on G8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on H8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on I8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on J8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on B14: GEORGES GEAGEA: DEDUCT VALUES INCLUDED THE FENCE PHASE 1 RFT/BOQ IF THAT ONE GOT EXECUTED

## Combined Scoring
| RFT Scoring Sheet |  | Reference Number | SF-CF-87
|  |  | Owner | PRO/PMO
|  |  | Revision Code | 3.0 | 3.0
|  |  | Implementation Date | 2024-05-01 | 2024-05-01
Project Name | DEKWANEH WAREHOUSE - Civil & Mechanical Works - Outdoor
| Technical Score | 40%
| Commercial Score | 60%
| Combined Score | 100%