## TOTAL
DEKWANEH WAREHOUSE Civil & Mechanical Works
BILL OF QUANTITIES - GRAND TOTAL
ITEM | DESCRIPTION | TOTAL (USD)
| Miscellaneous | 0
| Outdoor Civil Works | 0
| External Offices + Logistics 2 Story Building | 0
| GRAND TOTAL | 0

## Miscellaneous
BILL OF QUANTITIES - LIGHTING
ITEM | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL USD
LIGHTING POLES
| Steel deep galvanized poles 9m high to support flood lights and CCTV cameras | U | 9 |  | 0
GENERATOR SLABS
| Concrete slabs for 1*generators and 2 Fuel tanks; (thickness 10cm, 20MPa compressive strength) | m² | 7.5 |  | 0
FIRE WATER TANK
| Water Tank 10m3 | U | 2 |  | 0
| Water tank accessories, valves, water level, etc | LS | 1 |  | 0
Total |  |  |  |  | 0

## Outdoor Civil Works
BILL OF QUANTITIES - OUTDOOR CIVIL WORKS
ITEM | WORK DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL USD
INTERNAL AND EXTERNAL WORKS
PRELIMINARY WORK
1 | Topographic Survey Plot No. 1668 (~15,000m²) including marking of plot boundaries, warehouse boundaries, existing infrastructure and facilities, and levels. | LS | 1 |  | 0
EXCAVATION
2 | Excavate, compact and level, where needed | m² | 500 |  | 0
FENCE (execution + additional concrete fence in case needed upon execution behind hangar - same length)
3 | Masonry wall | m² | 166 |  | 0
4 | Columns 0.2*0.2*2.3m | Ea | 25 |  | 0
5 | Columns foundation 0.4*0.4*0.2m | Ea | 25 |  | 0
6 | Linear wall foundation 20x20cm | Lm | 66 |  | 0
7 | Excavation (10cm wider than foundations all around) | m³ | 14 |  | 0
8 | Barbed Wire + fence detail on top of walls | m | 89 |  | 0
0
WAREHOUSE (HANGAR) 70m*40m
9 | Design and execution. Including, but not limited to, everything mentioned in the technical document and drawings. | Ea | 1 |  | 0
PREFABRICATED SECURITY ROOMS
10 | 2.5x2.5x2.5m with door and 2 windows, including floor and structure, lighting, air-conditioner 9,000BTU, with 30cm high legs. | Ea | 2 |  | 0
11 | 2.5x3.5x2.5m with door and 2 ventilation windows and lighting for fire pumps fixed to the concrete slab | Ea | 1 |  | 0
OTHER CIVIL WORKS
12 | Concrete slab for fire pumps room and water tank: 3x10x0.2m | Ea | 1 |  | 0
13 | Reinforced concrete foundation for lighting poles (refer to drawings for detail) including excavation and all needed works | Ea | 9 |  | 0
14 | Tripod 4m 3"/4mm with offset pipe for transmission MW | Ea | 1 |  | 0
15 | Cable Tray 98x48mm perforated with return edge and cover | Lm | 20 |  | 0
16 | Electrical Duct Bank Supply all required materials, and construct duct bank with four (4) PVC ducts 4"Ø each, complete including all necessary excavation, ducts, concrete bed & surround using moderate sulphate resistant cement to ASTM C150, Type II, 30 MPa on cylinder (38 MPa on cube), formwork, reinforcement, accessories, PVC covered wire rope for ducting, warning tape, application of two coats of bituminous paint to concrete surfaces in contact with soil, backfilling, compaction, removal of surplus material to approved dumping areas, and all other related works, all as specified, to the satisfaction of the Engineer, and in full coordination with relevant local authorities. Check provided trench drawing detail. | Lm | 100 |  | 0
17 | Supply all required materials, and construct 100x100x100cm [WxDxH] manhole complete including, but not limited to all necessary excavation, concrete works using moderate sulphate resistant cement to ASTM C150, Type II, 14 MPa on Cylinder (18 MPa on Cube) for blinding and 30 MPa on Cylinder (38 MPa on Cube) for reinforced concrete works, all necessary formwork, reinforcement, accessories, application of two coats of bituminous paint to concrete surfaces in contact with soil, backfilling, compaction, removal of surplus materials to approved dumping areas, covers and frames, and all other related works, all as specified, to the satisfaction of the Engineer, and in full coordination with relevant local authorities. | Ea | 4 |  | 0
18 | Remove and transport existing metallic tent to junk area or wherever asked to | Ea | 1 |  | 0
19 | Demolish external wall to create new entrance | Lm | 5.5 |  | 0
20 | Execute a new main gate entrance | Lm | 6 |  | 0
21 | Execute ramp at main warehouse entrance | Lm | 10 |  | 0
Total |  |  |  |  | 0
Note on B8: GEORGES GEAGEA: DEDUCT VALUES INCLUDED THE FENCE PHASE 1 RFT/BOQ IF THAT ONE GOT EXECUTED

## External Offices + Logistics
BILL OF QUANTITIES - DOORS
ITEM | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL USD
EXTERNAL OFFICES AND LOGISTICS BUILDING
General description
| -The building will consist of 2 stories. Bottom ground floor story is reserved for logistics warehouse. Top story is reserved for offices, kitchen, 2 bathrooms and a small storage area. -Projected top view dimensions of the building will be 20m x 7.5m. -Building walls, internal and external, consist of 10cm thick sandwish panels. -Building will be installed on a concrete solid slab on grade acting as foundation. -The first story ceiling slab (or the 2nd story floor slab) consists of a metallic structure. It also should allow for floor tiling and all mechanical installations for the kitchen and the bathrooms, without any risk for spillage or flooding or draining into the 1st story. -The roof consists of a metallic structure that should support a layer of 10cm sandwish panel. -No columns are allowed inside of the building along the 7.5m width. Columns can only be within the edge walls. -Clear structural internal height shall be 3m in each story. More details are shown in the attached drawings. | U | 1 |  | 0
==> In addition to the above general architecture and structure figures, the room includes the below:
Foundation
| Concrete slab on grade of 21m x 9m x 0.25m size acting as a foundation for the building (designer to confirm that 25cm thickness is needed or if 20cm is enough) | m3 | 47.25 |  | 0
Bathrooms
| 2 bathrooms fully equipped of (1.45x2.85m²) each, containing each: 2 sinks and 1 toilet. | Ea. | 2 |  | 0
Kitchen
| A kitchen fully equipped including 1 big stainless steel sink surface (2.85m) with drawers and cupboards underneath | Ea. | 1 |  | 0
Windows
| Standard 2 sliding panels aluminum windows 120cm x 120cm | U | 6 |  | 0
| Standard hinged small window 60cm x 60cm | U | 2 |  | 0
Floor tiling and mechanical
| Ceramic tiles 60x60cm with mechanical installation beneath. Designer to present a full solution. Also consider the price of all mechanical installations and pipes in this item. | m2 | 71 |  | 0
Doors + Porches + Platform + Stairs
| Double leaf door, 60min fire rated, structural reveal (80+80)*2150cm. Main leaf fitted from the inside with emergency twist handle and from the outside with handle and cylinder. Secondary leaf equipped with carrier arm and a closing regulator with built-in impact damper. Opens to the outside. Main leaf opens to the left. Similar to Ninz REI 0217. ( + 1 Porch cover 2m x 1.5m on top of the main storage room door at the ground floor). | U | 1 |  | 0
| Single leaf door, 60min fire rated, structural reveal 1200*2150cm; The door is fitted from the inside with emergency twist handle and from the outside with handle and cylinder. Similar to Ninz. ( + 1 porch cover 1.5m x 1m for the main entrance of the second story.) | U | 4 |  | 0
| Single leaf wooden door 900x2150cm | U | 2 |  | 0
| Single leaf wooden door 700x2150cm | U | 4 |  | 0
| 2nd story main entrance platform 2m x 1.5m + 1m handrails all around | m2 | 3 |  | 0
| Mid-platform for metallic stairs 1.2m x 1.2m + 1m handrails all around | m2 | 1.44 |  | 0
| Metallic external stair leading to 2nd story; width=120cm, 5 steps/m, for roof top access - painted - Tubular 80x40 - Steps made of duck board with frame right angled 2.5x2.5cm - Handles on one both sides 40x40mm | lm | 5.8 |  | 0
Sceptic Tank
| Sceptic tank 7.5m x 2.5m x 2.9m external dimensions. All walls and slabs, internal and external, are 20cm thick reinforced concrete 30MPa, reinforced by 2 layers of rebars T10@150mm in both directions. Tank is divided into 3 chambers seperated by 20cm thick walls perforated by 2 connection openings (40x40cm). Include plumbing connections from building till sceptic tank. Consider 3 access traps (40x40cm) and their metallic covers. Refer to drawings. | U | 1 |  | 0
Water tanks and pump
| PVC water tank, triple layer, 2000L to supply water to the WCs and Kitchen. (similar to NTG RTH3) | U | 2 |  | 0
| Water pump with pressure head, 0.5HP | U | 1 |  | 0
Total |  |  |  |  | 0