## Grade of Compliance Range
| RFT Scoring Sheet | Reference Number | SF-CF-87
|  | Owner | PRO/PMO
|  | Revision Code | 3.0
|  | Implementation Date | 2024-05-01
Grade of Compliance range from 0 to 15 with a step of 1 unit:
15 : Compliant with additional value, not initially included in the requirements
10 : Fully compliant
4 - 5 - 6: Partially compliant
0 : Not compliant
K : Disqualification
** Project owner should describe how each grade will be selected (0/4-5-6/10/15), and if there is any formula or margins to be mentioned.

## Technical Scoring
| RFT Scoring Sheet | [11 empty] | Reference Number |  | SF-CF-87
[13 empty] | Owner |  | PRO/PMO
[13 empty] | Revision Code |  | 3.0 | 3.0
[13 empty] | Implementation Date |  | 2024-05-01 | 2024-05-01
Project Name | DEKWANEH WAREHOUSE - Lighting |  | * For Requirements defined as ''Killer'', a ‘’Fully Compliant’’ score should be the sole acceptable outcome. Failing to obtain a ‘’Fully Compliant’’ score on the requirements defined as Killers, will mandate immediate disqualification for bidders.
Article | Requirements | Weight | Responsible Entity | Supplier 1 | Supplier 2 | Supplier 3 | Supplier 4 | Supplier 5 | Supplier 6 | Remarks | Supplier 1 Final | Supplier 2 Final | Supplier 3 Final | Supplier 4 Final | Supplier 5 Final | Supplier 6 Final
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
LIGHTING POINTS AND ELECTRIC OUTLETS
| Including concealed and exposed conduits, wiring up to corresponding panelboard, cable outlet, fixing support, and necessary accessories and connections as specified and shown on drawings. | 11%
LIGHTING FIXTURES
| Including necessary accessories for installation and connection, as specified and shown on drawings. | 1%
B01 | LED surface mounted fixture, 4100 lumens, color temperature 4000 K, beam angle of light source 90deg, 34W, white housing, similar to Philips | 10%
B02 | LED surface mounted fixture, 1800 lumens, color temperature 4000 K, 15W, white housing, similar to Philips | 10%
B03 | 8W Wall mounted Emergency Light with battery kit, similar to Legrand | 10%
B04 | 8W Wall mounted Exit Sign with battery kit, similar to Legrand | 10%
B05 | High Bay, suspended luminaires, LED, 240W, 27000 lumens, White 4000K, Clear Glass, IP66, | 10%
B06 | Outdoor luminaires, LED, 240W, 27000 lumens, White 4000K, IP66. | 10%
WIRING DEVICES, DISCONNECTS
| Including concealed and exposed conduits, boxes, wiring up to corresponding panelboard, cable outlet, fixing support, plate and necessary accessories and connections as specified and shown on drawings. | 2%
C01 | Switches (Similar to Legrand) | 4%
C02 | 10A One way, one gang switch | 1%
C03 | 10A Two way, one gang switch | 1%
C04 | 10A Push button, one gang | 1%
C05 | Socket outlets (Similar to Legrand) | 4%
C06 | 16A/220V, 2P+T Socket outlet | 1%
C07 | 20A/220V, 2P+T Power Socket outlet | 1%
C08 | 16A/220V, 2P+T Socket outlet, UPS | 1%
TELEPHONE AND DATA SYSTEMS
| Including concealed and exposed conduits, boxes, wiring up to corresponding cabinet, wiring accessories with supports, mechanisms and cover plates, and necessary accessories and connections, as specified and shown on drawings. | 2%
D01 | Patch panel - 19inch rack - 60 Ports | 5%
D02 | RJ45 Sockets (data and telephone) | 5%
Total |  | 100% | [7 empty] | Total | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | SUPPLIER 1 SCORE | SUPPLIER 2 SCORE | SUPPLIER 3 SCORE | SUPPLIER 4 SCORE | SUPPLIER 5 SCORE | SUPPLIER 6 SCORE
* For Requirements defined as ''Killer'', a ‘’Fully Compliant’’ score should be the sole acceptable outcome. Failing to obtain a ‘’Fully Compliant’’ score on the requirements defined as Killers, will mandate immediate disqualification for bidders.
Note on D8: Entity (Department/ Unit) that identified the requirement and that will be responsible for its evaluation.
Note on E8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on F8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on G8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on H8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on I8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on J8: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements

## Combined Scoring
| RFT Scoring Sheet |  | Reference Number | SF-CF-87
|  |  | Owner | PRO/PMO
|  |  | Revision Code | 3.0 | 3.0
|  |  | Implementation Date | 2024-05-01 | 2024-05-01
Project Name | DEKWANEH WAREHOUSE - Lighting
| Technical Score | 40%
| Commercial Score | 60%
| Combined Score | 100%