RFQ Ref# 0276-24:  Fire Extinguishers Maintenance for MIC1 for 2024

# Article 1: Scope / Technical Specifications

We are seeking quotes for the maintenance service of the Fire Extinguishers for MIC1 company vehicles. The maintenance should include refilling, pressuring, or repairing for any damaged item.

Supplier (s) to submit their best offers in USD for 121 Fire Extinguishers with a capacity of 1 Kg each as per below:

- Supplier (s) to refill the Fire Extinguisher with dry powder capacity of 1kg each.

- Supplier (s) to Collect all the Fire Extinguishers from Company’s parking lot and return them 48 hours maximum (36 items in Pine- Chevrolet and 85 in Parallel - Dekwaneh).

# Article 2: Special Terms

- Make sure that the safety pin, handle, and discharge hoses are intact and functioning properly.

- Verify that labels and other instructions are clear / can be read easily.

- Confirm that the pressure gauge is not damaged and not showing “recharge” otherwise we need to seek a repair or replacement of defected item.

- Change the annual maintenance tag that should be dated correctly.

- MIC1 reserves the right to negotiate with the selected Bidder the quotation as MIC1 deems convenient.

- Submitted prices should include all the spare parts and total replacement.

- Supplier(s)’ offers will be evaluated based on enclosed Scoring sheet.

# Article 3: Payment terms

Prices should be submitted in USD; however, payment will be made in LBP on market rate on payment date.

# Article 4: Offer Validity

The quotations submitted by the Bidders shall be commercially and technically binding for the Bidders for a period of 4 months at least as of the submission Date or any extension of the Closing Date decided by MIC1.

Article 5: Warranty

The offer should include a 1-year warranty.

# Article 6: Health, Safety and Environmental Specifications

The supplier is bound to comply with MIC1 requirements regarding the “Environment and Occupational Health and Safety”.

- To ensure that the proposed products and services Supplier is compliant with HSE culture, Supplier should state basic HSE specifications and compliance information.

- Supplier shall provide the product’s specifications that have an environmental impact.

- Supplier shall provide the product specifications that contribute into preserving the environment.

- Supplier shall provide the product’s specifications that contribute towards the health and safety of the users and staff.

- Supplier shall state the safety measures being followed by personnel performing the work on Alfa’s sites (ISO45001 certification, specific best practices, etc.…)

A copy of “Supplier Compliance Form” is enclosed to this RFQ for suppliers’ review and reference.

However, it should be noted that the selected supplier will be requested to sign this document upon project award and prior to the PO receipt.

# Article 7: Submission date

Offers must be submitted in sealed envelopes on Friday March 29, 2024, at 12 pm Envelop should contain:

- Price for the maintenance service of 121 Fire Extinguishers.

- The complete version of the filled compliance matrix, in 2 copies signed and stamped.

# Article 8: General requirements

Suppliers submitting for any RFQ launched by Alfa should declare any relative relations with any Alfa employee up to the 4th degree under Clause 30 of the PPL, for MIC1 to be able to assess the existing of any potential conflict of interests which may lead to deprive the bidder from participating to the tender under the risk of disqualification.

Suppliers shall abide by, the legal requirements of the Republic of Lebanon concerning the Boycott of Israel in accordance with the law dated June 23rd, 1955.

Envelopes received after set date and time will be considered disqualified and returned to suppliers.

No prices should be submitted by email.