## Grade of Compliancy
Reference Number
| Owner | TCF-RPM
| Revision Code | 1.1
Implementation Date
Grade of Compliance range from 0 to 15 with a step of 1 unit:
Full Score : Fully compliant
0 : Partially or Not compliant
K : Disqualification

## Compliance Matrix
| Compliance Matrix |  |  | Reference Number
Owner
|  |  |  | Revision Code |  | 1.1
Implementation Date
Compliance Matrix - Project Name: Fire Extinguishers maintenance for MIC1 vehicles
Reference Number: MIC1/RFT/CFO-PRO/0276- 24
| Requirements (Description) | Killer | Fully Compliant | Partially Compliant | Non-Compliant | Reference (Specify document & page nb)
Article 1 | Scope
Option 1 | Supplier to quote fo the refill of 121 Fire Extinguishers with dry powder 1kg each.
Supplier to quote for the maintenance of 121 Fire Extinguisgers .
Collect all the Fire Extinguishers from Company’s parking lot and return them 48 hours maximum
Article 2 | Technical Specifications
Make sure that the safety pin, handle, and discharge hoses are intact and functioning properly.
Verify that labels and other instructions are clear / can be read easily.
Confirm that the pressure gauge is not damaged and not showing “recharge” otherwise we need to seek a repair or replacement of defected item.
Change the annual maintenance tag that should be dated correctly.
MIC1 reserves the right to negotiate with the selected Bidder the quotation as MIC1 deems convenient.
Submitted prices should include all the spare parts and total replacement price if needed.
Supplier(s)’ offers will be evaluated based on enclosed Scoring sheet.
Article 3 | Payment Terms
Prices should be submitted in USD; however, payment will be made in LBP on market rate on payment date.
Article 4 | Warranty
The offer should include a 1-year warranty.
Article 5 | Offer Validity
Offers must be valid for 4 months at least as of the submission Date or any extension of the Closing Date decided by MIC1.
Article 6 | Article 6: Submission
Sealed Envelops must contain
1- Detailed maintenance prices including spare parts and total replacement .
2- The complete version of the filled compliance matrix, in 2 copies signed and stamped