## grade of compliance range
| RFT Scoring Sheet | Reference Number | SF-CF-87
|  | Owner | PRO/PMO
|  | Revision Code | 2.0
|  | Implementation Date | 2021-09-01
Grade of Compliance range from 0 to 15 with a step of 1 unit:
15 : Compliant with additional value, not initially included in the requirements
10 : Fully compliant
4 - 5 - 6: Partially compliant
0 : Not compliant
K : Disqualification

## weight
| RFT Scoring Sheet | [11 empty] | Reference Number |  | SF-CF-87
[13 empty] | Owner |  | PRO/PMO
[13 empty] | Revision Code |  | 2.0
[13 empty] | Implementation Date |  | 2021-09-01
Project Name | JDEIDET DATA CENTER
Weight Distribution | 50% Technical 50% Commercial
Article | Requirements | Weight | Responsible Entity | Supplier 1 | Supplier 2 | Supplier 3 | Supplier 4 | Supplier 5 | Supplier 6 | Remarks | Supplier 1 Final | Supplier 2 Final | Supplier 3 Final | Supplier 4 Final | Supplier 5 Final | Supplier 6 Final
| 1 GENERAL | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.1 SUMMARY | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Section includes Low-Voltage Electrical Power Conductors and Cables. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.2 REFERENCES | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Standards | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. IEC 60228:2004 – Conductors of insulated cables | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. IEC 60502-1:2004+AMD1:2009 – Power cables with extruded insulation and their accessories for rated voltages from 1 kV (Um = 1,2 kV) up to 30 kV(Um = 36 kV) - Part 1: Cables for rated voltagesof 1 kV (Um = 1,2 kV) and 3 kV (Um = 3,6 kV) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.3 SUBMITTALS | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Product Data: Manufacturer's product literature, specifications and installation instructions. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.4 WARRANTY | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Equipment | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. The supplied products shall be covered by full supplier warranty for a minimum period of one (1) year from delivery to site at a full repair and replacement service. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Warranty shall include all defected spare parts and workmanship. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Services | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Installation and dismantling | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. The supplier is responsible for the dismantling, hoisting, transportation and re-installation for parts that cannot be repaired or replaced on site | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Part replacement/repair | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. For any part replacement or repair service the warranty for the repaired or new part shall be a minimum of 6 (six) months from the date of receipt of the repaired or new part. In case a part was repaired twice already under this warranty and the equipment becomes faulty again within up to six months the Operator on its discretion may request replacement of the complete equipment | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Major defect | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. In case of major defect in the supplied products, the Operator reserves the right to reject the equipment. The supplier shall replace the defected system/parts under no cost from the Operator, including dismantling, hoisting, transportation and re-installation | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2 PRODUCTS | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.1 MANUFACTURERS | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Manufactured in a company certified according to DIN ISO 9001/ EN 29001 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.2 GENERAL PROPERTIES | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Color code: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Phase R à Red, Phase S à Yellow, Phase T à Blue, | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Neutral à Black | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Protective Earth (PE) à Green/Yellow | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Minimum cable cross-section for each circuit breaker is listed below: (refer to table in specs) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5. Protective earth conductors should be installed separately along power cables. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.3 METHOD OF INSTALLATION | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Distance between cables: >D (cable diameter) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Minimum bending radius: 6D (cable diameter) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Cables should be laid in metallic cable trays or in flexible metallic conduits of appropriate dimension as per site work description. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Cable should be fixed with PVC cable ties, of width 9mm, every 50cm, similar to Legrand. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. High rise cables should be tied to steel tension wires, of 6mm minimum diameter, every 50cm, and fixed to clamps or poles. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.4 MULTI-CORE, UNARMORED, PVC INSULATED, PVC INSULATED, AND PVC SHEATH CABLES | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Scope: This specification covers single, two, three or four core cables, PVC insulated and PVC sheathed, rated at 0.6/1 KV, unarmored type to International Electrotechnical Commission Publication IEC 60502-1 for use in cable ducts and indoors and for underground burial, where they are not likely to suffer mechanical damage. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Construction | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Conductor: Plain, annealed electrolytic copper conductors, solid, circular stranded or sectorial stranded; conforming to the applicable requirements of IEC 228. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Insulation: PVC based thermoplastic material, conforming to the applicable requirements of IEC 60502-1. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Assembly: Insulated conductors are laid up, filled where necessary with non-hygroscopic material and covered with an additional layer of extruded thermoplastic material or non-hygroscopic binding tape. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Sheath: PVC based thermoplastic material, conforming to the applicable requirements of IEC 60502-1. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Tests: Conforming to the applicable requirements of IEC 60502-1 either on raw materials or on finished products. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Similar to Liban Cable | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 SINGLE-CORE, NON SHEATHED, PVC INSULATED CABLES WITH FLEXIBLE CONDUCTORES | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Scope: This specification covers single core,PVC insulated cables, intended for internal wiring in dry locations,concealed in conduits, type 227 IEC 05 For rigid conductors and type 227 IEC 06 for flexible conductors ( 0.5mm 2 to 1mm 2 cross-sectional area) rated 300/500 V; or intended for general purposes, wiring applications in buildings where high dielectric resistance to chemical products, heat grease and acid is required, type 227 IEC 01 for rigid conductors and type 227 IEC 02 for flexible conductors having cross-sectional area above 1.0 mm 2 ,rated 450/750 V to International Electrotechnical Commission Publication IEC 227. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Construction | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Conductor: Plain, annealed, electrolytic copper conductors, solid or stranded,complying with the applicable requirements of IEC 228. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Insulation: PVC based thermoplastic material,conforming to the applicable requirements of IEC 227. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Similar to Liban Cable | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.6 CONTROL, MULTI-CORE, PVC INSULATED AND PVC SHEATHED CABLES | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Scope: This specification covers multicore cables for signalization and control purposes, PVC insulated and sheathed rated 0.6 / 1 KV; to International Electrotechnical Commission IEC 60502-1, for use in cable ducts and indoors and for underground burial. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Construction | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Conductor: Plain, annealed electrolytic copper conductors, solid or circular stranded conforming to the applicable requirements of IEC 60228. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Cross section | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. numbering | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Insulation: PVC based thermoplastic material conforming to the applicable requirements of IEC 60502-1. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5. Assembly: Insulated conductors are laid up, filled where necessary with non-hygroscopic material or covered with a layer of non-hygroscopic tape. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 6. Sheath: PVC based thermoplastic material conforming to the applicable requirements of IEC 60502-1. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 7. Tests: Conforming to the applicable requirements of IEC 60502-1 either on raw materials or on finished products. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 8. Similar to Liban Cable | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.7 SINGLE-CORE, NON SHEATHED, PVC INSULATED CABLES WITH RIGID CONDUCTORS – GREEN/YELLOW | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Scope: This specification covers single core, PVC insulated cables, intended for internal wiring in dry locations, concealed in conduits, type 227 IEC 05 for rigid conductors and type 227 IEC 06 for flexible conductors (0.5mm2 to 1mm2 cross-sectional area) rated 300/500V; intended for general purposes, wiring applications in buildings where high dielectric resistance to chemical products, heat grease and acid is required, type 227 IEC 01 for rigid conductors and type 227 IEC 02 for flexible conductors having cross-sectional area above 1.0 mm2, rated 450/750 V to International Electrotechnical Commission Publication IEC 227. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Construction | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Conductor: Plain, annealed, electrolytic copper conductors, solid or stranded, complying with the applicable requirements of IEC 228. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Insulation: PVC based thermoplastic material, conforming to the applicable requirements of IEC 227. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Similar to Liban Cable | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.8 SINGLE-CORE, NON SHEATHED, PVC INSULATED CABLES WITH RIGID CONDUCTORS – BARE CONDUCTRORS | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Scope: This specification covers single core, bare conductor | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Construction | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Conductor: Plain, annealed, electrolytic copper conductors, solid or stranded, complying with the applicable requirements of IEC 228. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Insulation: PVC based thermoplastic material, conforming to the applicable requirements of IEC 227. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Similar to Liban Cable | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.9 INDOOR USE TELEPHONE CABLES PVC INSULATED AND PVC SHEATHED | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Scope: Based on IEC 60189-1/2; LIBTEL (Indoor surface and conduit wiring) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Construction | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Conductors: Copper 0.5 mm diameter bare. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Insulation: PVC colored in the mass with surface ring marking for identification. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Twisting: Pair. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Stranding: Concentric including earth continuity insulated tinned wire, protected with overlapped non-hygroscopic tape. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5. Outer-sheath: Grey PVC : A rip cord is laid up under the sheath for easy stripping. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 6. Similar to Liban Cable | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.10 OUTDOOR USE TELEPHONE CABLES PVC INSULATED AND PVC SHEATHED | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Scope: Based on IEC 60189-1/2; LIBTELS (Outdoor Screened) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Construction | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Conductors: Copper 0.5 mm diameter bare. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Insulation: PVC colored in the mass with surface ring marking for identification. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Twisting: Pair. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Stranding: Concentric including earth continuity insulated tinned wire, protected with overlapped non-hygroscopic tape. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5. Moisture barrierand screen: ( S - type ) Aluminum foil applied with overlap. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 6. Outer-sheath: Grey PVC : A rip cord is laid up under the sheath for easy stripping. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Similar to Liban Cable | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.11 CABLE TIES | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. General Characteristics | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Colson™ ties are black, UV resistant, have external teeth and are designed to hold cables, strands and tubes in external installations. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Colson™ cable ties are compliant with standards EN 62275 type1 (NFC 68-146) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Width: 9mm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Resistance to temperature: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Maximum permanent usage temperature (1,000 Hrs. according to EN 50 146): 85°C | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Min. permanent usage temperature (tie installed): -40 °C | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Min. installation temperature: -30 °C | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. UV Protection: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Resistance to UV radiation according to standard IEC 62275 type 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. The UV resistant black cable ties for exterior use successfully pass UV resistance tests and climatic ageing tests representing actual conditions of use. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. These cycles combine 1000 hours of exposure to radiation under arc or xenon lamps according to ISO 4892-2 method 1. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Similar to Legrand Ref. 319 10, 319 13, 319 16, 319 19, 319 20, 319 21 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. Tightening tool: should be used to tighten and trim surplus strap length close to the tie head. Similar to Legrand Ref. 319 96 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| F. Plugs: Wall spacer plug base, black, UV resistant, similar to Legrand Ref. 319 58 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.12 STEEL TENSION WIRES | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Galvanized steel wire rope. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Proper accessories and fittings should be used with steel wire ropes. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Diameter: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. 6mm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. 8mm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. 12mm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. 14mm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5. 16mm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.13 ACCESSORIES | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. All necessary accessories required for the proper installation and operation. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3 EXECUTION | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3.1 INSTALLATION AND COMMISSIONING | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| END OF SECTION | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | SUPPLIER 1 SCORE | SUPPLIER 2 SCORE | SUPPLIER 3 SCORE | SUPPLIER 4 SCORE | SUPPLIER 5 SCORE | SUPPLIER 6 SCORE
* For Requirements defined as ''Killer'', a ‘’Fully Compliant’’ score should be the sole acceptable outcome. Failing to obtain a ‘’Fully Compliant’’ score on the requirements defined as Killers, will mandate immediate disqualification for bidders.
Note on D9: Entity (Department/ Unit) that identified the requirement and that will be responsible for its evaluation.
Note on E9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on F9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on G9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on H9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on I9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on J9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on E11: Evaluators Comments
Note on F11: Evaluators Comments
Note on G11: Evaluators Comments
Note on H11: Evaluators Comments
Note on I11: Evaluators Comments
Note on J11: Evaluators Comments
Note on E12: Evaluators Comments
Note on F12: Evaluators Comments
Note on G12: Evaluators Comments
Note on H12: Evaluators Comments
Note on I12: Evaluators Comments
Note on J12: Evaluators Comments
Note on E13: Evaluators Comments
Note on F13: Evaluators Comments
Note on G13: Evaluators Comments
Note on H13: Evaluators Comments
Note on I13: Evaluators Comments
Note on J13: Evaluators Comments
Note on E14: Evaluators Comments
Note on F14: Evaluators Comments
Note on G14: Evaluators Comments
Note on H14: Evaluators Comments
Note on I14: Evaluators Comments
Note on J14: Evaluators Comments
Note on E15: Evaluators Comments
Note on F15: Evaluators Comments
Note on G15: Evaluators Comments
Note on H15: Evaluators Comments
Note on I15: Evaluators Comments
Note on J15: Evaluators Comments
Note on E16: Evaluators Comments
Note on F16: Evaluators Comments
Note on G16: Evaluators Comments
Note on H16: Evaluators Comments
Note on I16: Evaluators Comments
Note on J16: Evaluators Comments
Note on E17: Evaluators Comments
Note on F17: Evaluators Comments
Note on G17: Evaluators Comments
Note on H17: Evaluators Comments
Note on I17: Evaluators Comments
Note on J17: Evaluators Comments
Note on E18: Evaluators Comments
Note on F18: Evaluators Comments
Note on G18: Evaluators Comments
Note on H18: Evaluators Comments
Note on I18: Evaluators Comments
Note on J18: Evaluators Comments
Note on E19: Evaluators Comments
Note on F19: Evaluators Comments
Note on G19: Evaluators Comments
Note on H19: Evaluators Comments
Note on I19: Evaluators Comments
Note on J19: Evaluators Comments
Note on E20: Evaluators Comments
Note on F20: Evaluators Comments
Note on G20: Evaluators Comments
Note on H20: Evaluators Comments
Note on I20: Evaluators Comments
Note on J20: Evaluators Comments
Note on E21: Evaluators Comments
Note on F21: Evaluators Comments
Note on G21: Evaluators Comments
Note on H21: Evaluators Comments
Note on I21: Evaluators Comments
Note on J21: Evaluators Comments
Note on E22: Evaluators Comments
Note on F22: Evaluators Comments
Note on G22: Evaluators Comments
Note on H22: Evaluators Comments
Note on I22: Evaluators Comments
Note on J22: Evaluators Comments
Note on E23: Evaluators Comments
Note on F23: Evaluators Comments
Note on G23: Evaluators Comments
Note on H23: Evaluators Comments
Note on I23: Evaluators Comments
Note on J23: Evaluators Comments
Note on E24: Evaluators Comments
Note on F24: Evaluators Comments
Note on G24: Evaluators Comments
Note on H24: Evaluators Comments
Note on I24: Evaluators Comments
Note on J24: Evaluators Comments
Note on E25: Evaluators Comments
Note on F25: Evaluators Comments
Note on G25: Evaluators Comments
Note on H25: Evaluators Comments
Note on I25: Evaluators Comments
Note on J25: Evaluators Comments
Note on E26: Evaluators Comments
Note on F26: Evaluators Comments
Note on G26: Evaluators Comments
Note on H26: Evaluators Comments
Note on I26: Evaluators Comments
Note on J26: Evaluators Comments
Note on E27: Evaluators Comments
Note on F27: Evaluators Comments
Note on G27: Evaluators Comments
Note on H27: Evaluators Comments
Note on I27: Evaluators Comments
Note on J27: Evaluators Comments
Note on E28: Evaluators Comments
Note on F28: Evaluators Comments
Note on G28: Evaluators Comments
Note on H28: Evaluators Comments
Note on I28: Evaluators Comments
Note on J28: Evaluators Comments
Note on E29: Evaluators Comments
Note on F29: Evaluators Comments
Note on G29: Evaluators Comments
Note on H29: Evaluators Comments
Note on I29: Evaluators Comments
Note on J29: Evaluators Comments
Note on E30: Evaluators Comments
Note on F30: Evaluators Comments
Note on G30: Evaluators Comments
Note on H30: Evaluators Comments
Note on I30: Evaluators Comments
Note on J30: Evaluators Comments
Note on E31: Evaluators Comments
Note on F31: Evaluators Comments
Note on G31: Evaluators Comments
Note on H31: Evaluators Comments
Note on I31: Evaluators Comments
Note on J31: Evaluators Comments
Note on E32: Evaluators Comments
Note on F32: Evaluators Comments
Note on G32: Evaluators Comments
Note on H32: Evaluators Comments
Note on I32: Evaluators Comments
Note on J32: Evaluators Comments
Note on E33: Evaluators Comments
Note on F33: Evaluators Comments
Note on G33: Evaluators Comments
Note on H33: Evaluators Comments
Note on I33: Evaluators Comments
Note on J33: Evaluators Comments
Note on E34: Evaluators Comments
Note on F34: Evaluators Comments
Note on G34: Evaluators Comments
Note on H34: Evaluators Comments
Note on I34: Evaluators Comments
Note on J34: Evaluators Comments
Note on E35: Evaluators Comments
Note on F35: Evaluators Comments
Note on G35: Evaluators Comments
Note on H35: Evaluators Comments
Note on I35: Evaluators Comments
Note on J35: Evaluators Comments
Note on E36: Evaluators Comments
Note on F36: Evaluators Comments
Note on G36: Evaluators Comments
Note on H36: Evaluators Comments
Note on I36: Evaluators Comments
Note on J36: Evaluators Comments
Note on E37: Evaluators Comments
Note on F37: Evaluators Comments
Note on G37: Evaluators Comments
Note on H37: Evaluators Comments
Note on I37: Evaluators Comments
Note on J37: Evaluators Comments
Note on E38: Evaluators Comments
Note on F38: Evaluators Comments
Note on G38: Evaluators Comments
Note on H38: Evaluators Comments
Note on I38: Evaluators Comments
Note on J38: Evaluators Comments
Note on E39: Evaluators Comments
Note on F39: Evaluators Comments
Note on G39: Evaluators Comments
Note on H39: Evaluators Comments
Note on I39: Evaluators Comments
Note on J39: Evaluators Comments
Note on E41: Evaluators Comments
Note on F41: Evaluators Comments
Note on G41: Evaluators Comments
Note on H41: Evaluators Comments
Note on I41: Evaluators Comments
Note on J41: Evaluators Comments
Note on E42: Evaluators Comments
Note on F42: Evaluators Comments
Note on G42: Evaluators Comments
Note on H42: Evaluators Comments
Note on I42: Evaluators Comments
Note on J42: Evaluators Comments
Note on E43: Evaluators Comments
Note on F43: Evaluators Comments
Note on G43: Evaluators Comments
Note on H43: Evaluators Comments
Note on I43: Evaluators Comments
Note on J43: Evaluators Comments
Note on E44: Evaluators Comments
Note on F44: Evaluators Comments
Note on G44: Evaluators Comments
Note on H44: Evaluators Comments
Note on I44: Evaluators Comments
Note on J44: Evaluators Comments
Note on E45: Evaluators Comments
Note on F45: Evaluators Comments
Note on G45: Evaluators Comments
Note on H45: Evaluators Comments
Note on I45: Evaluators Comments
Note on J45: Evaluators Comments
Note on E46: Evaluators Comments
Note on F46: Evaluators Comments
Note on G46: Evaluators Comments
Note on H46: Evaluators Comments
Note on I46: Evaluators Comments
Note on J46: Evaluators Comments
Note on E47: Evaluators Comments
Note on F47: Evaluators Comments
Note on G47: Evaluators Comments
Note on H47: Evaluators Comments
Note on I47: Evaluators Comments
Note on J47: Evaluators Comments
Note on E48: Evaluators Comments
Note on F48: Evaluators Comments
Note on G48: Evaluators Comments
Note on H48: Evaluators Comments
Note on I48: Evaluators Comments
Note on J48: Evaluators Comments
Note on E49: Evaluators Comments
Note on F49: Evaluators Comments
Note on G49: Evaluators Comments
Note on H49: Evaluators Comments
Note on I49: Evaluators Comments
Note on J49: Evaluators Comments
Note on E50: Evaluators Comments
Note on F50: Evaluators Comments
Note on G50: Evaluators Comments
Note on H50: Evaluators Comments
Note on I50: Evaluators Comments
Note on J50: Evaluators Comments
Note on E51: Evaluators Comments
Note on F51: Evaluators Comments
Note on G51: Evaluators Comments
Note on H51: Evaluators Comments
Note on I51: Evaluators Comments
Note on J51: Evaluators Comments
Note on E52: Evaluators Comments
Note on F52: Evaluators Comments
Note on G52: Evaluators Comments
Note on H52: Evaluators Comments
Note on I52: Evaluators Comments
Note on J52: Evaluators Comments
Note on E53: Evaluators Comments
Note on F53: Evaluators Comments
Note on G53: Evaluators Comments
Note on H53: Evaluators Comments
Note on I53: Evaluators Comments
Note on J53: Evaluators Comments
Note on E54: Evaluators Comments
Note on F54: Evaluators Comments
Note on G54: Evaluators Comments
Note on H54: Evaluators Comments
Note on I54: Evaluators Comments
Note on J54: Evaluators Comments
Note on E55: Evaluators Comments
Note on F55: Evaluators Comments
Note on G55: Evaluators Comments
Note on H55: Evaluators Comments
Note on I55: Evaluators Comments
Note on J55: Evaluators Comments
Note on E56: Evaluators Comments
Note on F56: Evaluators Comments
Note on G56: Evaluators Comments
Note on H56: Evaluators Comments
Note on I56: Evaluators Comments
Note on J56: Evaluators Comments
Note on E57: Evaluators Comments
Note on F57: Evaluators Comments
Note on G57: Evaluators Comments
Note on H57: Evaluators Comments
Note on I57: Evaluators Comments
Note on J57: Evaluators Comments
Note on E58: Evaluators Comments
Note on F58: Evaluators Comments
Note on G58: Evaluators Comments
Note on H58: Evaluators Comments
Note on I58: Evaluators Comments
Note on J58: Evaluators Comments
Note on E59: Evaluators Comments
Note on F59: Evaluators Comments
Note on G59: Evaluators Comments
Note on H59: Evaluators Comments
Note on I59: Evaluators Comments
Note on J59: Evaluators Comments
Note on E60: Evaluators Comments
Note on F60: Evaluators Comments
Note on G60: Evaluators Comments
Note on H60: Evaluators Comments
Note on I60: Evaluators Comments
Note on J60: Evaluators Comments
Note on E61: Evaluators Comments
Note on F61: Evaluators Comments
Note on G61: Evaluators Comments
Note on H61: Evaluators Comments
Note on I61: Evaluators Comments
Note on J61: Evaluators Comments
Note on E62: Evaluators Comments
Note on F62: Evaluators Comments
Note on G62: Evaluators Comments
Note on H62: Evaluators Comments
Note on I62: Evaluators Comments
Note on J62: Evaluators Comments
Note on E63: Evaluators Comments
Note on F63: Evaluators Comments
Note on G63: Evaluators Comments
Note on H63: Evaluators Comments
Note on I63: Evaluators Comments
Note on J63: Evaluators Comments
Note on E64: Evaluators Comments
Note on F64: Evaluators Comments
Note on G64: Evaluators Comments
Note on H64: Evaluators Comments
Note on I64: Evaluators Comments
Note on J64: Evaluators Comments
Note on E65: Evaluators Comments
Note on F65: Evaluators Comments
Note on G65: Evaluators Comments
Note on H65: Evaluators Comments
Note on I65: Evaluators Comments
Note on J65: Evaluators Comments
Note on E66: Evaluators Comments
Note on F66: Evaluators Comments
Note on G66: Evaluators Comments
Note on H66: Evaluators Comments
Note on I66: Evaluators Comments
Note on J66: Evaluators Comments
Note on E67: Evaluators Comments
Note on F67: Evaluators Comments
Note on G67: Evaluators Comments
Note on H67: Evaluators Comments
Note on I67: Evaluators Comments
Note on J67: Evaluators Comments
Note on E68: Evaluators Comments
Note on F68: Evaluators Comments
Note on G68: Evaluators Comments
Note on H68: Evaluators Comments
Note on I68: Evaluators Comments
Note on J68: Evaluators Comments
Note on E69: Evaluators Comments
Note on F69: Evaluators Comments
Note on G69: Evaluators Comments
Note on H69: Evaluators Comments
Note on I69: Evaluators Comments
Note on J69: Evaluators Comments
Note on E70: Evaluators Comments
Note on F70: Evaluators Comments
Note on G70: Evaluators Comments
Note on H70: Evaluators Comments
Note on I70: Evaluators Comments
Note on J70: Evaluators Comments
Note on E71: Evaluators Comments
Note on F71: Evaluators Comments
Note on G71: Evaluators Comments
Note on H71: Evaluators Comments
Note on I71: Evaluators Comments
Note on J71: Evaluators Comments
Note on E72: Evaluators Comments
Note on F72: Evaluators Comments
Note on G72: Evaluators Comments
Note on H72: Evaluators Comments
Note on I72: Evaluators Comments
Note on J72: Evaluators Comments
Note on E73: Evaluators Comments
Note on F73: Evaluators Comments
Note on G73: Evaluators Comments
Note on H73: Evaluators Comments
Note on I73: Evaluators Comments
Note on J73: Evaluators Comments
Note on E74: Evaluators Comments
Note on F74: Evaluators Comments
Note on G74: Evaluators Comments
Note on H74: Evaluators Comments
Note on I74: Evaluators Comments
Note on J74: Evaluators Comments
Note on E75: Evaluators Comments
Note on F75: Evaluators Comments
Note on G75: Evaluators Comments
Note on H75: Evaluators Comments
Note on I75: Evaluators Comments
Note on J75: Evaluators Comments
Note on E76: Evaluators Comments
Note on F76: Evaluators Comments
Note on G76: Evaluators Comments
Note on H76: Evaluators Comments
Note on I76: Evaluators Comments
Note on J76: Evaluators Comments
Note on E77: Evaluators Comments
Note on F77: Evaluators Comments
Note on G77: Evaluators Comments
Note on H77: Evaluators Comments
Note on I77: Evaluators Comments
Note on J77: Evaluators Comments
Note on E78: Evaluators Comments
Note on F78: Evaluators Comments
Note on G78: Evaluators Comments
Note on H78: Evaluators Comments
Note on I78: Evaluators Comments
Note on J78: Evaluators Comments
Note on E79: Evaluators Comments
Note on F79: Evaluators Comments
Note on G79: Evaluators Comments
Note on H79: Evaluators Comments
Note on I79: Evaluators Comments
Note on J79: Evaluators Comments
Note on E80: Evaluators Comments
Note on F80: Evaluators Comments
Note on G80: Evaluators Comments
Note on H80: Evaluators Comments
Note on I80: Evaluators Comments
Note on J80: Evaluators Comments
Note on E81: Evaluators Comments
Note on F81: Evaluators Comments
Note on G81: Evaluators Comments
Note on H81: Evaluators Comments
Note on I81: Evaluators Comments
Note on J81: Evaluators Comments
Note on E82: Evaluators Comments
Note on F82: Evaluators Comments
Note on G82: Evaluators Comments
Note on H82: Evaluators Comments
Note on I82: Evaluators Comments
Note on J82: Evaluators Comments
Note on E83: Evaluators Comments
Note on F83: Evaluators Comments
Note on G83: Evaluators Comments
Note on H83: Evaluators Comments
Note on I83: Evaluators Comments
Note on J83: Evaluators Comments
Note on E84: Evaluators Comments
Note on F84: Evaluators Comments
Note on G84: Evaluators Comments
Note on H84: Evaluators Comments
Note on I84: Evaluators Comments
Note on J84: Evaluators Comments
Note on E85: Evaluators Comments
Note on F85: Evaluators Comments
Note on G85: Evaluators Comments
Note on H85: Evaluators Comments
Note on I85: Evaluators Comments
Note on J85: Evaluators Comments
Note on E86: Evaluators Comments
Note on F86: Evaluators Comments
Note on G86: Evaluators Comments
Note on H86: Evaluators Comments
Note on I86: Evaluators Comments
Note on J86: Evaluators Comments
Note on E87: Evaluators Comments
Note on F87: Evaluators Comments
Note on G87: Evaluators Comments
Note on H87: Evaluators Comments
Note on I87: Evaluators Comments
Note on J87: Evaluators Comments
Note on E88: Evaluators Comments
Note on F88: Evaluators Comments
Note on G88: Evaluators Comments
Note on H88: Evaluators Comments
Note on I88: Evaluators Comments
Note on J88: Evaluators Comments
Note on E89: Evaluators Comments
Note on F89: Evaluators Comments
Note on G89: Evaluators Comments
Note on H89: Evaluators Comments
Note on I89: Evaluators Comments
Note on J89: Evaluators Comments
Note on E90: Evaluators Comments
Note on F90: Evaluators Comments
Note on G90: Evaluators Comments
Note on H90: Evaluators Comments
Note on I90: Evaluators Comments
Note on J90: Evaluators Comments
Note on E91: Evaluators Comments
Note on F91: Evaluators Comments
Note on G91: Evaluators Comments
Note on H91: Evaluators Comments
Note on I91: Evaluators Comments
Note on J91: Evaluators Comments
Note on E92: Evaluators Comments
Note on F92: Evaluators Comments
Note on G92: Evaluators Comments
Note on H92: Evaluators Comments
Note on I92: Evaluators Comments
Note on J92: Evaluators Comments
Note on E93: Evaluators Comments
Note on F93: Evaluators Comments
Note on G93: Evaluators Comments
Note on H93: Evaluators Comments
Note on I93: Evaluators Comments
Note on J93: Evaluators Comments
Note on E94: Evaluators Comments
Note on F94: Evaluators Comments
Note on G94: Evaluators Comments
Note on H94: Evaluators Comments
Note on I94: Evaluators Comments
Note on J94: Evaluators Comments
Note on E95: Evaluators Comments
Note on F95: Evaluators Comments
Note on G95: Evaluators Comments
Note on H95: Evaluators Comments
Note on I95: Evaluators Comments
Note on J95: Evaluators Comments
Note on E96: Evaluators Comments
Note on F96: Evaluators Comments
Note on G96: Evaluators Comments
Note on H96: Evaluators Comments
Note on I96: Evaluators Comments
Note on J96: Evaluators Comments
Note on E97: Evaluators Comments
Note on F97: Evaluators Comments
Note on G97: Evaluators Comments
Note on H97: Evaluators Comments
Note on I97: Evaluators Comments
Note on J97: Evaluators Comments
Note on E98: Evaluators Comments
Note on F98: Evaluators Comments
Note on G98: Evaluators Comments
Note on H98: Evaluators Comments
Note on I98: Evaluators Comments
Note on J98: Evaluators Comments
Note on E99: Evaluators Comments
Note on F99: Evaluators Comments
Note on G99: Evaluators Comments
Note on H99: Evaluators Comments
Note on I99: Evaluators Comments
Note on J99: Evaluators Comments
Note on E100: Evaluators Comments
Note on F100: Evaluators Comments
Note on G100: Evaluators Comments
Note on H100: Evaluators Comments
Note on I100: Evaluators Comments
Note on J100: Evaluators Comments
Note on E101: Evaluators Comments
Note on F101: Evaluators Comments
Note on G101: Evaluators Comments
Note on H101: Evaluators Comments
Note on I101: Evaluators Comments
Note on J101: Evaluators Comments
Note on E102: Evaluators Comments
Note on F102: Evaluators Comments
Note on G102: Evaluators Comments
Note on H102: Evaluators Comments
Note on I102: Evaluators Comments
Note on J102: Evaluators Comments
Note on E103: Evaluators Comments
Note on F103: Evaluators Comments
Note on G103: Evaluators Comments
Note on H103: Evaluators Comments
Note on I103: Evaluators Comments
Note on J103: Evaluators Comments
Note on E104: Evaluators Comments
Note on F104: Evaluators Comments
Note on G104: Evaluators Comments
Note on H104: Evaluators Comments
Note on I104: Evaluators Comments
Note on J104: Evaluators Comments
Note on E105: Evaluators Comments
Note on F105: Evaluators Comments
Note on G105: Evaluators Comments
Note on H105: Evaluators Comments
Note on I105: Evaluators Comments
Note on J105: Evaluators Comments
Note on E106: Evaluators Comments
Note on F106: Evaluators Comments
Note on G106: Evaluators Comments
Note on H106: Evaluators Comments
Note on I106: Evaluators Comments
Note on J106: Evaluators Comments
Note on E107: Evaluators Comments
Note on F107: Evaluators Comments
Note on G107: Evaluators Comments
Note on H107: Evaluators Comments
Note on I107: Evaluators Comments
Note on J107: Evaluators Comments
Note on E108: Evaluators Comments
Note on F108: Evaluators Comments
Note on G108: Evaluators Comments
Note on H108: Evaluators Comments
Note on I108: Evaluators Comments
Note on J108: Evaluators Comments
Note on E109: Evaluators Comments
Note on F109: Evaluators Comments
Note on G109: Evaluators Comments
Note on H109: Evaluators Comments
Note on I109: Evaluators Comments
Note on J109: Evaluators Comments
Note on E110: Evaluators Comments
Note on F110: Evaluators Comments
Note on G110: Evaluators Comments
Note on H110: Evaluators Comments
Note on I110: Evaluators Comments
Note on J110: Evaluators Comments
Note on E111: Evaluators Comments
Note on F111: Evaluators Comments
Note on G111: Evaluators Comments
Note on H111: Evaluators Comments
Note on I111: Evaluators Comments
Note on J111: Evaluators Comments
Note on E112: Evaluators Comments
Note on F112: Evaluators Comments
Note on G112: Evaluators Comments
Note on H112: Evaluators Comments
Note on I112: Evaluators Comments
Note on J112: Evaluators Comments
Note on E113: Evaluators Comments
Note on F113: Evaluators Comments
Note on G113: Evaluators Comments
Note on H113: Evaluators Comments
Note on I113: Evaluators Comments
Note on J113: Evaluators Comments
Note on E114: Evaluators Comments
Note on F114: Evaluators Comments
Note on G114: Evaluators Comments
Note on H114: Evaluators Comments
Note on I114: Evaluators Comments
Note on J114: Evaluators Comments
Note on E115: Evaluators Comments
Note on F115: Evaluators Comments
Note on G115: Evaluators Comments
Note on H115: Evaluators Comments
Note on I115: Evaluators Comments
Note on J115: Evaluators Comments
Note on E116: Evaluators Comments
Note on F116: Evaluators Comments
Note on G116: Evaluators Comments
Note on H116: Evaluators Comments
Note on I116: Evaluators Comments
Note on J116: Evaluators Comments
Note on E117: Evaluators Comments
Note on F117: Evaluators Comments
Note on G117: Evaluators Comments
Note on H117: Evaluators Comments
Note on I117: Evaluators Comments
Note on J117: Evaluators Comments
Note on E118: Evaluators Comments
Note on F118: Evaluators Comments
Note on G118: Evaluators Comments
Note on H118: Evaluators Comments
Note on I118: Evaluators Comments
Note on J118: Evaluators Comments
Note on E119: Evaluators Comments
Note on F119: Evaluators Comments
Note on G119: Evaluators Comments
Note on H119: Evaluators Comments
Note on I119: Evaluators Comments
Note on J119: Evaluators Comments
Note on E120: Evaluators Comments
Note on F120: Evaluators Comments
Note on G120: Evaluators Comments
Note on H120: Evaluators Comments
Note on I120: Evaluators Comments
Note on J120: Evaluators Comments
Note on E121: Evaluators Comments
Note on F121: Evaluators Comments
Note on G121: Evaluators Comments
Note on H121: Evaluators Comments
Note on I121: Evaluators Comments
Note on J121: Evaluators Comments
Note on E122: Evaluators Comments
Note on F122: Evaluators Comments
Note on G122: Evaluators Comments
Note on H122: Evaluators Comments
Note on I122: Evaluators Comments
Note on J122: Evaluators Comments
Note on E123: Evaluators Comments
Note on F123: Evaluators Comments
Note on G123: Evaluators Comments
Note on H123: Evaluators Comments
Note on I123: Evaluators Comments
Note on J123: Evaluators Comments
Note on E124: Evaluators Comments
Note on F124: Evaluators Comments
Note on G124: Evaluators Comments
Note on H124: Evaluators Comments
Note on I124: Evaluators Comments
Note on J124: Evaluators Comments
Note on E125: Evaluators Comments
Note on F125: Evaluators Comments
Note on G125: Evaluators Comments
Note on H125: Evaluators Comments
Note on I125: Evaluators Comments
Note on J125: Evaluators Comments
Note on E126: Evaluators Comments
Note on F126: Evaluators Comments
Note on G126: Evaluators Comments
Note on H126: Evaluators Comments
Note on I126: Evaluators Comments
Note on J126: Evaluators Comments
Note on E127: Evaluators Comments
Note on F127: Evaluators Comments
Note on G127: Evaluators Comments
Note on H127: Evaluators Comments
Note on I127: Evaluators Comments
Note on J127: Evaluators Comments
Note on E128: Evaluators Comments
Note on F128: Evaluators Comments
Note on G128: Evaluators Comments
Note on H128: Evaluators Comments
Note on I128: Evaluators Comments
Note on J128: Evaluators Comments
Note on E129: Evaluators Comments
Note on F129: Evaluators Comments
Note on G129: Evaluators Comments
Note on H129: Evaluators Comments
Note on I129: Evaluators Comments
Note on J129: Evaluators Comments
Note on E130: Evaluators Comments
Note on F130: Evaluators Comments
Note on G130: Evaluators Comments
Note on H130: Evaluators Comments
Note on I130: Evaluators Comments
Note on J130: Evaluators Comments
Note on E131: Evaluators Comments
Note on F131: Evaluators Comments
Note on G131: Evaluators Comments
Note on H131: Evaluators Comments
Note on I131: Evaluators Comments
Note on J131: Evaluators Comments
Note on E132: Evaluators Comments
Note on F132: Evaluators Comments
Note on G132: Evaluators Comments
Note on H132: Evaluators Comments
Note on I132: Evaluators Comments
Note on J132: Evaluators Comments
Note on E133: Evaluators Comments
Note on F133: Evaluators Comments
Note on G133: Evaluators Comments
Note on H133: Evaluators Comments
Note on I133: Evaluators Comments
Note on J133: Evaluators Comments
Note on E134: Evaluators Comments
Note on F134: Evaluators Comments
Note on G134: Evaluators Comments
Note on H134: Evaluators Comments
Note on I134: Evaluators Comments
Note on J134: Evaluators Comments