## grade of compliance range
| RFT Scoring Sheet | Reference Number | SF-CF-87
|  | Owner | PRO/PMO
|  | Revision Code | 2.0
|  | Implementation Date | 2021-09-01
Grade of Compliance range from 0 to 15 with a step of 1 unit:
15 : Compliant with additional value, not initially included in the requirements
10 : Fully compliant
4 - 5 - 6: Partially compliant
0 : Not compliant
K : Disqualification

## weight
| RFT Scoring Sheet | [11 empty] | Reference Number |  | SF-CF-87
[13 empty] | Owner |  | PRO/PMO
[13 empty] | Revision Code |  | 2.0
[13 empty] | Implementation Date |  | 2021-09-01
Project Name | JDEIDET DATA CENTER
Weight Distribution | 50% Technical 50% Commercial
Article | Requirements | Weight | Responsible Entity | Supplier 1 | Supplier 2 | Supplier 3 | Supplier 4 | Supplier 5 | Supplier 6 | Remarks | Supplier 1 Final | Supplier 2 Final | Supplier 3 Final | Supplier 4 Final | Supplier 5 Final | Supplier 6 Final
| 1 GENERAL | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.1 SUMMARY | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Identification for electrical systems, equipment, conduit and related components. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.2 REFERENCES | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. American National Standards Institute (ANSI) Publications: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. ANSI/ASME A13.1 - Scheme for the Identification of Piping Systems | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. ANSI Z535.4 - Safety Labels Construction | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Institute of Electrical and Electronics Engineers (IEEE) Publications | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. C2 - ASC C2 Eighth Interim Collection of the National Electrical Safety Code” | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. National Fire Protection Association (NFPA) Publications: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. 70 - National Electric Code | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Occupational Safety and Health Standards - Code of Federal Regulations (CFR) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. 1910.144 - Safety color code for marking physical hazards | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. 1910.145 - Specifications for accident prevention signs and tags | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. Underwriters Laboratories | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. UL 969 - Standard for Marking and Labeling Systems | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.3 SUBMITTALS | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Product Data: For each electrical identification product indicated. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Include construction details, material descriptions, dimensions of individual components and profiles, and finishes for electrical identification products. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.4 WARRANTY | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Equipment | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. The supplied products shall be covered by full supplier warranty for a minimum period of one (1) year from delivery to site at a full repair and replacement service. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Warranty shall include all defected spare parts and workmanship. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2 PRODUCTS | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.1 PERFORMANCE REQUIREMENTS | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Comply with ASME A13.1 and IEEE C2. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Comply with NFPA 70. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Comply with 29 CFR 1910.144 and 29 CFR 1910.145. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Comply with ANSI Z535.4 for safety signs and labels. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. Adhesive-attached labeling materials, including label stocks, laminating adhesives, and inks used by label printers, shall comply with UL 969. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| F. Thermal Movements: Allow for thermal movements from ambient and surface temperature changes. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Temperature Change: 50 °C ambient; 85°C material surfaces. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.2 COLOR AND LEGEND REQUIREMENTS | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Raceways and Cables Carrying Circuits at More Than 600 V: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Black letters on an orange field. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Legend: "DANGER - CONCEALED HIGH VOLTAGE WIRING." | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Raceways and Cables Carrying Circuits at 600 V or Less: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Black letters on an orange field. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Legend: Indicate voltage and system or service type. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Warning labels and signs shall include, but are not limited to, the following legends: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Multiple Power Source Warning: "DANGER - ELECTRICAL SHOCK HAZARD - EQUIPMENT HAS MULTIPLE POWER SOURCES." | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Workspace Clearance Warning: "WARNING - OSHA REGULATION - AREA IN FRONT OF ELECTRICAL EQUIPMENT MUST BE KEPT CLEAR FOR 100 CM." | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Arc Flash Warning: As required by the arc flash study. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.3 LABELS | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Vinyl Labels for Raceways Carrying Circuits at 600 V or Less: Preprinted, flexible labels laminated with a clear, weather- and chemical-resistant coating and matching wrap-around clear adhesive tape for securing label ends. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Manufacturers: Subject to compliance with requirements, provide products by one of the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Brady Corporation | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Champion America | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Emedco | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. Grafoplast Wire Markers | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| e. LEM Products Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| f. Marking Services, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| g. Panduit Corporation | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| h. or Equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Snap-Around Labels for Raceways and Cables Carrying Circuits at 600 V or Less: Slit, pre-tensioned, flexible, preprinted, color-coded acrylic sleeves, with diameters sized to suit diameters of raceways they identify, and that stay in place by gripping action. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Manufacturers: Subject to compliance with requirements, provide products by one of the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Brady Corporation | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Marking Services, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Panduit Corp. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. or Equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Self-Adhesive Labels: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Manufacturers: Subject to compliance with requirements, provide products by one of the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Brady Corporation. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Brother International Corporation | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Emedco | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. Grafoplast Wire Markers | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| e. Ideal Industries, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| f. LEM Products Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| g. Marking Services, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| h. Panduit Corp. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| i. or Equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Preprinted or Write-on, 0.08 mm thick, polyester or vinyl flexible label with acrylic pressure-sensitive adhesive. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Self-Lamination: Clear; UV-, weather- and chemical-resistant; self-laminating, protective shield over the legend. Labels sized to fit the cable and raceway diameter, such that the clear shield overlaps the entire printed legend. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Vinyl, thermal, transfer-printed, 0.08 mm thick, multicolor, weather- and UV-resistant, pressure-sensitive adhesive labels, configured for display on front cover, door, or other access to equipment unless otherwise indicated. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Nominal Size: 8 by 12 cm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Marker for Tags: Machine-printed, permanent, waterproof, black ink recommended by printer manufacturer. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.4 BANDS AND TUBES | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Snap-Around, Color-Coding Bands for Raceways and Cables: Slit, pre-tensioned, flexible, solid colored acrylic sleeves, 5 cm long, with diameters sized to suit diameters of raceways or cables they identify, and that stay in place by gripping action. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Manufacturers: Subject to compliance with requirements, provide products by one of the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Brady Corporation | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Marking Services, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. or Equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Heat-Shrink Preprinted Tubes: Flame-retardant polyolefin tubes with machine-printed identification labels, sized to suit diameters of and shrunk to fit firmly around cables they identify. Full shrink recovery occurs at a maximum of 90°C. Comply with UL 224. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Manufacturers: Subject to compliance with requirements, provide products by the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Brady Corporation | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. 3M | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. or Equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 TAPES AND STENCILS | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Marker Tapes: Vinyl or vinyl-cloth, self-adhesive wraparound type, with circuit identification legend machine printed by thermal transfer or equivalent process. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Manufacturers: Subject to compliance with requirements, provide products by one of the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Carlton Industries, LP. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Champion America. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Ideal Industries, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. Marking Services, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| e. or Equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Self-Adhesive Vinyl Tape: Colored, heavy duty, waterproof, fade resistant; not less than 0.08 mm thick by 2.5 to 5 cm wide; compounded for outdoor use. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Manufacturers: Subject to compliance with requirements, provide products by one of the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Brady Corporation | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Carlton Industries, LP. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Emedco | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. or Equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Tape and Stencil for Raceways Carrying Circuits 600 V or Less: 10 cm wide black stripes on 25cm centers placed diagonally over orange background that extends full length of raceway or duct and is 30 cm wide. Stop stripes at legends. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Manufacturers: Subject to compliance with requirements, provide products by one of the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. LEM Products Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Marking Services, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. or Equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Floor Marking Tape: 5 cm wide, 0.13 mm pressure-sensitive vinyl tape, with yellow and black stripes and clear vinyl overlay. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. Underground-Line Warning Tape | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Manufacturers: Subject to compliance with requirements, provide products by one of the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Brady Corporation. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Ideal Industries, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. LEM Products Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. Marking Services, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| e. Reef Industries, Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| f. or Equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Tape: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Recommended by manufacturer for the method of installation and suitable to identify and locate underground electrical and communications utility lines. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Printing on tape shall be permanent and shall not be damaged by burial operations. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Tape material and ink shall be chemically inert and not subject to degradation when exposed to acids, alkalis, and other destructive substances commonly found in soils. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Color and Printing: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Comply with ANSI Z535.1, ANSI Z535.2, ANSI Z535.3, ANSI Z535.4, and ANSI Z535.5. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Inscriptions for Red-Colored Tapes: "ELECTRIC LINE, HIGH VOLTAGE". | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Inscriptions for Orange-Colored Tapes: "TELEPHONE CABLE, CATV CABLE, COMMUNICATIONS CABLE, OPTICAL FIBER CABLE". | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| F. Stenciled Legend: In nonfading, waterproof, black ink or paint. Minimum letter height shall be 2.5cm. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.6 TAGS | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Metal Tags: Brass or aluminum, height 5 and thickness 0.13 cm, with engraved or stamped legend, punched for use with self-locking cable tie fastener. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Nonmetallic Preprinted Tags: Polyethylene tags, 0.4 mm thick, color-coded for phase and voltage level, with factory screened or printed permanent designations; punched for use with self-locking cable tie fastener. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Write-On Tags: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Manufacturers: Subject to compliance with requirements, provide products by one of the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Carlton Industries, LP. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. LEM Products Inc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. or Equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Polyester Tags 0.4 mm thick, with corrosion-resistant grommet and cable tie for attachment to raceway, conductor, or cable. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Marker for Tags: Permanent, waterproof, black ink marker recommended by tag manufacturer. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.7 SIGNS | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Baked-Enamel Signs: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Preprinted aluminum signs, punched or drilled for fasteners, with colors, legend, and size required for application. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. 65 mm grommets in corners for mounting. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Nominal Size: 18 by 25 cm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Metal-Backed Butyrate Signs: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Weather-resistant, nonfading, preprinted, cellulose-acetate butyrate signs, with 1 mm galvanized-steel backing and with colors, legend, and size required for application. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. 65 mm grommets in corners for mounting. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Nominal Size: 25 by 35 cm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Laminated Acrylic or Melamine Plastic Signs: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Engraved legend. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Thickness: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. For signs up to 130 cm², minimum 1.6 mm. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. For signs larger than 130 cm², 3.2 mm thick. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Engraved legend with black letters on white face. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. Punched or drilled for mechanical fasteners. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| e. Framed with mitered acrylic molding and arranged for attachment at applicable equipment. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.8 CABLE TIES | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. General-Purpose Cable Ties: Fungus inert, self-extinguishing, one piece, self-locking, Type 6/6 nylon. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Minimum Width: 5 mm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Tensile Strength at 22°C according to ASTM D 638: 12,000 psi. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Temperature Range: -10° to +85° Celsius | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Color: Black, except where used for color-coding | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. UV-Stabilized Cable Ties: Fungus inert, designed for continuous exposure to exterior sunlight, self-extinguishing, one piece, self-locking, Type 6/6 nylon. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Minimum Width: 9 mm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Tensile Strength: 25 kg minimum. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Temperature Range: -10° to +85° Celsius | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Color: Black | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Plenum-Rated Cable Ties: Self-extinguishing, UV stabilized, one piece, self-locking. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Minimum Width: 9 mm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Tensile Strength at 22°C according to ASTM D 638: 480 Bar. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. UL 94 Flame Rating: 94V-0 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Temperature Range: -10° to +140° Celsius | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5. Color: Black | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.9 MISCELLANEOUS IDENTIFICATION PRODUCTS | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Paint: Comply with requirements in painting Sections for paint materials and application requirements. Retain paint system applicable for surface material and location (exterior or interior). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Fasteners for Labels and Signs: Self-tapping, stainless-steel screws or stainless-steel machine screws with nuts, flat, and lock washers. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3 EXECUTION | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3.1 PREPARATION | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Self-Adhesive Identification Products: Before applying electrical identification products, clean substrates of substances that could impair bond, using materials and methods recommended by manufacturer of identification product. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3.2 INSTALLATION | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Verify and coordinate identification names, abbreviations, colors, and other features with requirements in other Sections requiring identification applications, Drawings, Shop Drawings, manufacturer's wiring diagrams, and operation and maintenance manual. Use consistent designations throughout Project. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Install identifying devices before installing acoustical ceilings and similar concealment. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Verify identity of each item before installing identification products. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Install identification materials and devices at locations for most convenient viewing without interference with operation and maintenance of equipment. Install access doors or panels to provide view of identifying devices. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. Apply identification devices to surfaces that require finish after completing finish work. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| F. Attach signs and plastic labels that are not self-adhesive type with mechanical fasteners appropriate to the location and substrate. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| G. Cable Ties: For attaching tags. Use general-purpose type, except as listed below: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Outdoors: UV-stabilized nylon. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. In Spaces Handling Environmental Air: Plenum rated. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| H. Painted Identification: Comply with requirements in painting Sections for surface preparation and paint application. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| I. Aluminum Wraparound Marker Labels and Metal Tags: Secure tight to surface of conductor or cable at a location with high visibility and accessibility. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| J. System Identification Color-Coding Bands for Raceways and Cables: Each color-coding band shall completely encircle cable or conduit. Place adjacent bands of two-color markings in contact, side by side. Locate bands at changes in direction, at penetrations of walls and floors, at 15m maximum intervals in straight runs, and at 75m maximum intervals in congested areas. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| K. During backfilling of trenches, install continuous underground-line warning tape directly above cable or raceway at 15 to 20 cm below finished grade. Use multiple tapes where width of multiple lines installed in a common trench or concrete envelope exceeds 40m overall. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3.3 IDENTIFICATION SCHEDULE | 5 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Concealed Raceways, Duct Banks, More Than 600 V, within Buildings: Tape and stencil 10cm wide black stripes on 25cm centers over orange background that extends full length of raceway or duct and is 30cm wide. Stencil legend "DANGER CONCEALED HIGH VOLTAGE WIRING" with 7.5cm high black letters on 50cm centers. Stop stripes at legends. Apply stripes to the following finished surfaces: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Floor surface directly above conduits running beneath and within 30cm of a floor that is in contact with earth or is framed above unexcavated space. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Wall surfaces directly external to raceways concealed within wall. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Accessible surfaces of concrete envelope around raceways in vertical shafts, exposed in the building, or concealed above suspended ceilings. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Accessible Raceways, Armored and Metal-Clad Cables, More Than 600 V: Self-adhesive vinyl labels. Install labels 10m maximum intervals. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Accessible Raceways and Metal-Clad Cables, 600 V or Less, for Service, Feeder, and Branch Circuits, More Than 30 A and 220 V to Ground: Identify with self-adhesive vinyl label. Install labels at 30m maximum intervals. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Accessible Raceways and Cables within Buildings: Identify the covers of each junction and pull box of the following systems with self-adhesive vinyl labels containing the wiring system legend and system voltage. System legends shall be as follows: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. “EMERGENCY POWER” | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. “POWER” | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. “UPS” | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. “CONTROLS” | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5. “DATA” | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. Power-Circuit Conductor Identification, 600 V or Less: For conductors in vaults, pull and junction boxes, manholes, and hand holes, use color-coding conductor tape to identify the phase. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. 1. Color-Coding for Phase- and Voltage-Level Identification, 600 V or Less: Use colors listed below for ungrounded service feeder and branch-circuit conductors. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Color shall be factory applied or field applied for sizes larger than No. 8 AWG if authorities having jurisdiction permit. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Colors for 380/220-V Circuits: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1) Phase L1: Red | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2) Phase L2: Yellow | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3) Phase L3: Blue | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Field-Applied, Color-Coding Conductor Tape: Apply in half-lapped turns for a minimum distance of 12cm from terminal points and in boxes where splices or taps are made. Apply last two turns of tape with no tension to prevent possible unwinding. Locate bands to avoid obscuring factory cable markings. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| F. Power-Circuit Conductor Identification, More Than 600 V: For conductors in vaults, pull and junction boxes, manholes, and hand holes, use nonmetallic preprinted tags colored and marked to indicate phase, and a separate tag with the circuit designation. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| G. Install instructional sign, including the color code for grounded and ungrounded conductors using adhesive-film-type labels. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| H. Control-Circuit Conductor Identification: For conductors and cables in pull and junction boxes, manholes, and hand holes, use self-adhesive, self-laminating polyester labels with the conductor or cable designation, origin, and destination. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| I. Control-Circuit Conductor Termination Identification: For identification at terminations, provide heat-shrink preprinted tubes with the conductor designation. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| J. Conductors To Be Extended in the Future: Attach marker tape to conductors and list source. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| K. Auxiliary Electrical Systems Conductor Identification: Identify field-installed alarm, control, and signal connections. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Identify conductors, cables, and terminals in enclosures and at junctions, terminals, and pull points. Identify by system and circuit designation. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Use system of marker-tape designations that is uniform and consistent with system used by manufacturer for factory-installed connections. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Coordinate identification with Project Drawings, manufacturer's wiring diagrams, and operation and maintenance manual. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| L. Locations of Underground Lines: Identify with underground-line warning tape for power, lighting, communication, and control wiring and optical-fiber cable. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Limit use of underground-line warning tape to direct-buried cables. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Install underground-line warning tape for direct-buried cables and cables in raceways. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| M. Workspace Indication: Install floor marking tape to show working clearances in the direction of access to live parts. Workspace shall comply with NFPA 70 and 29 CFR 1926.403 unless otherwise indicated. Do not install at flush-mounted panel boards and similar equipment in finished spaces. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| N. Warning Labels for Indoor Cabinets, Boxes, and Enclosures for Power and Lighting: Self-adhesive warning labels. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Comply with 29 CFR 1910.145. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Identify system voltage with black letters on an orange background. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Apply to exterior of door, cover, or other access. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. For equipment with multiple power or control sources, apply to door or cover of equipment, including, but not limited to, the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Power-transfer switches | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Controls with external control power connections | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| O. Arc Flash Warning Labeling: Self-adhesive thermal transfer vinyl labels comply with NFPA 70E and ANSI Z535.4. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| P. Operating Instruction Signs: Install instruction signs to facilitate proper operation and maintenance of electrical systems and items to which they connect. Install instruction signs with approved legend where instructions are needed for system or equipment operation. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Q. Emergency Operating Instruction Signs: Install instruction signs with white legend on a red background with minimum 1cm high letters for emergency instructions at equipment used for power transfer. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| R. Equipment Identification Labels: On each unit of equipment, install unique designation label that is consistent with wiring diagrams, schedules, and operation and maintenance manual. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| S. Apply labels to disconnect switches and protection equipment, central or master units, control panels, control stations, terminal cabinets, and racks of each system. Systems include power, lighting, control, communication, signal, monitoring, and alarm unless equipment is provided with its own identification. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Labeling Instructions: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Indoor Equipment: Self-adhesive, engraved, laminated acrylic or melamine plastic label. Unless otherwise indicated, provide a single line of text with 1.5cm high letters on 4cm high label; where two lines of text are required, use labels 5cm high. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Outdoor Equipment: Engraved, laminated acrylic or melamine label Stenciled legend 10cm high. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Elevated Components: Increase sizes of labels and letters to those appropriate for viewing from the floor. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. Unless labels are provided with self-adhesive means of attachment, fasten them with appropriate mechanical fasteners that do not change the NEMA or NRTL rating of the enclosure. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Equipment To Be Labeled: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Panel boards: Typewritten directory of circuits in the location provided by panel board manufacturer. Panel board identification shall be in the form of a self-adhesive, engraved, laminated acrylic or melamine label. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Enclosures and electrical cabinets. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Access doors and panels for concealed electrical items. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. Switchgear | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| e. Switchboards | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| f. Transformers: Label that includes tag designation shown on Drawings for the transformer, feeder, and panel boards or equipment supplied by the secondary. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| g. Substations | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| h. Emergency system boxes and enclosures. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| i. Motor-control centers | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| j. Enclosed switches | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| k. Enclosed circuit breakers | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| l. Enclosed controllers | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| m. Variable-speed controllers | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| n. Push-button stations | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| o. Power-transfer equipment | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| p. Contactors | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| q. Remote-controlled switches, dimmer modules, and control devices. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| r. Battery-inverter units | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| s. Battery racks | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| t. Power-generating units | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| u. Monitoring and control equipment | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| v. UPS equipment | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| END OF SECTION | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | SUPPLIER 1 SCORE | SUPPLIER 2 SCORE | SUPPLIER 3 SCORE | SUPPLIER 4 SCORE | SUPPLIER 5 SCORE | SUPPLIER 6 SCORE
* For Requirements defined as ''Killer'', a ‘’Fully Compliant’’ score should be the sole acceptable outcome. Failing to obtain a ‘’Fully Compliant’’ score on the requirements defined as Killers, will mandate immediate disqualification for bidders.
Note on D9: Entity (Department/ Unit) that identified the requirement and that will be responsible for its evaluation.
Note on E9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on F9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on G9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on H9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on I9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on J9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on E11: Evaluators Comments
Note on F11: Evaluators Comments
Note on G11: Evaluators Comments
Note on H11: Evaluators Comments
Note on I11: Evaluators Comments
Note on J11: Evaluators Comments
Note on E12: Evaluators Comments
Note on F12: Evaluators Comments
Note on G12: Evaluators Comments
Note on H12: Evaluators Comments
Note on I12: Evaluators Comments
Note on J12: Evaluators Comments
Note on E13: Evaluators Comments
Note on F13: Evaluators Comments
Note on G13: Evaluators Comments
Note on H13: Evaluators Comments
Note on I13: Evaluators Comments
Note on J13: Evaluators Comments
Note on E14: Evaluators Comments
Note on F14: Evaluators Comments
Note on G14: Evaluators Comments
Note on H14: Evaluators Comments
Note on I14: Evaluators Comments
Note on J14: Evaluators Comments
Note on E15: Evaluators Comments
Note on F15: Evaluators Comments
Note on G15: Evaluators Comments
Note on H15: Evaluators Comments
Note on I15: Evaluators Comments
Note on J15: Evaluators Comments
Note on E16: Evaluators Comments
Note on F16: Evaluators Comments
Note on G16: Evaluators Comments
Note on H16: Evaluators Comments
Note on I16: Evaluators Comments
Note on J16: Evaluators Comments
Note on E17: Evaluators Comments
Note on F17: Evaluators Comments
Note on G17: Evaluators Comments
Note on H17: Evaluators Comments
Note on I17: Evaluators Comments
Note on J17: Evaluators Comments
Note on E18: Evaluators Comments
Note on F18: Evaluators Comments
Note on G18: Evaluators Comments
Note on H18: Evaluators Comments
Note on I18: Evaluators Comments
Note on J18: Evaluators Comments
Note on E19: Evaluators Comments
Note on F19: Evaluators Comments
Note on G19: Evaluators Comments
Note on H19: Evaluators Comments
Note on I19: Evaluators Comments
Note on J19: Evaluators Comments
Note on E20: Evaluators Comments
Note on F20: Evaluators Comments
Note on G20: Evaluators Comments
Note on H20: Evaluators Comments
Note on I20: Evaluators Comments
Note on J20: Evaluators Comments
Note on E21: Evaluators Comments
Note on F21: Evaluators Comments
Note on G21: Evaluators Comments
Note on H21: Evaluators Comments
Note on I21: Evaluators Comments
Note on J21: Evaluators Comments
Note on E22: Evaluators Comments
Note on F22: Evaluators Comments
Note on G22: Evaluators Comments
Note on H22: Evaluators Comments
Note on I22: Evaluators Comments
Note on J22: Evaluators Comments
Note on E23: Evaluators Comments
Note on F23: Evaluators Comments
Note on G23: Evaluators Comments
Note on H23: Evaluators Comments
Note on I23: Evaluators Comments
Note on J23: Evaluators Comments
Note on E24: Evaluators Comments
Note on F24: Evaluators Comments
Note on G24: Evaluators Comments
Note on H24: Evaluators Comments
Note on I24: Evaluators Comments
Note on J24: Evaluators Comments
Note on E25: Evaluators Comments
Note on F25: Evaluators Comments
Note on G25: Evaluators Comments
Note on H25: Evaluators Comments
Note on I25: Evaluators Comments
Note on J25: Evaluators Comments
Note on E26: Evaluators Comments
Note on F26: Evaluators Comments
Note on G26: Evaluators Comments
Note on H26: Evaluators Comments
Note on I26: Evaluators Comments
Note on J26: Evaluators Comments
Note on E27: Evaluators Comments
Note on F27: Evaluators Comments
Note on G27: Evaluators Comments
Note on H27: Evaluators Comments
Note on I27: Evaluators Comments
Note on J27: Evaluators Comments
Note on E28: Evaluators Comments
Note on F28: Evaluators Comments
Note on G28: Evaluators Comments
Note on H28: Evaluators Comments
Note on I28: Evaluators Comments
Note on J28: Evaluators Comments
Note on E29: Evaluators Comments
Note on F29: Evaluators Comments
Note on G29: Evaluators Comments
Note on H29: Evaluators Comments
Note on I29: Evaluators Comments
Note on J29: Evaluators Comments
Note on E30: Evaluators Comments
Note on F30: Evaluators Comments
Note on G30: Evaluators Comments
Note on H30: Evaluators Comments
Note on I30: Evaluators Comments
Note on J30: Evaluators Comments
Note on E31: Evaluators Comments
Note on F31: Evaluators Comments
Note on G31: Evaluators Comments
Note on H31: Evaluators Comments
Note on I31: Evaluators Comments
Note on J31: Evaluators Comments
Note on E32: Evaluators Comments
Note on F32: Evaluators Comments
Note on G32: Evaluators Comments
Note on H32: Evaluators Comments
Note on I32: Evaluators Comments
Note on J32: Evaluators Comments
Note on E33: Evaluators Comments
Note on F33: Evaluators Comments
Note on G33: Evaluators Comments
Note on H33: Evaluators Comments
Note on I33: Evaluators Comments
Note on J33: Evaluators Comments
Note on E34: Evaluators Comments
Note on F34: Evaluators Comments
Note on G34: Evaluators Comments
Note on H34: Evaluators Comments
Note on I34: Evaluators Comments
Note on J34: Evaluators Comments
Note on E35: Evaluators Comments
Note on F35: Evaluators Comments
Note on G35: Evaluators Comments
Note on H35: Evaluators Comments
Note on I35: Evaluators Comments
Note on J35: Evaluators Comments
Note on E36: Evaluators Comments
Note on F36: Evaluators Comments
Note on G36: Evaluators Comments
Note on H36: Evaluators Comments
Note on I36: Evaluators Comments
Note on J36: Evaluators Comments
Note on E37: Evaluators Comments
Note on F37: Evaluators Comments
Note on G37: Evaluators Comments
Note on H37: Evaluators Comments
Note on I37: Evaluators Comments
Note on J37: Evaluators Comments
Note on E38: Evaluators Comments
Note on F38: Evaluators Comments
Note on G38: Evaluators Comments
Note on H38: Evaluators Comments
Note on I38: Evaluators Comments
Note on J38: Evaluators Comments
Note on E39: Evaluators Comments
Note on F39: Evaluators Comments
Note on G39: Evaluators Comments
Note on H39: Evaluators Comments
Note on I39: Evaluators Comments
Note on J39: Evaluators Comments
Note on E40: Evaluators Comments
Note on F40: Evaluators Comments
Note on G40: Evaluators Comments
Note on H40: Evaluators Comments
Note on I40: Evaluators Comments
Note on J40: Evaluators Comments
Note on E41: Evaluators Comments
Note on F41: Evaluators Comments
Note on G41: Evaluators Comments
Note on H41: Evaluators Comments
Note on I41: Evaluators Comments
Note on J41: Evaluators Comments
Note on E42: Evaluators Comments
Note on F42: Evaluators Comments
Note on G42: Evaluators Comments
Note on H42: Evaluators Comments
Note on I42: Evaluators Comments
Note on J42: Evaluators Comments
Note on E43: Evaluators Comments
Note on F43: Evaluators Comments
Note on G43: Evaluators Comments
Note on H43: Evaluators Comments
Note on I43: Evaluators Comments
Note on J43: Evaluators Comments
Note on E44: Evaluators Comments
Note on F44: Evaluators Comments
Note on G44: Evaluators Comments
Note on H44: Evaluators Comments
Note on I44: Evaluators Comments
Note on J44: Evaluators Comments
Note on E45: Evaluators Comments
Note on F45: Evaluators Comments
Note on G45: Evaluators Comments
Note on H45: Evaluators Comments
Note on I45: Evaluators Comments
Note on J45: Evaluators Comments
Note on E46: Evaluators Comments
Note on F46: Evaluators Comments
Note on G46: Evaluators Comments
Note on H46: Evaluators Comments
Note on I46: Evaluators Comments
Note on J46: Evaluators Comments
Note on E47: Evaluators Comments
Note on F47: Evaluators Comments
Note on G47: Evaluators Comments
Note on H47: Evaluators Comments
Note on I47: Evaluators Comments
Note on J47: Evaluators Comments
Note on E48: Evaluators Comments
Note on F48: Evaluators Comments
Note on G48: Evaluators Comments
Note on H48: Evaluators Comments
Note on I48: Evaluators Comments
Note on J48: Evaluators Comments
Note on E49: Evaluators Comments
Note on F49: Evaluators Comments
Note on G49: Evaluators Comments
Note on H49: Evaluators Comments
Note on I49: Evaluators Comments
Note on J49: Evaluators Comments
Note on E50: Evaluators Comments
Note on F50: Evaluators Comments
Note on G50: Evaluators Comments
Note on H50: Evaluators Comments
Note on I50: Evaluators Comments
Note on J50: Evaluators Comments
Note on E51: Evaluators Comments
Note on F51: Evaluators Comments
Note on G51: Evaluators Comments
Note on H51: Evaluators Comments
Note on I51: Evaluators Comments
Note on J51: Evaluators Comments
Note on E52: Evaluators Comments
Note on F52: Evaluators Comments
Note on G52: Evaluators Comments
Note on H52: Evaluators Comments
Note on I52: Evaluators Comments
Note on J52: Evaluators Comments
Note on E53: Evaluators Comments
Note on F53: Evaluators Comments
Note on G53: Evaluators Comments
Note on H53: Evaluators Comments
Note on I53: Evaluators Comments
Note on J53: Evaluators Comments
Note on E54: Evaluators Comments
Note on F54: Evaluators Comments
Note on G54: Evaluators Comments
Note on H54: Evaluators Comments
Note on I54: Evaluators Comments
Note on J54: Evaluators Comments
Note on E55: Evaluators Comments
Note on F55: Evaluators Comments
Note on G55: Evaluators Comments
Note on H55: Evaluators Comments
Note on I55: Evaluators Comments
Note on J55: Evaluators Comments
Note on E56: Evaluators Comments
Note on F56: Evaluators Comments
Note on G56: Evaluators Comments
Note on H56: Evaluators Comments
Note on I56: Evaluators Comments
Note on J56: Evaluators Comments
Note on E57: Evaluators Comments
Note on F57: Evaluators Comments
Note on G57: Evaluators Comments
Note on H57: Evaluators Comments
Note on I57: Evaluators Comments
Note on J57: Evaluators Comments
Note on E58: Evaluators Comments
Note on F58: Evaluators Comments
Note on G58: Evaluators Comments
Note on H58: Evaluators Comments
Note on I58: Evaluators Comments
Note on J58: Evaluators Comments
Note on E59: Evaluators Comments
Note on F59: Evaluators Comments
Note on G59: Evaluators Comments
Note on H59: Evaluators Comments
Note on I59: Evaluators Comments
Note on J59: Evaluators Comments
Note on E60: Evaluators Comments
Note on F60: Evaluators Comments
Note on G60: Evaluators Comments
Note on H60: Evaluators Comments
Note on I60: Evaluators Comments
Note on J60: Evaluators Comments
Note on E61: Evaluators Comments
Note on F61: Evaluators Comments
Note on G61: Evaluators Comments
Note on H61: Evaluators Comments
Note on I61: Evaluators Comments
Note on J61: Evaluators Comments
Note on E62: Evaluators Comments
Note on F62: Evaluators Comments
Note on G62: Evaluators Comments
Note on H62: Evaluators Comments
Note on I62: Evaluators Comments
Note on J62: Evaluators Comments
Note on E63: Evaluators Comments
Note on F63: Evaluators Comments
Note on G63: Evaluators Comments
Note on H63: Evaluators Comments
Note on I63: Evaluators Comments
Note on J63: Evaluators Comments
Note on E64: Evaluators Comments
Note on F64: Evaluators Comments
Note on G64: Evaluators Comments
Note on H64: Evaluators Comments
Note on I64: Evaluators Comments
Note on J64: Evaluators Comments
Note on E65: Evaluators Comments
Note on F65: Evaluators Comments
Note on G65: Evaluators Comments
Note on H65: Evaluators Comments
Note on I65: Evaluators Comments
Note on J65: Evaluators Comments
Note on E66: Evaluators Comments
Note on F66: Evaluators Comments
Note on G66: Evaluators Comments
Note on H66: Evaluators Comments
Note on I66: Evaluators Comments
Note on J66: Evaluators Comments
Note on E67: Evaluators Comments
Note on F67: Evaluators Comments
Note on G67: Evaluators Comments
Note on H67: Evaluators Comments
Note on I67: Evaluators Comments
Note on J67: Evaluators Comments
Note on E68: Evaluators Comments
Note on F68: Evaluators Comments
Note on G68: Evaluators Comments
Note on H68: Evaluators Comments
Note on I68: Evaluators Comments
Note on J68: Evaluators Comments
Note on E69: Evaluators Comments
Note on F69: Evaluators Comments
Note on G69: Evaluators Comments
Note on H69: Evaluators Comments
Note on I69: Evaluators Comments
Note on J69: Evaluators Comments
Note on E70: Evaluators Comments
Note on F70: Evaluators Comments
Note on G70: Evaluators Comments
Note on H70: Evaluators Comments
Note on I70: Evaluators Comments
Note on J70: Evaluators Comments
Note on E71: Evaluators Comments
Note on F71: Evaluators Comments
Note on G71: Evaluators Comments
Note on H71: Evaluators Comments
Note on I71: Evaluators Comments
Note on J71: Evaluators Comments
Note on E72: Evaluators Comments
Note on F72: Evaluators Comments
Note on G72: Evaluators Comments
Note on H72: Evaluators Comments
Note on I72: Evaluators Comments
Note on J72: Evaluators Comments
Note on E73: Evaluators Comments
Note on F73: Evaluators Comments
Note on G73: Evaluators Comments
Note on H73: Evaluators Comments
Note on I73: Evaluators Comments
Note on J73: Evaluators Comments
Note on E74: Evaluators Comments
Note on F74: Evaluators Comments
Note on G74: Evaluators Comments
Note on H74: Evaluators Comments
Note on I74: Evaluators Comments
Note on J74: Evaluators Comments
Note on E75: Evaluators Comments
Note on F75: Evaluators Comments
Note on G75: Evaluators Comments
Note on H75: Evaluators Comments
Note on I75: Evaluators Comments
Note on J75: Evaluators Comments
Note on E76: Evaluators Comments
Note on F76: Evaluators Comments
Note on G76: Evaluators Comments
Note on H76: Evaluators Comments
Note on I76: Evaluators Comments
Note on J76: Evaluators Comments
Note on E77: Evaluators Comments
Note on F77: Evaluators Comments
Note on G77: Evaluators Comments
Note on H77: Evaluators Comments
Note on I77: Evaluators Comments
Note on J77: Evaluators Comments
Note on E78: Evaluators Comments
Note on F78: Evaluators Comments
Note on G78: Evaluators Comments
Note on H78: Evaluators Comments
Note on I78: Evaluators Comments
Note on J78: Evaluators Comments
Note on E79: Evaluators Comments
Note on F79: Evaluators Comments
Note on G79: Evaluators Comments
Note on H79: Evaluators Comments
Note on I79: Evaluators Comments
Note on J79: Evaluators Comments
Note on E80: Evaluators Comments
Note on F80: Evaluators Comments
Note on G80: Evaluators Comments
Note on H80: Evaluators Comments
Note on I80: Evaluators Comments
Note on J80: Evaluators Comments
Note on E81: Evaluators Comments
Note on F81: Evaluators Comments
Note on G81: Evaluators Comments
Note on H81: Evaluators Comments
Note on I81: Evaluators Comments
Note on J81: Evaluators Comments
Note on E82: Evaluators Comments
Note on F82: Evaluators Comments
Note on G82: Evaluators Comments
Note on H82: Evaluators Comments
Note on I82: Evaluators Comments
Note on J82: Evaluators Comments
Note on E83: Evaluators Comments
Note on F83: Evaluators Comments
Note on G83: Evaluators Comments
Note on H83: Evaluators Comments
Note on I83: Evaluators Comments
Note on J83: Evaluators Comments
Note on E84: Evaluators Comments
Note on F84: Evaluators Comments
Note on G84: Evaluators Comments
Note on H84: Evaluators Comments
Note on I84: Evaluators Comments
Note on J84: Evaluators Comments
Note on E85: Evaluators Comments
Note on F85: Evaluators Comments
Note on G85: Evaluators Comments
Note on H85: Evaluators Comments
Note on I85: Evaluators Comments
Note on J85: Evaluators Comments
Note on E86: Evaluators Comments
Note on F86: Evaluators Comments
Note on G86: Evaluators Comments
Note on H86: Evaluators Comments
Note on I86: Evaluators Comments
Note on J86: Evaluators Comments
Note on E87: Evaluators Comments
Note on F87: Evaluators Comments
Note on G87: Evaluators Comments
Note on H87: Evaluators Comments
Note on I87: Evaluators Comments
Note on J87: Evaluators Comments
Note on E88: Evaluators Comments
Note on F88: Evaluators Comments
Note on G88: Evaluators Comments
Note on H88: Evaluators Comments
Note on I88: Evaluators Comments
Note on J88: Evaluators Comments
Note on E89: Evaluators Comments
Note on F89: Evaluators Comments
Note on G89: Evaluators Comments
Note on H89: Evaluators Comments
Note on I89: Evaluators Comments
Note on J89: Evaluators Comments
Note on E90: Evaluators Comments
Note on F90: Evaluators Comments
Note on G90: Evaluators Comments
Note on H90: Evaluators Comments
Note on I90: Evaluators Comments
Note on J90: Evaluators Comments
Note on E91: Evaluators Comments
Note on F91: Evaluators Comments
Note on G91: Evaluators Comments
Note on H91: Evaluators Comments
Note on I91: Evaluators Comments
Note on J91: Evaluators Comments
Note on E92: Evaluators Comments
Note on F92: Evaluators Comments
Note on G92: Evaluators Comments
Note on H92: Evaluators Comments
Note on I92: Evaluators Comments
Note on J92: Evaluators Comments
Note on E93: Evaluators Comments
Note on F93: Evaluators Comments
Note on G93: Evaluators Comments
Note on H93: Evaluators Comments
Note on I93: Evaluators Comments
Note on J93: Evaluators Comments
Note on E94: Evaluators Comments
Note on F94: Evaluators Comments
Note on G94: Evaluators Comments
Note on H94: Evaluators Comments
Note on I94: Evaluators Comments
Note on J94: Evaluators Comments
Note on E95: Evaluators Comments
Note on F95: Evaluators Comments
Note on G95: Evaluators Comments
Note on H95: Evaluators Comments
Note on I95: Evaluators Comments
Note on J95: Evaluators Comments
Note on E96: Evaluators Comments
Note on F96: Evaluators Comments
Note on G96: Evaluators Comments
Note on H96: Evaluators Comments
Note on I96: Evaluators Comments
Note on J96: Evaluators Comments
Note on E97: Evaluators Comments
Note on F97: Evaluators Comments
Note on G97: Evaluators Comments
Note on H97: Evaluators Comments
Note on I97: Evaluators Comments
Note on J97: Evaluators Comments
Note on E98: Evaluators Comments
Note on F98: Evaluators Comments
Note on G98: Evaluators Comments
Note on H98: Evaluators Comments
Note on I98: Evaluators Comments
Note on J98: Evaluators Comments
Note on E99: Evaluators Comments
Note on F99: Evaluators Comments
Note on G99: Evaluators Comments
Note on H99: Evaluators Comments
Note on I99: Evaluators Comments
Note on J99: Evaluators Comments
Note on E100: Evaluators Comments
Note on F100: Evaluators Comments
Note on G100: Evaluators Comments
Note on H100: Evaluators Comments
Note on I100: Evaluators Comments
Note on J100: Evaluators Comments
Note on E101: Evaluators Comments
Note on F101: Evaluators Comments
Note on G101: Evaluators Comments
Note on H101: Evaluators Comments
Note on I101: Evaluators Comments
Note on J101: Evaluators Comments
Note on E102: Evaluators Comments
Note on F102: Evaluators Comments
Note on G102: Evaluators Comments
Note on H102: Evaluators Comments
Note on I102: Evaluators Comments
Note on J102: Evaluators Comments
Note on E103: Evaluators Comments
Note on F103: Evaluators Comments
Note on G103: Evaluators Comments
Note on H103: Evaluators Comments
Note on I103: Evaluators Comments
Note on J103: Evaluators Comments
Note on E104: Evaluators Comments
Note on F104: Evaluators Comments
Note on G104: Evaluators Comments
Note on H104: Evaluators Comments
Note on I104: Evaluators Comments
Note on J104: Evaluators Comments
Note on E105: Evaluators Comments
Note on F105: Evaluators Comments
Note on G105: Evaluators Comments
Note on H105: Evaluators Comments
Note on I105: Evaluators Comments
Note on J105: Evaluators Comments
Note on E106: Evaluators Comments
Note on F106: Evaluators Comments
Note on G106: Evaluators Comments
Note on H106: Evaluators Comments
Note on I106: Evaluators Comments
Note on J106: Evaluators Comments
Note on E107: Evaluators Comments
Note on F107: Evaluators Comments
Note on G107: Evaluators Comments
Note on H107: Evaluators Comments
Note on I107: Evaluators Comments
Note on J107: Evaluators Comments
Note on E108: Evaluators Comments
Note on F108: Evaluators Comments
Note on G108: Evaluators Comments
Note on H108: Evaluators Comments
Note on I108: Evaluators Comments
Note on J108: Evaluators Comments
Note on E109: Evaluators Comments
Note on F109: Evaluators Comments
Note on G109: Evaluators Comments
Note on H109: Evaluators Comments
Note on I109: Evaluators Comments
Note on J109: Evaluators Comments
Note on E110: Evaluators Comments
Note on F110: Evaluators Comments
Note on G110: Evaluators Comments
Note on H110: Evaluators Comments
Note on I110: Evaluators Comments
Note on J110: Evaluators Comments
Note on E111: Evaluators Comments
Note on F111: Evaluators Comments
Note on G111: Evaluators Comments
Note on H111: Evaluators Comments
Note on I111: Evaluators Comments
Note on J111: Evaluators Comments
Note on E112: Evaluators Comments
Note on F112: Evaluators Comments
Note on G112: Evaluators Comments
Note on H112: Evaluators Comments
Note on I112: Evaluators Comments
Note on J112: Evaluators Comments
Note on E113: Evaluators Comments
Note on F113: Evaluators Comments
Note on G113: Evaluators Comments
Note on H113: Evaluators Comments
Note on I113: Evaluators Comments
Note on J113: Evaluators Comments
Note on E114: Evaluators Comments
Note on F114: Evaluators Comments
Note on G114: Evaluators Comments
Note on H114: Evaluators Comments
Note on I114: Evaluators Comments
Note on J114: Evaluators Comments
Note on E115: Evaluators Comments
Note on F115: Evaluators Comments
Note on G115: Evaluators Comments
Note on H115: Evaluators Comments
Note on I115: Evaluators Comments
Note on J115: Evaluators Comments
Note on E116: Evaluators Comments
Note on F116: Evaluators Comments
Note on G116: Evaluators Comments
Note on H116: Evaluators Comments
Note on I116: Evaluators Comments
Note on J116: Evaluators Comments
Note on E117: Evaluators Comments
Note on F117: Evaluators Comments
Note on G117: Evaluators Comments
Note on H117: Evaluators Comments
Note on I117: Evaluators Comments
Note on J117: Evaluators Comments
Note on E118: Evaluators Comments
Note on F118: Evaluators Comments
Note on G118: Evaluators Comments
Note on H118: Evaluators Comments
Note on I118: Evaluators Comments
Note on J118: Evaluators Comments
Note on E119: Evaluators Comments
Note on F119: Evaluators Comments
Note on G119: Evaluators Comments
Note on H119: Evaluators Comments
Note on I119: Evaluators Comments
Note on J119: Evaluators Comments
Note on E120: Evaluators Comments
Note on F120: Evaluators Comments
Note on G120: Evaluators Comments
Note on H120: Evaluators Comments
Note on I120: Evaluators Comments
Note on J120: Evaluators Comments
Note on E121: Evaluators Comments
Note on F121: Evaluators Comments
Note on G121: Evaluators Comments
Note on H121: Evaluators Comments
Note on I121: Evaluators Comments
Note on J121: Evaluators Comments
Note on E122: Evaluators Comments
Note on F122: Evaluators Comments
Note on G122: Evaluators Comments
Note on H122: Evaluators Comments
Note on I122: Evaluators Comments
Note on J122: Evaluators Comments
Note on E123: Evaluators Comments
Note on F123: Evaluators Comments
Note on G123: Evaluators Comments
Note on H123: Evaluators Comments
Note on I123: Evaluators Comments
Note on J123: Evaluators Comments
Note on E124: Evaluators Comments
Note on F124: Evaluators Comments
Note on G124: Evaluators Comments
Note on H124: Evaluators Comments
Note on I124: Evaluators Comments
Note on J124: Evaluators Comments
Note on E125: Evaluators Comments
Note on F125: Evaluators Comments
Note on G125: Evaluators Comments
Note on H125: Evaluators Comments
Note on I125: Evaluators Comments
Note on J125: Evaluators Comments
Note on E126: Evaluators Comments
Note on F126: Evaluators Comments
Note on G126: Evaluators Comments
Note on H126: Evaluators Comments
Note on I126: Evaluators Comments
Note on J126: Evaluators Comments
Note on E127: Evaluators Comments
Note on F127: Evaluators Comments
Note on G127: Evaluators Comments
Note on H127: Evaluators Comments
Note on I127: Evaluators Comments
Note on J127: Evaluators Comments
Note on E128: Evaluators Comments
Note on F128: Evaluators Comments
Note on G128: Evaluators Comments
Note on H128: Evaluators Comments
Note on I128: Evaluators Comments
Note on J128: Evaluators Comments
Note on E129: Evaluators Comments
Note on F129: Evaluators Comments
Note on G129: Evaluators Comments
Note on H129: Evaluators Comments
Note on I129: Evaluators Comments
Note on J129: Evaluators Comments
Note on E130: Evaluators Comments
Note on F130: Evaluators Comments
Note on G130: Evaluators Comments
Note on H130: Evaluators Comments
Note on I130: Evaluators Comments
Note on J130: Evaluators Comments
Note on E131: Evaluators Comments
Note on F131: Evaluators Comments
Note on G131: Evaluators Comments
Note on H131: Evaluators Comments
Note on I131: Evaluators Comments
Note on J131: Evaluators Comments
Note on E132: Evaluators Comments
Note on F132: Evaluators Comments
Note on G132: Evaluators Comments
Note on H132: Evaluators Comments
Note on I132: Evaluators Comments
Note on J132: Evaluators Comments
Note on E133: Evaluators Comments
Note on F133: Evaluators Comments
Note on G133: Evaluators Comments
Note on H133: Evaluators Comments
Note on I133: Evaluators Comments
Note on J133: Evaluators Comments
Note on E134: Evaluators Comments
Note on F134: Evaluators Comments
Note on G134: Evaluators Comments
Note on H134: Evaluators Comments
Note on I134: Evaluators Comments
Note on J134: Evaluators Comments
Note on E135: Evaluators Comments
Note on F135: Evaluators Comments
Note on G135: Evaluators Comments
Note on H135: Evaluators Comments
Note on I135: Evaluators Comments
Note on J135: Evaluators Comments
Note on E136: Evaluators Comments
Note on F136: Evaluators Comments
Note on G136: Evaluators Comments
Note on H136: Evaluators Comments
Note on I136: Evaluators Comments
Note on J136: Evaluators Comments
Note on E137: Evaluators Comments
Note on F137: Evaluators Comments
Note on G137: Evaluators Comments
Note on H137: Evaluators Comments
Note on I137: Evaluators Comments
Note on J137: Evaluators Comments
Note on E138: Evaluators Comments
Note on F138: Evaluators Comments
Note on G138: Evaluators Comments
Note on H138: Evaluators Comments
Note on I138: Evaluators Comments
Note on J138: Evaluators Comments
Note on E139: Evaluators Comments
Note on F139: Evaluators Comments
Note on G139: Evaluators Comments
Note on H139: Evaluators Comments
Note on I139: Evaluators Comments
Note on J139: Evaluators Comments
Note on E140: Evaluators Comments
Note on F140: Evaluators Comments
Note on G140: Evaluators Comments
Note on H140: Evaluators Comments
Note on I140: Evaluators Comments
Note on J140: Evaluators Comments
Note on E141: Evaluators Comments
Note on F141: Evaluators Comments
Note on G141: Evaluators Comments
Note on H141: Evaluators Comments
Note on I141: Evaluators Comments
Note on J141: Evaluators Comments
Note on E142: Evaluators Comments
Note on F142: Evaluators Comments
Note on G142: Evaluators Comments
Note on H142: Evaluators Comments
Note on I142: Evaluators Comments
Note on J142: Evaluators Comments
Note on E143: Evaluators Comments
Note on F143: Evaluators Comments
Note on G143: Evaluators Comments
Note on H143: Evaluators Comments
Note on I143: Evaluators Comments
Note on J143: Evaluators Comments
Note on E144: Evaluators Comments
Note on F144: Evaluators Comments
Note on G144: Evaluators Comments
Note on H144: Evaluators Comments
Note on I144: Evaluators Comments
Note on J144: Evaluators Comments
Note on E145: Evaluators Comments
Note on F145: Evaluators Comments
Note on G145: Evaluators Comments
Note on H145: Evaluators Comments
Note on I145: Evaluators Comments
Note on J145: Evaluators Comments
Note on E146: Evaluators Comments
Note on F146: Evaluators Comments
Note on G146: Evaluators Comments
Note on H146: Evaluators Comments
Note on I146: Evaluators Comments
Note on J146: Evaluators Comments
Note on E147: Evaluators Comments
Note on F147: Evaluators Comments
Note on G147: Evaluators Comments
Note on H147: Evaluators Comments
Note on I147: Evaluators Comments
Note on J147: Evaluators Comments
Note on E148: Evaluators Comments
Note on F148: Evaluators Comments
Note on G148: Evaluators Comments
Note on H148: Evaluators Comments
Note on I148: Evaluators Comments
Note on J148: Evaluators Comments
Note on E149: Evaluators Comments
Note on F149: Evaluators Comments
Note on G149: Evaluators Comments
Note on H149: Evaluators Comments
Note on I149: Evaluators Comments
Note on J149: Evaluators Comments
Note on E150: Evaluators Comments
Note on F150: Evaluators Comments
Note on G150: Evaluators Comments
Note on H150: Evaluators Comments
Note on I150: Evaluators Comments
Note on J150: Evaluators Comments
Note on E151: Evaluators Comments
Note on F151: Evaluators Comments
Note on G151: Evaluators Comments
Note on H151: Evaluators Comments
Note on I151: Evaluators Comments
Note on J151: Evaluators Comments
Note on E152: Evaluators Comments
Note on F152: Evaluators Comments
Note on G152: Evaluators Comments
Note on H152: Evaluators Comments
Note on I152: Evaluators Comments
Note on J152: Evaluators Comments
Note on E153: Evaluators Comments
Note on F153: Evaluators Comments
Note on G153: Evaluators Comments
Note on H153: Evaluators Comments
Note on I153: Evaluators Comments
Note on J153: Evaluators Comments
Note on E154: Evaluators Comments
Note on F154: Evaluators Comments
Note on G154: Evaluators Comments
Note on H154: Evaluators Comments
Note on I154: Evaluators Comments
Note on J154: Evaluators Comments
Note on E155: Evaluators Comments
Note on F155: Evaluators Comments
Note on G155: Evaluators Comments
Note on H155: Evaluators Comments
Note on I155: Evaluators Comments
Note on J155: Evaluators Comments
Note on E156: Evaluators Comments
Note on F156: Evaluators Comments
Note on G156: Evaluators Comments
Note on H156: Evaluators Comments
Note on I156: Evaluators Comments
Note on J156: Evaluators Comments
Note on E157: Evaluators Comments
Note on F157: Evaluators Comments
Note on G157: Evaluators Comments
Note on H157: Evaluators Comments
Note on I157: Evaluators Comments
Note on J157: Evaluators Comments
Note on E158: Evaluators Comments
Note on F158: Evaluators Comments
Note on G158: Evaluators Comments
Note on H158: Evaluators Comments
Note on I158: Evaluators Comments
Note on J158: Evaluators Comments
Note on E159: Evaluators Comments
Note on F159: Evaluators Comments
Note on G159: Evaluators Comments
Note on H159: Evaluators Comments
Note on I159: Evaluators Comments
Note on J159: Evaluators Comments
Note on E160: Evaluators Comments
Note on F160: Evaluators Comments
Note on G160: Evaluators Comments
Note on H160: Evaluators Comments
Note on I160: Evaluators Comments
Note on J160: Evaluators Comments
Note on E161: Evaluators Comments
Note on F161: Evaluators Comments
Note on G161: Evaluators Comments
Note on H161: Evaluators Comments
Note on I161: Evaluators Comments
Note on J161: Evaluators Comments
Note on E162: Evaluators Comments
Note on F162: Evaluators Comments
Note on G162: Evaluators Comments
Note on H162: Evaluators Comments
Note on I162: Evaluators Comments
Note on J162: Evaluators Comments
Note on E163: Evaluators Comments
Note on F163: Evaluators Comments
Note on G163: Evaluators Comments
Note on H163: Evaluators Comments
Note on I163: Evaluators Comments
Note on J163: Evaluators Comments
Note on E164: Evaluators Comments
Note on F164: Evaluators Comments
Note on G164: Evaluators Comments
Note on H164: Evaluators Comments
Note on I164: Evaluators Comments
Note on J164: Evaluators Comments
Note on E165: Evaluators Comments
Note on F165: Evaluators Comments
Note on G165: Evaluators Comments
Note on H165: Evaluators Comments
Note on I165: Evaluators Comments
Note on J165: Evaluators Comments
Note on E166: Evaluators Comments
Note on F166: Evaluators Comments
Note on G166: Evaluators Comments
Note on H166: Evaluators Comments
Note on I166: Evaluators Comments
Note on J166: Evaluators Comments
Note on E167: Evaluators Comments
Note on F167: Evaluators Comments
Note on G167: Evaluators Comments
Note on H167: Evaluators Comments
Note on I167: Evaluators Comments
Note on J167: Evaluators Comments
Note on E168: Evaluators Comments
Note on F168: Evaluators Comments
Note on G168: Evaluators Comments
Note on H168: Evaluators Comments
Note on I168: Evaluators Comments
Note on J168: Evaluators Comments
Note on E169: Evaluators Comments
Note on F169: Evaluators Comments
Note on G169: Evaluators Comments
Note on H169: Evaluators Comments
Note on I169: Evaluators Comments
Note on J169: Evaluators Comments
Note on E170: Evaluators Comments
Note on F170: Evaluators Comments
Note on G170: Evaluators Comments
Note on H170: Evaluators Comments
Note on I170: Evaluators Comments
Note on J170: Evaluators Comments
Note on E171: Evaluators Comments
Note on F171: Evaluators Comments
Note on G171: Evaluators Comments
Note on H171: Evaluators Comments
Note on I171: Evaluators Comments
Note on J171: Evaluators Comments
Note on E172: Evaluators Comments
Note on F172: Evaluators Comments
Note on G172: Evaluators Comments
Note on H172: Evaluators Comments
Note on I172: Evaluators Comments
Note on J172: Evaluators Comments
Note on E173: Evaluators Comments
Note on F173: Evaluators Comments
Note on G173: Evaluators Comments
Note on H173: Evaluators Comments
Note on I173: Evaluators Comments
Note on J173: Evaluators Comments
Note on E174: Evaluators Comments
Note on F174: Evaluators Comments
Note on G174: Evaluators Comments
Note on H174: Evaluators Comments
Note on I174: Evaluators Comments
Note on J174: Evaluators Comments
Note on E175: Evaluators Comments
Note on F175: Evaluators Comments
Note on G175: Evaluators Comments
Note on H175: Evaluators Comments
Note on I175: Evaluators Comments
Note on J175: Evaluators Comments
Note on E176: Evaluators Comments
Note on F176: Evaluators Comments
Note on G176: Evaluators Comments
Note on H176: Evaluators Comments
Note on I176: Evaluators Comments
Note on J176: Evaluators Comments
Note on E177: Evaluators Comments
Note on F177: Evaluators Comments
Note on G177: Evaluators Comments
Note on H177: Evaluators Comments
Note on I177: Evaluators Comments
Note on J177: Evaluators Comments
Note on E178: Evaluators Comments
Note on F178: Evaluators Comments
Note on G178: Evaluators Comments
Note on H178: Evaluators Comments
Note on I178: Evaluators Comments
Note on J178: Evaluators Comments
Note on E179: Evaluators Comments
Note on F179: Evaluators Comments
Note on G179: Evaluators Comments
Note on H179: Evaluators Comments
Note on I179: Evaluators Comments
Note on J179: Evaluators Comments
Note on E180: Evaluators Comments
Note on F180: Evaluators Comments
Note on G180: Evaluators Comments
Note on H180: Evaluators Comments
Note on I180: Evaluators Comments
Note on J180: Evaluators Comments
Note on E181: Evaluators Comments
Note on F181: Evaluators Comments
Note on G181: Evaluators Comments
Note on H181: Evaluators Comments
Note on I181: Evaluators Comments
Note on J181: Evaluators Comments
Note on E182: Evaluators Comments
Note on F182: Evaluators Comments
Note on G182: Evaluators Comments
Note on H182: Evaluators Comments
Note on I182: Evaluators Comments
Note on J182: Evaluators Comments
Note on E183: Evaluators Comments
Note on F183: Evaluators Comments
Note on G183: Evaluators Comments
Note on H183: Evaluators Comments
Note on I183: Evaluators Comments
Note on J183: Evaluators Comments
Note on E184: Evaluators Comments
Note on F184: Evaluators Comments
Note on G184: Evaluators Comments
Note on H184: Evaluators Comments
Note on I184: Evaluators Comments
Note on J184: Evaluators Comments
Note on E185: Evaluators Comments
Note on F185: Evaluators Comments
Note on G185: Evaluators Comments
Note on H185: Evaluators Comments
Note on I185: Evaluators Comments
Note on J185: Evaluators Comments
Note on E186: Evaluators Comments
Note on F186: Evaluators Comments
Note on G186: Evaluators Comments
Note on H186: Evaluators Comments
Note on I186: Evaluators Comments
Note on J186: Evaluators Comments
Note on E187: Evaluators Comments
Note on F187: Evaluators Comments
Note on G187: Evaluators Comments
Note on H187: Evaluators Comments
Note on I187: Evaluators Comments
Note on J187: Evaluators Comments
Note on E188: Evaluators Comments
Note on F188: Evaluators Comments
Note on G188: Evaluators Comments
Note on H188: Evaluators Comments
Note on I188: Evaluators Comments
Note on J188: Evaluators Comments
Note on E189: Evaluators Comments
Note on F189: Evaluators Comments
Note on G189: Evaluators Comments
Note on H189: Evaluators Comments
Note on I189: Evaluators Comments
Note on J189: Evaluators Comments
Note on E190: Evaluators Comments
Note on F190: Evaluators Comments
Note on G190: Evaluators Comments
Note on H190: Evaluators Comments
Note on I190: Evaluators Comments
Note on J190: Evaluators Comments
Note on E191: Evaluators Comments
Note on F191: Evaluators Comments
Note on G191: Evaluators Comments
Note on H191: Evaluators Comments
Note on I191: Evaluators Comments
Note on J191: Evaluators Comments
Note on E192: Evaluators Comments
Note on F192: Evaluators Comments
Note on G192: Evaluators Comments
Note on H192: Evaluators Comments
Note on I192: Evaluators Comments
Note on J192: Evaluators Comments
Note on E193: Evaluators Comments
Note on F193: Evaluators Comments
Note on G193: Evaluators Comments
Note on H193: Evaluators Comments
Note on I193: Evaluators Comments
Note on J193: Evaluators Comments
Note on E194: Evaluators Comments
Note on F194: Evaluators Comments
Note on G194: Evaluators Comments
Note on H194: Evaluators Comments
Note on I194: Evaluators Comments
Note on J194: Evaluators Comments
Note on E195: Evaluators Comments
Note on F195: Evaluators Comments
Note on G195: Evaluators Comments
Note on H195: Evaluators Comments
Note on I195: Evaluators Comments
Note on J195: Evaluators Comments
Note on E196: Evaluators Comments
Note on F196: Evaluators Comments
Note on G196: Evaluators Comments
Note on H196: Evaluators Comments
Note on I196: Evaluators Comments
Note on J196: Evaluators Comments
Note on E197: Evaluators Comments
Note on F197: Evaluators Comments
Note on G197: Evaluators Comments
Note on H197: Evaluators Comments
Note on I197: Evaluators Comments
Note on J197: Evaluators Comments
Note on E198: Evaluators Comments
Note on F198: Evaluators Comments
Note on G198: Evaluators Comments
Note on H198: Evaluators Comments
Note on I198: Evaluators Comments
Note on J198: Evaluators Comments
Note on E199: Evaluators Comments
Note on F199: Evaluators Comments
Note on G199: Evaluators Comments
Note on H199: Evaluators Comments
Note on I199: Evaluators Comments
Note on J199: Evaluators Comments
Note on E200: Evaluators Comments
Note on F200: Evaluators Comments
Note on G200: Evaluators Comments
Note on H200: Evaluators Comments
Note on I200: Evaluators Comments
Note on J200: Evaluators Comments
Note on E201: Evaluators Comments
Note on F201: Evaluators Comments
Note on G201: Evaluators Comments
Note on H201: Evaluators Comments
Note on I201: Evaluators Comments
Note on J201: Evaluators Comments
Note on E202: Evaluators Comments
Note on F202: Evaluators Comments
Note on G202: Evaluators Comments
Note on H202: Evaluators Comments
Note on I202: Evaluators Comments
Note on J202: Evaluators Comments
Note on E203: Evaluators Comments
Note on F203: Evaluators Comments
Note on G203: Evaluators Comments
Note on H203: Evaluators Comments
Note on I203: Evaluators Comments
Note on J203: Evaluators Comments
Note on E204: Evaluators Comments
Note on F204: Evaluators Comments
Note on G204: Evaluators Comments
Note on H204: Evaluators Comments
Note on I204: Evaluators Comments
Note on J204: Evaluators Comments
Note on E205: Evaluators Comments
Note on F205: Evaluators Comments
Note on G205: Evaluators Comments
Note on H205: Evaluators Comments
Note on I205: Evaluators Comments
Note on J205: Evaluators Comments
Note on E206: Evaluators Comments
Note on F206: Evaluators Comments
Note on G206: Evaluators Comments
Note on H206: Evaluators Comments
Note on I206: Evaluators Comments
Note on J206: Evaluators Comments
Note on E207: Evaluators Comments
Note on F207: Evaluators Comments
Note on G207: Evaluators Comments
Note on H207: Evaluators Comments
Note on I207: Evaluators Comments
Note on J207: Evaluators Comments
Note on E208: Evaluators Comments
Note on F208: Evaluators Comments
Note on G208: Evaluators Comments
Note on H208: Evaluators Comments
Note on I208: Evaluators Comments
Note on J208: Evaluators Comments
Note on E209: Evaluators Comments
Note on F209: Evaluators Comments
Note on G209: Evaluators Comments
Note on H209: Evaluators Comments
Note on I209: Evaluators Comments
Note on J209: Evaluators Comments
Note on E210: Evaluators Comments
Note on F210: Evaluators Comments
Note on G210: Evaluators Comments
Note on H210: Evaluators Comments
Note on I210: Evaluators Comments
Note on J210: Evaluators Comments
Note on E211: Evaluators Comments
Note on F211: Evaluators Comments
Note on G211: Evaluators Comments
Note on H211: Evaluators Comments
Note on I211: Evaluators Comments
Note on J211: Evaluators Comments
Note on E212: Evaluators Comments
Note on F212: Evaluators Comments
Note on G212: Evaluators Comments
Note on H212: Evaluators Comments
Note on I212: Evaluators Comments
Note on J212: Evaluators Comments
Note on E213: Evaluators Comments
Note on F213: Evaluators Comments
Note on G213: Evaluators Comments
Note on H213: Evaluators Comments
Note on I213: Evaluators Comments
Note on J213: Evaluators Comments
Note on E214: Evaluators Comments
Note on F214: Evaluators Comments
Note on G214: Evaluators Comments
Note on H214: Evaluators Comments
Note on I214: Evaluators Comments
Note on J214: Evaluators Comments
Note on E215: Evaluators Comments
Note on F215: Evaluators Comments
Note on G215: Evaluators Comments
Note on H215: Evaluators Comments
Note on I215: Evaluators Comments
Note on J215: Evaluators Comments
Note on E216: Evaluators Comments
Note on F216: Evaluators Comments
Note on G216: Evaluators Comments
Note on H216: Evaluators Comments
Note on I216: Evaluators Comments
Note on J216: Evaluators Comments
Note on E217: Evaluators Comments
Note on F217: Evaluators Comments
Note on G217: Evaluators Comments
Note on H217: Evaluators Comments
Note on I217: Evaluators Comments
Note on J217: Evaluators Comments
Note on E218: Evaluators Comments
Note on F218: Evaluators Comments
Note on G218: Evaluators Comments
Note on H218: Evaluators Comments
Note on I218: Evaluators Comments
Note on J218: Evaluators Comments
Note on E219: Evaluators Comments
Note on F219: Evaluators Comments
Note on G219: Evaluators Comments
Note on H219: Evaluators Comments
Note on I219: Evaluators Comments
Note on J219: Evaluators Comments
Note on E220: Evaluators Comments
Note on F220: Evaluators Comments
Note on G220: Evaluators Comments
Note on H220: Evaluators Comments
Note on I220: Evaluators Comments
Note on J220: Evaluators Comments
Note on E221: Evaluators Comments
Note on F221: Evaluators Comments
Note on G221: Evaluators Comments
Note on H221: Evaluators Comments
Note on I221: Evaluators Comments
Note on J221: Evaluators Comments
Note on E222: Evaluators Comments
Note on F222: Evaluators Comments
Note on G222: Evaluators Comments
Note on H222: Evaluators Comments
Note on I222: Evaluators Comments
Note on J222: Evaluators Comments
Note on E223: Evaluators Comments
Note on F223: Evaluators Comments
Note on G223: Evaluators Comments
Note on H223: Evaluators Comments
Note on I223: Evaluators Comments
Note on J223: Evaluators Comments
Note on E224: Evaluators Comments
Note on F224: Evaluators Comments
Note on G224: Evaluators Comments
Note on H224: Evaluators Comments
Note on I224: Evaluators Comments
Note on J224: Evaluators Comments
Note on E225: Evaluators Comments
Note on F225: Evaluators Comments
Note on G225: Evaluators Comments
Note on H225: Evaluators Comments
Note on I225: Evaluators Comments
Note on J225: Evaluators Comments
Note on E226: Evaluators Comments
Note on F226: Evaluators Comments
Note on G226: Evaluators Comments
Note on H226: Evaluators Comments
Note on I226: Evaluators Comments
Note on J226: Evaluators Comments
Note on E227: Evaluators Comments
Note on F227: Evaluators Comments
Note on G227: Evaluators Comments
Note on H227: Evaluators Comments
Note on I227: Evaluators Comments
Note on J227: Evaluators Comments
Note on E228: Evaluators Comments
Note on F228: Evaluators Comments
Note on G228: Evaluators Comments
Note on H228: Evaluators Comments
Note on I228: Evaluators Comments
Note on J228: Evaluators Comments
Note on E229: Evaluators Comments
Note on F229: Evaluators Comments
Note on G229: Evaluators Comments
Note on H229: Evaluators Comments
Note on I229: Evaluators Comments
Note on J229: Evaluators Comments
Note on E230: Evaluators Comments
Note on F230: Evaluators Comments
Note on G230: Evaluators Comments
Note on H230: Evaluators Comments
Note on I230: Evaluators Comments
Note on J230: Evaluators Comments
Note on E231: Evaluators Comments
Note on F231: Evaluators Comments
Note on G231: Evaluators Comments
Note on H231: Evaluators Comments
Note on I231: Evaluators Comments
Note on J231: Evaluators Comments
Note on E232: Evaluators Comments
Note on F232: Evaluators Comments
Note on G232: Evaluators Comments
Note on H232: Evaluators Comments
Note on I232: Evaluators Comments
Note on J232: Evaluators Comments
Note on E233: Evaluators Comments
Note on F233: Evaluators Comments
Note on G233: Evaluators Comments
Note on H233: Evaluators Comments
Note on I233: Evaluators Comments
Note on J233: Evaluators Comments
Note on E234: Evaluators Comments
Note on F234: Evaluators Comments
Note on G234: Evaluators Comments
Note on H234: Evaluators Comments
Note on I234: Evaluators Comments
Note on J234: Evaluators Comments
Note on E235: Evaluators Comments
Note on F235: Evaluators Comments
Note on G235: Evaluators Comments
Note on H235: Evaluators Comments
Note on I235: Evaluators Comments
Note on J235: Evaluators Comments
Note on E236: Evaluators Comments
Note on F236: Evaluators Comments
Note on G236: Evaluators Comments
Note on H236: Evaluators Comments
Note on I236: Evaluators Comments
Note on J236: Evaluators Comments
Note on E237: Evaluators Comments
Note on F237: Evaluators Comments
Note on G237: Evaluators Comments
Note on H237: Evaluators Comments
Note on I237: Evaluators Comments
Note on J237: Evaluators Comments
Note on E238: Evaluators Comments
Note on F238: Evaluators Comments
Note on G238: Evaluators Comments
Note on H238: Evaluators Comments
Note on I238: Evaluators Comments
Note on J238: Evaluators Comments
Note on E239: Evaluators Comments
Note on F239: Evaluators Comments
Note on G239: Evaluators Comments
Note on H239: Evaluators Comments
Note on I239: Evaluators Comments
Note on J239: Evaluators Comments
Note on E240: Evaluators Comments
Note on F240: Evaluators Comments
Note on G240: Evaluators Comments
Note on H240: Evaluators Comments
Note on I240: Evaluators Comments
Note on J240: Evaluators Comments
Note on E241: Evaluators Comments
Note on F241: Evaluators Comments
Note on G241: Evaluators Comments
Note on H241: Evaluators Comments
Note on I241: Evaluators Comments
Note on J241: Evaluators Comments
Note on E242: Evaluators Comments
Note on F242: Evaluators Comments
Note on G242: Evaluators Comments
Note on H242: Evaluators Comments
Note on I242: Evaluators Comments
Note on J242: Evaluators Comments
Note on E243: Evaluators Comments
Note on F243: Evaluators Comments
Note on G243: Evaluators Comments
Note on H243: Evaluators Comments
Note on I243: Evaluators Comments
Note on J243: Evaluators Comments
Note on E244: Evaluators Comments
Note on F244: Evaluators Comments
Note on G244: Evaluators Comments
Note on H244: Evaluators Comments
Note on I244: Evaluators Comments
Note on J244: Evaluators Comments
Note on E245: Evaluators Comments
Note on F245: Evaluators Comments
Note on G245: Evaluators Comments
Note on H245: Evaluators Comments
Note on I245: Evaluators Comments
Note on J245: Evaluators Comments
Note on E246: Evaluators Comments
Note on F246: Evaluators Comments
Note on G246: Evaluators Comments
Note on H246: Evaluators Comments
Note on I246: Evaluators Comments
Note on J246: Evaluators Comments
Note on E247: Evaluators Comments
Note on F247: Evaluators Comments
Note on G247: Evaluators Comments
Note on H247: Evaluators Comments
Note on I247: Evaluators Comments
Note on J247: Evaluators Comments
Note on E248: Evaluators Comments
Note on F248: Evaluators Comments
Note on G248: Evaluators Comments
Note on H248: Evaluators Comments
Note on I248: Evaluators Comments
Note on J248: Evaluators Comments
Note on E249: Evaluators Comments
Note on F249: Evaluators Comments
Note on G249: Evaluators Comments
Note on H249: Evaluators Comments
Note on I249: Evaluators Comments
Note on J249: Evaluators Comments
Note on E250: Evaluators Comments
Note on F250: Evaluators Comments
Note on G250: Evaluators Comments
Note on H250: Evaluators Comments
Note on I250: Evaluators Comments
Note on J250: Evaluators Comments
Note on E251: Evaluators Comments
Note on F251: Evaluators Comments
Note on G251: Evaluators Comments
Note on H251: Evaluators Comments
Note on I251: Evaluators Comments
Note on J251: Evaluators Comments
Note on E252: Evaluators Comments
Note on F252: Evaluators Comments
Note on G252: Evaluators Comments
Note on H252: Evaluators Comments
Note on I252: Evaluators Comments
Note on J252: Evaluators Comments
Note on E253: Evaluators Comments
Note on F253: Evaluators Comments
Note on G253: Evaluators Comments
Note on H253: Evaluators Comments
Note on I253: Evaluators Comments
Note on J253: Evaluators Comments
Note on E254: Evaluators Comments
Note on F254: Evaluators Comments
Note on G254: Evaluators Comments
Note on H254: Evaluators Comments
Note on I254: Evaluators Comments
Note on J254: Evaluators Comments
Note on E255: Evaluators Comments
Note on F255: Evaluators Comments
Note on G255: Evaluators Comments
Note on H255: Evaluators Comments
Note on I255: Evaluators Comments
Note on J255: Evaluators Comments
Note on E256: Evaluators Comments
Note on F256: Evaluators Comments
Note on G256: Evaluators Comments
Note on H256: Evaluators Comments
Note on I256: Evaluators Comments
Note on J256: Evaluators Comments
Note on E257: Evaluators Comments
Note on F257: Evaluators Comments
Note on G257: Evaluators Comments
Note on H257: Evaluators Comments
Note on I257: Evaluators Comments
Note on J257: Evaluators Comments
Note on E258: Evaluators Comments
Note on F258: Evaluators Comments
Note on G258: Evaluators Comments
Note on H258: Evaluators Comments
Note on I258: Evaluators Comments
Note on J258: Evaluators Comments
Note on E259: Evaluators Comments
Note on F259: Evaluators Comments
Note on G259: Evaluators Comments
Note on H259: Evaluators Comments
Note on I259: Evaluators Comments
Note on J259: Evaluators Comments
Note on E260: Evaluators Comments
Note on F260: Evaluators Comments
Note on G260: Evaluators Comments
Note on H260: Evaluators Comments
Note on I260: Evaluators Comments
Note on J260: Evaluators Comments
Note on E261: Evaluators Comments
Note on F261: Evaluators Comments
Note on G261: Evaluators Comments
Note on H261: Evaluators Comments
Note on I261: Evaluators Comments
Note on J261: Evaluators Comments
Note on E262: Evaluators Comments
Note on F262: Evaluators Comments
Note on G262: Evaluators Comments
Note on H262: Evaluators Comments
Note on I262: Evaluators Comments
Note on J262: Evaluators Comments
Note on E263: Evaluators Comments
Note on F263: Evaluators Comments
Note on G263: Evaluators Comments
Note on H263: Evaluators Comments
Note on I263: Evaluators Comments
Note on J263: Evaluators Comments
Note on E264: Evaluators Comments
Note on F264: Evaluators Comments
Note on G264: Evaluators Comments
Note on H264: Evaluators Comments
Note on I264: Evaluators Comments
Note on J264: Evaluators Comments
Note on E265: Evaluators Comments
Note on F265: Evaluators Comments
Note on G265: Evaluators Comments
Note on H265: Evaluators Comments
Note on I265: Evaluators Comments
Note on J265: Evaluators Comments
Note on E266: Evaluators Comments
Note on F266: Evaluators Comments
Note on G266: Evaluators Comments
Note on H266: Evaluators Comments
Note on I266: Evaluators Comments
Note on J266: Evaluators Comments
Note on E267: Evaluators Comments
Note on F267: Evaluators Comments
Note on G267: Evaluators Comments
Note on H267: Evaluators Comments
Note on I267: Evaluators Comments
Note on J267: Evaluators Comments
Note on E268: Evaluators Comments
Note on F268: Evaluators Comments
Note on G268: Evaluators Comments
Note on H268: Evaluators Comments
Note on I268: Evaluators Comments
Note on J268: Evaluators Comments
Note on E269: Evaluators Comments
Note on F269: Evaluators Comments
Note on G269: Evaluators Comments
Note on H269: Evaluators Comments
Note on I269: Evaluators Comments
Note on J269: Evaluators Comments
Note on E270: Evaluators Comments
Note on F270: Evaluators Comments
Note on G270: Evaluators Comments
Note on H270: Evaluators Comments
Note on I270: Evaluators Comments
Note on J270: Evaluators Comments
Note on E271: Evaluators Comments
Note on F271: Evaluators Comments
Note on G271: Evaluators Comments
Note on H271: Evaluators Comments
Note on I271: Evaluators Comments
Note on J271: Evaluators Comments
Note on E272: Evaluators Comments
Note on F272: Evaluators Comments
Note on G272: Evaluators Comments
Note on H272: Evaluators Comments
Note on I272: Evaluators Comments
Note on J272: Evaluators Comments
Note on E273: Evaluators Comments
Note on F273: Evaluators Comments
Note on G273: Evaluators Comments
Note on H273: Evaluators Comments
Note on I273: Evaluators Comments
Note on J273: Evaluators Comments