## grade of compliance range
| RFT Scoring Sheet | Reference Number | SF-CF-87
|  | Owner | PRO/PMO
|  | Revision Code | 2.0
|  | Implementation Date | 2021-09-01
Grade of Compliance range from 0 to 15 with a step of 1 unit:
15 : Compliant with additional value, not initially included in the requirements
10 : Fully compliant
4 - 5 - 6: Partially compliant
0 : Not compliant
K : Disqualification

## weight
| RFT Scoring Sheet | [11 empty] | Reference Number |  | SF-CF-87
[13 empty] | Owner |  | PRO/PMO
[13 empty] | Revision Code |  | 2.0
[13 empty] | Implementation Date |  | 2021-09-01
Project Name | JDEIDET DATA CENTER
Weight Distribution | 50% Technical 50% Commercial
Article | Requirements | Weight | Responsible Entity | Supplier 1 | Supplier 2 | Supplier 3 | Supplier 4 | Supplier 5 | Supplier 6 | Remarks | Supplier 1 Final | Supplier 2 Final | Supplier 3 Final | Supplier 4 Final | Supplier 5 Final | Supplier 6 Final
| 1 GENERAL | 50 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Prior to signing the contract, the electrical contractor has to check the drawings, specifications and bill of quantities and has to inform the consultant in written about any conflict, contradiction between trades, specified materials or methods less than specified in the regulations. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. The Contractor shall furnish all the material; execute all the works necessary to the final accomplishment of the site according to the schedules and drawings. All secondary materials and accessories not mentioned in the bill of quantities shall also be supplied without any extra charge. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. The prices also include installation cost, painting, transportation, equipment, materials and labor as well as all the charges incurred by the perfect execution of works, general overhead and profits. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Owner reserve the right to change or to eliminate quantities and quality of accessories and equipment’s before ordering of these goods is confirmed by the Contractor. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5. Rates shall include all necessary secondary and preliminary works such as cutting and patching, storage, assembly, protection, marking, painting, cleaning, etc… | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 6. Rates for ducting shall include for supplying all materials and for installation: (The measuring of duct weight is theoretically; it’s visible part. The final measurements shall be taken on site, the re-measured length shall be the mean length measured over bends, fittings, accessories unless otherwise indicated). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. All cutting and waste, etc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Fixing including all supports, clips, holder bats, hangers. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Joints, bolts, washers, nuts and everything necessary for the satisfactory jointing of ducts to each other, to items of equipment, or for connecting ducts to voids, shafts, etc., | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. All duct fittings including all bends, junctions, offsets, reducers, adaptors, flanges, vanes, all dampers, flexible connections, cleaning eyes, dirt pockets, air vessels, etc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| e. All metal and timber sleeves through structural elements, cleaning caps, inspection. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| f. All insulation protection with canvas and special paints, similar to Foster or equivalent | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| g. All wooden frame (galvanized sleeve where required by the consultant) around ducts and pipes penetrating walls. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| h. All wooden frames for grilles. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| i. Mastic joints protection after fabrication of the duct. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| j. Protection of the internal lining with special canvas and points. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 7. The mentioned static pressure head loss is a tentative one. Contractor shall calculate the effective pressure head loss and be responsible for this calculation. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 8. Builders works and all grouting, base, anti-vibration mounting to be integrated in the over all unit price of each item, it should be a responsibility of the subcontractor who will coordinate and cooperate with the general contractor. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2 EXECUTION | 50 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Contractor shall execute as per followings. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Rates for firefighting works shall include for: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Assembling and jointing including jointing materials. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Factory priming paint. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Fixing, including nails, bolts, nuts, holes, screws, plugs and the like. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Cutting and pinning including all making good. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5. Plugging and screwing. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 6. Testing all installations as specified including providing equipment and personnel necessary for testing. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 7. Protection of all works. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 8. Marking positions of holes, mortises, chases, etc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 9. Cutting and forming holes, chases, etc. including pipe sleeves and making good all work. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 10. Cutting and pinning ends of supports to structures. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 11. Builders works and all grouting, base, ant vibration mounting to be integrated in the overall unit price of each item, it should be a responsibility of the subcontractor who will coordinate and cooperate with the general contractor. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 12. Painting as specified. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 13. Necessary trench or pit excavation, backfilling and disposal of surplus excavated materials. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 14. Protection and maintaining the works in good order. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 15. Electrical installations including wiring, conduits. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 16. Preparation of plans or diagrams, shop drawings, as-built drawings, schedules, instruction manuals, etc. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 17. Insulation as it should exist on piping and equipment for heat dissipation protection and condensation protection. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 18. Tags, nameplates, belt guards and all accessories and appurtenances described in the specifications dealing with each item or equipment. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 19. Any necessary motors, starters and necessary wiring on the equipment having electrical goods together with such items as insulation, piping, instruments, controls and all other items mentioned or implied in specifications and drawings as being supplied with the equipment and not separately measured and enumerated in the Bills of Quantities. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 20. Rates for all items of equipment and materials shall be inclusive of all certificates samples tests, supply of all information and data, supply of catalogues, charts, curves, submittals, certified drawing, and all other information, services called for in the specification, all fully connected up and in good working order. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 21. All hangers and support shall be hot dip galvanized after fabrication. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 22. Necessary continuous support guide for plastic pipes for mechanical and expansion protection. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| END OF SECTION | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | SUPPLIER 1 SCORE | SUPPLIER 2 SCORE | SUPPLIER 3 SCORE | SUPPLIER 4 SCORE | SUPPLIER 5 SCORE | SUPPLIER 6 SCORE
* For Requirements defined as ''Killer'', a ‘’Fully Compliant’’ score should be the sole acceptable outcome. Failing to obtain a ‘’Fully Compliant’’ score on the requirements defined as Killers, will mandate immediate disqualification for bidders.
Note on D9: Entity (Department/ Unit) that identified the requirement and that will be responsible for its evaluation.
Note on E9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on F9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on G9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on H9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on I9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on J9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on E11: Evaluators Comments
Note on F11: Evaluators Comments
Note on G11: Evaluators Comments
Note on H11: Evaluators Comments
Note on I11: Evaluators Comments
Note on J11: Evaluators Comments
Note on E12: Evaluators Comments
Note on F12: Evaluators Comments
Note on G12: Evaluators Comments
Note on H12: Evaluators Comments
Note on I12: Evaluators Comments
Note on J12: Evaluators Comments
Note on E13: Evaluators Comments
Note on F13: Evaluators Comments
Note on G13: Evaluators Comments
Note on H13: Evaluators Comments
Note on I13: Evaluators Comments
Note on J13: Evaluators Comments
Note on E14: Evaluators Comments
Note on F14: Evaluators Comments
Note on G14: Evaluators Comments
Note on H14: Evaluators Comments
Note on I14: Evaluators Comments
Note on J14: Evaluators Comments
Note on E15: Evaluators Comments
Note on F15: Evaluators Comments
Note on G15: Evaluators Comments
Note on H15: Evaluators Comments
Note on I15: Evaluators Comments
Note on J15: Evaluators Comments
Note on E16: Evaluators Comments
Note on F16: Evaluators Comments
Note on G16: Evaluators Comments
Note on H16: Evaluators Comments
Note on I16: Evaluators Comments
Note on J16: Evaluators Comments
Note on E17: Evaluators Comments
Note on F17: Evaluators Comments
Note on G17: Evaluators Comments
Note on H17: Evaluators Comments
Note on I17: Evaluators Comments
Note on J17: Evaluators Comments
Note on E18: Evaluators Comments
Note on F18: Evaluators Comments
Note on G18: Evaluators Comments
Note on H18: Evaluators Comments
Note on I18: Evaluators Comments
Note on J18: Evaluators Comments
Note on E19: Evaluators Comments
Note on F19: Evaluators Comments
Note on G19: Evaluators Comments
Note on H19: Evaluators Comments
Note on I19: Evaluators Comments
Note on J19: Evaluators Comments
Note on E20: Evaluators Comments
Note on F20: Evaluators Comments
Note on G20: Evaluators Comments
Note on H20: Evaluators Comments
Note on I20: Evaluators Comments
Note on J20: Evaluators Comments
Note on E21: Evaluators Comments
Note on F21: Evaluators Comments
Note on G21: Evaluators Comments
Note on H21: Evaluators Comments
Note on I21: Evaluators Comments
Note on J21: Evaluators Comments
Note on E22: Evaluators Comments
Note on F22: Evaluators Comments
Note on G22: Evaluators Comments
Note on H22: Evaluators Comments
Note on I22: Evaluators Comments
Note on J22: Evaluators Comments
Note on E23: Evaluators Comments
Note on F23: Evaluators Comments
Note on G23: Evaluators Comments
Note on H23: Evaluators Comments
Note on I23: Evaluators Comments
Note on J23: Evaluators Comments
Note on E24: Evaluators Comments
Note on F24: Evaluators Comments
Note on G24: Evaluators Comments
Note on H24: Evaluators Comments
Note on I24: Evaluators Comments
Note on J24: Evaluators Comments
Note on E25: Evaluators Comments
Note on F25: Evaluators Comments
Note on G25: Evaluators Comments
Note on H25: Evaluators Comments
Note on I25: Evaluators Comments
Note on J25: Evaluators Comments
Note on E26: Evaluators Comments
Note on F26: Evaluators Comments
Note on G26: Evaluators Comments
Note on H26: Evaluators Comments
Note on I26: Evaluators Comments
Note on J26: Evaluators Comments
Note on E27: Evaluators Comments
Note on F27: Evaluators Comments
Note on G27: Evaluators Comments
Note on H27: Evaluators Comments
Note on I27: Evaluators Comments
Note on J27: Evaluators Comments
Note on E28: Evaluators Comments
Note on F28: Evaluators Comments
Note on G28: Evaluators Comments
Note on H28: Evaluators Comments
Note on I28: Evaluators Comments
Note on J28: Evaluators Comments
Note on E29: Evaluators Comments
Note on F29: Evaluators Comments
Note on G29: Evaluators Comments
Note on H29: Evaluators Comments
Note on I29: Evaluators Comments
Note on J29: Evaluators Comments
Note on E30: Evaluators Comments
Note on F30: Evaluators Comments
Note on G30: Evaluators Comments
Note on H30: Evaluators Comments
Note on I30: Evaluators Comments
Note on J30: Evaluators Comments
Note on E31: Evaluators Comments
Note on F31: Evaluators Comments
Note on G31: Evaluators Comments
Note on H31: Evaluators Comments
Note on I31: Evaluators Comments
Note on J31: Evaluators Comments
Note on E32: Evaluators Comments
Note on F32: Evaluators Comments
Note on G32: Evaluators Comments
Note on H32: Evaluators Comments
Note on I32: Evaluators Comments
Note on J32: Evaluators Comments
Note on E33: Evaluators Comments
Note on F33: Evaluators Comments
Note on G33: Evaluators Comments
Note on H33: Evaluators Comments
Note on I33: Evaluators Comments
Note on J33: Evaluators Comments
Note on E34: Evaluators Comments
Note on F34: Evaluators Comments
Note on G34: Evaluators Comments
Note on H34: Evaluators Comments
Note on I34: Evaluators Comments
Note on J34: Evaluators Comments
Note on E35: Evaluators Comments
Note on F35: Evaluators Comments
Note on G35: Evaluators Comments
Note on H35: Evaluators Comments
Note on I35: Evaluators Comments
Note on J35: Evaluators Comments
Note on E36: Evaluators Comments
Note on F36: Evaluators Comments
Note on G36: Evaluators Comments
Note on H36: Evaluators Comments
Note on I36: Evaluators Comments
Note on J36: Evaluators Comments
Note on E37: Evaluators Comments
Note on F37: Evaluators Comments
Note on G37: Evaluators Comments
Note on H37: Evaluators Comments
Note on I37: Evaluators Comments
Note on J37: Evaluators Comments
Note on E38: Evaluators Comments
Note on F38: Evaluators Comments
Note on G38: Evaluators Comments
Note on H38: Evaluators Comments
Note on I38: Evaluators Comments
Note on J38: Evaluators Comments
Note on E39: Evaluators Comments
Note on F39: Evaluators Comments
Note on G39: Evaluators Comments
Note on H39: Evaluators Comments
Note on I39: Evaluators Comments
Note on J39: Evaluators Comments
Note on E40: Evaluators Comments
Note on F40: Evaluators Comments
Note on G40: Evaluators Comments
Note on H40: Evaluators Comments
Note on I40: Evaluators Comments
Note on J40: Evaluators Comments
Note on E41: Evaluators Comments
Note on F41: Evaluators Comments
Note on G41: Evaluators Comments
Note on H41: Evaluators Comments
Note on I41: Evaluators Comments
Note on J41: Evaluators Comments
Note on E42: Evaluators Comments
Note on F42: Evaluators Comments
Note on G42: Evaluators Comments
Note on H42: Evaluators Comments
Note on I42: Evaluators Comments
Note on J42: Evaluators Comments
Note on E43: Evaluators Comments
Note on F43: Evaluators Comments
Note on G43: Evaluators Comments
Note on H43: Evaluators Comments
Note on I43: Evaluators Comments
Note on J43: Evaluators Comments
Note on E44: Evaluators Comments
Note on F44: Evaluators Comments
Note on G44: Evaluators Comments
Note on H44: Evaluators Comments
Note on I44: Evaluators Comments
Note on J44: Evaluators Comments
Note on E45: Evaluators Comments
Note on F45: Evaluators Comments
Note on G45: Evaluators Comments
Note on H45: Evaluators Comments
Note on I45: Evaluators Comments
Note on J45: Evaluators Comments
Note on E46: Evaluators Comments
Note on F46: Evaluators Comments
Note on G46: Evaluators Comments
Note on H46: Evaluators Comments
Note on I46: Evaluators Comments
Note on J46: Evaluators Comments
Note on E47: Evaluators Comments
Note on F47: Evaluators Comments
Note on G47: Evaluators Comments
Note on H47: Evaluators Comments
Note on I47: Evaluators Comments
Note on J47: Evaluators Comments
Note on E48: Evaluators Comments
Note on F48: Evaluators Comments
Note on G48: Evaluators Comments
Note on H48: Evaluators Comments
Note on I48: Evaluators Comments
Note on J48: Evaluators Comments
Note on E49: Evaluators Comments
Note on F49: Evaluators Comments
Note on G49: Evaluators Comments
Note on H49: Evaluators Comments
Note on I49: Evaluators Comments
Note on J49: Evaluators Comments
Note on E50: Evaluators Comments
Note on F50: Evaluators Comments
Note on G50: Evaluators Comments
Note on H50: Evaluators Comments
Note on I50: Evaluators Comments
Note on J50: Evaluators Comments
Note on E51: Evaluators Comments
Note on F51: Evaluators Comments
Note on G51: Evaluators Comments
Note on H51: Evaluators Comments
Note on I51: Evaluators Comments
Note on J51: Evaluators Comments
Note on E52: Evaluators Comments
Note on F52: Evaluators Comments
Note on G52: Evaluators Comments
Note on H52: Evaluators Comments
Note on I52: Evaluators Comments
Note on J52: Evaluators Comments
Note on E53: Evaluators Comments
Note on F53: Evaluators Comments
Note on G53: Evaluators Comments
Note on H53: Evaluators Comments
Note on I53: Evaluators Comments
Note on J53: Evaluators Comments
Note on E54: Evaluators Comments
Note on F54: Evaluators Comments
Note on G54: Evaluators Comments
Note on H54: Evaluators Comments
Note on I54: Evaluators Comments
Note on J54: Evaluators Comments
Note on E55: Evaluators Comments
Note on F55: Evaluators Comments
Note on G55: Evaluators Comments
Note on H55: Evaluators Comments
Note on I55: Evaluators Comments
Note on J55: Evaluators Comments