## grade of compliance range
| RFT Scoring Sheet | Reference Number | SF-CF-87
|  | Owner | PRO/PMO
|  | Revision Code | 2.0
|  | Implementation Date | 2021-09-01
Grade of Compliance range from 0 to 15 with a step of 1 unit:
15 : Compliant with additional value, not initially included in the requirements
10 : Fully compliant
4 - 5 - 6: Partially compliant
0 : Not compliant
K : Disqualification

## weight
| RFT Scoring Sheet | [11 empty] | Reference Number |  | SF-CF-87
[13 empty] | Owner |  | PRO/PMO
[13 empty] | Revision Code |  | 2.0
[13 empty] | Implementation Date |  | 2021-09-01
Project Name | JDEIDET DATA CENTER
Weight Distribution | 50% Technical 50% Commercial
Article | Requirements | Weight | Responsible Entity | Supplier 1 | Supplier 2 | Supplier 3 | Supplier 4 | Supplier 5 | Supplier 6 | Remarks | Supplier 1 Final | Supplier 2 Final | Supplier 3 Final | Supplier 4 Final | Supplier 5 Final | Supplier 6 Final
| 1 GENERAL | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.1 SUMMARY | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| The purpose of this document is to provide “GSM radio and transmission” towers’ specifications regarding design, manufacturing and material delivery. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.2 REFERENCES | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Issues of the following documents, in effect at the time of solicitation for bids, form a part of this specification. In the event of conflict between this specification and the codes, standards, and specifications below, the most stringent and/or current requirement shall govern. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. American Institute of Steel Construction (AISC) Manual of Steel Construction OR French code for steel construction (CM66). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. American Welding Society (AWS) OR (CM66): Structural Welding Code. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. American Institute of Steel Construction (AISC) OR (CM66): Specification for Structural Joints using ASTM A325 or A490 Bolts. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. American Concrete Institute (ACI) OR French Concrete code (BAEL91): Building Code Requirements for Reinforced Concrete. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 5. Telecommunications Industry Association (ANSI/TIA 222-G): for Steel Antennas Towers OR French norms “NV65 et N84 modifiées 95”: Règles définissant les effetrs de la neige at du vent sur les constructions. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 6. Lebanese Code for Civil Aviation: Obstruction Marking and Lighting. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.3 SUBMITTALS | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. The following documentations shall be provided by the manufacturer. Documents should include: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Complete installation drawings are required for each height setup. The drawings must show all of the necessary pieces, their part section sizes. The manufacturer shall submit an elevation of the tower (synoptic) showing all the members (main legs, diagonals, struts, bolts…) sizes, grades and distances. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Multiple sections on different level of the tower are required showing the struts disposition and shape. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. An assembly detailed plan is required showing the connection between different members of the towers along with bolts and plates section and grade. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. Connection between diagonals and struts, if existing, must be clarified by typical details. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Tower manufacturer shall provide the tower detailed calculation notes: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. The calculation note shall consist of the design hypothesis and criteria, the calculation and the results (sway, stresses in members, swing period…) for each height setup. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. It is also required to provide the tower base calculation note: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| For each height setup, the foundation drawings and design taking into account the ultimate wind effect. And using a soil capacity of 2 kg/cm2 unless the existence of another recommendation based on the geotechnical data. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. The calculation note must include the calculation of the stability, dimensions, main steel, vertical steel and stirrups around anchoring bolts, anchoring bolts design, washer, soil reactions… | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. The base design shall be signed by a registered professional engineer in the country of origin. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.4 WARRANTY | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. All materials provided shall be guaranteed by the manufacturer against mechanical, electrical and workmanship defects. In the event defects become evident within the warranty period, the manufacturer shall furnish replacement parts and materials at no additional cost to the state. The warranty period shall commence with the date of the communications tower’s acceptance and remain in effect for one (1) calendar year, except for expendable items. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. The manufacturer shall provide all tower elements and accessories complete and in compliance with the submitted design drawings as approved by the customer. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. In case of major defect in the supplied products, the Operator reserves the right to reject the equipment. The supplier shall replace the defected system/parts under no cost from the Operator, including dismantling, hoisting, transportation and re-installation. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Tower manufacturer shall be required to furnish all materials, equipment and/or services necessary to perform contractual requirements. Materials and workmanship in the construction of equipment for this contract shall conform to all codes, regulations and requirements for such equipment, specifications contained herein, and the normal uses for which intended. Materials shall be manufactured in accordance with the best commercial practices and standards for this type of equipment. Materials used in the production of any tower must be new. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1.5 MATERIALS AND WORKMANSHIP | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. The manufacturer shall be required to furnish all materials, equipment and/or services necessary to perform contractual requirements. Materials and workmanship in the construction of equipment for this contract shall conform to all codes, regulations and requirements for such equipment, specifications contained herein, and the normal uses for which intended. Materials shall be manufactured in accordance with the best commercial practices and standards for this type of equipment. Materials used in the production of any tower must be new. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2 PRODUCTS | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.1 MANUFACTURERS | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Towers recommended countries of origin are one of the following: Sweden, Norway, Finland, France, Germany, Turkey or Romania. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| However, all towers manufactured outside Europe shall be accepted if they provide proof that they meet European standards and specifications mentioned in this document. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Manufacturer should be ISO certified. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. The tower vendor shall be a manufacturer, primarily and continuously involved in the design and production of communication towers for a period of at least ten (10) years. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. The manufacturer should be certified according to American (AISC), French codes and norms (CM66 & NV65 modifiées 80), OR Eurocodes OR to Telecommunications Industry Association standards for towers load calculation (TIA). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.2 TOWER TYPE | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. The self-support towers are with working and rest platforms, vertical waveguide ladder, climbing ladder with hinged anti-climb cover, lightning rod assembly, obstruction lighting system. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. The tower is required to be triangular with tubular sections. Its shape will be in function of its type, height and capacity. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Tower segmentation: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Tower sections must be categorized and labeled into typical 5m or 6m sections with unified main legs, diagonals, struts, and footprint. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. These sections are to be adopted in different tower heights and setups as needed. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Different Towers shall have similar arrangement order of sections in respect with height and required capacity. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.3 TOWER DESIGN | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. The towers will be designed by or under the direct supervision of a registered and licensed professional engineer, specifically experienced in the design of Telecom towers. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. The allowable unit stresses and the actual member stresses resulting from the specified design loads shall not exceed those given in the AISC or CM66 specifications. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. All members of the structure shall be considered primary members for the purpose of establishing allowable compressive stresses per AISC or CM66, except those members whose sole function is to reduce the slenderness kl/r ratio of the primary members. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Combined tower wind loads and antenna loads shall be applied in combination such that the maximum axial forces are produced in girds, diagonals and legs. Multiple analyses/load cases/load combinations may be necessary to ensure that worst case design conditions have been investigated. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. The tower design shall include all the required customer loading specifications. The design shall hold all antennas on path within the critical tower twist, sway, and displacement limits. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| F. The tower load as required in the BoQ, represents the load generated solely by the antennas installation. The manufacturer shall calculate the total load on tower generated by all accessories and structure (platforms, cable ladder, etc.). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. The tower load required in the BoQ as equivalent area on Top shall be applied on top, at the last three nodes of the tower. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Wind load on tower members shall be applied on bars. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| G. The tower design must take into account the different height setup of the same tower. For each height setup, the tower must satisfy the customer loading specifications. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| H. The manufacturer must provide the detailed towers synoptic, the assembly plans, the bolts at base and the anchorage system for each height setup. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| I. The tower when fully loaded with the aforementioned antenna assemblies, transmission lines, and other appurtenances, shall be designed (stress analysis) using the below hypothesis: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. According to French norms “NV65 et N84 modifiées 95”: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Site located in “Région II”, exposed site. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Nominal wind speed of 33.8 m/s (121.7 km/h) and a gust wind speed of 44.7 m/s (160.9 km/h) at 10m | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Dynamic pressure @ 10m should be q10=70 daN/m² | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. Site coefficient Ks =1.30 (exposed site) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| e. Ct = | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1) Ct = 1.3 for the antennas | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2) Ct = 0.9 for Ladder and cables | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3) Ct = 1.0 for platforms | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| f. Stress ratio 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| g. Maximum allowable tower sway under service wind conditions is 0.5 degree. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| h. Maximum allowable tower displacement at top under service wind conditions shall not exceed L/200 where L is the height of the tower. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. According to EIA/TIA-222-G code: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Basic wind speed of 50mps (3 sec gust at 10m) (180 km/h) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. Operational wind speed of 40mps (140 km/h) | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. Structure class II | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| d. Exposure C | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| e. Topographic category 3, adopt crest height = 14m. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| f. Stress ratio 1 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| g. Maximum allowable tower sway under service wind conditions is 0.5 degree at operational wind speed | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| h. Maximum allowable tower displacement at top under service wind conditions shall not exceed L/200 where L is the height of the tower. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| J. Additional design consideration must be respected: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Tower members are to be released depending on the connection type. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Tower’s antennas weight is to be considered equal to 50 kg/m2. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. The period of the tower used in the wind generation shall be obtained from a modal analysis (including tower, antennas and equipment mass). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| K. When the tower can be located on building rooftop: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. A minimum building height of H = 50 meter shall be taken into account unless special consideration is requested. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. The supporting beam system at base of the tower must be included in the 3D model from which the period for the wind calculation shall be extruded. Otherwise, use a value of period T=0.50 s. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. The connection between the tower legs and the HEA beams can be directly through Bolts. But since 2 of the bolts can intersect with the HEA beam web, exclude these two bolts from the design of the connection (divide the load on n-2 bolts). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 4. The supplier must provide a full design and drawings for the adaptation that can be used instead of item 2.3.K.3 between the tower and the beams (item to be included within the BoQ). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.4 FOUNDATION DESIGN | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Manufacturer is responsible for the design of the tower foundation and tower grounding system. The foundation design is to take into account the ultimate tower load. A foundation design must be submitted for each height setup for the two types: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Full concrete cast foundation (mat foundation, its top surface aligned with soil surface). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Full embedded in soil raft (füt, or embedded foundation related to tower legs through piers). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Soils capacity: For the design and construction of the tower foundation, a net allowable bearing pressure of 2 kg/cm2 at 1m below surface, should be considered for all sites. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. If lower values are found on site, tower foundation redesign is required. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.5 MANUFACTURING | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. All fabrication, erection and identification of structural steel shall conform to AISC or CM66 specifications. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Under no circumstances shall “dissimilar metals” be used in contact with one another. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. All tower elements and accessories shall be factory hot-dipped galvanizing. Hot-dipped galvanizing of tubular sections shall be inside and outside as per standards and methods of tower vendor. Minimum galvanization thickness 88 microns guaranteed for a period of 10 years. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Qualify welding processes and welding operators in accordance with AWS “Standard Qualification Procedure.” or equivalent European Standards, if applicable. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. Properly mark and match-mark materials for field assembly. Fabricate for a delivery sequence which will expedite erection and minimize field handling of materials. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| F. Tower structure and elements shall be guaranteed against fatigue failure for a period of 50 years. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.6 CONNECTIONS AND LOCKING DEVICES | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. No field welding shall be permitted unless specifically approved in writing. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. All members shall be connected with galvanized structural bolts unless otherwise approved. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. The number of excess bolts should be at least 3. The tower vendor shall provide bolts, nuts in a quantity in excess of the actual bolt count for each size required for each tower site. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
| Bolt Count / Minimum Excess | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 0-200 / 3 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 200-500 / 10 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 500-1000 / 20 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1000 and over / 30 | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. All towers will be provided with the correct size and length of anchor bolts necessary to carry the anticipated tower loads for each height setup. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. All threaded fasteners shall extend not less than 1-1/2 threads beyond nuts and locking devices. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| F. Horizontal and diagonals bars must be fixed to main legs using a minimum of two bolts for each. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| G. Each bolt connection should include 2 nuts. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| H. Tower 3 top flanges to be sealed by another 3 closed flanges (caps). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.7 CLIMBING LADDERS AND ANTI-FALL DEVICE | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Towers shall be provided with inside climbing ladders which will extend to the ground with an anti-fall device, provided with each tower. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. The anti-fall device will be a safety cable, so that climbing personnel can clip into the safety device attached to a safety climbing harness from the ground or platform. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. As a minimum, the inside climbing ladder shall conform to the following: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Distance between rungs shall not be more than 30 centimeters. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Minimum clear length of rungs shall be 40 centimeters. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Provide anti-climb panels that shall encompass both sides of the ladder. The panels shall be lockable while easily removable for authorized access. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.8 REST PLATFORMS | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Rest platforms shall be placed at intervals of max 10 meter. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. A rest platform will consist of a step platform which allows for a person to rest on while climbing the ladder (120kg concentrated load). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.9 WORK PLATFORM | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. When work platforms are required they shall consist of level platforms of grating. They shall be either walkways with a minimum width of 60 centimeter or full coverage platforms and they shall provide reasonable access to appropriate work areas, to any microwave parabolic antenna from the climbing ladder. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Safety handrails shall be provided around the perimeter of the platforms and along the walkways with upper railing at 1 meter above the deck and the intermediate rail approximately halfway between the top rail and the deck. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Tower diagonals and legs may be used to support platform handrails. The handrails should be connected to the tower leg by means of standard plate clamps. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Work platforms shall be designed to support two concentrated live loads of 125 kg each. Live loads imposed by persons on the platform shall be considered to concentrate at such points that will cause minimum stress in the structural members being considered. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. The top work platform shall be installed 1.5 meter below the top of the tower. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.10 VERTICAL WAVEGUIDE LADDER | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Typically, 50 centimeters wide with ladder rung spaced vertically 90 centimeters and with equally spaced factory drilled holes to support standard snap-in stainless steel hanger kits. Waveguide ladders on self-supporting towers may be fixed to the climbing ladder or to the inside of one or more of the tower legs. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Total waveguide ladder capacity is to accommodate the tower’s ultimate cables for all antennas (the waveguide installation may be done in layers). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.11 TOWER FINISHING | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. All steel members and fasteners shall be galvanized (Zinc coated) per standards in Section 2.5.C of this specifications. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Under no circumstances shall any coating on any metal member or fastener be cathodic relative to the base material. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Use zinc rich paint, or approved equal, to touch up damaged galvanization or over Cadwelded ground cable connections to the tower members. Touch up may be done by either a spray or brush application. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Field painting shall be performed using an acrylic latex paint specifically formulated for application to galvanized material, “Geolite” or equivalent. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| E. Painting method statement, mixture and quantity shall be provided by the manufacturer. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.12 LIGHTNING PROTECTION | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. A copper tinned lightning rod supplied by the manufacturer, with a minimum height of 1.5m, shall be installed on a 2m extension member fixed to main tower leg: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. Connection between 2m extension and main tower leg to be flange-flange. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. Connection between 2m extension and lightning rod to be adaptive mechanical bolt connection which hoses 30x2mm tinned copper tape. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. At the base of the tower, a prefabricated copper wire mesh shall be directly buried below tower foundation. The tower shall be connected to the wire mesh by means of four (4) 30x2mm tinned copper tapes wrapping around the foundation and connected at the base of the tower legs. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. The climbing ladder base shall be connected to the earth system by means of 30x2mm tinned copper tape (at base and at top of tower). | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. A 30x2 tinned copper tape for the item 12.0.1 to 12.0.3 is to be supplied and included in the BOQ. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.13 GROUNDING BUS BARS | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Bus bars having the same width as the Stairs or 40 cm shall be provided with the tower. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| G. Each bus bar to be drilled by 12 holes. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.14 SPECIAL REQUIREMENTS FOR RADIO TOWERS | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Straight Radio Towers (H≤ 30m): | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. The tower section shall not have tapered legs but vertical straight legs 5-6m each from bottom to top. Tower footprint is recommended to be 2m with last main section to be Ø114 mm. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. The tower must have same leg flanges diameter (main legs connection) from bottom to top to be flexible to any height setup. Flanges diameters shall be capable to be fixed on HEA300 steel beams. Various height setups must be recommended by the supplier. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3. Provisions of 2.3.K shall be applied for parts of the tower that can be located on roof of buildings. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. Tapered Radio Towers (H> 30m): | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. The tower section can be tapered but shall have vertical straight legs on the last 10m. Last main section is recommended to be Ø114 mm | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.15 SPECIAL REQUIREMENTS FOR TRANSMISSION TOWERS | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. The tower section can be tapered but shall have vertical straight legs on the last 10m. Last main section is recommended to be Ø114 mm. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. For rooftop towers, flanges diameters shall be capable to be fixed on HEA500 steel beams. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Provisions of 2.3.K shall be applied for parts of the tower that can be located on roof of buildings. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.16 OBSTRUCTION LIGHTING | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. Refer to specs “34 43 13.12 - Airport Obstruction Lights 16.05”. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2.17 ACCESSORIES | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. All necessary accessories required for the proper installation and operation should be included and delivered with the system. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 3 EXECUTION | 100 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
| A. When the site is located on high altitude areas (>1500m), some provisions for the tower foundation shall be applied as listed below: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 1. During concrete pouring, if the temperature during casting is below 10°C, special admixtures shall be added for the concrete. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| 2. The surface of concrete needs to be protected from long term freeze/very low temperatures effect: | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| a. Steel cover shall be increased by enlarging the foundation dimensions of 5cm from each side | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| b. The four internal sides of masonry walls shall be painted, one day prior to concrete pouring by multiple layers of SIKALASTIC 612 or any equivalent according the product specifications and method of application. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| c. 14 days subsequent to pouring, the upper surface of the foundation shall be painted by multiple layers of SIKALASTIC 612 or any equivalent according the product specifications and method of application. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| B. The 10cm blinding concrete under the foundation is mandatory. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| C. Grout shall be installed on bottom of tower legs, at the connection between the tower and the face of the concrete foundation. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| D. Contractor to completely abide by the designer/manufacturer drawings and installation procedures, as well as the customer instructions. | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| END OF SECTION | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | SUPPLIER 1 SCORE | SUPPLIER 2 SCORE | SUPPLIER 3 SCORE | SUPPLIER 4 SCORE | SUPPLIER 5 SCORE | SUPPLIER 6 SCORE
* For Requirements defined as ''Killer'', a ‘’Fully Compliant’’ score should be the sole acceptable outcome. Failing to obtain a ‘’Fully Compliant’’ score on the requirements defined as Killers, will mandate immediate disqualification for bidders.
Note on D9: Entity (Department/ Unit) that identified the requirement and that will be responsible for its evaluation.
Note on E9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on F9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on G9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on H9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on I9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on J9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on E11: Evaluators Comments
Note on F11: Evaluators Comments
Note on G11: Evaluators Comments
Note on H11: Evaluators Comments
Note on I11: Evaluators Comments
Note on J11: Evaluators Comments
Note on E12: Evaluators Comments
Note on F12: Evaluators Comments
Note on G12: Evaluators Comments
Note on H12: Evaluators Comments
Note on I12: Evaluators Comments
Note on J12: Evaluators Comments
Note on E13: Evaluators Comments
Note on F13: Evaluators Comments
Note on G13: Evaluators Comments
Note on H13: Evaluators Comments
Note on I13: Evaluators Comments
Note on J13: Evaluators Comments
Note on E14: Evaluators Comments
Note on F14: Evaluators Comments
Note on G14: Evaluators Comments
Note on H14: Evaluators Comments
Note on I14: Evaluators Comments
Note on J14: Evaluators Comments
Note on E15: Evaluators Comments
Note on F15: Evaluators Comments
Note on G15: Evaluators Comments
Note on H15: Evaluators Comments
Note on I15: Evaluators Comments
Note on J15: Evaluators Comments
Note on E16: Evaluators Comments
Note on F16: Evaluators Comments
Note on G16: Evaluators Comments
Note on H16: Evaluators Comments
Note on I16: Evaluators Comments
Note on J16: Evaluators Comments
Note on E17: Evaluators Comments
Note on F17: Evaluators Comments
Note on G17: Evaluators Comments
Note on H17: Evaluators Comments
Note on I17: Evaluators Comments
Note on J17: Evaluators Comments
Note on E18: Evaluators Comments
Note on F18: Evaluators Comments
Note on G18: Evaluators Comments
Note on H18: Evaluators Comments
Note on I18: Evaluators Comments
Note on J18: Evaluators Comments
Note on E19: Evaluators Comments
Note on F19: Evaluators Comments
Note on G19: Evaluators Comments
Note on H19: Evaluators Comments
Note on I19: Evaluators Comments
Note on J19: Evaluators Comments
Note on E20: Evaluators Comments
Note on F20: Evaluators Comments
Note on G20: Evaluators Comments
Note on H20: Evaluators Comments
Note on I20: Evaluators Comments
Note on J20: Evaluators Comments
Note on E21: Evaluators Comments
Note on F21: Evaluators Comments
Note on G21: Evaluators Comments
Note on H21: Evaluators Comments
Note on I21: Evaluators Comments
Note on J21: Evaluators Comments
Note on E22: Evaluators Comments
Note on F22: Evaluators Comments
Note on G22: Evaluators Comments
Note on H22: Evaluators Comments
Note on I22: Evaluators Comments
Note on J22: Evaluators Comments
Note on E23: Evaluators Comments
Note on F23: Evaluators Comments
Note on G23: Evaluators Comments
Note on H23: Evaluators Comments
Note on I23: Evaluators Comments
Note on J23: Evaluators Comments
Note on E24: Evaluators Comments
Note on F24: Evaluators Comments
Note on G24: Evaluators Comments
Note on H24: Evaluators Comments
Note on I24: Evaluators Comments
Note on J24: Evaluators Comments
Note on E25: Evaluators Comments
Note on F25: Evaluators Comments
Note on G25: Evaluators Comments
Note on H25: Evaluators Comments
Note on I25: Evaluators Comments
Note on J25: Evaluators Comments
Note on E26: Evaluators Comments
Note on F26: Evaluators Comments
Note on G26: Evaluators Comments
Note on H26: Evaluators Comments
Note on I26: Evaluators Comments
Note on J26: Evaluators Comments
Note on E27: Evaluators Comments
Note on F27: Evaluators Comments
Note on G27: Evaluators Comments
Note on H27: Evaluators Comments
Note on I27: Evaluators Comments
Note on J27: Evaluators Comments
Note on E28: Evaluators Comments
Note on F28: Evaluators Comments
Note on G28: Evaluators Comments
Note on H28: Evaluators Comments
Note on I28: Evaluators Comments
Note on J28: Evaluators Comments
Note on E29: Evaluators Comments
Note on F29: Evaluators Comments
Note on G29: Evaluators Comments
Note on H29: Evaluators Comments
Note on I29: Evaluators Comments
Note on J29: Evaluators Comments
Note on E30: Evaluators Comments
Note on F30: Evaluators Comments
Note on G30: Evaluators Comments
Note on H30: Evaluators Comments
Note on I30: Evaluators Comments
Note on J30: Evaluators Comments
Note on E31: Evaluators Comments
Note on F31: Evaluators Comments
Note on G31: Evaluators Comments
Note on H31: Evaluators Comments
Note on I31: Evaluators Comments
Note on J31: Evaluators Comments
Note on E32: Evaluators Comments
Note on F32: Evaluators Comments
Note on G32: Evaluators Comments
Note on H32: Evaluators Comments
Note on I32: Evaluators Comments
Note on J32: Evaluators Comments
Note on E33: Evaluators Comments
Note on F33: Evaluators Comments
Note on G33: Evaluators Comments
Note on H33: Evaluators Comments
Note on I33: Evaluators Comments
Note on J33: Evaluators Comments
Note on E34: Evaluators Comments
Note on F34: Evaluators Comments
Note on G34: Evaluators Comments
Note on H34: Evaluators Comments
Note on I34: Evaluators Comments
Note on J34: Evaluators Comments
Note on E35: Evaluators Comments
Note on F35: Evaluators Comments
Note on G35: Evaluators Comments
Note on H35: Evaluators Comments
Note on I35: Evaluators Comments
Note on J35: Evaluators Comments
Note on E36: Evaluators Comments
Note on F36: Evaluators Comments
Note on G36: Evaluators Comments
Note on H36: Evaluators Comments
Note on I36: Evaluators Comments
Note on J36: Evaluators Comments
Note on E37: Evaluators Comments
Note on F37: Evaluators Comments
Note on G37: Evaluators Comments
Note on H37: Evaluators Comments
Note on I37: Evaluators Comments
Note on J37: Evaluators Comments
Note on E38: Evaluators Comments
Note on F38: Evaluators Comments
Note on G38: Evaluators Comments
Note on H38: Evaluators Comments
Note on I38: Evaluators Comments
Note on J38: Evaluators Comments
Note on E39: Evaluators Comments
Note on F39: Evaluators Comments
Note on G39: Evaluators Comments
Note on H39: Evaluators Comments
Note on I39: Evaluators Comments
Note on J39: Evaluators Comments
Note on E40: Evaluators Comments
Note on F40: Evaluators Comments
Note on G40: Evaluators Comments
Note on H40: Evaluators Comments
Note on I40: Evaluators Comments
Note on J40: Evaluators Comments
Note on E41: Evaluators Comments
Note on F41: Evaluators Comments
Note on G41: Evaluators Comments
Note on H41: Evaluators Comments
Note on I41: Evaluators Comments
Note on J41: Evaluators Comments
Note on E42: Evaluators Comments
Note on F42: Evaluators Comments
Note on G42: Evaluators Comments
Note on H42: Evaluators Comments
Note on I42: Evaluators Comments
Note on J42: Evaluators Comments
Note on E43: Evaluators Comments
Note on F43: Evaluators Comments
Note on G43: Evaluators Comments
Note on H43: Evaluators Comments
Note on I43: Evaluators Comments
Note on J43: Evaluators Comments
Note on E44: Evaluators Comments
Note on F44: Evaluators Comments
Note on G44: Evaluators Comments
Note on H44: Evaluators Comments
Note on I44: Evaluators Comments
Note on J44: Evaluators Comments
Note on E45: Evaluators Comments
Note on F45: Evaluators Comments
Note on G45: Evaluators Comments
Note on H45: Evaluators Comments
Note on I45: Evaluators Comments
Note on J45: Evaluators Comments
Note on E46: Evaluators Comments
Note on F46: Evaluators Comments
Note on G46: Evaluators Comments
Note on H46: Evaluators Comments
Note on I46: Evaluators Comments
Note on J46: Evaluators Comments
Note on E47: Evaluators Comments
Note on F47: Evaluators Comments
Note on G47: Evaluators Comments
Note on H47: Evaluators Comments
Note on I47: Evaluators Comments
Note on J47: Evaluators Comments
Note on E48: Evaluators Comments
Note on F48: Evaluators Comments
Note on G48: Evaluators Comments
Note on H48: Evaluators Comments
Note on I48: Evaluators Comments
Note on J48: Evaluators Comments
Note on E49: Evaluators Comments
Note on F49: Evaluators Comments
Note on G49: Evaluators Comments
Note on H49: Evaluators Comments
Note on I49: Evaluators Comments
Note on J49: Evaluators Comments
Note on E50: Evaluators Comments
Note on F50: Evaluators Comments
Note on G50: Evaluators Comments
Note on H50: Evaluators Comments
Note on I50: Evaluators Comments
Note on J50: Evaluators Comments
Note on E51: Evaluators Comments
Note on F51: Evaluators Comments
Note on G51: Evaluators Comments
Note on H51: Evaluators Comments
Note on I51: Evaluators Comments
Note on J51: Evaluators Comments
Note on E52: Evaluators Comments
Note on F52: Evaluators Comments
Note on G52: Evaluators Comments
Note on H52: Evaluators Comments
Note on I52: Evaluators Comments
Note on J52: Evaluators Comments
Note on E53: Evaluators Comments
Note on F53: Evaluators Comments
Note on G53: Evaluators Comments
Note on H53: Evaluators Comments
Note on I53: Evaluators Comments
Note on J53: Evaluators Comments
Note on E54: Evaluators Comments
Note on F54: Evaluators Comments
Note on G54: Evaluators Comments
Note on H54: Evaluators Comments
Note on I54: Evaluators Comments
Note on J54: Evaluators Comments
Note on E55: Evaluators Comments
Note on F55: Evaluators Comments
Note on G55: Evaluators Comments
Note on H55: Evaluators Comments
Note on I55: Evaluators Comments
Note on J55: Evaluators Comments
Note on E56: Evaluators Comments
Note on F56: Evaluators Comments
Note on G56: Evaluators Comments
Note on H56: Evaluators Comments
Note on I56: Evaluators Comments
Note on J56: Evaluators Comments
Note on E57: Evaluators Comments
Note on F57: Evaluators Comments
Note on G57: Evaluators Comments
Note on H57: Evaluators Comments
Note on I57: Evaluators Comments
Note on J57: Evaluators Comments
Note on E58: Evaluators Comments
Note on F58: Evaluators Comments
Note on G58: Evaluators Comments
Note on H58: Evaluators Comments
Note on I58: Evaluators Comments
Note on J58: Evaluators Comments
Note on E59: Evaluators Comments
Note on F59: Evaluators Comments
Note on G59: Evaluators Comments
Note on H59: Evaluators Comments
Note on I59: Evaluators Comments
Note on J59: Evaluators Comments
Note on E60: Evaluators Comments
Note on F60: Evaluators Comments
Note on G60: Evaluators Comments
Note on H60: Evaluators Comments
Note on I60: Evaluators Comments
Note on J60: Evaluators Comments
Note on E61: Evaluators Comments
Note on F61: Evaluators Comments
Note on G61: Evaluators Comments
Note on H61: Evaluators Comments
Note on I61: Evaluators Comments
Note on J61: Evaluators Comments
Note on E62: Evaluators Comments
Note on F62: Evaluators Comments
Note on G62: Evaluators Comments
Note on H62: Evaluators Comments
Note on I62: Evaluators Comments
Note on J62: Evaluators Comments
Note on E63: Evaluators Comments
Note on F63: Evaluators Comments
Note on G63: Evaluators Comments
Note on H63: Evaluators Comments
Note on I63: Evaluators Comments
Note on J63: Evaluators Comments
Note on E64: Evaluators Comments
Note on F64: Evaluators Comments
Note on G64: Evaluators Comments
Note on H64: Evaluators Comments
Note on I64: Evaluators Comments
Note on J64: Evaluators Comments
Note on E65: Evaluators Comments
Note on F65: Evaluators Comments
Note on G65: Evaluators Comments
Note on H65: Evaluators Comments
Note on I65: Evaluators Comments
Note on J65: Evaluators Comments
Note on E66: Evaluators Comments
Note on F66: Evaluators Comments
Note on G66: Evaluators Comments
Note on H66: Evaluators Comments
Note on I66: Evaluators Comments
Note on J66: Evaluators Comments
Note on E67: Evaluators Comments
Note on F67: Evaluators Comments
Note on G67: Evaluators Comments
Note on H67: Evaluators Comments
Note on I67: Evaluators Comments
Note on J67: Evaluators Comments
Note on E68: Evaluators Comments
Note on F68: Evaluators Comments
Note on G68: Evaluators Comments
Note on H68: Evaluators Comments
Note on I68: Evaluators Comments
Note on J68: Evaluators Comments
Note on E69: Evaluators Comments
Note on F69: Evaluators Comments
Note on G69: Evaluators Comments
Note on H69: Evaluators Comments
Note on I69: Evaluators Comments
Note on J69: Evaluators Comments
Note on E70: Evaluators Comments
Note on F70: Evaluators Comments
Note on G70: Evaluators Comments
Note on H70: Evaluators Comments
Note on I70: Evaluators Comments
Note on J70: Evaluators Comments
Note on E71: Evaluators Comments
Note on F71: Evaluators Comments
Note on G71: Evaluators Comments
Note on H71: Evaluators Comments
Note on I71: Evaluators Comments
Note on J71: Evaluators Comments
Note on E72: Evaluators Comments
Note on F72: Evaluators Comments
Note on G72: Evaluators Comments
Note on H72: Evaluators Comments
Note on I72: Evaluators Comments
Note on J72: Evaluators Comments
Note on E73: Evaluators Comments
Note on F73: Evaluators Comments
Note on G73: Evaluators Comments
Note on H73: Evaluators Comments
Note on I73: Evaluators Comments
Note on J73: Evaluators Comments
Note on E74: Evaluators Comments
Note on F74: Evaluators Comments
Note on G74: Evaluators Comments
Note on H74: Evaluators Comments
Note on I74: Evaluators Comments
Note on J74: Evaluators Comments
Note on E75: Evaluators Comments
Note on F75: Evaluators Comments
Note on G75: Evaluators Comments
Note on H75: Evaluators Comments
Note on I75: Evaluators Comments
Note on J75: Evaluators Comments
Note on E76: Evaluators Comments
Note on F76: Evaluators Comments
Note on G76: Evaluators Comments
Note on H76: Evaluators Comments
Note on I76: Evaluators Comments
Note on J76: Evaluators Comments
Note on E77: Evaluators Comments
Note on F77: Evaluators Comments
Note on G77: Evaluators Comments
Note on H77: Evaluators Comments
Note on I77: Evaluators Comments
Note on J77: Evaluators Comments
Note on E78: Evaluators Comments
Note on F78: Evaluators Comments
Note on G78: Evaluators Comments
Note on H78: Evaluators Comments
Note on I78: Evaluators Comments
Note on J78: Evaluators Comments
Note on E79: Evaluators Comments
Note on F79: Evaluators Comments
Note on G79: Evaluators Comments
Note on H79: Evaluators Comments
Note on I79: Evaluators Comments
Note on J79: Evaluators Comments
Note on E80: Evaluators Comments
Note on F80: Evaluators Comments
Note on G80: Evaluators Comments
Note on H80: Evaluators Comments
Note on I80: Evaluators Comments
Note on J80: Evaluators Comments
Note on E81: Evaluators Comments
Note on F81: Evaluators Comments
Note on G81: Evaluators Comments
Note on H81: Evaluators Comments
Note on I81: Evaluators Comments
Note on J81: Evaluators Comments
Note on E82: Evaluators Comments
Note on F82: Evaluators Comments
Note on G82: Evaluators Comments
Note on H82: Evaluators Comments
Note on I82: Evaluators Comments
Note on J82: Evaluators Comments
Note on E83: Evaluators Comments
Note on F83: Evaluators Comments
Note on G83: Evaluators Comments
Note on H83: Evaluators Comments
Note on I83: Evaluators Comments
Note on J83: Evaluators Comments
Note on E84: Evaluators Comments
Note on F84: Evaluators Comments
Note on G84: Evaluators Comments
Note on H84: Evaluators Comments
Note on I84: Evaluators Comments
Note on J84: Evaluators Comments
Note on E85: Evaluators Comments
Note on F85: Evaluators Comments
Note on G85: Evaluators Comments
Note on H85: Evaluators Comments
Note on I85: Evaluators Comments
Note on J85: Evaluators Comments
Note on E86: Evaluators Comments
Note on F86: Evaluators Comments
Note on G86: Evaluators Comments
Note on H86: Evaluators Comments
Note on I86: Evaluators Comments
Note on J86: Evaluators Comments
Note on E87: Evaluators Comments
Note on F87: Evaluators Comments
Note on G87: Evaluators Comments
Note on H87: Evaluators Comments
Note on I87: Evaluators Comments
Note on J87: Evaluators Comments
Note on E88: Evaluators Comments
Note on F88: Evaluators Comments
Note on G88: Evaluators Comments
Note on H88: Evaluators Comments
Note on I88: Evaluators Comments
Note on J88: Evaluators Comments
Note on E89: Evaluators Comments
Note on F89: Evaluators Comments
Note on G89: Evaluators Comments
Note on H89: Evaluators Comments
Note on I89: Evaluators Comments
Note on J89: Evaluators Comments
Note on E90: Evaluators Comments
Note on F90: Evaluators Comments
Note on G90: Evaluators Comments
Note on H90: Evaluators Comments
Note on I90: Evaluators Comments
Note on J90: Evaluators Comments
Note on E91: Evaluators Comments
Note on F91: Evaluators Comments
Note on G91: Evaluators Comments
Note on H91: Evaluators Comments
Note on I91: Evaluators Comments
Note on J91: Evaluators Comments
Note on E92: Evaluators Comments
Note on F92: Evaluators Comments
Note on G92: Evaluators Comments
Note on H92: Evaluators Comments
Note on I92: Evaluators Comments
Note on J92: Evaluators Comments
Note on E93: Evaluators Comments
Note on F93: Evaluators Comments
Note on G93: Evaluators Comments
Note on H93: Evaluators Comments
Note on I93: Evaluators Comments
Note on J93: Evaluators Comments
Note on E94: Evaluators Comments
Note on F94: Evaluators Comments
Note on G94: Evaluators Comments
Note on H94: Evaluators Comments
Note on I94: Evaluators Comments
Note on J94: Evaluators Comments
Note on E95: Evaluators Comments
Note on F95: Evaluators Comments
Note on G95: Evaluators Comments
Note on H95: Evaluators Comments
Note on I95: Evaluators Comments
Note on J95: Evaluators Comments
Note on E96: Evaluators Comments
Note on F96: Evaluators Comments
Note on G96: Evaluators Comments
Note on H96: Evaluators Comments
Note on I96: Evaluators Comments
Note on J96: Evaluators Comments
Note on E97: Evaluators Comments
Note on F97: Evaluators Comments
Note on G97: Evaluators Comments
Note on H97: Evaluators Comments
Note on I97: Evaluators Comments
Note on J97: Evaluators Comments
Note on E98: Evaluators Comments
Note on F98: Evaluators Comments
Note on G98: Evaluators Comments
Note on H98: Evaluators Comments
Note on I98: Evaluators Comments
Note on J98: Evaluators Comments
Note on E99: Evaluators Comments
Note on F99: Evaluators Comments
Note on G99: Evaluators Comments
Note on H99: Evaluators Comments
Note on I99: Evaluators Comments
Note on J99: Evaluators Comments
Note on E100: Evaluators Comments
Note on F100: Evaluators Comments
Note on G100: Evaluators Comments
Note on H100: Evaluators Comments
Note on I100: Evaluators Comments
Note on J100: Evaluators Comments
Note on E101: Evaluators Comments
Note on F101: Evaluators Comments
Note on G101: Evaluators Comments
Note on H101: Evaluators Comments
Note on I101: Evaluators Comments
Note on J101: Evaluators Comments
Note on E102: Evaluators Comments
Note on F102: Evaluators Comments
Note on G102: Evaluators Comments
Note on H102: Evaluators Comments
Note on I102: Evaluators Comments
Note on J102: Evaluators Comments
Note on E103: Evaluators Comments
Note on F103: Evaluators Comments
Note on G103: Evaluators Comments
Note on H103: Evaluators Comments
Note on I103: Evaluators Comments
Note on J103: Evaluators Comments
Note on E104: Evaluators Comments
Note on F104: Evaluators Comments
Note on G104: Evaluators Comments
Note on H104: Evaluators Comments
Note on I104: Evaluators Comments
Note on J104: Evaluators Comments
Note on E105: Evaluators Comments
Note on F105: Evaluators Comments
Note on G105: Evaluators Comments
Note on H105: Evaluators Comments
Note on I105: Evaluators Comments
Note on J105: Evaluators Comments
Note on E106: Evaluators Comments
Note on F106: Evaluators Comments
Note on G106: Evaluators Comments
Note on H106: Evaluators Comments
Note on I106: Evaluators Comments
Note on J106: Evaluators Comments
Note on E107: Evaluators Comments
Note on F107: Evaluators Comments
Note on G107: Evaluators Comments
Note on H107: Evaluators Comments
Note on I107: Evaluators Comments
Note on J107: Evaluators Comments
Note on E108: Evaluators Comments
Note on F108: Evaluators Comments
Note on G108: Evaluators Comments
Note on H108: Evaluators Comments
Note on I108: Evaluators Comments
Note on J108: Evaluators Comments
Note on E109: Evaluators Comments
Note on F109: Evaluators Comments
Note on G109: Evaluators Comments
Note on H109: Evaluators Comments
Note on I109: Evaluators Comments
Note on J109: Evaluators Comments
Note on E110: Evaluators Comments
Note on F110: Evaluators Comments
Note on G110: Evaluators Comments
Note on H110: Evaluators Comments
Note on I110: Evaluators Comments
Note on J110: Evaluators Comments
Note on E111: Evaluators Comments
Note on F111: Evaluators Comments
Note on G111: Evaluators Comments
Note on H111: Evaluators Comments
Note on I111: Evaluators Comments
Note on J111: Evaluators Comments
Note on E112: Evaluators Comments
Note on F112: Evaluators Comments
Note on G112: Evaluators Comments
Note on H112: Evaluators Comments
Note on I112: Evaluators Comments
Note on J112: Evaluators Comments
Note on E113: Evaluators Comments
Note on F113: Evaluators Comments
Note on G113: Evaluators Comments
Note on H113: Evaluators Comments
Note on I113: Evaluators Comments
Note on J113: Evaluators Comments
Note on E114: Evaluators Comments
Note on F114: Evaluators Comments
Note on G114: Evaluators Comments
Note on H114: Evaluators Comments
Note on I114: Evaluators Comments
Note on J114: Evaluators Comments
Note on E115: Evaluators Comments
Note on F115: Evaluators Comments
Note on G115: Evaluators Comments
Note on H115: Evaluators Comments
Note on I115: Evaluators Comments
Note on J115: Evaluators Comments
Note on E116: Evaluators Comments
Note on F116: Evaluators Comments
Note on G116: Evaluators Comments
Note on H116: Evaluators Comments
Note on I116: Evaluators Comments
Note on J116: Evaluators Comments
Note on E117: Evaluators Comments
Note on F117: Evaluators Comments
Note on G117: Evaluators Comments
Note on H117: Evaluators Comments
Note on I117: Evaluators Comments
Note on J117: Evaluators Comments
Note on E118: Evaluators Comments
Note on F118: Evaluators Comments
Note on G118: Evaluators Comments
Note on H118: Evaluators Comments
Note on I118: Evaluators Comments
Note on J118: Evaluators Comments
Note on E119: Evaluators Comments
Note on F119: Evaluators Comments
Note on G119: Evaluators Comments
Note on H119: Evaluators Comments
Note on I119: Evaluators Comments
Note on J119: Evaluators Comments
Note on E120: Evaluators Comments
Note on F120: Evaluators Comments
Note on G120: Evaluators Comments
Note on H120: Evaluators Comments
Note on I120: Evaluators Comments
Note on J120: Evaluators Comments
Note on E121: Evaluators Comments
Note on F121: Evaluators Comments
Note on G121: Evaluators Comments
Note on H121: Evaluators Comments
Note on I121: Evaluators Comments
Note on J121: Evaluators Comments
Note on E122: Evaluators Comments
Note on F122: Evaluators Comments
Note on G122: Evaluators Comments
Note on H122: Evaluators Comments
Note on I122: Evaluators Comments
Note on J122: Evaluators Comments
Note on E123: Evaluators Comments
Note on F123: Evaluators Comments
Note on G123: Evaluators Comments
Note on H123: Evaluators Comments
Note on I123: Evaluators Comments
Note on J123: Evaluators Comments
Note on E124: Evaluators Comments
Note on F124: Evaluators Comments
Note on G124: Evaluators Comments
Note on H124: Evaluators Comments
Note on I124: Evaluators Comments
Note on J124: Evaluators Comments
Note on E125: Evaluators Comments
Note on F125: Evaluators Comments
Note on G125: Evaluators Comments
Note on H125: Evaluators Comments
Note on I125: Evaluators Comments
Note on J125: Evaluators Comments
Note on E126: Evaluators Comments
Note on F126: Evaluators Comments
Note on G126: Evaluators Comments
Note on H126: Evaluators Comments
Note on I126: Evaluators Comments
Note on J126: Evaluators Comments
Note on E127: Evaluators Comments
Note on F127: Evaluators Comments
Note on G127: Evaluators Comments
Note on H127: Evaluators Comments
Note on I127: Evaluators Comments
Note on J127: Evaluators Comments
Note on E128: Evaluators Comments
Note on F128: Evaluators Comments
Note on G128: Evaluators Comments
Note on H128: Evaluators Comments
Note on I128: Evaluators Comments
Note on J128: Evaluators Comments
Note on E129: Evaluators Comments
Note on F129: Evaluators Comments
Note on G129: Evaluators Comments
Note on H129: Evaluators Comments
Note on I129: Evaluators Comments
Note on J129: Evaluators Comments
Note on E130: Evaluators Comments
Note on F130: Evaluators Comments
Note on G130: Evaluators Comments
Note on H130: Evaluators Comments
Note on I130: Evaluators Comments
Note on J130: Evaluators Comments
Note on E131: Evaluators Comments
Note on F131: Evaluators Comments
Note on G131: Evaluators Comments
Note on H131: Evaluators Comments
Note on I131: Evaluators Comments
Note on J131: Evaluators Comments
Note on E132: Evaluators Comments
Note on F132: Evaluators Comments
Note on G132: Evaluators Comments
Note on H132: Evaluators Comments
Note on I132: Evaluators Comments
Note on J132: Evaluators Comments
Note on E133: Evaluators Comments
Note on F133: Evaluators Comments
Note on G133: Evaluators Comments
Note on H133: Evaluators Comments
Note on I133: Evaluators Comments
Note on J133: Evaluators Comments
Note on E134: Evaluators Comments
Note on F134: Evaluators Comments
Note on G134: Evaluators Comments
Note on H134: Evaluators Comments
Note on I134: Evaluators Comments
Note on J134: Evaluators Comments
Note on E135: Evaluators Comments
Note on F135: Evaluators Comments
Note on G135: Evaluators Comments
Note on H135: Evaluators Comments
Note on I135: Evaluators Comments
Note on J135: Evaluators Comments
Note on E136: Evaluators Comments
Note on F136: Evaluators Comments
Note on G136: Evaluators Comments
Note on H136: Evaluators Comments
Note on I136: Evaluators Comments
Note on J136: Evaluators Comments
Note on E137: Evaluators Comments
Note on F137: Evaluators Comments
Note on G137: Evaluators Comments
Note on H137: Evaluators Comments
Note on I137: Evaluators Comments
Note on J137: Evaluators Comments
Note on E138: Evaluators Comments
Note on F138: Evaluators Comments
Note on G138: Evaluators Comments
Note on H138: Evaluators Comments
Note on I138: Evaluators Comments
Note on J138: Evaluators Comments
Note on E139: Evaluators Comments
Note on F139: Evaluators Comments
Note on G139: Evaluators Comments
Note on H139: Evaluators Comments
Note on I139: Evaluators Comments
Note on J139: Evaluators Comments
Note on E140: Evaluators Comments
Note on F140: Evaluators Comments
Note on G140: Evaluators Comments
Note on H140: Evaluators Comments
Note on I140: Evaluators Comments
Note on J140: Evaluators Comments
Note on E141: Evaluators Comments
Note on F141: Evaluators Comments
Note on G141: Evaluators Comments
Note on H141: Evaluators Comments
Note on I141: Evaluators Comments
Note on J141: Evaluators Comments
Note on E142: Evaluators Comments
Note on F142: Evaluators Comments
Note on G142: Evaluators Comments
Note on H142: Evaluators Comments
Note on I142: Evaluators Comments
Note on J142: Evaluators Comments
Note on E143: Evaluators Comments
Note on F143: Evaluators Comments
Note on G143: Evaluators Comments
Note on H143: Evaluators Comments
Note on I143: Evaluators Comments
Note on J143: Evaluators Comments
Note on E144: Evaluators Comments
Note on F144: Evaluators Comments
Note on G144: Evaluators Comments
Note on H144: Evaluators Comments
Note on I144: Evaluators Comments
Note on J144: Evaluators Comments
Note on E145: Evaluators Comments
Note on F145: Evaluators Comments
Note on G145: Evaluators Comments
Note on H145: Evaluators Comments
Note on I145: Evaluators Comments
Note on J145: Evaluators Comments
Note on E146: Evaluators Comments
Note on F146: Evaluators Comments
Note on G146: Evaluators Comments
Note on H146: Evaluators Comments
Note on I146: Evaluators Comments
Note on J146: Evaluators Comments
Note on E147: Evaluators Comments
Note on F147: Evaluators Comments
Note on G147: Evaluators Comments
Note on H147: Evaluators Comments
Note on I147: Evaluators Comments
Note on J147: Evaluators Comments
Note on E148: Evaluators Comments
Note on F148: Evaluators Comments
Note on G148: Evaluators Comments
Note on H148: Evaluators Comments
Note on I148: Evaluators Comments
Note on J148: Evaluators Comments
Note on E149: Evaluators Comments
Note on F149: Evaluators Comments
Note on G149: Evaluators Comments
Note on H149: Evaluators Comments
Note on I149: Evaluators Comments
Note on J149: Evaluators Comments
Note on E150: Evaluators Comments
Note on F150: Evaluators Comments
Note on G150: Evaluators Comments
Note on H150: Evaluators Comments
Note on I150: Evaluators Comments
Note on J150: Evaluators Comments
Note on E151: Evaluators Comments
Note on F151: Evaluators Comments
Note on G151: Evaluators Comments
Note on H151: Evaluators Comments
Note on I151: Evaluators Comments
Note on J151: Evaluators Comments
Note on E152: Evaluators Comments
Note on F152: Evaluators Comments
Note on G152: Evaluators Comments
Note on H152: Evaluators Comments
Note on I152: Evaluators Comments
Note on J152: Evaluators Comments
Note on E153: Evaluators Comments
Note on F153: Evaluators Comments
Note on G153: Evaluators Comments
Note on H153: Evaluators Comments
Note on I153: Evaluators Comments
Note on J153: Evaluators Comments
Note on E154: Evaluators Comments
Note on F154: Evaluators Comments
Note on G154: Evaluators Comments
Note on H154: Evaluators Comments
Note on I154: Evaluators Comments
Note on J154: Evaluators Comments
Note on E155: Evaluators Comments
Note on F155: Evaluators Comments
Note on G155: Evaluators Comments
Note on H155: Evaluators Comments
Note on I155: Evaluators Comments
Note on J155: Evaluators Comments
Note on E156: Evaluators Comments
Note on F156: Evaluators Comments
Note on G156: Evaluators Comments
Note on H156: Evaluators Comments
Note on I156: Evaluators Comments
Note on J156: Evaluators Comments
Note on E157: Evaluators Comments
Note on F157: Evaluators Comments
Note on G157: Evaluators Comments
Note on H157: Evaluators Comments
Note on I157: Evaluators Comments
Note on J157: Evaluators Comments
Note on E158: Evaluators Comments
Note on F158: Evaluators Comments
Note on G158: Evaluators Comments
Note on H158: Evaluators Comments
Note on I158: Evaluators Comments
Note on J158: Evaluators Comments
Note on E159: Evaluators Comments
Note on F159: Evaluators Comments
Note on G159: Evaluators Comments
Note on H159: Evaluators Comments
Note on I159: Evaluators Comments
Note on J159: Evaluators Comments
Note on E160: Evaluators Comments
Note on F160: Evaluators Comments
Note on G160: Evaluators Comments
Note on H160: Evaluators Comments
Note on I160: Evaluators Comments
Note on J160: Evaluators Comments
Note on E161: Evaluators Comments
Note on F161: Evaluators Comments
Note on G161: Evaluators Comments
Note on H161: Evaluators Comments
Note on I161: Evaluators Comments
Note on J161: Evaluators Comments
Note on E162: Evaluators Comments
Note on F162: Evaluators Comments
Note on G162: Evaluators Comments
Note on H162: Evaluators Comments
Note on I162: Evaluators Comments
Note on J162: Evaluators Comments
Note on E163: Evaluators Comments
Note on F163: Evaluators Comments
Note on G163: Evaluators Comments
Note on H163: Evaluators Comments
Note on I163: Evaluators Comments
Note on J163: Evaluators Comments
Note on E164: Evaluators Comments
Note on F164: Evaluators Comments
Note on G164: Evaluators Comments
Note on H164: Evaluators Comments
Note on I164: Evaluators Comments
Note on J164: Evaluators Comments
Note on E165: Evaluators Comments
Note on F165: Evaluators Comments
Note on G165: Evaluators Comments
Note on H165: Evaluators Comments
Note on I165: Evaluators Comments
Note on J165: Evaluators Comments
Note on E166: Evaluators Comments
Note on F166: Evaluators Comments
Note on G166: Evaluators Comments
Note on H166: Evaluators Comments
Note on I166: Evaluators Comments
Note on J166: Evaluators Comments
Note on E167: Evaluators Comments
Note on F167: Evaluators Comments
Note on G167: Evaluators Comments
Note on H167: Evaluators Comments
Note on I167: Evaluators Comments
Note on J167: Evaluators Comments
Note on E168: Evaluators Comments
Note on F168: Evaluators Comments
Note on G168: Evaluators Comments
Note on H168: Evaluators Comments
Note on I168: Evaluators Comments
Note on J168: Evaluators Comments
Note on E169: Evaluators Comments
Note on F169: Evaluators Comments
Note on G169: Evaluators Comments
Note on H169: Evaluators Comments
Note on I169: Evaluators Comments
Note on J169: Evaluators Comments
Note on E170: Evaluators Comments
Note on F170: Evaluators Comments
Note on G170: Evaluators Comments
Note on H170: Evaluators Comments
Note on I170: Evaluators Comments
Note on J170: Evaluators Comments
Note on E171: Evaluators Comments
Note on F171: Evaluators Comments
Note on G171: Evaluators Comments
Note on H171: Evaluators Comments
Note on I171: Evaluators Comments
Note on J171: Evaluators Comments
Note on E172: Evaluators Comments
Note on F172: Evaluators Comments
Note on G172: Evaluators Comments
Note on H172: Evaluators Comments
Note on I172: Evaluators Comments
Note on J172: Evaluators Comments
Note on E173: Evaluators Comments
Note on F173: Evaluators Comments
Note on G173: Evaluators Comments
Note on H173: Evaluators Comments
Note on I173: Evaluators Comments
Note on J173: Evaluators Comments
Note on E174: Evaluators Comments
Note on F174: Evaluators Comments
Note on G174: Evaluators Comments
Note on H174: Evaluators Comments
Note on I174: Evaluators Comments
Note on J174: Evaluators Comments
Note on E175: Evaluators Comments
Note on F175: Evaluators Comments
Note on G175: Evaluators Comments
Note on H175: Evaluators Comments
Note on I175: Evaluators Comments
Note on J175: Evaluators Comments
Note on E176: Evaluators Comments
Note on F176: Evaluators Comments
Note on G176: Evaluators Comments
Note on H176: Evaluators Comments
Note on I176: Evaluators Comments
Note on J176: Evaluators Comments
Note on E177: Evaluators Comments
Note on F177: Evaluators Comments
Note on G177: Evaluators Comments
Note on H177: Evaluators Comments
Note on I177: Evaluators Comments
Note on J177: Evaluators Comments
Note on E178: Evaluators Comments
Note on F178: Evaluators Comments
Note on G178: Evaluators Comments
Note on H178: Evaluators Comments
Note on I178: Evaluators Comments
Note on J178: Evaluators Comments
Note on E179: Evaluators Comments
Note on F179: Evaluators Comments
Note on G179: Evaluators Comments
Note on H179: Evaluators Comments
Note on I179: Evaluators Comments
Note on J179: Evaluators Comments
Note on E180: Evaluators Comments
Note on F180: Evaluators Comments
Note on G180: Evaluators Comments
Note on H180: Evaluators Comments
Note on I180: Evaluators Comments
Note on J180: Evaluators Comments
Note on E181: Evaluators Comments
Note on F181: Evaluators Comments
Note on G181: Evaluators Comments
Note on H181: Evaluators Comments
Note on I181: Evaluators Comments
Note on J181: Evaluators Comments
Note on E182: Evaluators Comments
Note on F182: Evaluators Comments
Note on G182: Evaluators Comments
Note on H182: Evaluators Comments
Note on I182: Evaluators Comments
Note on J182: Evaluators Comments
Note on E183: Evaluators Comments
Note on F183: Evaluators Comments
Note on G183: Evaluators Comments
Note on H183: Evaluators Comments
Note on I183: Evaluators Comments
Note on J183: Evaluators Comments
Note on E184: Evaluators Comments
Note on F184: Evaluators Comments
Note on G184: Evaluators Comments
Note on H184: Evaluators Comments
Note on I184: Evaluators Comments
Note on J184: Evaluators Comments