## TOTAL
JDEIDET MOT - CORE SITE UPS System
BILL OF QUANTITIES - GRAND TOTAL
ITEM | DESCRIPTION | TOTAL (USD)
1 | UPS System - IT Load | 0
2 | Utility UPS System - Precision AC | 0
| GRAND TOTAL | 0

## UPS System - IT Load
BILL OF QUANTITIES - UPS System for IT
ITEM | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL USD
SECTION 26 33 53.00.UPSC02 Static Uninterruptible Power Supply - Core
1 | Modular UPS rated 120KVA expandable to 200KVA | U | 2 |  | 0
2 | WEB Ethernet SNMP card for remote supervision of UPS | U | 2 |  | 0
3 | 12Vdc battery, front terminal connection, 165AH C10 to 1.80Vdc @ 20°C VRLA batteries including all required accessories for complete installation | U | 240 |  | 0
SECTION 26 33 13.00.BT01 - Batteries - Telco
4 | DC battery distribution panel consisting of DC fuses to connect the required battery strings. Distribution panels shall include spare fuses to account for additional battery string to provide 2 hours backup time at UPS full capacity. | U | 2 |  | 0
5 | Battery fuse box, 100A DC, for each string (at the batteries side) for 1 UPS. Shall consist of metallic ecnlosure, with blade type fuses with fuse strike alarm | LS | 2 |  | 0
6 | Set of steel racks (Chassis) for batteries; one set for each UPS | LS | 2 |  | 0
7 | Delivery, transportation, installation, & commissioning | U | 2 |  | 0
Total |  |  |  |  | 0

## Utility UPS System
BILL OF QUANTITIES - UTILITY UPS System
ITEM | DESCRIPTION | UNIT | QTY | UNIT PRICE | TOTAL USD
SECTION 26 33 53.00.UPSC02 Static Uninterruptible Power Supply - Core
1 | Modular UPS rated 120KVA expandable to 200KVA - Dedicated for precision AC units | U | 1 |  | 0
2 | WEB Ethernet SNMP card for remote supervision of UPS | U | 1 |  | 0
SECTION 26 33 13.00.BT01 - Batteries - Telco
3 | 12Vdc battery, front terminal connection, 165AH C10 to 1.80Vdc @ 20°C VRLA batteries including all required accessories for complete installation - For precision AC 4 Nos. - 2 hours backup time | U | 120 |  | 0
4 | DC battery distribution panel consisting of DC fuses to connect the required battery strings. Distribution panels shall include spare fuses to account for additional battery string to provide 2hours backup time at UPS full capacity. | U | 1 |  | 0
5 | Battery fuse box, 100A DC, for each string (at the batteries side) for 1 UPS. Shall consist of metallic ecnlosure, with blade type fuses with fuse strike alarm | LS | 1 |  | 0
6 | Set of steel racks (Chassis) for batteries; one set for each UPS | LS | 1 |  | 0
7 | Delivery, transportation, installation, & commissioning | U | 1 |  | 0
Total |  |  |  |  | 0