## Anti Theft System
Option 1 - Bundle Offer
RFQ# 0495-24
Maintenance Contract for MIC1 Security Systems
Annex 2
Anthi Theft Maintenance Agreement without spare parts coverage at MIC1-Alfa Stores
Site: ALFA Stores : Msaytbeh,Jbeil,Pine,Bikfaya,Halba,Baalbeck Chtoura,Nabatieh,Jounieh and Tyr
List of Material covered by the agreement :
DESCRIPTION | Qty
CP PEDESTAL EVOLVE IR P10 PSB#10045824 | 2
CP PEDESTAL EVOLVE IR P10 PSB#10045824 | 1
CP POWER SUPPLY | 1
CP COUNTERPOINT ECO DEACT CHASSIS & PSU | 1
The below CP Anti-Theft systrem is installed in the below stores:
Msaytbeh,Jbeil,Pine,Bikfaya,Halba,Baalbeck,Chtoura,Nabatieh,Jounieh and Tyr
N.B: AS Saida, Mina and Parallel Towers don’t Anti Theft System
1.1Hardware Annual Support Agreement :
CP Anti-Theft System including all items at the above locations + barcode stickers . | limited Remedial Visits during working hours=13 VISITS (from 8am till 5pm)
1.2Preventive Visits:
þ 1 Preventive Visit/per year for each site
Customer agrees to purchase and supplier agrees to provide at the above specified locations, maintenance services on the equipment listed above
Description | Price USD$ for 1 year contract | Price USD$ for 3 years contract | Price USD$ for 5 years contract
Remedial Maintenance without Spares coverage :
Maintenance with limited remedial visits without spare parts coverage during working hours =13 (from 8am till 5pm)
Preventive Maintenance : 1 per year for each site (13sites)
Total Excluding VAT

## Intrusion System
Option 1 - Bundle Offer
RFQ# 0495-24
Maintenance Contract for MIC1 Security Systems
Annex 2
Intrusion Security Systems Maintenance Agreement without spare parts coverage at MIC1-Alfa Stores
Site: ALFA Stores : Msaytbeh,Jbeil,Pine,Bikfaya,Halba,Baalbeck, Chtoura,Nabatieh,Jounieh, Tyr,WHS Jeita, Saida and Mina
List of Material covered by the agreement :
DESCRIPTION | Qty
MSAYTBEH Store
SATEL INT-KLCD-GR EX KEYPAD | 1
SATEL INTEGRA 32 MAIN BOARD | 1
SATEL-CA-10 OBU METAL BOX | 1
SATEL INT-VG VOICE MODULE | 1
SATEL SPLZ-1011 OUTDOOR SIREN | 1
SATEL AQUA RING INFRA RED MOTION DETECTOR | 3
SATEL PNK-1 PANIC BUTTON | 6
SATEL INT-E ZONES EXPANSION MODULE | 1
PB19NO+NC STAINLESS STEEL 19MM NO+NC SOLDER TAGS | 1
SATEL SPW-220 INDOOR SIREN | 1
SATEL GSM-X COMMUNICATOR MODULE | 1
JBEIL Store
SATEL AQUA RING INFRA RED MOTION DETECTOR | 7
SATEL CA-10 OBU METAL BOX | 1
SATEL INT-E ZONES EXPANSION MODULE | 1
SATEL INTEGRA 32 MAIN BOARD | 1
SATEL INT-KLCD-GR EX KEYPAD | 1
SATEL INT-VG VOICE MODULE | 1
SATEL PNK-1 PANIC BUTTON | 3
SATEL SPLZ-1011 OUTDOOR SIREN | 1
PINE Store
SATEL DT-1 PHONE COMMUNICATOR | 1
SAGEM MA SIGMA LITE +MULTI 293678660 | 1
SATEL AQUA RING INFRA RED MOTION DETECTOR | 6
SATEL CA-10 OBU METAL BOX | 1
SATEL INT-E ZONES EXPANSION MODULE | 1
SATEL INTEGRA 32 MAIN BOARD | 1
SATEL INT-KLCD-GR EX KEYPAD | 1
SATEL INT-VG VOICE MODULE | 1
SATEL PNK-1 PANIC BUTTON | 3
SATEL SPLZ-1011 OTDOOR SIREN | 1
SATEL GSM-X COMMUNICATION MODULE | 1
BIKFAYA Store
SATEL DT-1 PHONE COMMUNICATOR | 1
SATEL SPW-220 EX INDOOR SIREN | 2
SATEL DUAL DETECTOR COBLT PRO | 7
SATEL INT-E ZONES EXPANSION MODULE | 1
SATEL INTEGRA 32 MAIN BOARD | 1
SATEL INT-KLCD-GR EX KEYPAD | 1
SATEL INT-VG VOICE MODULE | 1
SATEL PNK-1 PANIC BUTTON | 4
SATEL SPLZ-1011 OUTDOOR SIREN | 1
SATEL CA-10 OBU METAL BOX | 1
HALBA Store
SATEL DUAL DETECTOR COBALT PRO | 9
SATEL INT-E ZONES EXPANSION MODULE | 1
SATEL INTEGRA 32 MAIN BOARD | 1
SATEL INT-KLCD-GR EX KEYPAD | 1
SATEL INT-VG VOICE MODULE | 1
SATEL PNK-1 PANIC BUTTON | 8
SATEL SPLZ-1011 OUTDOOR SIREN | 1
SATEL CA-10 OBU METAL BOX | 1
SATEL DT-1 PHONE COMMUNICATOR | 1
BAALBECK Store
SATEL CA-10 OBU METAL BOX | 1
SATEL DUAL DETECTOR COBALT PRO | 2
SATEL INT-E ZONES EXPANSION MODULE | 1
SATEL INTEGRA 32 MAIN BOARD | 1
SATEL INT-KLCD-GR EX KEYPAD | 1
SATEL INT-VG VOICE MODULE | 1
SATEL PNK-1 PANIC BUTTON | 5
SATEL SPLZ-1011 OUTDOOR SIREN | 1
SATEL SPW-100 INDOOR SIREN | 2
SATEL DT-1 PHONE COMMUNICATOR | 1
SATEL GSM-X COMMUNICATION MODULE | 1
CHTOURA Store
SATEL AQUA RING INFRA RED MOTION DETECTOR | 3
SATEL CA-10 OBU METAL BOX | 1
SATEL INT-E ZONES EXPANSION MODULE | 1
SATEL INTEGRA 32 MAIN BOARD | 1
SATEL INT-KLCD-GR EX KEYPAD | 1
SATEL INT-VG VOICE MODULE | 1
SATEL PNK-1 PANIC BUTTON | 11
SATEL SPLZ-1011 OUTDOOR SIREN | 1
NABATIEH Store
SAGEM MA SIGMA LITE + MULTI 293678660 | 1
SATEL AQUA RING INFRA RED MOTION DETECTOR | 3
SATEL CA-10 OBU METAL BOX | 1
SATEL INT-E ZONES EXPANSION MODULE | 1
SATEL INTEGRA 32 MAIN BOARD | 1
SATEL INT-KLCD-GR EX KEYPAD | 1
SATEL INT-VG VOICE MODULE | 1
SATEL PNK-1 PANIC BUTTON | 5
SATEL SPLZ-1011 OUTDOOR SIREN | 1
SATEL SPW-100 INDOOR SIREN | 1
JOUNIEH Store
SATEL GSM-X COMMUNICATION MODULE | 1
SATEL DUAL DETECTOR COBALT-PRO | 12
SATEL INTEGRA 32 MAIN BOARD | 1
SATEL INT-KLCD-GR EX KEYPAD | 1
SATEL INT-VG VOICE MODULE | 1
SATEL OMI-2 METAL BOX | 1
SATEL PNK-1 PANIC BUTTON | 3
SATEL SPLZ-1011 OUTDOOR SIREN | 1
SATEL SPW-100 INDOOR SIREN | 2
TYR Store
SATEL DUAL DETECTOR COBALT-PRO | 8
SATEL INT-E ZONES EXPANSION MODULE | 1
SATEL INTEGRA 32 MAIN BOARD | 1
SATEL INT-KLCD-GR EX KEYPAD | 1
SATEL INT-VG VOICE MODULE | 1
SATEL OMI-2 METAL BOX | 1
SATEL PNK-1 PANIC BUTTON | 3
SATEL SPLZ-1011 OUTDOOR SIREN | 1
Intrusion System at AS Parallel Towers (Inim)
Intrusion System at AS Saida (DSC Alexor)
Intrusion System at AS Mina (DSC Alexor)
1.1Hardware Annual Support Agreement :
Satel: Intrusion systems including the centralized software located at Parallel Towers)
Inim and DSC Alexor: standalone intrusion system | limited Remedial Visits during working hours=13 VISITS (from 8am till 5pm)
1.2Preventive Visits:
þ 1 Preventive Visit/per year for each site
Customer agrees to purchase and supplier agrees to provide at the above specified locations, maintenance services on the equipment listed above
Description | Price USD$ for 1 year contract | Price USD$ for 3 years contract | Price USD$ for 5 years contract
Remedial Maintenance without Spares coverage :
Maintenance with limited remedial visits without spare parts coverage during working hours =13 (from 8am till 5pm)
Preventive Maintenance : 1 per year for each site (13sites)
Total Excluding VAT

## Fire System
Option 1 - Bundle Offer
RFQ# 0495-24
Maintenance Contract for MIC1 Security Systems
Annex 2
Fire Security Systems Maintenance Agreement without spare parts coverage at MIC1-Alfa Stores
Site: ALFA Stores : Msaytbeh,Jbeil,Pine,Bikfaya,Halba,Baalbeck, Chtoura,Nabatieh,Jounieh, Tyr,WHS Jeita, Saida and Mina
List of Material covered by the agreement :
DESCRIPTION | Qty
MSAYTBEH Store
HOCHIKI HCA-RA /220 REMOTE ANNUCIATOR 0100-09670 | 1
HOCHIKI SOC-24VN PH ELEC SMOKE DETECTOR 0200-6720 | 10
HOCHIKI BASE NS4-100 HA | 13
HOCHIKI SLR-24H PHOTOELECTRIC 135 DEGREE HEAT DETECTOR | 2
HOCHIKI DCD-135 FIXED TEMPERATURE RATE OF RISE | 1
HOCHIKI CALL POINT HPS-CP 0600-0126 | 3
HOCHIKI PULL STN BACK BOX(HPS-BB) | 3
JBEIL Store
HOCHIKI B6-24 6 FIRE ALARM BELL 24VDC | 2
HOCHIKI BASE NS4-100 HA | 13
HOCHIKI CALL POINT HPS-CP 0600-0126 | 2
HOCHIKI HCA-8/240V 8 ZONE CONVENTIONAL | 1
HOCHIKI HCA-RA/220 REMOTE ANNUCIATOR 0100-09670 | 1
HOCHIKI PULL STN BACK BOX (HPS-BB) | 2
HOCHIKI SOC-24VN PH ELEC SMOKE DETECTOR 0200-06720 | 13
PINE Store
HOCHIKI CALL POINT HPS-CP 0600-0126 | 2
HOCHIKI HCA-8/240V 8 ZONE CONVENTIONAL | 1
HOCHIKI SLR-24H PHOTOELECTRIC 135 DEGREE HEAT DETECTOR | 20
HOCHIKI BASE NS4-100 HA | 20
HOCHIKI B6-24 6 FIRE ALARM BELL 24 VDC | 2
HOCHIKI HCA-RA/220 REMOTE ANNUCIATOR 0100-09670 | 1
HOCHIKI PULL STN BACK BOX(HPS-BB) | 2
BIKFAYA Store
HOCHIKI B6-24 6 FIRE ALARM BELL 24VDC | 2
HOCHIKI BASE NS4-100 HA | 14
HOCHIKI BB-WP BELL BACKBOX,WEATHERPROOF FOR BACKBOX | 1
HOCHIKI CALL POINT HPS-CP 0600-0126 | 2
HOCHIKI HCA-8/240V 8 ZONE CONVENTIONAL | 1
HOCHIKI PULL STN BACK BOX (HPS-BB) | 2
HOCHIKI SLR-24H PHOTOELECTRIC 135 DEGREE HEAT DETECTOR | 2
HOCHIKI SOC-24V CONVENTIONAL DETECTOR | 12
HALBA Store
HOCHIKI HCA-8/240V 8 ZONE CONVENTIONAL | 1
SATEL DT-1 PHONE COMMUNICATOR | 1
HOCHIKI DT SMK SLR-24V HA | 7
VOID/CANCEL | 10
HOCHIKI SLR-24H PHOTOELECTRIC 135 DEGREE HEAT DETECTOR | 3
HOCHIKI CALL POINT HPS-CP 0600-0126 | 3
VOID/CANCEL | 2
HOCHIKI HCA-RA/220 REMOTE ANNUCIATOR 0100-09670 | 1
BAALBECK Store
HOCHIKI B6-24 6 FIRE ALARM BELL 24VDC | 1
HOCHIKI BASE NC4-100 HA | 8
HOCHIKI CALL POINT HPS-CP 0600-0126 | 2
HOCHIKI DCD-135 FIXED TEMPERATURE RATE OF RISE | 1
HOCHIKI HCA-8/240V 8 ZONE CONVENTIONAL | 1
HOCHIKI HCA-RA/220 REMOTE ANNUCIATOR 0100-09670 | 1
HOCHIKI PULL STN BACK BOX (HPS-BB) | 2
HOCHIKI SLR-24H PHOTOELECTRIC 135 DEGREE HEAT DETECTOR | 1
HOCHIKI SOC-24V CONVENTIONAL DETECTOR | 6
CHTOURA Store
HOCHIKI BASE NS4-100 HA | 11
HOCHIKI CALL POINT HPS-CP 0600-0126 | 2
HOCHIKI DCD-135 FIXED TEMPERATURE RATE OF RISE | 1
HOCHIKI HCA-8/240V 8 ZONE CONVENTIONAL | 1
HOCHIKI PULL STN BACK BOX(HPS-BB) | 1
HOCHIKI SLR-24H PHOTOELECTRIC 135 DEGREE HEAT DETECTOR | 1
HOCHIKI SOC-24V CONVENTIONAL DETECTOR | 9
NABATIEH Store
HOCHIKI B6-24 6 FIRE ALARM BELL 24VDC | 2
HOCHIKI BASE NS4-100 HA | 7
HOCHIKI CALL POINT HPS-CP 0600-0126 | 2
HOCHIKI DCD-135 FIXED TEMPERATURE RATE OF RISE | 1
HOCHIKI HCA-8/240V 8 ZONE CONVENTIONAL | 1
HOCHIKI PULL STN BACK BOX(HPS-BB) | 2
HOCHIKI SLR-24H PHOTOELECTRIC 135 DEGREE HEAT DETECTOR | 1
HOCHIKI SOC-24V CONVENTIONAL DETECTOR | 5
SATEL DT-1 PHONE COMMUNICATOR | 1
MERLAUD FP1512TB WHITE ALUMINIUM | 8
JOUNIEH Store
HOCHIKI HCA-8/240V 8 ZONE CONVENTIONAL | 1
HOCHIKI HCA-RA/220 REMOTE ANNUCIATOR 0100-09670 | 1
HOCHIKI SLR-24HPHOTOELECTRIC 135 DEGREE HEAT DETECTOR | 13
HOCHIKI BASE NS4-100 HA | 13
HOCHIKI BB-WP BELL BACKBOX,WEATHERPROOF FOR BACKBOX | 1
HOCHIKI B6-24 6 FIRE LARM BELL 24VDC | 2
HOCHIKI CALL POINT HPS-CP 600-0126 | 2
TYR Store
HOCHIKI B6-24 6 FIRE ALARM BELL 24VDC | 3
HOCHIKI BB-WP BELL BACKBOX,WEATHERPROOF FOR BACKBOX | 1
HOCHIKI CALL POINT HPS-CP 0600-0126 | 4
HOCHIKI HCA-8/240V 8 ZONE CONVENTIONAL | 1
HOCHIKI HCA-RA/220 REMOTE ANNUCIATOR 0100-09670 | 1
Fire Alarm System at WHS Jeita (GST + Beam detectors)
Fire Alarm System at Mina (Inim SMARTLINE)
Fire Alarm System at Saida (CHUBB)
1.1Hardware Annual Support Agreement :
Hochiki, GST, Inim and CHUBB: Fire System | limited Remedial Visits during working hours=13 VISITS (from 8am till 5pm)
1.2Preventive Visits:
þ 1 Preventive Visit/per year for each site
Customer agrees to purchase and supplier agrees to provide at the above specified location, maintenance services on the equipment listed above
Description | Price USD$ for 1 year contract | Price USD$ for 3 years contract | Price USD$ for 5 years contract
Remedial Maintenance without Spares coverage :
Maintenance with limited remedial visits without spare parts coverage during working hours =13 (from 8am till 5pm)
Preventive Maintenance : 1 per year for each site (13sites)
Total Excluding VAT

## Surveillance system
Option 1 - Bundle Offer
RFQ# 0495-24
Maintenance Contract for MIC1 Security Systems
Annex 2
CCTV Maintenance Agreement without spare parts coverage ACTI (Pine & Parallel)
HS-WH+2PV:
1-Maintenance with unlimited remedial visits during working hours without spare parts coverage
2-2 preventive visits per year
Initial Term : | From: until
Camera Name |  | Brand | Model | Location | Qty
C1-GF |  | Acti | E42B | GF | 1
C2-GF |  | Acti | TCM1231 | Ramp | 1
C1-B1 |  | Acti | KCM5211 | Floor -1 | 1
C1-B2 |  | Acti | E53 | Floor -2 | 1
C2-B2 |  | Acti | E42A | Floor -2 | 1
C3-B2 |  | Acti | E53 | Floor -2 | 1
C4-B2 |  | Acti | TCM1511 | Floor -2 | 1
C1-B3 |  | Acti | E42B | Floor -3 | 1
C2-B3 |  | Acti | TCM1511 | Floor -3 | 1
C3-B3 |  | Acti | TCM1511 | Floor -3 | 1
C4-B3 |  | Acti | ACM1231 | Floor -3 | 1
C1-B4 |  | Acti | E42B | Floor -4 | 1
C2-B4 |  | Acti | TCM1511 | Floor -4 | 1
C3-B4 |  | Acti | TCM1231 | Floor -4 | 1
C4-B4 |  | Acti | ACM1231 | Floor -4 | 1
C1-B5 |  | Acti | E42A | Floor -5 | 1
C2-B5 |  | Acti | E42A | Floor -5 | 1
C3-B5 |  | Acti | E42A | Floor -5 | 1
C4-B5 |  | Acti | E42A | Floor -5 | 1
C1-F10 |  | Acti | ACM1511 | Floor 10 | 1
C1-F9 |  | Acti | ACM1231 | Floor 9 | 1
C1-F8 |  | Acti | TCM1231 | Floor 8 | 1
C1-F7 |  | Acti | ACM1231 | Floor 7 | 1
C1-F6 |  | Acti | E42B | Floor 6 | 1
C1-F5 |  | Acti | E42B | Floor 5 | 1
C1-F4 |  | Acti | E42B | Floor 4 | 1
C1-F3 |  | Acti | E42B | Floor 3 | 1
C1-F1 |  | Acti | KCM5211 | Floor 1 | 1
C2-F1 |  | Acti | KCM5211 | Floor 1 | 1
C3-F1 |  | Acti | KCM5211 | Floor 1 | 1
C4-F1 |  | Acti | KCM5211 | Floor 1 | 1
C5-F1 |  | Acti | E42B | Floor 1 | 1
C1-F2 |  | Acti | KCM5211 | Floor 2 | 1
C2-F2 |  | Acti | KCM5211 | Floor 2 | 1
C3-F2 |  | Acti | KCM5211 | Floor 2 | 1
C4-F2 |  | Acti | KCM5211 | Floor 2 | 1
C5-F2 |  | Acti | KCM5211 | Floor 2 | 1
C6-F2 |  | Acti | E42A | Floor 2 | 1
C1-GF |  | Acti | E42A | Perimeters | 1
C2-GF |  | Acti | E42A | Perimeters | 1
C3-GF |  | Acti | E42A | Perimeters | 1
C4-GF |  | Acti | E42A | Perimeters | 1
C5-GF |  | Acti | E42A | Perimeters | 1
F1-CC |  | Acti | KCM5211 | Control Room | 1
Pine Old |  | Acti | TCM-1511 | Data Center | 3
Pine Old |  | Acti | TCM-1511 | UPS Room | 2
Pine Old |  | Acti | TCM-1231 | Shelter | 2
Parallel |  | Acti | TCM-1231 | GF-Reception B | 1
Parallel |  | Acti | E-46 | GF-NOC Outside | 1
SERVERS
SERVER IBM X3550 |  |  |  |  | 2
|  | DESCRIPTION | Price USD$ for 1 year contract | Price USD$ for 3 years contract | Price USD$ for 5 years contract
Remedial Pine & Parallel Acti Cameras CCTV system maintenance: Maintenance with unlimited remedial visits without spare parts coverage during working hours for the Cameras
Remedial Pine & Parallel Servers CCTV system maintenance including the coverage of 1 server : Maintenance with unlimited remedial visits without spare parts coverage during working hours for the Servers
Remedial Maintenance at Pine & Parallel Acti Cameras and CCTV Servers from 8.00 AMØ5.00PM
Total Excluding VAT