# RFQ# 0495-24

# Maintenance Contract for MIC1 Security Systems

Article 1: Scope of Work

Suppliers will maintain the equipment’s, covered hereunder in good operating condition, furnish remedial maintenance for equipment included in this agreement during the principal period of maintenance; and be responsive to the maintenance needs for the customer subject to the condition herein.

Suppliers shall conduct site visits to check the systems before submitting their offers.

Article 2: Type of product

Security Systems: Below is a summary of the Security systems in subject.

All details are mentioned in Annex1 and Annex 2 attached to this RFQ.

The Suppliers may quote for All systems as bundle offer or for each of Part 1 and Part 2 separately as described below:

Part 1 (Detailed in Annex 1):

All the systems in Annex 1 are running and integrated with Genetec Software. The bidder shall maintain all the systems mentioned in Annex 1, taking into consideration the following:

- To ensure the highest standards of competence and professionalism related to Security Center, all GENETEC VENDORS must meet the following comprehensive criteria and present related doc:

- Experience: Vendors must demonstrate a proven track record of at least 7 years in successfully deploying and maintaining Genetec Security Center solutions.

- Engineers Certification: The vendor's team engaged in the implementation, upkeep, and support of Genetec Security Center must hold valid and up-to-date certifications issued by Genetec.

- Letter of Affiliation: Vendors are required to prove MIC1 an official letter from Genetec, affirming the vendor's status as an authorized partner.

Non-compliance with any of the above criteria will result in the disqualification of the bidder for all the systems in Annex 1, since they are all integrated with Genetec.

| System Brand | Description |
| --- | --- |
| Sagem MA Sigma Lite | Software of the Time attendance machines |
| Vertex V2000 | Controller of the Access Control System |
| Morpho J-Dual Morpho MA500+ Morpho Sigma lite + | Readers Access Control |
| TM | Time Management Software to manage the attendance of the employees |
| Genetec | Software to manage the security systems |
| Acti | Cameras running on Genetec software |

Part 2 (Detailed in Annex 2):

The supplier may quote separately for any of the systems mentioned in Annex 2:

| System Brand | Description |
| --- | --- |
| Hochiki | Fire system |
| Satel | Intrusion System |
| CP Pedestal Evolve | Anti-Theft system |
| Acti | Cameras running on NVR3 workstation software |

Article 3:  Suppliers Obligations

- Suppliers submitting for any RFQ launched by Alfa should declare any relative relations with any Alfa employee up to the 4th degree under Clause 30 of the PPL, for MIC1 to be able to assess the existing of any potential conflict of interests which may lead to deprive the bidder from participating to the tender under the risk of disqualification.

- Suppliers shall abide by the legal requirements of the Republic of Lebanon concerning the Boycott of Israel in accordance with the law dated June 23rd, 1955.

- Suppliers shall provide remedial maintenance during the contracted period of maintenance when notified that the equipment included in this agreement is inoperative.

- Suppliers shall provide all labor, parts, equipment modifications that necessary for maintaining the equipment on an exchange basis and will be standard parts or parts of equal quality for all the systems mentioned in Annex 1 or Annex 2. MIC1 will be responsible to pay any part provided by supplier. Nevertheless, if the spare part is available at MIC1’s stock, then supplier should replace it for free. All parts removed for replacement become the property of MIC1.

| Specialist Call-back Time |  | < 1 hour from Monday to Friday from 09:00 till 17:00 |  |  |
| --- | --- | --- | --- | --- |
| Service availability period is 8 hours/5 days and from 8am until 2pm on Saturdays (any intervention should be coordinated with MIC1/ SCP Unit to have access to needed systems) |  |  |  |  |
| REPAIR SERVICE |  |  |  |  |
| Turn Around Time (upon receipt of defective item) |  | 2 working days |  |  |
| TECHNICAL SUPPORT (levels 2 and 3) |  |  |  |
| Service availability period is 8 hours/5 days | Problem Classes |  |  |
|  | Critical | Major | Minor |
| Intervention time |  | 1 working day | 2 working days | 2 working days |
| Neutralisation Time |  | 1 working day | 2 working days | 2 working days |

## Article 4: Commercial / Financial Conditions

Suppliers shall submit their best and final price. No negotiations shall be made after offers submissions.

- Suppliers to quote for 3 options:1-year contract; 3-year contract and 5-year contract using enclosed Annexes 1 & 2 for each of below 2 options:

- Option 1: Bundle offer for Part 1 (Annex 1) & Part 2 (Annex 2)

- Option 2: Individual Offers Part 1 (Annex 1) & Part 2 (Annex 2) separately

- MIC1 reserves the right to negotiate with the selected Bidder all or part of the Proposal as MIC1 deems convenient. In other words, MIC1 has the full flexibility to buy the full scope of the Proposal for all Systems or certain parts of it without any impact on unit rates and discount granted. It might also select different Bidders to supply different parts of the RFQ’s scope of work depending on its strategy and needs.

- Suppliers to submit their best prices in USD, however payment will be made in LBP at market rate on payment date.

- Fees submitted by RFQ winner will be announced on PPA website following tender award as per Public Procurement Law requirements.

## Article 5: Delivery Penalty

In case of delay in the delivery, a penalty of 2% Fresh USD per day of delay shall be deducted from the total amount for a maximum of 20%.

Article 6: Health, Safety and Environmental Specifications

Suppliers is bound to comply with MIC1’s requirements regarding the “Environment and Occupational Health and Safety.

Article 7: Offer Validity

Offers must be valid for at least 4 months as of submission date or any extension of the Closing Date decided by MIC1.

Article 8: Submission date

Offers must be submitted in sealed envelopes on Monday June 3rd at 12 pm

Sealed Envelope should contain:

- Offers as per enclosed Annexes as detailed in Article 4

- Document requested in Article 2

Envelopes received after set date and time will be considered disqualified and returned to suppliers.

No prices should be submitted by email.