## Annex 1
Annex1
Project Name | RFQ# 0524-24 Rehabilitation of Kitchens at Pine Building Floors. Supply and Installation
Supplier's Name 1
Article | Requirements | Unit | Qty | Description of Item | Qty | Unit Price | Total | Remarks
Rehabilitation of Kitchen Counter Tops at Pine floors
1 | Granite top, Plain Dark Color, Thickness 2 cm, Size 2 Sqm. | Pcs | 8 |  |  | 0 | 0
Including Granite sink, L60 x W40 x H25cm
Back splash 8 x 450 cm
| Brand of the proposed item must be mentioned in the submitted quote. | - | -
| Country of Origin of the proposed item must be mentioned in the submitted quote. | - | -
| A sample of the proposed item must be provided before quote submission. | - | -
2 | Water faucet 1 tap Vitesse type for cold water, drain waste, drain pipe…etc. | Pcs | 8 |  |  | 0 | 0
| Brand of the proposed item must be mentioned in the submitted quote. | - | -
| Country of Origin of the proposed item must be mentioned in the submitted quote. | - | -
| A sample of the proposed item must be provided before quote submission. | - | -
Rehabilitation of Kitchen Cabinets at Pine floors
3 | Replacement of kitchens cabinet doors
| Material: Waterproof MDF type. | - | -
| Color Honey orange. To be checked on-site and approved by an ALFA representative before proposal submission. | - | -
| Dimension of Door under the Sink: 84 x 40 cm | Pcs | 14 |  |  | 0 | 0
| Dimension of Door of Top Cabinets: 55 x 41 cm | Pcs | 6 |  |  | 0 | 0
| Brand of the proposed item must be mentioned in the submitted quote. | - | -
| Country of Origin of the proposed item must be mentioned in the submitted quote. | - | -
| A sample of the proposed item must be provided before quote submission. | - | -
Cabinet Accessories
5 | Chrome plated handles for cabinet doors | Pcs | 48 |  |  | 0 | 0
| Brand of the proposed item must be mentioned in the submitted quote. | - | -
| Country of Origin of the proposed item must be mentioned in the submitted quote. | - | -
| A sample of the proposed item must be provided before quote submission. | - | -
6 | Hinges for cabinet doors | Pcs | 48 |  |  | 0 | 0
| Brand of the proposed item must be mentioned in the submitted quote. | - | -
| Country of Origin of the proposed item must be mentioned in the submitted quote. | - | -
| A sample of the proposed item must be provided before quote submission. | - | -
[5 empty] | GRAND Total Excl.VAT |  | 0
Additional Requirements for quoting
7 | A site visit is mandatory before quoting; otherwise, the supplier will be considered disqualified. | - | -
8 | Provide data sheets of proposed items. | - | -
9 | Supplier(s) must notify MIC1 immediately if any material or item needs to be changed or fails to be delivered for any unexpected reason. In such cases, Supplier (s) will bear the responsibility for replacing it with a new product of the same specifications approved by MIC1, upon presentation of the respective data sheet and submission of the sample. Also, any additional cost resulting from the price difference for the replaced product will be the responsibility of the supplier. | - | -
10 | Installation shall take place outside of MIC1 business hours, which are after 5 pm during weekdays or on weekends. | - | -
11 | Provide the expected delivery date of items | - | -
12 | Provide the installation timeline. | - | -
13 | Specify Warranty Period on installed materials after installation | - | -
14 | Specify warranty inclusions details, such as, whether it covers installed materials, spare parts/accessories… | - | -
15 | Maintenance Service and labor fees for any necessary regulation or maintenance after installation within the warranty period. | - | -
16 | Supplier (s) are responsible for replacing installed defective or unsatisfactory items that do not meet requirements and expectations. | - | -
17 | Previous Experience with similar projects with supplier | - | -
18 | Previous experience with proposed materials and brands installed | - | -