## Alfa Store Tyre - Re-dimension
RFQ#0583-24: Alfa Store Tyre - Re-Dimensioning - General BOQ
ATTENTION:
CONTRACTOR :
Date : June 20, 2024
DIVISION I: Civil Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Total Price
1 | Installation of Vertical I-Beams in the double volume | To be remeasured on site | 2 | Item | 0 | 0
2 | Installation of Horizantal I-Beams in the double volume | To be remeasured on site | 2 | Item | 0 | 0
3 | Installation of Vertical I-Beams in the GF display area | To be remeasured on site | 3 | Item | 0 | 0
4 | Hollow Block Walls 15cm Thick | To be remeasured on site | 230 | m2 | 0 | 0
5 | Plastering for all Hollow Block Walls | To be remeasured on site | 460 | m2 | 0 | 0
6 | Paint for new walls in the store Grey color | Similar to existing | 500 | m2 | 0 | 0
7 | Perform needed works in the Gypsum Board ceiling after the walls building including putty and white paint touch-ups for any damages | To be remeasured on site | 1 | LS | 0 | 0
8 | Removal of Woman Toilet including all accessories | Accessories to be transported to SIWAR WHS | 1 | LS | 0 | 0
9 | Tiles Fixing in Woman Toilet after accessories Removal | To be remeasured on site | 1 | LS | 0 | 0
10 | Gypsum Board Dry wall 12.5mm thick moisture resitent | To be remeasured on site | 5 | m2 | 0 | 0
11 | Steel Stairs in the Owner's section leading to Mezzanine | All related works to be done (i.e. removal of glass in mezzanine area to connect the stairs, etc.) | 1 | Item | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION II: Electrical and Mechanical Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Total Price
1 | Disconnecting all Electrical works from Sections 5 & 11 | To be remeasured on site | 1 | LS | 0 | 0
2 | Lighting Re-distribution wherever needed when the store is seperated | To be remeasured on site | 1 | LS | 0 | 0
3 | Network Cables Re-distribution wherever needed after the store is seperated | To be remeasured on site | 1 | LS | 0 | 0
4 | Installation of Distribution Panel in the owner's part and connecting the owner's rolling shutters to this Panel | To be remeasured on site | 1 | LS | 0 | 0
5 | Provide Power for Anti-theft Device installed on the new Door | To be remeasured on site | 1 | Item | 0 | 0
6 | Provide Owner with main water supply | To be remeasured on site | 1 | Item | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION III: HVAC Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Unit Price
1 | Dismantling of Ceiling mounted AC units | To be transported to SIWAR WHS | 7 | Item | 0 | 0
2 | Re-routing and closure of Unutilized Ducts | To be confirmed on site | 1 | LS | 0 | 0
3 | Connecting the remaining AC units to one Outdoor Unit | To be confirmed on site | 5 | Item | 0 | 0
4 | Perform all necessary clean up works (putty, paint, etc.) after Indoor units removal | To be confirmed on site | 1 | LS | 0 | 0
3 | Dismantling of 1 Outdoor Unit | To be transported to SIWAR WHS | 1 | Item | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION IV: Glass Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Unit Price
1 | Removal of Glass Panel from 1 Façade | To be Dismantled and Transported to SIWAR WHS | 1 | Item | 0 | 0
2 | Installation of double leaf door including stainless steel handle (16mm tempered glass laminated triplex) brushed stainless steel handles | Similar to existing | 1 | Item | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION V: Woodworks
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Unit Price
1 | Fire Rated Door same color as existing (Grey Color) With all necessary accesssories - 1 hour fire resistant | Same as existing | 1 | Item | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION IV: Security Systems Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Unit Price
1 | Finger Print (access Control) on the new Archive Room door including push to open, break glass and magnet lock | Similar to existing | 1 | Item | 0 | 0
2 | Removal of Cameras (indoor and Outdoor) in the evacuated section along with Intrusion System and Smoke Detectors | To touch up paint all holes after removal of items | 1 | LS | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION II: Transportation Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Total Price
1 | Removal of Display Tables | To be transported to SIWAR WHS | 2 | Item | 0 | 0
2 | Removal of CSR Tables | To be transported to SIWAR WHS | 2 | Item | 0 | 0
3 | Removal of Cubicles | To be transported to SIWAR WHS | 1 | Item | 0 | 0
4 | Removal of LED Screens | To be transported to SIWAR WHS | 2 | Item | 0 | 0
5 | Removal of Anti-theft devices | To be transported to SIWAR WHS | 2 | Item | 0 | 0
6 | Removal of all IT Equipment in the owner's section (PC, Printers, Phones, etc.) | To be transported to SIWAR WHS | 1 | LS | 0 | 0
7 | Removal of Store Leader Furniture | To be transported to GF Tyre | 1 | LS | 0 | 0
8 | Removal of meeting Room Furniture | To be transported to SIWAR WHS | 1 | LS | 0 | 0
9 | Removal of Lounge Area Furniture | To be transported to SIWAR WHS | 1 | LS | 0 | 0
10 | Removal of Alfa Store Letters and display lightbox on façade | To be transported to SIWAR WHS | 2 | Item | 0 | 0
11 | Removal of all Security Devices from owner's section (Intrusion, Fire Alarm, break glass, etc.) | To be transported to SIWAR WHS | 1 | LS | 0 | 0
12 | Transportation of miscelanous items | To be decided | 1 | LS | 0 | 0
|  |  | TOTAL |  |  | 0
Total | [5 empty] | 0
NB: | No VOs will be accepted once the PO is issued Site Visit is Mnadatory before quoting the project
Delivery |  | Delivery in 1 month from PO Issuance