## Floors Evacuation
Annex 1
PROJECT: RFQ# 0672-24 - Floors Evacuation- Pine Center
General BOQ
ATTENTION: MIC1
CONTRACTOR :
Date :
DIVISION I: Pine 10th Floor Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Total Price
1 | Relocation of all Items in the 10th floor to the 6th floor | To be remeasured on site | 1 | LS | 0 | 0
2 | Removal of black sign on main entrance and store in Siwar WHS | To be remeasured on site | 1 | LS | 0 | 0
3 | Touch up paints for the walls inside the floor and for the lobby near the elevators | To be remeasured on site | 1 | LS | 0 | 0
4 | Removal of Security Systems - Access Control (Magnet, break glass, etc.), Fire system (smoke detector, break glass, etc.), Cameras and store them in B4 | To be remeasured on site | 1 | LS | 0 | 0
5 | Disconnecting Power and Network of the whole floor from alfa's remaining floors | To be remeasured on site | 1 | LS | 0 | 0
All the dismantled Items should be Bubble Wraped in many layers, and not normal wrapping, in order to Avoid scratching them |  |  |  |  | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION II: Pine 9th Floor Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Total Price
1 | Sink + Food Grinder Relocation from 9th floor and installation in 7th floor | To be remeasured on site | 1 | LS | 0 | 0
2 | Relocation of tables and chairs from 9th floor to 7th floor | To be remeasured on site | 1 | LS | 0 | 0
3 | Relocation of Kitchen equipment from 9th floor to Siwar WHS | To be remeasured on site | 1 | LS | 0 | 0
4 | Relocation of remaining tables and chairs from 9th floor to Siwar WHS | To be remeasured on site | 1 | LS | 0 | 0
5 | Removal of black sign on main entrance and store in Siwar WHS | To be remeasured on site | 1 | LS | 0 | 0
6 | Touch up paints for the walls inside the floor and for the lobby near the elevators | To be remeasured on site | 1 | LS | 0 | 0
7 | Removal of Security Systems - Access Control (Magnet, break glass, etc.), Fire system (smoke detector, break glass, etc.), Cameras and store them in B4 | To be remeasured on site | 1 | LS | 0 | 0
8 | Disconnecting Power and Network of the whole floor from alfa's remaining floors | To be remeasured on site | 1 | LS | 0 | 0
All the dismantled Items should be Bubble Wraped in many layers, and not normal wrapping, in order to Avoid scratching them |  |  |  |  | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION III: Pine 7th Floor Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Total Price
1 | Removal of Partitions and Store them in Siwar WHS | To be remeasured on site | 2 | LS | 0 | 0
2 | Removal of desks, Chairs, closets, printers, etc. and store them in Siwar WHS | To be remeasured on site | 1 | LS | 0 | 0
3 | Removal of Carpets and store them in Siwar WHS | To be remeasured on site | 1 | LS | 0 | 0
4 | Tiling Grey Color 60cm2x60cm2 | To be remeasured on site | 140 | m2 | 0 | 0
5 | Accoustic Door installation for canteen Entrance | To be remeasured on site | 1 | LS | 0 | 0
6 | Removal of Partition between new Canteen and Workshop Room and transportation to Siwar WHS | To be remeasured on site | 1 | LS | 0 | 0
7 | Installation of Gypsum dry wall with acoustic (including putty and paint) | To be remeasured on site | 1 | LS | 0 | 0
8 | Relocation of Employees from 7th floor to 3rd floor in Pine (as per provided drawing) | To be remeasured on site | 1 | LS | 0 | 0
All the dismantled Items should be Bubble Wraped in many layers, and not normal wrapping, in order to Avoid scratching them |  |  |  |  | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION IV: Pine 6th Floor Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Unit Price
1 | Removal of Partitions and store them in Siwar WHS | To be remeasured on site | 1 | LS | 0 | 0
2 | Removal of all furniture (Desks, Chairs, Printers, etc.) and store them in Siwar WHS | To be remeasured on site | 1 | LS | 0 | 0
3 | Relocation of employees from Pine 6th floor to Parallel Towers 10th floor and 11th floor as per provided drawing | To be remeasured on site | 1 | LS | 0 | 0
4 | Touch up paints for the walls inside the floor and for the lobby near the elevators | To be remeasured on site | 1 | LS | 0 | 0
All the dismantled Items should be Bubble Wraped in many layers, and not normal wrapping, in order to Avoid scratching them |  |  |  |  | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION V: Parallel Towers 10th Floor Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Unit Price
1 | Dismantling and removal of 6 Desks, chairs (To be transported to Siwar) | To be remeasured on site | 1 | LS | 0 | 0
2 | Installation of 1 single desk within the same floor (Desk already found in 10th floor) | To be remeasured on site | 1 | LS | 0 | 0
3 | Fabrication and Installation of 4 glass fixed panels 12mm tempered clear thick glass, Including all the necessary fittings (Stainless steel rail, Stainless steel door stopper) | To be remeasured on site | 1 | LS | 0 | 0
4 | Fabrication and Installation of 12mm tempered clear thick glass door, Including all the necessary fittings (Brushed SS handles, locks, Pivot, door closer, etc.) | To be remeasured on site | 1 | LS | 0 | 0
5 | Production of 1 Senior Manager Desk (Same as the one installed in all parallel Towers Senior Manager offices) | To be remeasured on site | 1 | LS | 0 | 0
6 | Openings inside the Gypsum Ceiling where needed, In order to fix the glass partitions | To be remeasured on site | 1 | LS | 0 | 0
7 | Reparation of the gypsum ceiling once the Glass partitions are installed (White putty and Paint where needed) | To be remeasured on site | 1 | LS | 0 | 0
8 | Installation of 1 door Closer inside the floor, under each glass door (removal of tiles where needed along with a small groove inside the concrete floor for proper fitting) | To be remeasured on site | 1 | LS | 0 | 0
9 | Trasnportation of 1 HOD chair and 2 visitor chairs from Pine to Parallel Towers 10th floor | To be remeasured on site | 1 | LS | 0 | 0
10 | Production of 3 Senior Manager Cabinets (Same as the one installed in all parallel Towers offices) | To be remeasured on site | 1 | LS | 0 | 0
11 | Installation of 3M Film on all the glass partitions and doors installed, same as the one installed on all the existing offices in Parallel Towers | To be remeasured on site | 1 | LS | 0 | 0
12 | High cabinet for offices (similar to existing) | Dimensions to be taken on site | 8 | Item | 0 | 0
All the dismantled Items should be Bubble Wraped in many layers, and not normal wrapping, in order to Avoid scratching them |  |  |  |  | 0 | 0
|  |  | TOTAL |  |  | 0
DIVISION VI: Parallel Towers 11th Floor Works
Item | Description | Admin Comments | Quantity | Unit | Unit Price | Unit Price
1 | Dismantling and removal of 6 Desks, chairs (To be transported to Siwar) | To be remeasured on site | 1 | LS | 0 | 0
2 | Fabrication and Installation of 2 glass fixed panels 12mm tempered clear thick glass, Including all the necessary fittings (Stainless steel rail, Stainless steel door stopper) | To be remeasured on site | 1 | LS | 0 | 0
3 | Fabrication and Installation of 12mm tempered clear thick glass door, Including all the necessary fittings (Brushed SS handles, locks, Pivot, door closer, etc.) | To be remeasured on site | 1 | LS | 0 | 0
4 | Openings inside the Gypsum Ceiling where needed, In order to for the glass partitions to be fixed | To be remeasured on site | 1 | LS | 0 | 0
5 | Reparation of the gypsum ceiling once the Glass partitions are installed (White putty and Paint where needed) | To be remeasured on site | 1 | LS | 0 | 0
6 | Installation of 1 door Closer inside the floor, under each glass door (removal of tiles where needed along with a small groove inside the concrete floor for proper fitting) | To be remeasured on site | 1 | LS | 0 | 0
7 | Production of 1 Senior Manager Desk (Same as the one installed in all parallel Towers Senior Manager offices) | To be remeasured on site | 1 | LS | 0 | 0
8 | Trasnportation of 1 HOD chair and 2 visitor chairs from Pine to Parallel Towers 10th floor | To be remeasured on site | 1 | LS | 0 | 0
9 | Production of 3 Senior Manager Cabinets (Same as the one installed in all parallel Towers offices) | To be remeasured on site | 1 | LS | 0 | 0
10 | Installation of 3M Film on all the glass partitions and doors installed, same as the one installed on all the existing offices in Parallel Towers | To be remeasured on site | 1 | LS | 0 | 0
All the dismantled Items should be Bubble Wraped in many layers, and not normal wrapping, in order to Avoid scratching them |  |  |  |  | 0 | 0
|  |  | TOTAL |  |  | 0
Total | [5 empty] | 0
NB: | No VOs will be accepted once the PO is issued Site Visit is Mnadatory before quoting the project
NB: | Project Delivery - 6 weeks from PO issuance