Maintenance shall cover the below:

- One preventive maintenance visit each six month.

  - Preventive maintenance of fire devices

  - System functionality and integrity visual test

  - Cleaning of detectors

  - Testing of fire system devices

  - Actuation testing of suppression devices related to fire system.

- No limit for the number of On call corrective maintenance

- Spare parts for failed components to be charged separately

Price of FM 200 agent per pound