## grade of compliance range
| RFT Scoring Sheet | Reference Number | SF-CF-87
|  | Owner | PRO/PMO
|  | Revision Code | 2.0
|  | Implementation Date | 2021-09-01
Grade of Compliance range from 0 to 15 with a step of 1 unit:
15 : Compliant with additional value, not initially included in the requirements
10 : Fully compliant
4 - 5 - 6: Partially compliant
0 : Not compliant
K : Disqualification

## weight
| RFT Scoring Sheet | [11 empty] | Reference Number |  | SF-CF-87
[13 empty] | Owner |  | PRO/PMO
[13 empty] | Revision Code |  | 2.0
[13 empty] | Implementation Date |  | 2021-09-01
Project Name | Generators Maintenance RFT
Weight Distribution | 40% Technical 60% Commercial
Article | Requirements | Weight | Responsible Entity | Supplier 1 | Supplier 2 | Supplier 3 | Supplier 4 | Supplier 5 | Supplier 6 | Remarks | Supplier 1 Final | Supplier 2 Final | Supplier 3 Final | Supplier 4 Final | Supplier 5 Final | Supplier 6 Final
Article 1 | Technical Specifications | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.1 | Bidder undertakes to perform through its technicians the maintenance service of MIC1’s Generators as listed in Appendix A. | 20 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.2 | Regular visits shall be carried out for testing, inspecting and maintaining the Generators as described in the Operation & Maintenance Manual. If any alarm is detected, it should be solved on the spot when feasible, otherwise it should be communicated with service supervisors and followed up until it has been solved. A technical report to be provided after each visit | 30 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.3 | Each unit is covered by monthly inspection visits. All units shall be serviced periodically as per agreements maintenance interval hours. For maintenance scheduling the customer should inform the service department 24 hours in advance. The maintenance visits will be done during working hours from 8:00 am to 3:00 pm on weekdays (Mondays to Fridays). All monthly visits shall occur during the working hours of the First Party. Spare parts costs used during maintenance will be settled after 45 days from invoice reception. Maintenance Check List: As per Appendix B. Emergency call shall be answered within 3 hours 24/7. A technical report to be provided after each visit. | 30 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.4 | The routine maintenance cost (oil and filters change) should be included within the contract maintenance amount. | 20 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.5 | Emergency repairs which are considered as very urgent and might lead or already lead to total blackout shall be handled on a 24/24 hours basis. Call should be answered within 1 hour, noting that this contract doesn’t cover repair costs, which will be invoiced separately (Parts, Labor, Misc.). | 40 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.6 | The following personnel from Bidder Side shall provide the requested support to MIC1 as per the present article: | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.7 | The maintenance does not cover the direct or indirect damages of any other equipment powered by the Generators covered in this agreement. | 10 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.8 | Only the Generators listed in Appendix A are part of this agreement. Any new unit will be enrolled to this agreement based on the agreed rates | 20 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
1.9 | Oil and filters yearly quantities to be quoted separately : As per Appendix C | 20 | [8 empty] | 0 | 0 | 0 | 0 | 0 | 0
Article 2 | Health, Safety and environmental Specifications
2.1 | Bidder shall state the safety measures being followed by personnel performing the work on Alfa’s sites (ISO45001 certification, specific best practices, etc…) | 20
| END OF SECTION | [9 empty] | 0 | 0 | 0 | 0 | 0 | 0
| All filters set in Appendix C should be as per MIC1 requirement and should be genuine / OEM otherwise the bidder will be disqualified | Killer
| The oil should be as per MIC1 requirements and as per the manufacturer's recommendation (15W40 API CI-4 / CAT ECF-1-a) | Killer
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0
[11 empty] | SUPPLIER 1 SCORE | SUPPLIER 2 SCORE | SUPPLIER 3 SCORE | SUPPLIER 4 SCORE | SUPPLIER 5 SCORE | SUPPLIER 6 SCORE
* For Requirements defined as ''Killer'', a ‘’Fully Compliant’’ score should be the sole acceptable outcome. Failing to obtain a ‘’Fully Compliant’’ score on the requirements defined as Killers, will mandate immediate disqualification for bidders.
Note on D9: Entity (Department/ Unit) that identified the requirement and that will be responsible for its evaluation.
Note on E9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on F9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on G9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on H9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on I9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on J9: Grade of Compliance: K: disqualification 0: Not compliant +5: Partially compliant +10: Completely compliant +15: Compliant with additional value, not initially included in the requirements
Note on E11: Evaluators Comments
Note on F11: Evaluators Comments
Note on G11: Evaluators Comments
Note on H11: Evaluators Comments
Note on I11: Evaluators Comments
Note on J11: Evaluators Comments
Note on E12: Evaluators Comments
Note on F12: Evaluators Comments
Note on G12: Evaluators Comments
Note on H12: Evaluators Comments
Note on I12: Evaluators Comments
Note on J12: Evaluators Comments
Note on E13: Evaluators Comments
Note on F13: Evaluators Comments
Note on G13: Evaluators Comments
Note on H13: Evaluators Comments
Note on I13: Evaluators Comments
Note on J13: Evaluators Comments
Note on E14: Evaluators Comments
Note on F14: Evaluators Comments
Note on G14: Evaluators Comments
Note on H14: Evaluators Comments
Note on I14: Evaluators Comments
Note on J14: Evaluators Comments
Note on E15: Evaluators Comments
Note on F15: Evaluators Comments
Note on G15: Evaluators Comments
Note on H15: Evaluators Comments
Note on I15: Evaluators Comments
Note on J15: Evaluators Comments
Note on E16: Evaluators Comments
Note on F16: Evaluators Comments
Note on G16: Evaluators Comments
Note on H16: Evaluators Comments
Note on I16: Evaluators Comments
Note on J16: Evaluators Comments
Note on E17: Evaluators Comments
Note on F17: Evaluators Comments
Note on G17: Evaluators Comments
Note on H17: Evaluators Comments
Note on I17: Evaluators Comments
Note on J17: Evaluators Comments
Note on E18: Evaluators Comments
Note on F18: Evaluators Comments
Note on G18: Evaluators Comments
Note on H18: Evaluators Comments
Note on I18: Evaluators Comments
Note on J18: Evaluators Comments
Note on E19: Evaluators Comments
Note on F19: Evaluators Comments
Note on G19: Evaluators Comments
Note on H19: Evaluators Comments
Note on I19: Evaluators Comments
Note on J19: Evaluators Comments
Note on E22: Evaluators Comments
Note on F22: Evaluators Comments
Note on G22: Evaluators Comments
Note on H22: Evaluators Comments
Note on I22: Evaluators Comments
Note on J22: Evaluators Comments