## تحليل الأسعار
السعر الإفرادي ($) | أرباح وهوالك | يد عاملة | ثمن المواد | الوحدة | نوع الأشغال | البند
[5 empty] | توريد المعدات والآلات التالية: (حسب المواصفات الفنية) | 1
|  |  |  | عدد | SEPARATING FUNNEL SQUIBB SHAPE 125 ML | ١ -۱
|  |  |  | عدد | SEPARATING FUNNEL SQUIBB SHAPE 250 ML | ٢ -۱
|  |  |  | عدد | SEPARATING FUNNEL SQUIBB SHAPE 500 ML | ٣ -۱
|  |  |  | عدد | BASIN CRYSTALLIZING GLASS WITH SPOUT 1000 ML HQ | ٤ -۱
|  |  |  | عدد | MEASURING CYLINDER WITH SPOUT 50 ML HQ | ٥ -۱
|  |  |  | عدد | MEASURING CYLINDER WITH SPOUT 100 ML HQ | ٦ -۱
|  |  |  | عدد | MEASURING CYLINDER WITH SPOUT 250 ML HQ | ٧ -۱
|  |  |  | عدد | MEASURING CYLINDER WITH SPOUT 500 ML HQ | ٨ -۱
|  |  |  | عدد | MEASURING CYLINDER WITH SPOUT 1000 ML HQ | ٩ -۱
|  |  |  | عدد | GLASS FUNNEL LONG STEM 60 MM | ١٠ -۱
|  |  |  | عدد | GLASS FUNNEL LONG STEM 90 MM | ١١ -۱
|  |  |  | عدد | GLASS FUNNEL SHORT STEM 120 MM | ١٢ -۱
|  |  |  | عدد | FLASK ERLENMEYER NARROW MOUTH 100 ML HQ | ١٣ -۱
|  |  |  | عدد | FLASK ERLENMEYER NARROW MOUTH 250 ML HQ | ١٤ -۱
|  |  |  | عدد | FLASK ERLENMEYER NARROW MOUTH 500 ML HQ | ١٥ -۱
|  |  |  | عدد | FLASK ERLENMEYER NARROW MOUTH 1000 ML HQ | ١٦ -۱
|  |  |  | عدد | VOLUMETRIC FLASK W/STOPPER 50 ML HQ | ١٧ -۱
|  |  |  | عدد | VOLUMETRIC FLASK W/STOPPER 500 ML HQ | ١٨ -۱
|  |  |  | عدد | VOLUMETRIC FLASK 100 ML | ١٩ -۱
|  |  |  | عدد | GRADUATED PIPETTE STRAIGHT FORM 1 ML HQ | ٢٠ -۱
|  |  |  | عدد | GRADUATED PIPETTE STRAIGHT FORM 2 ML HQ | ٢١ -۱
|  |  |  | عدد | GRADUATED PIPETTE STRAIGHT FORM 10 ML HQ | ٢٢ -۱
|  |  |  | عدد | PIPETTE FILLER BULB TYPE 25 ML | ٢٣ -۱
|  |  |  | عدد | WATCH GLASS 80 MM | ٢٤ -۱
|  |  |  | عدد | TEST TUBE BRUSH DIM: 18x18x2 CM | ٢٥ -۱
|  |  |  | عدد | BURETTE BRUSH DIM: 40x12.5x1 CM | ٢٦ -۱
|  |  |  | عدد | BEAKER LOW FORM 25 ML HQ | ٢٧ -۱
|  |  |  | عدد | BEAKER TALL FORM 50 ML HQ | ٢٨ -۱
|  |  |  | عدد | BEAKER TALL FORM 100 ML HQ | ٢٩ -۱
|  |  |  | عدد | BEAKER LOW FORM 250 ML HQ | ٣٠ -۱
|  |  |  | عدد | BEAKER TALL FORM 600 ML HQ | ٣١ -۱
|  |  |  | عدد | BEAKER LOW FORM WIH SPOUT 1L | ٣٢ -۱
|  |  |  | عدد | BURETTE PTFE KEY 50 ML | ٣٣ -۱
|  |  |  | عدد | SINGLE DISTILLATION UNIT WITH METAL HEATER 4 L/HR | ٣٤ -۱
|  |  |  | عدد | STORAGE BOTTLES WITH STOPCOCK PE | ٣٥ -۱
|  |  |  | عدد | SET OF 10 STIRRING BARS L: 250MM | ٣٦ -۱
|  |  |  | عدد | WASH BOTTLE POLYETHYLENE | ٣٧ -۱
|  |  |  | عدد | WOODEN FUNNEL STAND 2 HOLES | ٣٨ -۱
|  |  |  | عدد | PLASTIC TEST TUBE RACK FOR 8 TUBES | ٣٩ -۱
|  |  |  | عدد | TEST TUBES WITHOUT RIM BG 18X150 MM | ٤٠ -۱
|  |  |  | عدد | RETORT STAND WITH ROD DIM: 230X160 MM | ٤١ -۱
|  |  |  | عدد | SIMPLE BURETTE CLAMP HARD PLASTIC | ٤٢ -۱
|  |  |  | عدد | SET OF 10 SIMPLE PETRI DISHES POLYSTYRENE 90 MM | ٤٣ -۱
|  |  |  | عدد | BOX OF 100 FILTER PAPERS D: 90 MM | ٤٤ -۱
|  |  |  | عدد | BOX OF 100 FILTER PAPERS D: 110 MM | ٤٥ -۱
|  |  |  | عدد | Calibration and maintenance for ph meter 7110/1AA112. SORT/K on set with standard (DIN/NIST) buffer solution, Includes: bottle 250ml pH 4.006 bottle 250ml pH 6.865 bottle 250ml pH 9.18 bottle 250ml ,pepsin cleaning solution bottle 250ml , KCl solution 30mol/l | ٤٦ -۱
|  |  |  | عدد | Calibration and maintenance for Galvanic dissolved oxygen meter Includes ZBK325 Case with spare parts and maintenance supplies for oxygen sensors, cleaning solutions, abrasive foil, 3 exchange membranes heads and electrolyte meter | ٤٧ -۱
|  |  |  | عدد | E-SET Trace Calibration set for conductivity measurement, 6 bottles with 50ml calibration and control standard each, KCl 0.01 mol/l, traceable to PTB/NIST | ٤٨ -۱
|  |  |  | عدد | Calibration Kit for turbidimeter Turb 555IR : 0.02-10.00-100-1750 NTU, Cleaning tissues and indexing rings | ٤٩ -۱
|  |  |  | عدد | Calibration/ Photocheck testing equipment for AQA of Optics and linearity of UVLINE 9400 and spectrophotometer. Set of colour solutions in 16mm | ٥٠ -۱
|  |  |  | عدد | Reagents for Analysis in water, For Spectrophotometer UVILINE - 9400WTW/Germany | ٥١ -۱
|  |  |  | عدد | Nitrite NO2; 0.007-3.28mg/l , 335 tests ,with cell 10mm | أ
|  |  |  | عدد | Nitrate No3; 0.2-75.3mg/l, 50 tests,with cell 10mm | ب
|  |  |  | عدد | Ammonium NH4; 2-193mg/l,100 tests ,with cell 10mm | ج
|  |  |  | عدد | Ammonium NH4; 0.01-3.86mg/l, 250 tests,with cell 10mm | د
|  |  |  | عدد | Phosphate PO4: 0.5-92mg/l, 400 tests,with cell 10mm | ه
|  |  |  | عدد | Phosphate PO4: 0.005-15.3mg/l, 220 tests,with cell 10mm | و
|  |  |  | عدد | 100-QX,10mm cell Quartz Glass | ٥٢ -۱
|  |  |  | عدد | Cuvette 4.5ml PMMA , pack of 100 | ٥٣ -۱
|  |  |  | عدد | Displacement and Maintenance | ٥٤ -۱
|  |  |  | عدد | Spoon/Spatula with flat handle, 120mm | ٥٥ -۱
|  |  |  | عدد | Spoon/Spatula with flat handle 150mm | ٥٦ -۱
|  |  |  | عدد | Spoon/Spatula with flat handle 210mm | ٥٧ -۱
|  |  |  | عدد | Disposable Pasteur pipettes 1ml ; 500/pk | ٥٨ -۱
|  |  |  | عدد | Disposable Pasteur pipettes 3ml ; 500/pk | ٥٩ -۱
|  |  |  | عدد | Housing with filter unit | ٦٠ -۱
ملاحظة: السعر الافرادي الشهري = مجموع الكلفة + أرباح وهوالك إن تحليل الاسعار لا يتضمن الضريبة على القيمة المضافة.

## جدول الكميات
السعر الإجمالي | السعر الإفرادي $ | الكمية | الوحدة | نوع الأشغال | البند
|  |  |  | توريد المعدات والآلات التالية: (حسب المواصفات الفنية) | ۱
|  | 2 | عدد | SEPARATING FUNNEL SQUIBB SHAPE 125 ML | ١ -۱
|  | 2 | عدد | SEPARATING FUNNEL SQUIBB SHAPE 250 ML | ٢ -۱
|  | 2 | عدد | SEPARATING FUNNEL SQUIBB SHAPE 500 ML | ٣ -۱
|  | 3 | عدد | BASIN CRYSTALLIZING GLASS WITH SPOUT 1000 ML HQ | ٤ -۱
|  | 3 | عدد | MEASURING CYLINDER WITH SPOUT 50 ML HQ | ٥ -۱
|  | 3 | عدد | MEASURING CYLINDER WITH SPOUT 100 ML HQ | ٦ -۱
|  | 3 | عدد | MEASURING CYLINDER WITH SPOUT 250 ML HQ | ٧ -۱
|  | 2 | عدد | MEASURING CYLINDER WITH SPOUT 500 ML HQ | ٨ -۱
|  | 2 | عدد | MEASURING CYLINDER WITH SPOUT 1000 ML HQ | ٩ -۱
|  | 2 | عدد | GLASS FUNNEL LONG STEM 60 MM | ١٠ -۱
|  | 2 | عدد | GLASS FUNNEL LONG STEM 90 MM | ١١ -۱
|  | 3 | عدد | GLASS FUNNEL SHORT STEM 120 MM | ١٢ -۱
|  | 3 | عدد | FLASK ERLENMEYER NARROW MOUTH 100 ML HQ | ١٣ -۱
|  | 3 | عدد | FLASK ERLENMEYER NARROW MOUTH 250 ML HQ | ١٤ -۱
|  | 3 | عدد | FLASK ERLENMEYER NARROW MOUTH 500 ML HQ | ١٥ -۱
|  | 2 | عدد | FLASK ERLENMEYER NARROW MOUTH 1000 ML HQ | ١٦ -۱
|  | 3 | عدد | VOLUMETRIC FLASK W/STOPPER 50 ML HQ | ١٧ -۱
|  | 3 | عدد | VOLUMETRIC FLASK W/STOPPER 500 ML HQ | ١٨ -۱
|  | 3 | عدد | VOLUMETRIC FLASK 100 ML | ١٩ -۱
|  | 2 | عدد | GRADUATED PIPETTE STRAIGHT FORM 1 ML HQ | ٢٠ -۱
|  | 2 | عدد | GRADUATED PIPETTE STRAIGHT FORM 2 ML HQ | ٢١ -۱
|  | 3 | عدد | GRADUATED PIPETTE STRAIGHT FORM 10 ML HQ | ٢٢ -۱
|  | 2 | عدد | PIPETTE FILLER BULB TYPE 25 ML | ٢٣ -۱
|  | 10 | عدد | WATCH GLASS 80 MM | ٢٤ -۱
|  | 2 | عدد | TEST TUBE BRUSH DIM: 18x18x2 CM | ٢٥ -۱
|  | 2 | عدد | BURETTE BRUSH DIM: 40x12.5x1 CM | ٢٦ -۱
|  | 5 | عدد | BEAKER LOW FORM 25 ML HQ | ٢٧ -۱
|  | 5 | عدد | BEAKER TALL FORM 50 ML HQ | ٢٨ -۱
|  | 5 | عدد | BEAKER TALL FORM 100 ML HQ | ٢٩ -۱
|  | 5 | عدد | BEAKER LOW FORM 250 ML HQ | ٣٠ -۱
|  | 5 | عدد | BEAKER TALL FORM 600 ML HQ | ٣١ -۱
|  | 3 | عدد | BEAKER LOW FORM WIH SPOUT 1L | ٣٢ -۱
|  | 4 | عدد | BURETTE PTFE KEY 50 ML | ٣٣ -۱
|  | 1 | عدد | SINGLE DISTILLATION UNIT WITH METAL HEATER 4 L/HR | ٣٤ -۱
|  | 2 | عدد | STORAGE BOTTLES WITH STOPCOCK PE | ٣٥ -۱
|  | 3 | عدد | SET OF 10 STIRRING BARS L: 250MM | ٣٦ -۱
|  | 10 | عدد | WASH BOTTLE POLYETHYLENE | ٣٧ -۱
|  | 2 | عدد | WOODEN FUNNEL STAND 2 HOLES | ٣٨ -۱
|  | 2 | عدد | PLASTIC TEST TUBE RACK FOR 8 TUBES | ٣٩ -۱
|  | 15 | عدد | TEST TUBES WITHOUT RIM BG 18X150 MM | ٤٠ -۱
|  | 3 | عدد | RETORT STAND WITH ROD DIM: 230X160 MM | ٤١ -۱
|  | 2 | عدد | SIMPLE BURETTE CLAMP HARD PLASTIC | ٤٢ -۱
|  | 2 | عدد | SET OF 10 SIMPLE PETRI DISHES POLYSTYRENE 90 MM | ٤٣ -۱
|  | 2 | عدد | BOX OF 100 FILTER PAPERS D: 90 MM | ٤٤ -۱
|  | 2 | عدد | BOX OF 100 FILTER PAPERS D: 110 MM | ٤٥ -۱
|  | 2 | عدد | Calibration and maintenance for ph meter 7110/1AA112. SORT/K on set with standard (DIN/NIST) buffer solution, Includes: bottle 250ml pH 4.006 bottle 250ml pH 6.865 bottle 250ml pH 9.18 bottle 250ml ,pepsin cleaning solution bottle 250ml , KCl solution 30mol/l | ٤٦ -۱
|  | 2 | عدد | Calibration and maintenance for Galvanic dissolved oxygen meter Includes ZBK325 Case with spare parts and maintenance supplies for oxygen sensors, cleaning solutions, abrasive foil, 3 exchange membranes heads and electrolyte meter | ٤٧ -۱
|  | 2 | عدد | E-SET Trace Calibration set for conductivity measurement, 6 bottles with 50ml calibration and control standard each, KCl 0.01 mol/l, traceable to PTB/NIST | ٤٨ -۱
|  | 2 | عدد | Calibration Kit for turbidimeter Turb 555IR : 0.02-10.00-100-1750 NTU, Cleaning tissues and indexing rings | ٤٩ -۱
|  | 2 | عدد | Calibration/ Photocheck testing equipment for AQA of Optics and linearity of UVLINE 9400 and spectrophotometer. Set of colour solutions in 16mm | ٥٠ -۱
|  |  |  | Reagents for Analysis in water, For Spectrophotometer UVILINE - 9400WTW/Germany | ٥١ -۱
|  | 2 | عدد | Nitrite NO2; 0.007-3.28mg/l , 335 tests ,with cell 10mm | أ
|  | 2 | عدد | Nitrate No3; 0.2-75.3mg/l, 50 tests,with cell 10mm | ب
|  | 2 | عدد | Ammonium NH4; 2-193mg/l,100 tests ,with cell 10mm | ج
|  | 2 | عدد | Ammonium NH4; 0.01-3.86mg/l, 250 tests,with cell 10mm | د
|  | 2 | عدد | Phosphate PO4: 0.5-92mg/l, 400 tests,with cell 10mm | ه
|  | 2 | عدد | Phosphate PO4: 0.005-15.3mg/l, 220 tests,with cell 10mm | و
|  | 2 | عدد | 100-QX,10mm cell Quartz Glass | ٥٢ -۱
|  | 2 | عدد | Cuvette 4.5ml PMMA , pack of 100 | ٥٣ -۱
|  | 1 | عدد | Displacement and Maintenance | ٥٤ -۱
|  | 2 | عدد | Spoon/Spatula with flat handle, 120mm | ٥٥ -۱
|  | 2 | عدد | Spoon/Spatula with flat handle 150mm | ٥٦ -۱
|  | 2 | عدد | Spoon/Spatula with flat handle 210mm | ٥٧ -۱
|  | 2 | عدد | Disposable Pasteur pipettes 1ml / 500 pk | ٥٨ -۱
|  | 2 | عدد | Disposable Pasteur pipettes 3ml / 500 pk | ٥٩ -۱
|  | 1 | عدد | Housing with filter unit | ٦٠ -۱
الإجمالي