## Technical Compliance
SF/RPM/017
TCF-RPM
1.1
VXRAIL Support Contract renewal
| Requirements (Description) | Compliant | Partially Compliant | Non-Compliant | Reference (Specify document & page nb)
1 | VXRAIL Support Contract
2 | Technical Components
3 | All support services shall be performed by local certified engineers having certifications for providing support services on VXRAIL platforms that have had a proven experience on the items covered under this support agreement- Please provide support team certifications and years of experience in providing support services on systems similar to the ones included in the scope of this RFQ
4 | Partnership level: The Bidder should provide documents proving that he is certified to support the listed items in Appendix A and that he has acquired the highest expertise in implementation and support level .
5 | Reference List: the Bidder shall provide a reference list for similar support Services that have been performed by his team and are still being supported by the bidder
6 | Contractor shall provide and install during the support contract duration all firmware and OS versions and updates, patches and upgrades which occur as a result of continuous improvement or enhancements
7 | Preventive maintenance /healthcheck shall be done on Quarterly basis to check and test the operational state of the latest release of the product. A report signed by the bidder, showing in detail all tests and inspections carried out during the maintenance visit shall be forwarded to MIC1 within a week from the date of such visit.
8 | the items covered under this support, the services shall be provided for 24/7 where for priority one requests specified as critical response shall be immediate and BIDDER team shall be present on site within 2 hours with commitment to repair within 6 hours.
9 | BIDDER to submit copy of the back to back support agreement with DELL engineered systems that enables his team to escalate immediately any issues he fails to remedy during the specified support period. The back to back agreement shall be valid for the systems installed in Lebanese territory and more specifically mentioning MIC1 systems
10 | Bidder shall provide the support for 3 year (36 months) based on 24/7 with 2 hours response time.
11 | BIDDER shall pay a penalty of 2 % from the total amount of the support agreement (for one (1) contractual year) to MIC1 per occurrence every time the Equipment is not working properly due to a violation of his team to any point of the agreement and/or due to any reason related to BIDDER itself
12 | The New Releases Upgrade, Update and compatibility resolving issues shall be at no extra cost and shall be deemed part of the services provided under this Contract
13 | MIC1 runs regular security scans on the systems covered in Appendix A , bidder shall assist MIC1 team to remedy and implement needed fixes
14 | Bidder shall send the CVs of his technical team that are certified on Vmware.
15 | Support contract shall cover all items listed in Appendix A
16 | Compliance references
17 | Bidder shall specify reference (the document, the page number & the section) for each of the requirement items
18 | MIC1 shall have the right to remove any item from Appendix A at any time during one (1) contractual period after having informed the supplier by written notice one (1) month prior to the removal date. The maintenance charges shall be amended accordingly
19 | If during the course of problem resolution on supported systems it is determined that the problem lies within another vendor's product, Bidder shall assist MIC1 in forwarding the problem to that vendor

## AppendixA- 2023-2026
Serial Number | HW Identifier | Model Number | Model Description | QTY | Renewal Coverage Start Date | Renewal Coverage End Date
DE600184200020 | DE600184200020 | SYS7402U1N12D | VXRAIL-500 2U1N 12X3.5 DISK SLTS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | 1SS570HSKDMFN | VXRAIL-500 1SS570 HSK DIMM CPU BLK FAN | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | CAPHDD40TB72K35VX5 | VXRAIL-500 HDD SAS 4TB 7.2K RPM 3.5INCH | 6 | 2023-10-25 | 2026-10-24
| DE600184200020 | INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | INSTLCTRYEMEAR740 | VXRAIL-500 EMEA R740 | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | LRDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ LRDIMMS | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | MEMLRDIMM64GBH | VXRAIL-500 MEMORY 64GB LRDIMM H | 6 | 2023-10-25 | 2026-10-24
| DE600184200020 | NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | PR-NO-2ND-PROCVXR5 | VXRAIL-500 NO SECOND PROCESSOR | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | PR6140GD18C23 | VXRAIL-500 INTEL CPU 6140 18C 2.3 GHZ H | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | RISERR740S5701S2S | VXRAIL-500 RISER R740 S570 1B 2B | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | RRAILKIT2U1NH | VXRAIL-500 B4 RR 2-4 POST RACKS 2U1NH | 1 | 2023-10-25 | 2026-10-24
| DE600184200020 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 2 | 2023-10-25 | 2026-10-24
| DE600184200020 | TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 | 2023-10-25 | 2026-10-24
21461734 | DE600184200020 | 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 | 2023-10-25 | 2026-10-24
21462528 | DE600184200020 | 456-113-143 | HCIA NP VSOM E+ 1CPU W/ 5YR MAINT=IG | 1 | 2018-10-25 | 2026-10-24
DE600184200021 | DE600184200021 | SYS7402U1N12D | VXRAIL-500 2U1N 12X3.5 DISK SLTS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | 1SS570HSKDMFN | VXRAIL-500 1SS570 HSK DIMM CPU BLK FAN | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | CAPHDD40TB72K35VX5 | VXRAIL-500 HDD SAS 4TB 7.2K RPM 3.5INCH | 6 | 2023-10-25 | 2026-10-24
| DE600184200021 | INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | INSTLCTRYEMEAR740 | VXRAIL-500 EMEA R740 | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | LRDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ LRDIMMS | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | MEMLRDIMM64GBH | VXRAIL-500 MEMORY 64GB LRDIMM H | 6 | 2023-10-25 | 2026-10-24
| DE600184200021 | NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | PR-NO-2ND-PROCVXR5 | VXRAIL-500 NO SECOND PROCESSOR | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | PR6140GD18C23 | VXRAIL-500 INTEL CPU 6140 18C 2.3 GHZ H | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | RISERR740S5701S2S | VXRAIL-500 RISER R740 S570 1B 2B | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | RRAILKIT2U1NH | VXRAIL-500 B4 RR 2-4 POST RACKS 2U1NH | 1 | 2023-10-25 | 2026-10-24
| DE600184200021 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 2 | 2023-10-25 | 2026-10-24
| DE600184200021 | TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 | 2023-10-25 | 2026-10-24
21461735 | DE600184200021 | 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 | 2023-10-25 | 2026-10-24
21462525 | DE600184200021 | 456-113-143 | HCIA NP VSOM E+ 1CPU W/ 5YR MAINT=IG | 1 | 2018-10-25 | 2026-10-24
DE600184200022 | DE600184200022 | SYS7402U1N12D | VXRAIL-500 2U1N 12X3.5 DISK SLTS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | 1SS570HSKDMFN | VXRAIL-500 1SS570 HSK DIMM CPU BLK FAN | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | CAPHDD40TB72K35VX5 | VXRAIL-500 HDD SAS 4TB 7.2K RPM 3.5INCH | 6 | 2023-10-25 | 2026-10-24
| DE600184200022 | INSTLCTRYEMEAR740 | VXRAIL-500 EMEA R740 | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | LRDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ LRDIMMS | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | MEMLRDIMM64GBH | VXRAIL-500 MEMORY 64GB LRDIMM H | 6 | 2023-10-25 | 2026-10-24
| DE600184200022 | NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | PR-NO-2ND-PROCVXR5 | VXRAIL-500 NO SECOND PROCESSOR | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | PR6140GD18C23 | VXRAIL-500 INTEL CPU 6140 18C 2.3 GHZ H | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | RISERR740S5701S2S | VXRAIL-500 RISER R740 S570 1B 2B | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | RRAILKIT2U1NH | VXRAIL-500 B4 RR 2-4 POST RACKS 2U1NH | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 2 | 2023-10-25 | 2026-10-24
| DE600184200022 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 1 | 2023-10-25 | 2026-10-24
| DE600184200022 | TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 | 2023-10-25 | 2026-10-24
21461737 | DE600184200022 | 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 | 2023-10-25 | 2026-10-24
21462527 | DE600184200022 | 456-113-143 | HCIA NP VSOM E+ 1CPU W/ 5YR MAINT=IG | 1 | 2018-10-25 | 2026-10-24
DE600184200023 | DE600184200023 | SYS7402U1N12D | VXRAIL-500 2U1N 12X3.5 DISK SLTS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | 1SS570HSKDMFN | VXRAIL-500 1SS570 HSK DIMM CPU BLK FAN | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | CAPHDD40TB72K35VX5 | VXRAIL-500 HDD SAS 4TB 7.2K RPM 3.5INCH | 6 | 2023-10-25 | 2026-10-24
| DE600184200023 | INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | INSTLCTRYEMEAR740 | VXRAIL-500 EMEA R740 | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | LRDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ LRDIMMS | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | MEMLRDIMM64GBH | VXRAIL-500 MEMORY 64GB LRDIMM H | 6 | 2023-10-25 | 2026-10-24
| DE600184200023 | NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | PR-NO-2ND-PROCVXR5 | VXRAIL-500 NO SECOND PROCESSOR | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | PR6140GD18C23 | VXRAIL-500 INTEL CPU 6140 18C 2.3 GHZ H | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | RISERR740S5701S2S | VXRAIL-500 RISER R740 S570 1B 2B | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | RRAILKIT2U1NH | VXRAIL-500 B4 RR 2-4 POST RACKS 2U1NH | 1 | 2023-10-25 | 2026-10-24
| DE600184200023 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 2 | 2023-10-25 | 2026-10-24
| DE600184200023 | TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 | 2023-10-25 | 2026-10-24
21461736 | DE600184200023 | 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 | 2023-10-25 | 2026-10-24
21462524 | DE600184200023 | 456-113-143 | HCIA NP VSOM E+ 1CPU W/ 5YR MAINT=IG | 1 | 2018-10-25 | 2026-10-24
DE600184200024 | DE600184200024 | SYS7402U1N12D | VXRAIL-500 2U1N 12X3.5 DISK SLTS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | 1SS570HSKDMFN | VXRAIL-500 1SS570 HSK DIMM CPU BLK FAN | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | CAPHDD40TB72K35VX5 | VXRAIL-500 HDD SAS 4TB 7.2K RPM 3.5INCH | 6 | 2023-10-25 | 2026-10-24
| DE600184200024 | INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | INSTLCTRYEMEAR740 | VXRAIL-500 EMEA R740 | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | LRDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ LRDIMMS | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | MEMLRDIMM64GBH | VXRAIL-500 MEMORY 64GB LRDIMM H | 6 | 2023-10-25 | 2026-10-24
| DE600184200024 | NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | PR-NO-2ND-PROCVXR5 | VXRAIL-500 NO SECOND PROCESSOR | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | PR6140GD18C23 | VXRAIL-500 INTEL CPU 6140 18C 2.3 GHZ H | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | RISERR740S5701S2S | VXRAIL-500 RISER R740 S570 1B 2B | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | RRAILKIT2U1NH | VXRAIL-500 B4 RR 2-4 POST RACKS 2U1NH | 1 | 2023-10-25 | 2026-10-24
| DE600184200024 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 2 | 2023-10-25 | 2026-10-24
| DE600184200024 | TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 | 2023-10-25 | 2026-10-24
21461738 | DE600184200024 | 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 | 2023-10-25 | 2026-10-24
21462526 | DE600184200024 | 456-113-143 | HCIA NP VSOM E+ 1CPU W/ 5YR MAINT=IG | 1 | 2018-10-25 | 2026-10-24
DE600184200025 | DE600184200025 | SYS7402U1N12D | VXRAIL-500 2U1N 12X3.5 DISK SLTS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | 1SS570HSKDMFN | VXRAIL-500 1SS570 HSK DIMM CPU BLK FAN | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | CAPHDD40TB72K35VX5 | VXRAIL-500 HDD SAS 4TB 7.2K RPM 3.5INCH | 6 | 2023-10-25 | 2026-10-24
| DE600184200025 | INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | INSTLCTRYEMEAR740 | VXRAIL-500 EMEA R740 | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | LRDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ LRDIMMS | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | MEMLRDIMM64GBH | VXRAIL-500 MEMORY 64GB LRDIMM H | 6 | 2023-10-25 | 2026-10-24
| DE600184200025 | NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | PR-NO-2ND-PROCVXR5 | VXRAIL-500 NO SECOND PROCESSOR | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | PR6140GD18C23 | VXRAIL-500 INTEL CPU 6140 18C 2.3 GHZ H | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | RISERR740S5701S2S | VXRAIL-500 RISER R740 S570 1B 2B | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | RRAILKIT2U1NH | VXRAIL-500 B4 RR 2-4 POST RACKS 2U1NH | 1 | 2023-10-25 | 2026-10-24
| DE600184200025 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 2 | 2023-10-25 | 2026-10-24
| DE600184200025 | TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 | 2023-10-25 | 2026-10-24
21461742 | DE600184200025 | 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 | 2023-10-25 | 2026-10-24
21461746 | DE600184200025 | 456-113-143 | HCIA NP VSOM E+ 1CPU W/ 5YR MAINT=IG | 1 | 2018-10-25 | 2026-10-24
DE600184200026 | DE600184200026 | SYS7402U1N12D | VXRAIL-500 2U1N 12X3.5 DISK SLTS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | 1SS570HSKDMFN | VXRAIL-500 1SS570 HSK DIMM CPU BLK FAN | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | CAPHDD40TB72K35VX5 | VXRAIL-500 HDD SAS 4TB 7.2K RPM 3.5INCH | 6 | 2023-10-25 | 2026-10-24
| DE600184200026 | INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | INSTLCTRYEMEAR740 | VXRAIL-500 EMEA R740 | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | LRDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ LRDIMMS | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | MEMLRDIMM64GBH | VXRAIL-500 MEMORY 64GB LRDIMM H | 6 | 2023-10-25 | 2026-10-24
| DE600184200026 | NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | PR-NO-2ND-PROCVXR5 | VXRAIL-500 NO SECOND PROCESSOR | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | PR6140GD18C23 | VXRAIL-500 INTEL CPU 6140 18C 2.3 GHZ H | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | RISERR740S5701S2S | VXRAIL-500 RISER R740 S570 1B 2B | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | RRAILKIT2U1NH | VXRAIL-500 B4 RR 2-4 POST RACKS 2U1NH | 1 | 2023-10-25 | 2026-10-24
| DE600184200026 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 2 | 2023-10-25 | 2026-10-24
| DE600184200026 | TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 | 2023-10-25 | 2026-10-24
21461740 | DE600184200026 | 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 | 2023-10-25 | 2026-10-24
21461750 | DE600184200026 | 456-113-143 | HCIA NP VSOM E+ 1CPU W/ 5YR MAINT=IG | 1 | 2018-10-25 | 2026-10-24
DE600184200027 | DE600184200027 | SYS7402U1N12D | VXRAIL-500 2U1N 12X3.5 DISK SLTS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | 1SS570HSKDMFN | VXRAIL-500 1SS570 HSK DIMM CPU BLK FAN | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | CAPHDD40TB72K35VX5 | VXRAIL-500 HDD SAS 4TB 7.2K RPM 3.5INCH | 6 | 2023-10-25 | 2026-10-24
| DE600184200027 | INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | INSTLCTRYEMEAR740 | VXRAIL-500 EMEA R740 | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | LRDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ LRDIMMS | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | MEMLRDIMM64GBH | VXRAIL-500 MEMORY 64GB LRDIMM H | 6 | 2023-10-25 | 2026-10-24
| DE600184200027 | NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | PR-NO-2ND-PROCVXR5 | VXRAIL-500 NO SECOND PROCESSOR | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | PR6140GD18C23 | VXRAIL-500 INTEL CPU 6140 18C 2.3 GHZ H | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | RISERR740S5701S2S | VXRAIL-500 RISER R740 S570 1B 2B | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | RRAILKIT2U1NH | VXRAIL-500 B4 RR 2-4 POST RACKS 2U1NH | 1 | 2023-10-25 | 2026-10-24
| DE600184200027 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 2 | 2023-10-25 | 2026-10-24
| DE600184200027 | TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 | 2023-10-25 | 2026-10-24
21461743 | DE600184200027 | 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 | 2023-10-25 | 2026-10-24
21461747 | DE600184200027 | 456-113-143 | HCIA NP VSOM E+ 1CPU W/ 5YR MAINT=IG | 1 | 2018-10-25 | 2026-10-24
DE600184200028 | DE600184200028 | SYS7402U1N12D | VXRAIL-500 2U1N 12X3.5 DISK SLTS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | 1SS570HSKDMFN | VXRAIL-500 1SS570 HSK DIMM CPU BLK FAN | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | CAPHDD40TB72K35VX5 | VXRAIL-500 HDD SAS 4TB 7.2K RPM 3.5INCH | 6 | 2023-10-25 | 2026-10-24
| DE600184200028 | INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | INSTLCTRYEMEAR740 | VXRAIL-500 EMEA R740 | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | LRDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ LRDIMMS | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | MEMLRDIMM64GBH | VXRAIL-500 MEMORY 64GB LRDIMM H | 6 | 2023-10-25 | 2026-10-24
| DE600184200028 | NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | PR-NO-2ND-PROCVXR5 | VXRAIL-500 NO SECOND PROCESSOR | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | PR6140GD18C23 | VXRAIL-500 INTEL CPU 6140 18C 2.3 GHZ H | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | RISERR740S5701S2S | VXRAIL-500 RISER R740 S570 1B 2B | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | RRAILKIT2U1NH | VXRAIL-500 B4 RR 2-4 POST RACKS 2U1NH | 1 | 2023-10-25 | 2026-10-24
| DE600184200028 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 2 | 2023-10-25 | 2026-10-24
| DE600184200028 | TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 | 2023-10-25 | 2026-10-24
21461739 | DE600184200028 | 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 | 2023-10-25 | 2026-10-24
21461748 | DE600184200028 | 456-113-143 | HCIA NP VSOM E+ 1CPU W/ 5YR MAINT=IG | 1 | 2018-10-25 | 2026-10-24
DE600184200029 | DE600184200029 | SYS7402U1N12D | VXRAIL-500 2U1N 12X3.5 DISK SLTS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | 1SS570HSKDMFN | VXRAIL-500 1SS570 HSK DIMM CPU BLK FAN | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | CAPHDD40TB72K35VX5 | VXRAIL-500 HDD SAS 4TB 7.2K RPM 3.5INCH | 6 | 2023-10-25 | 2026-10-24
| DE600184200029 | INSTKITRJ45H | HCIA INSTALL KIT 10GBE RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | INSTLCTRYEMEAR740 | VXRAIL-500 EMEA R740 | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | LRDIMM2666INFO | VXRAIL-500 FACTORYORD RQ 2666MHZ LRDIMMS | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | MEMLRDIMM64GBH | VXRAIL-500 MEMORY 64GB LRDIMM H | 6 | 2023-10-25 | 2026-10-24
| DE600184200029 | NDCX550QP10GBRJH | VXRAIL-500 NDC INTEL X550 QP 10GB RJ45 H | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | PR-NO-2ND-PROCVXR5 | VXRAIL-500 NO SECOND PROCESSOR | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | PR6140GD18C23 | VXRAIL-500 INTEL CPU 6140 18C 2.3 GHZ H | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | PS1100WPSH | VXRAIL-500 DUAL HOTPLG 1100W PS H | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | RISERR740S5701S2S | VXRAIL-500 RISER R740 S570 1B 2B | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | RRAILKIT2U1NH | VXRAIL-500 B4 RR 2-4 POST RACKS 2U1NH | 1 | 2023-10-25 | 2026-10-24
| DE600184200029 | SSD400GB10W25S570 | VXRAIL-500CACHESSD S570 400GB 10WPD 2.5I | 2 | 2023-10-25 | 2026-10-24
| DE600184200029 | TPM1.2MODULEH | VXRAIL-500 TPM 1.2 MODULE H | 1 | 2023-10-25 | 2026-10-24
21461741 | DE600184200029 | 456-111-959 | RECOVERPOINT FOR VM FOR 1-NODE HCIA =IB | 1 | 2023-10-25 | 2026-10-24
21461749 | DE600184200029 | 456-113-143 | HCIA NP VSOM E+ 1CPU W/ 5YR MAINT=IG | 1 | 2018-10-25 | 2026-10-24

## Commercial Compliance Matrix
| Compliance Matrix |  |  | Reference Number
Owner
Revision Code
Implementation Date
Article | Description | Compliance /Answer | Comments /Elaboration
1 | Terms of payment
LBP at local market rate on payment date
2 | Penalty
BIDDER shall pay a penalty of 2% per occurence to the Customer from the total amount of this agreement (for one (1) contractual year)every time the Equipment is not working properly due to a violation of the company to any point of this agreement and/or due to any reason related to BIDDER
Please provide breakdown for the prices
The offer validity period should be for 3 months as of offer submission date
3 | Letter of Guarantee
A Bid Bond from the participating bidders' bank with a value of 2,000 USD to be presented to MIC1 for participation and to be enclosed in the commercial offer. The validity of this bid bond, referred to as letter of guarantee, should be for 4 months as of offer submission date; it will be returned to non-selected bidders.
A Performance Bond from the winning bidder's bank to be delivered to MIC1 with a value of 5% of the offer quotation to be presented upon award only within 15 days from contract start date.
4 | Conflict of Interest
BIDDER shall declare any relative relations with any Alfa employee up to the 4th degree, for MIC1 to be able to assess the existing of any potential conflict of interests which may lead to deprive the bidder from participating to the tender under the risk of disqualification.