## Sheet1
|  |  |  | C1 | Comply
|  |  |  | C2 | Partially Comply (Explain the Gap)
| Compliancy | Reference | Remarks | C3 | Do not Comply (State Reason)
Killing Factors
The supplier must be a Gold partner and to provide the related certificates.
The supplier should submit a complete solution. Any partial submission will be rejected.
Gold partner with certified employees having CCIE Service Provider and CCIE Routing & Switching
System General Requirements
Offered solution should be compatible with current platforms
Offered solution should be compatbile with new SW releases for the coming 5 years
Product and version to be latest and roadmap to be aligned with our requirements
Provide all accessories, ancillaries and tools needed for the equipment installation
Equipment HW Specs & Requirements
IPBB - CRS replacement: 2 x NCS 5504
IPBB - CRS replacement: Redundant Route Processors
IPBB - CRS replacement: Redundant Fabrics
IPBB - CRS replacement: Redundantly Power Supply
IPBB - CRS replacement: 2 x NC-55-32T16Q4H-A per router
IPBB - CRS replacement: Essentials SW Right-to-Us
IPBB - CRS replacement: Advanced SW Right-to-Us
IPBB - CRS replacement: 10Gbps SFP
IPBB - CRS replacement: 1Gbps SFP
IPBB - CRS replacement: 3 years License Subscription
IPBB - CRS replacement: DC power supply
IPBB - ASR9K upgrades: Justice new Line cards
IPBB - ASR9K upgrades: Justice new advanced IP License
IPBB - ASR9K upgrades: Justice new 10Gbps SFP
IPBB - C6500: 2 new C6800-16P10G Line cards
IPBB - C6500: 8 x 10G MM SFP for each new Line card
IPBB - Additional SFPs: 10GE MM (for current 9K and 903)
IPBB - Additional SFPs: 10GE SM (for current 9K and 903)
IPBB - Additional SFPs: 1GE MM
IPBB - Additional SFPs: 10GE MM for current 6500
IGW - CRS replacement: 8 x NCS 55A2
IGW - CRS replacement: Redundantly Power Supply
IGW - CRS replacement: Essentials SW Right-to-Us
IGW - CRS replacement: Advanced SW Right-to-Us
IGW - CRS replacement: DC power supply
IGW - CRS replacement: 10Gbps SFP
IGW - CRS replacement: 3 years License Subscription
IGW - FW replacement: 2 x FPR 4112
IGW - FW replacement: Redundantly Power Supply
IGW - FW replacement: 3 years License Subscription
IGW - FW replacement: 10Gbps SFP
IGW & Corp - Switches replacement: 6 x C9300X 24
IGW & Corp - Switches replacement: Redundantly Power Supply
IGW & Corp - Switches replacement: 3 years License Subscription
IGW & Corp - Switches: 2 x ACI Switches
IGW & Corp - Switches: Redundantly Power Supply
IGW & Corp - Switches: SFPs
IGW & Corp - Switches: 3 years License Subscription
Passive equipment (cabinets, ODF, patch panels, patch cords…) to be included
Services & Features
All software updates/releases should be included and delivered once available during the support period
Implementation, integration and service reshuffle (including traffic migration where needed)
Physical Installation and Cabling
The Vendor is fully responsible to replace any damaged network devices occurs during the dismantling/upgrade process.
The Vendor shall be responsible for providing the warehouse for the equipment to be installed throughout the complete project duration
The Vendor shall be responsible for delivering the equipment to site from their own warehouse
Extra feature/functionality
Support , Maintenance & Spare Parts & Training
3 years support for for all requested HW and SW. The warranty period starts after minimally 50% of total sites’ PAC issuance by MIC2, conditional to the completion of the complete project as per the set deadline in the RFP
IPBB - C6500: support will be provided for the Line card swap in case needed
3 years support for all currently installed equipment in IPBB network
3 years support for all currently installed Cisco equipment in IT network
3 years support for all currently installed Non-Cisco equipment in IT network
Support coverage is 24 hours a day, 7 Days a week including holidays
New HW/SW that follows a license subscription model should be offered with at least 3 years license period
Offered solution should be garanteed for a minimum of 5 years before reaching the end of support date
Health check Assessment: to audit all configuration changes that occurred on the network and validate it with Cisco Best Practices, Health check to be conducted twice per year
Spare Parts Management: Vendor shall insure hardware availability in Lebanon for all type of equipment and to handle the repair process.
On-site visits (environmental check and preventive maintenance to be conducted twice a year)
Knowledge transfer and provide the appropriate training program to have MIC2 engineers acquiring the needed knowledge and expertise and receiving the relevant hands-on knowledge transfer
Trainings for NCS 5504, NCS 55A2, Fire Power and Segment Routing (each course should be delivered in 2 sessions)
SLA & KPI
System Availability Time [%] (>99.999%)
Vendor shall ensure that the activities related to the scope of this RFP will have no or minimal impact on the current network traffic
For P1 (Critical/Emergency) incidents, response time 1 hour, restoration time 3 hours, and resolution time 6 hours.
For P2 (Major) incidents, response time 3 hour, restoration time 6 hours, and resolution time 24 hours.
For P3 (Non Service Impacting) incidents, restoration time 24 hours, and resolution time 5 calendar days.
Implementation time line & setup
The PIP time line is completed with the minimum amount of time taking into consideration the latest possible start and finish times for project activities, the uncertainties, the risks and assumptions (Less than 4 months from PO issuance)
The offer should include a responsibility matrix clearly splitting the role of the bidder and the operator
The vendor’s Implementation proposal should cover but not limited to the following: installation, dismantling, swapping, traffic migration, configuration, integration, interoperability,…
Equipment delivery time shall be less than 60 days from PO issuance
Proposal includes satisfactory minimum number of resources with their qualifications & proposed organization structure during implementation and support, which is subject to MIC2 approval
Documentation
High level design solution description covering the implementation and the upgrade procedure
The vendor should propose standard acceptance procedures for the offered solution to be considered in measuring the network’s quality and grade of service.
Data sheets, technical specifications and manuals
Roadmap for both Hardware and Software
List of all the features and licenses supported by the hardware and highlighting which are included in the offer
References
Bidder should mention references for his deployment of such an upgrade solution in a mobile operator environment Minimum 3 references.
Details of the reference need to be provided: Operator, Country, type of upgrades
Gold partner with certified employees having CCIE Service Provider and CCIE Routing & Switching