## Killing Factors
Killing Factors
Bidder who fail to comply with the below requirements in addition to the requirements listed in Article 7 of the PPL no. 244/2021 will be automatically excluded and disqualified from the tender. Below are killing factors to be considered, when applicable, for the different technologies part of the bid:
· The Bidder should provide his vendor partnership certificate, Gold and above.
· The Bidder should have a vendor back-to-back support certificate on all proposed systems and equipment. Certificate to be provided.
· MIC2 should be able to open cases directly with the vendor.
· The “End Of Support” & “End Of Life” validities of any purchased equipment in the subject tender should be at least for 3 years after the purchase date. In the case of EOS/EOL occurrence during the 3 years period, the Bidder will be responsible for tech-refresh of the subject equipment at Zero Capex Value.
· The Bidder must provide at least 2 similar references for the proposed solution in the region. The reference should be sold, implemented, and supported by the same partner.
· The Bidder should have spare parts locally in Lebanon for all proposed systems. List of spare parts to be approved by Touch.
· All features and licenses available on the proposed solution should be activated from day one even if not listed in the requirements. The bidder should provide list of all available and enabled features and related licenses.
· The Bidder’s proposed SAN All-Flash NVME Storage System at Main Site:
Ø Proposed storage should provide high end features and capabilities with dual controllers of minimum 1 TB of cache each to guarantee high performance high performance and availability for business critical applications.
Ø Storage system should be provided from day1 with an initial capacity of 850 TiB Effective based on RAID6 / Dual Parity Protection, with a minimum of 400’000 of IOPS based on 32KB IO Block Size, and 50% Reads and 50% Writes Random IO Profile.
Ø All the storage capacity/disks should be based on Enterprise TLC NVMe Drives. QLC NVMe drives and other SSD/SAS drives are not acceptable.
Ø Storage system should be scalable to 1.5 PetaByte Effective capacity from Day1 without the change of the system model/controller that would incur future costs
Ø Storage should be provided with 8 x 32Gbps FC enabled/populated ports from day1 for SAN connectivity
Ø Storage should be provided with 8 x 10Gbps SFPs enabled/populated ports from day1 for LAN connectivity
· The Bidder’s proposed Scale-Out NAS Storage should have a minimum capacity of 1 PetaBytes. The solution provided should be scalable to at least 10 PetaBytes of capacity (10 times the current capacity).
· The Bidder’s proposed HCI system should have all disks All-Flash SSD.
· The Bidder’s proposed Backup Appliance should have deduplication and compression features included.
· Backup appliance should include features and licenses for ransomware/cyber attacks protection.
· The Bidder shall abide by the provisions of articles 2 (Sub-clause 30, item C), 7 and 8 (sub-clause 1, item B) of the PPL no.244/2021 where he can submit only 1 Offer.
· The clearance obtained from the Ministry of Trade and Commerce/office of boycott of Israel (إفادة عن وضع شركة أجنبية و إستناداً إلى أحكام قانون مقاطعة إسرائيل الصادر بتاريخ 23/6/1955)
· Bid Bond in the sealed technical envelope as per the PPL no.244/2021 كفالة ضمان العرض داخل الملف الإداري والفني
· Any figures and/or price indicators emanating from the Technical Offer will lead into immediate disqualification of the related Bidder from the bid.
· Any company in which a shareholder/partner or manager or Board member has demonstrated any hostility or disrespect to the company or any of its managers or staff under the form of slandering or under any other form, such company shall not be accepted to participate in the Tender. If such hostility or disrespect is demonstrated after the company has submitted its proposal(s), then the company in question shall be disqualified. Non-acceptance or disqualification for the above reasons shall be without any liability to MIC2 and without any judicial action being required.
· Non-acceptance or disqualification for the above reasons shall be without any liability on MIC2 and without any judicial action being required provided that the provisions of the PPL are adhered.
· The bidder for DR Lot must commit to implementing the disaster recovery (DR) solution while remaining equipment-agnostic at the primary site. The proposal should encompass all necessary equipment for the replication and operation even if not mentioned in the RFP

## Storage
|  |  |  | C1 | Comply
Storage Specs |  |  |  | C2 | Partially Comply (Explain the Gap)
Existing Platform : VMAX 250F/Powerstore 1200/Unity/Isilon | Compliancy | Reference | Remarks | C3 | Do not Comply (State Reason)
General Requirements
The addressed bidder needs to provide the detailed technical solution for each requirement (product and services), along with its detailed technical specifications
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
Bidders to provide 5 years roadmap and new features of the roadmap to be provided free of charge
The Bidder should take full responsibility of any hardware relocation that may occur within one year after FAC
Major Rquirements
The Bidder should have maintenance contracts of the same proposed solution in Lebanon. To be Provided.
MIC2 should have access to vendor's site in order to check touch account status.
Company Profile & References
Bidder to provide Company profile, refrences and history, Years in business, information related to proposed solution experience
Bidder should provide Business Markets and Geography covered
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
The Bidder should provide list of employees that will be involved in the account with their CVs and acquired certifications on the proposed solutions.
Number of employees
Bidder Certification: Vendor Partner Authorized deploy Certificate
Bidder Certification: Authorized support certificate for the proposed solution
Proposed Storage required Certifications: Storage administrator/implementation engineer/platform engineer
IMPLEMENTATION & MIGRATION
Proposed solution implementation services to be included
The bidders is requested to provide PIP for the entire project in details whereby knowing that the delivery deadline must not exceed 15-Nov-2024.
Migration services from existing solution/equipment to the new solution/equipment to be included
Project implementation and data migration should be performed by the vendor or under direct supervision of vendor’ senior engineers.
The Bidder/Vendor shall ensure that the activities related to this project will in no way impact the current environment setup.
Winner should ensure smooth migration end to end with zero outage.
Trainings
Training for each proposed solution/System for 4 resources
Warranty, Support and SLA
Local spare parts for the proposed Hardware to be included (List must include controllers, memory, disks, IO modules, power supplies,…)
The offer should include 3 years premium local support and maintenance / warranty on provided solution for products and services with back to back support. The warranty/support period starts after the FAC issuance by MIC2
For non Dell solution, Bidder to provide 1 year managed services with the presence of onsite engineers (not exceeding two engineers) after FAC. Quotation should be mentionned in the Commercial offer. Engineers must be certified on the proposed solution and bidder is requested to provide engineers profiles and certifications.
The bidder is requested to provide annual support pricing for the proposed product until its end of life.
The Bidder to provide Touch sustaining service coverage 24x7 x 365 for the time period mentioned in the agreement duration.
The Bidder should perform onsite Health-check every one month including security, performance monitoring, recommended patches, configuration, or upgrade
The Bidder should provide Helpdesk facilities for support.
The Bidder should be able to provide On-call service as per the SLA. Such service includes but not limited to problem troubleshooting and resolution, spare parts for all systems to MIC2 Datacenter
For P1 (Critical/Emergency) incidents, response time 1 hour, restoration time 3 hours, and resolution time 6 hours
For P2 (Major) incidents, response time 3 hour, restoration time 6 hours, and resolution time 24 hours
For P3 (Non Service Impacting) incidents, restoration time 24 hours, and resolution time 5 calendar days
For P4 incidents, restoration time 48 hours
Bi-Weekly preventive maintenance
All software updates / releases and bug fixes should be included and delivered once available
Bi-Weekly, monthly, and quarterly reports
SAN ALL-FLASH NVME STORAGE SYSTEM SPECS
Proposed storage should provide high end features and capabilities with dual controllers of minimum 1 TB of cache each to guarantee high performance high performance and availabillity for business critical applications.
Storage system should be provided from day1 with an initial capacity of 850 TiB Effective based on RAID6 / Dual Parity Protection, with a minimum of 400’000 of IOPS based on 32KB IO Block Size, and 50% Reads and 50% Writes Random IO Profile.
All the storage capacity/disks should be based on Enterprise TLC NVMe Drives. QLC NVMe drives and other SSD/SAS drives are not acceptable.
Storage system should be scalable to 1.5 PetaByte Effective capacity from Day1 without the change of the system model/controller that would incur future costs
Storage should be provided with 8 x 32Gbps FC enabled/populated ports from day1 for SAN connectivity
Storage should be provided with 8 x 10Gbps SFPs enabled/populated ports from day1 for LAN connectivity
Data at Rest Encryption should be supported & Licensed/Enabled from Day1
Management, Snapshot and Replication licenses should be licensed/enabled from day1
Storage system offered should support NVMe over Fabric (Fiber channel and Ethernet)
Storage system must include Compression, Supplier should commit on the provided volume irrespective the data nature. A semestrial review for verification should be done to evalute the consumption.
Storage system should be Unified (SAN & NAS Services), if not please provide an alternative solution.
Proposed Storage array must support different host access protocols: FC, iSCSI, FTP, SFTP, CIFS ,NFS & VMware Virtual Volumes (VVols)
FC SAN SWITCHES
Two Brocade or CISCO SAN Switches or equivalent, each switch populated with 96 x 16Gbps FC ports including SR transceivers (HQ - All-Flash Storage)
Additional 4 x 16Gbps Long Range 10Km Transceivers per SAN Switch
96 x OM3 50/125 FIBER CABLE LC- LC 5 METER Cables per SAN Switch
HYBRID STORAGE SYSTEM SPECS C73
Storage system should be Unified (SAN & NAS Services)
Storage should have dual controllers
Storage should be provided from day1 with a minimum of 4 x 600GB 15K SAS Drives and 17 x 6TB Disk Drives or equivalent/better capacity
Storage should be provided with 8 x 10Gbps SFP+ Ethernet connectivity
Storage should be provided with 4 x 16Gbps FC SAN connectivity
Storage should be provided with software licenses (Management, Snapshots, Replication, etc..)
HYBRID STORAGE SYSTEM SPECS (FOR CALL CENTER)
Storage system should be Unified (SAN & NAS Services)
Storage should have dual controllers
Storage should be provided from day1 with a minimum of 21 x 4TB Disk Drives or equivalent/better capacity
Storage should be provided with 4 x 10Gbps SFP+ Ethernet connectivity
Storage should be provided with software licenses (Management, Snapshots, Replication, etc..)
SCALE-OUT NAS STORAGE SYSTEM SPECS
High end Scale-out NAS Storage platform
The Proposed Solution must be a purposed build Scale Out Network Attached Storage (NAS) solution with native NAS capabilities, no gateways & with no virtualization layer or virtualization technology.
The NAS cluster should be provided with 360TB of Net Usable capacity of Performance Storage after Raid, hot spare and other overhead
The NAS cluster should be provided with 600TB of Net Usable capacity of Archive Storage after Raid, hot spare and other overhead
The total above capacity of 960TB Net Usable should be part of the same Cluster, same filesystem and same namespace to be shared by multiple applications.
The solution provided should be scalable to at least 10PetaBytes of capacity (10 times the current capacity).
The cluster should be equiped with a minimum of 16 x 10Gbps SFP+ front end ports for connectivity to Touch Data Center
the cluster should be equiped with two dedicated backend switches with a minimum of 32 ports per switch and a minimum port speed of 40Gbps or higher per port.
Solution must have the ability to protect critical data against accidental, premature, or malicious alteration or deletion,and support / configure enterprise class WORM (Write-Once Read Many Feature)
Solution should include its only load balancers to cover data/traffic load balancing between controllers/nodes
Software licenses should be included as part of the solution (Snapshots, Load Balancing, Quotas Management, Replication, WORM, etc..)
Solution must include Real time and historical performance reporting of all components of the storage platform
The protocols supported and enabled should be CIFS/SMB, NFS v3 and v4, FTP, HTTP. HDFS is considered as a plus.

## storage for DR
|  |  |  | C1 | Comply
Storage Specs |  |  |  | C2 | Partially Comply (Explain the Gap)
Existing Platform : VMAX 250F/Powerstore 1200/Unity/Isilon | Compliancy | Reference | Remarks | C3 | Do not Comply (State Reason)
General Requirements
The addressed bidder needs to provide the detailed technical solution for each requirement (product and services), along with its detailed technical specifications
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
Bidders to provide 5 years roadmap and new features of the roadmap to be provided free of charge
The Bidder should take full responsibility of any hardware relocation that may occur within one year after FAC
Major Rquirements
The Bidder should have maintenance contracts of the same proposed solution in Lebanon. To be Provided.
MIC2 should have access to vendor's site in order to check touch account status.
Company Profile & References
Bidder to provide Company profile, refrences and history, Years in business, information related to proposed solution experience
Bidder should provide Business Markets and Geography covered
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
The Bidder should provide list of employees that will be involved in the account with their CVs and acquired certifications on the proposed solutions.
Number of employe\s
Bidder Certification: Vendor Partner Authorized deploy Certificate
Bidder Certification: Authorized support certificate for the proposed solution
Proposed Storage required Certifications: Storage administrator/implementation engineer/platform engineer
IMPLEMENTATION & MIGRATION
Proposed solution implementation services to be included
The bidders is requested to provide PIP for the entire project in details whereby knowing that the delivery deadline must not exceed 15-Nov-2024.
Migration services from existing solution/equipment to the new solution/equipment to be included
Project implementation and data migration should be performed by the vendor or under direct supervision of vendor’ senior engineers.
The systems at the Disaster Recovery (DR) site, including storage, servers, switches, and network connectivity, must exhibit full compatibility with the systems planned for implementation at the Main Site. This compatibility is essential to ensure the successful replication, synchronization, and preservation of data integrity between the Main Site and the DR Site. Furthermore, the switchover to the DR site should be seamless and capable of assuming control in the event of a disaster
The Bidder/Vendor shall ensure that the activities related to this project will in no way impact the current environment setup.
Winner should ensure smooth migration end to end with zero outage.
Trainings
Training for each proposed solution/System for 4 resources
Warranty, Support and SLA
Local spare parts for the proposed Hardware to be included (List must include controllers, memory, disks, IO modules, power supplies,…)
The offer should include 3 years premium local support and maintenance / warranty on provided solution for products and services with back to back support. The warranty/support period starts after the FAC issuance by MIC2
For non Dell solution, Bidder to provide 1 year managed services with the presence of onsite engineers (not exceeding two engineers) after FAC. Quotation should be mentionned in the Commercial offer. Engineers must be certified on the proposed solution and bidder is requested to provide engineers profiles and certifications.
The bidder is requested to provide annual support pricing for the proposed product until its end of life.
The Bidder to provide Touch sustaining service coverage 24x7 x 365 for the time period mentioned in the agreement duration.
The Bidder should perform onsite Health-check every one month including security, performance monitoring, recommended patches, configuration, or upgrade
The Bidder should provide Helpdesk facilities for support.
The Bidder should be able to provide On-call service as per the SLA. Such service includes but not limited to problem troubleshooting and resolution, spare parts for all systems to MIC2 Datacenter
For P1 (Critical/Emergency) incidents, response time 1 hour, restoration time 3 hours, and resolution time 6 hours
For P2 (Major) incidents, response time 3 hour, restoration time 6 hours, and resolution time 24 hours
For P3 (Non Service Impacting) incidents, restoration time 24 hours, and resolution time 5 calendar days
For P4 incidents, restoration time 48 hours
Bi-Weekly preventive maintenance
All software updates / releases and bug fixes should be included and delivered once available
Bi-Weekly, monthly, and quarterly reports
SAN ALL-FLASH NVME STORAGE (DR SITE) SYSTEM SPECS
Storage to have 200TiB capacity with a minimum of 90’000 of IOPS based on 32KB IO Block Size and 50% Reads and 50% Writes Random IO Profile
Storage system should be provided from day1 with an initial capacity of 200 TiB Effective based on RAID6 / Dual Parity Protection
All the storage capacity/disks should be based on Enterprise TLC NVMe Drives. QLC NVMe drives and other SSD/SAS drives are not acceptable.
Storage system should be scalable to 1.5 PetaByte Effective capacity from Day1 without the change of the system model/controller that would incur future costs
Storage should be provided with 8 x 32Gbps FC enabled/populated ports from day1 for SAN connectivity
Storage should be provided with 8 x 10Gbps SFPs enabled/populated ports from day1 for LAN connectivity
Data at Rest Encryption should be supported & Licensed/Enabled from Day1
Management, Snapshot and Replication licenses should be licensed/enabled from day1
Storage system offered should support NVMe over Fabric (Fiber channel and Ethernet)
Storage system must include Compression, Supplier should commit on the provided volume irrespective the data nature. A semestrial review for verification should be done to evalute the consumption.
Storage system should be Unified (SAN & NAS Services), if not please provide an alternative solution.
Proposed Storage array must support different host access protocols: FC, iSCSI, FTP, SFTP, CIFS ,NFS & VMware Virtual Volumes (VVols)
FC SAN SWITCHES
Two Brocade or CISCO SAN Switches or equivalent, each switch populated with 64 x 8Gbps FC ports including SR transceivers
Additional 4 x 8Gbps Long Range 10Km Transceivers per SAN Switch
64 x OM3 50/125 FIBER CABLE LC- LC 5 METER Cables per SAN Switch

## HCI
|  |  |  | C1 | Comply
HYPER-CONVERGED HCI SOLUTION SPECS |  |  |  | C2 | Partially Comply (Explain the Gap)
Existing Platform : Vxrail | Compliancy | Reference | Remarks | C3 | Do not Comply (State Reason)
General Requirements
The addressed bidder needs to provide the detailed technical solution for each requirement (product and services), along with its detailed technical specifications
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
Bidders to provide 5 years roadmap and new features of the roadmap to be provided free of charge
The Bidder should take full responsibility of any hardware relocation that may occur within one year after FAC
Major Rquirements
The Bidder should have maintenance contracts of the same proposed solution in Lebanon. To be Provided.
MIC2 should have access to vendor's site in order to check touch account status.
Company Profile & References
Bidder to provide Company profile, refrences and history, Years in business, information related to proposed solution experience
Bidder should provide Business Markets and Geography covered
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
The Bidder should provide list of employees that will be involved in the account with their CVs and acquired certifications on the proposed solutions.
Number of employees
Bidder Certification: Vendor Partner Authorized deploy Certificate
Bidder Certification: Authorized support certificate for the proposed solution
Proposed Storage required Certifications: Storage administrator/implementation engineer/platform engineer
IMPLEMENTATION & MIGRATION
Proposed solution implementation services to be included
The bidders is requested to provide PIP for the entire project in details whereby knowing that the delivery deadline must not exceed 15-Nov-2024.
Migration services from existing solution/equipment to the new solution/equipment to be included
Project implementation and data migration should be performed by the vendor or under direct supervision of vendor’ senior engineers.
The Bidder/Vendor shall ensure that the activities related to this project will in no way impact the current environment setup.
Winner should ensure smooth migration end to end with zero outage.
Trainings
Training for each proposed solution/System for 4 resources
Warranty, Support and SLA
Local spare parts for the proposed Hardware to be included (List must include controllers, memory, disks, IO modules, power supplies,…)
The offer should include 3 years premium local support and maintenance / warranty on provided solution for products and services with back to back support. The warranty/support period starts after the FAC issuance by MIC2
For non Dell solution, Bidder to provide 1 year managed services with the presence of onsite engineers (not exceeding two engineers) after FAC. Quotation should be mentionned in the Commercial offer. Engineers must be certified on the proposed solution and bidder is requested to provide engineers profiles and certifications.
The bidder is requested to provide annual support pricing for the proposed product until its end of life.
The Bidder to provide Touch sustaining service coverage 24x7 x 365 for the time period mentioned in the agreement duration.
The Bidder should perform onsite Health-check every one month including security, performance monitoring, recommended patches, configuration, or upgrade
The Bidder should provide Helpdesk facilities for support.
The Bidder should be able to provide On-call service as per the SLA. Such service includes but not limited to problem troubleshooting and resolution, spare parts for all systems to MIC2 Datacenter
For P1 (Critical/Emergency) incidents, response time 1 hour, restoration time 3 hours, and resolution time 6 hours
For P2 (Major) incidents, response time 3 hour, restoration time 6 hours, and resolution time 24 hours
For P3 (Non Service Impacting) incidents, restoration time 24 hours, and resolution time 5 calendar days
For P4 incidents, restoration time 48 hours
Bi-Weekly preventive maintenance
All software updates / releases and bug fixes should be included and delivered once available
Bi-Weekly, monthly, and quarterly reports
HYPER-CONVERGED HCI SOLUTION SPECS (AADLIEH)
Hyper-converged solution
5 x Hyper-converged Nodes, each Node with the below specs:
2 x Processors 16C/32T or more.
12 x 64GB RDIMM, 3200MT/s, Dual Rank RAM Memory
2 x 240GB SSD in RAID1 for the Hypervisor
3 x 800GB SSD SAS ISE Write Intensive 12Gbps 512e Drive 10 DWPD for virtual storage Caching
12 x 3.84TB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug Drive 1 DWPD for virtual storage Data
2 x Broadcom 57414 Dual Port 10/25GbE SFP28 Cards or equivalent
Enterprise Licenses for the virtual storage
2 Enterprise Hypervisor Licenses
Redundant Power Supplies
4 x Top of Rack Switches for the Hyper-Converged Solutions above as per the below:
2 x ToR Switches with 48 x 10Gbps SFP+ with all ports enabled/licensed
Cables and transceivers to connect each of the switches to 5 HCI nodes
2 x ToR Switches with 12 x 10Gbps SFP+ with all ports enabled/licensed
Cables and transceivers to connect each of the switches to 5 HCI nodes

## Backup Solution
|  |  |  | C1 | Comply
BACKUP SOFTWARE |  |  |  | C2 | Partially Comply (Explain the Gap)
Existing Platform : DataDomain,Networker, SourceOne | Compliancy | Reference | Remarks | C3 | Do not Comply (State Reason)
General Requirements
The addressed bidder needs to provide the detailed technical solution for each requirement (product and services), along with its detailed technical specifications
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
Bidders to provide 5 years roadmap and new features of the roadmap to be provided free of charge
The Bidder should take full responsibility of any hardware relocation that may occur within one year after FAC
Major Rquirements
The Bidder should have maintenance contracts of the same proposed solution in Lebanon. To be Provided.
MIC2 should have access to vendor's site in order to check touch account status.
Company Profile & References
Bidder to provide Company profile, refrences and history, Years in business, information related to proposed solution experience
Bidder should provide Business Markets and Geography covered
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
The Bidder should provide list of employees that will be involved in the account with their CVs and acquired certifications on the proposed solutions.
Number of employees
Bidder Certification: Vendor Partner Authorized deploy Certificate
Bidder Certification: Authorized support certificate for the proposed solution
Proposed Storage required Certifications: Storage administrator/implementation engineer/platform engineer
IMPLEMENTATION & MIGRATION
Proposed solution implementation services to be included
The bidders is requested to provide PIP for the entire project in details whereby knowing that the delivery deadline must not exceed 15-Nov-2024.
Migration services from existing solution/equipment to the new solution/equipment to be included
Project implementation and data migration should be performed by the vendor or under direct supervision of vendor’ senior engineers.
The Bidder/Vendor shall ensure that the activities related to this project will in no way impact the current environment setup.
Winner should ensure smooth migration end to end with zero outage.
Trainings
Training for each proposed solution/System for 4 resources
Warranty, Support and SLA
Local spare parts for the proposed Hardware to be included (List must include controllers, memory, disks, IO modules, power supplies,…)
The offer should include 3 years premium local support and maintenance / warranty on provided solution for products and services with back to back support. The warranty/support period starts after the FAC issuance by MIC2
For non Dell solution, Bidder to provide 1 year managed services with the presence of onsite engineers (not exceeding two engineers) after FAC. Quotation should be mentionned in the Commercial offer. Engineers must be certified on the proposed solution and bidder is requested to provide engineers profiles and certifications.
The bidder is requested to provide annual support pricing for the proposed product until its end of life.
The Bidder to provide Touch sustaining service coverage 24x7 x 365 for the time period mentioned in the agreement duration.
The Bidder should perform onsite Health-check every one month including security, performance monitoring, recommended patches, configuration, or upgrade
The Bidder should provide Helpdesk facilities for support.
The Bidder should be able to provide On-call service as per the SLA. Such service includes but not limited to problem troubleshooting and resolution, spare parts for all systems to MIC2 Datacenter
For P1 (Critical/Emergency) incidents, response time 1 hour, restoration time 3 hours, and resolution time 6 hours
For P2 (Major) incidents, response time 3 hour, restoration time 6 hours, and resolution time 24 hours
For P3 (Non Service Impacting) incidents, restoration time 24 hours, and resolution time 5 calendar days
For P4 incidents, restoration time 48 hours
Bi-Weekly preventive maintenance
All software updates / releases and bug fixes should be included and delivered once available
Bi-Weekly, monthly, and quarterly reports
BACKUP SOLUTION SPECS
1 x Purpose Build Backup Appliance for MAIN SITE with below specs:
Backup Appliance with built in Inline deduplication & compression
Backup Appliance Provided should be 280 TB Usable Capacity (Before Data Reduction) from Day1
Backup appliance should be provided with 4 x 10Gbps SFP+ ethernet ports and 2 x 16Gbps FC ports from day1
Replication License of the backup appliance should be included
Backup appliance should support encrypting backed up data in-flight and at rest for security. Licenses for In-Flight and At-rest encryption should be included.
Backup appliance should include features and licenses for ransomware/cyber attacks protection such as Write Once Read Many WORM / Locking mechanism, Secure System NTP Clock, Dual Role Authorization, End to End encryption at rest and in-flight, Multi-Factor authentication, and secure AD/LDAP Authentication
1 x Purpose Build Backup Appliance for Call Center SITE with below specs:
Backup Appliance with built in Inline deduplication & compression
Backup Appliance Provided should be 170 TB Usable Capacity (Before Data Reduction) from Day1
Backup appliance should be provided with 4 x 10Gbps SFP+ ethernet ports and 2 x 16Gbps FC ports from day1
Replication License of the backup appliance should be included
Backup appliance should support encrypting backed up data in-flight and at rest for security. Licenses for In-Flight and At-rest encryption should be included.
Backup appliance should include features and licenses for ransomware/cyber attacks protection such as Write Once Read Many WORM / Locking mechanism, Secure System NTP Clock, Dual Role Authorization, End to End encryption at rest and in-flight, Multi-Factor authentication, and secure AD/LDAP Authentication
1 x Purpose Build Backup Appliance for Justice SITE with below specs:
Backup Appliance with built in Inline deduplication & compression
Backup Appliance Provided should be 100 TB Usable Capacity (Before Data Reduction) from Day1
Backup appliance should be provided with 4 x 10Gbps SFP+ ethernet ports and 2 x 16Gbps FC ports from day1
Replication License of the backup appliance should be included
Backup appliance should support encrypting backed up data in-flight and at rest for security. Licenses for In-Flight and At-rest encryption should be included.
Backup appliance should include features and licenses for ransomware/cyber attacks protection such as Write Once Read Many WORM / Locking mechanism, Secure System NTP Clock, Dual Role Authorization, End to End encryption at rest and in-flight, Multi-Factor authentication, and secure AD/LDAP Authentication
BACKUP SOFTWARE
Backup Software License to cover 60 x CPU License
Additional Backup Software Licenses to cover 150TB Capacity License
Backup Software to cover physical/bare metal environments, Vmware and HyperV virtual environments (image level and granual level backups) and file server backups and NAS NDMP Backups
BACKUP SOFTWARE (Justice Site)
Backup Software Licenses for 50TB Front End Capacity
Backup Software to cover physical/bare metal environments, Vmware and HyperV virtual environments (image level and granual level backups) and file server backups and NAS NDMP Backups
BACKUP TAPE LIBRARY SOLUTION
One Tape Library with the below specs:
2 x LTO6 or Higher FC Tape Drives
Scalable for at least one additional FC tape drive
20 x LTO6 or higher tape cartridges and 5 x Cleaning cartridge
EMAIL ARCHIVING SOLUTION
Software solution to cover email archiving functionality
License should include 850 email exchange mailboxes
Should cover design and implementation services of the solution
should cover professional services from the SW vendor for the migration from the existing SourceOne email archiving solution to the new proposed solution

## VDI for Call center
|  |  |  | C1 | Comply
VMWARE VDI Infrastructure for Call Center |  |  |  | C2 | Partially Comply (Explain the Gap)
Existing Platform : VXRAIL-Vmware | Compliancy | Reference | Remarks | C3 | Do not Comply (State Reason)
General Requirements
The addressed bidder needs to provide the detailed technical solution for each requirement (product and services), along with its detailed technical specifications
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
Bidders to provide 5 years roadmap and new features of the roadmap to be provided free of charge
The Bidder should take full responsibility of any hardware relocation that may occur within one year after FAC
Major Rquirements
The Bidder should have maintenance contracts of the same proposed solution in Lebanon. To be Provided.
MIC2 should have access to vendor's site in order to check touch account status.
Company Profile & References
Bidder to provide Company profile, refrences and history, Years in business, information related to proposed solution experience
Bidder should provide Business Markets and Geography covered
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
The Bidder should provide list of employees that will be involved in the account with their CVs and acquired certifications on the proposed solutions.
Number of employees
Bidder Certification: Vendor Partner Authorized deploy Certificate
Bidder Certification: Authorized support certificate for the proposed solution
Proposed Storage required Certifications: Storage administrator/implementation engineer/platform engineer
IMPLEMENTATION & MIGRATION
Proposed solution implementation services to be included
The bidders is requested to provide PIP for the entire project in details whereby knowing that the delivery deadline must not exceed 15-Nov-2024.
Migration services from existing solution/equipment to the new solution/equipment to be included
Migration services from existing solution/equipment to the new solution/equipment to be included
Project implementation and data migration should be performed by the vendor or under direct supervision of vendor’ senior engineers.
The Bidder/Vendor shall ensure that the activities related to this project will in no way impact the current environment setup.
Winner should ensure smooth migration end to end with zero outage.
Trainings
Training for each proposed solution/System for 4 resources
Warranty, Support and SLA
Local spare parts for the proposed Hardware to be included (List must include controllers, memory, disks, IO modules, power supplies,…)
The offer should include 3 years premium local support and maintenance / warranty on provided solution for products and services with back to back support. The warranty/support period starts after the FAC issuance by MIC2
For non Dell solution, Bidder to provide 1 year managed services with the presence of onsite engineers (not exceeding two engineers) after FAC. Quotation should be mentionned in the Commercial offer. Engineers must be certified on the proposed solution and bidder is requested to provide engineers profiles and certifications.
The bidder is requested to provide annual support pricing for the proposed product until its end of life.
The Bidder to provide Touch sustaining service coverage 24x7 x 365 for the time period mentioned in the agreement duration.
The Bidder should perform onsite Health-check every one month including security, performance monitoring, recommended patches, configuration, or upgrade
The Bidder should provide Helpdesk facilities for support.
The Bidder should be able to provide On-call service as per the SLA. Such service includes but not limited to problem troubleshooting and resolution, spare parts for all systems to MIC2 Datacenter
For P1 (Critical/Emergency) incidents, response time 1 hour, restoration time 3 hours, and resolution time 6 hours
For P2 (Major) incidents, response time 3 hour, restoration time 6 hours, and resolution time 24 hours
For P3 (Non Service Impacting) incidents, restoration time 24 hours, and resolution time 5 calendar days
For P4 incidents, restoration time 48 hours
Bi-Weekly preventive maintenance
All software updates / releases and bug fixes should be included and delivered once available
Bi-Weekly, monthly, and quarterly reports
HYPER-CONVERGED HCI SOLUTION SPECS (CALL CENTER)
4 x Hyper-converged Nodes, each Node with the below specs:
2 x Processors 20 Cores 2.4GHZ Each or more
12 x 32GB RDIMM RAM
2 x 240GB SSD in RAID1 for Hypervisor
3 x 400GB SSD SAS ISE Write Intensive 12Gbps 512e Drive 10 DWPD for Virtual storage Caching
6 x 1.92TB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug Drive 1 DWPD for Virtual storage Data
Intel X710 with 4 x 10Gbps SFP+ ports including transceivers or equivalent
Virtual storage Enterprise Licenses
2 Enterprise Hypervisor Licenses
Redundant Power Supplies
2 x Top of Rack Switches for the Hyper-Converged Solutions above. Each switch as per the below:
48 x 10Gbps SFP+ with all ports enabled/licensed
Cables and transceivers to connect each of the switches to 4 HCI nodes
VDI LICENSES
Virtual Desktops Licenses for 210 Users.
Access Gateway for remote users to connect remotely using Thin Client.
Thin Client Device with 3 years Support (QTY 210)

## Servers
|  |  |  | C1 | Comply
|  |  |  | C2 | Partially Comply (Explain the Gap)
Servers |  |  |  | C3 | Do not Comply (State Reason)
Existing Platform : 10 Dell Servers | Compliancy | Reference | Remarks
General Requirements
The addressed bidder needs to provide the detailed technical solution for each requirement (product and services), along with its detailed technical specifications
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
Bidders to provide 5 years roadmap and new features of the roadmap to be provided free of charge
The Bidder should take full responsibility of any hardware relocation that may occur within one year after FAC
Major Rquirements
The Bidder should have maintenance contracts of the same proposed solution in Lebanon. To be Provided.
MIC2 should have access to vendor's site in order to check touch account status.
Company Profile & References
Bidder to provide Company profile, refrences and history, Years in business, information related to proposed solution experience
Bidder should provide Business Markets and Geography covered
The pricing of the solution needs to be modular showing clearly and separately the price of each item and sub-item
The Bidder should provide list of employees that will be involved in the account with their CVs and acquired certifications on the proposed solutions.
Number of employees
Bidder Certification: Vendor Partner Authorized deploy Certificate
Bidder Certification: Authorized support certificate for the proposed solution
Proposed Storage required Certifications: Storage administrator/implementation engineer/platform engineer
IMPLEMENTATION & MIGRATION
Proposed solution implementation services to be included
The bidders is requested to provide PIP for the entire project in details whereby knowing that the delivery deadline must not exceed 15-Nov-2024.
Migration services from existing solution/equipment to the new solution/equipment to be included
Project implementation and data migration should be performed by the vendor or under direct supervision of vendor’ senior engineers.
The Bidder/Vendor shall ensure that the activities related to this project will in no way impact the current environment setup.
Winner should ensure smooth migration end to end with zero outage.
Warranty, Support and SLA
Local spare parts for the proposed Hardware to be included (List must include controllers, memory, disks, IO modules, power supplies,…)
The offer should include 3 years premium local support and maintenance / warranty on provided solution for products and services with back to back support. The warranty/support period starts after the FAC issuance by MIC2
The bidder is requested to provide annual support pricing for the proposed product until its end of life.
The Bidder to provide Touch sustaining service coverage 24x7 x 365 for the time period mentioned in the agreement duration.
The Bidder should perform onsite Health-check every one month including security, performance monitoring, recommended patches, configuration, or upgrade
The Bidder should provide Helpdesk facilities for support.
The Bidder should be able to provide On-call service as per the SLA. Such service includes but not limited to problem troubleshooting and resolution, spare parts for all systems to MIC2 Datacenter
For P1 (Critical/Emergency) incidents, response time 1 hour, restoration time 3 hours, and resolution time 6 hours
For P2 (Major) incidents, response time 3 hour, restoration time 6 hours, and resolution time 24 hours
For P3 (Non Service Impacting) incidents, restoration time 24 hours, and resolution time 5 calendar days
For P4 incidents, restoration time 48 hours
Bi-Weekly preventive maintenance
All software updates / releases and bug fixes should be included and delivered once available
Bi-Weekly, monthly, and quarterly reports
RACK MOUNT SERVERS & TOR SWITCHES
14 x Rack Mount Servers, each server with the below specs:
2 x Processors, each with a minimum of 16 Cores and 2.1GHZ
24 x 32GB RAM
RAID Controller with a minimum of 8GB of Cache and support for RAID1/5/6
2 x 300GB 15K RPM SAS 12Gbps 512n 2.5in Hot-plug Hard disks or better for OS
2 Cards each with Dual Port 16Gb Fibre Channel HBA for FC SAN Connectivity
2 x 10Gbps SFP+ Ethernet ports with SR transceivers
2 x 1Gbps Ethernet ports
Dual Redundant Power Supplies
Rails with cable management
Remote Management port and license
2 x Top of Rack Switches for the servers. Each Switch with:
28 x 10Gbps SFP+ ports per switch
22 x 3m DAC cables per switch
Software Licenses inclusive
RACK MOUNT SERVERS & TOR SWITCHES (DR SITE)
2 x Rack Mount Servers, each server with the below specs:
2 x Processors, each with a minimum of 28 Cores and 2.0GHZ
8 x 64GB RAM
RAID Controller with a minimum of 8GB of Cache and support for RAID1/5/6
2 x 480GB SSD SATA Mix Use 6Gbps 512 2.5in Hot-plug AG Drive, 3 DWPD
One Cards with Dual Port 32Gb Fibre Channel HBA for FC SAN Connectivity
One Card with Dual Port 10/25GbE SFP28 Ethernet
2 x 10Gbps SFP+ Ethernet ports with SR transceivers
2 x 1Gbps Ethernet ports
2 x enterprise Hypervisors licenses
Dual Redundant Power Supplies
Rails with cable management
Remote Management port and license
2 x Top of Rack Switches for the servers. Each Switch with:
28 x 10Gbps SFP+ ports per switch
4 x 3m DAC cables per switch
Software Licenses inclusive