## Sheet1
Killing Factors
Requested new or upgraded P routers as per the needed interfaces and following the same model type
Requested new PEs routers as per the needed interfaces and following the same model type
Requested new Aggregation routers as per the needed interfaces and following the same model type
Requested new Route Reflectors
Redundant Route Processors
Redundant Power supply
A minimum of 2 Line cards to accommodate for the needed ports per router
At least 40% of the Router usable slots are empty (for PE and Aggregation)
Router interface type distribution as per the set requirment
All routers to be part of the vendor 5G portfolio
All routers should support the following synchronization and provided with the related licenses: o Synch E o IEEE 1588v2 o G8275.1 o Class A, B & C
All routers to be provided as T-BC (Telecom Boundary Clock) including the needed licenses and features
Security: most of the requested security requirment should be supported and included in the offer
Requested Layer 2 features
Requested IPv4/IPv6 support
Requested L2VPN/L3 VPN
Only DC (-48V) power supply is to be provided
Only self-manufactured HW and SW products are accepted, third party equipment are not accepted. The only exceptions are for the accessories, and cables and passive parts
Implementation, integration and service reshuffle from current equipment to the new routers
Main and Standby NMS should be provided
Utilizaion reports with history
4 years support for all new HW/SW
Local support team available in Lebanon ready for immediate site intervention if needed
Resident engineer as per the requested qualifications and duration
All software patch/updates/releases/upgrades should be included, delivered and installed once available during the support period
Bidder should mention references for his deployment of the proposed or similar routers in a mobile operator environment with live 5G network. Minimum 3 references
Bidder should mention references for the proposed routers in a mobile operator environment with live 5G network. Minimum 3 references
Bidder should mention references for the support and maintenance services he currently or previously provided on similar products in a mobile operator environment. Minimum 3 references