## Sheet1
D e s c r i p t i o n | Unit | Average Quantity per site
INSTALLATION OF OPTICAL DISTRIBUTION FRAME Cabinet ONLY– size for 1728 CONNECTORS | EACH | 1
INSTALLATION OF OPTICAL DISTRIBUTION FRAME FULLY EQUIPPED Patch Panel–288 CONNECTORS (Fully Equipped including splicing) | EACH | 1
INSTALLATION OF Splitter OPTICAL DISTRIBUTION FRAME Cabinet ONLY – size for 1728 Preconneted | EACH | 1
INSTALLATION OF Splitter OPTICAL DISTRIBUTION FRAME FULLY EQUIPPED Patch Panel 240 Connectors (48*192) – Preconneted (Fully Equipped) | EACH | 1
INSTALLATION OF PATCH PANEL 48 CONNECTORS FULLY EQUIPPED | EACH | 1
INSTALLATION OF FIBER DISTRIBUTION BOX 16-24 PORTS Fully Equipped (Without splitter) | EACH | 1
INSTALLATION OF FIBER DISTRIBUTION BOX 32 PORTS Fully Equipped (Without splitter) | EACH | 1
INSTALLATION OF FIBER DISTRIBUTION BOX 48 PORTS Fully Equipped (Without splitter) | EACH | 1
INSTALLATION OF OPTICAL MICRO SPLITTER PRE-TERMINATED 1X16 (17 Connectors) (The installation of preconnected splitter includes the installation of one pigtail and one adapter) | EACH | 1
INSTALLATION OF OPTICAL MICRO SPLITTER PRE-TERMINATED 1X32 (33 Connectors) (The installation of preconnected splitter includes the installation of one pigtail and one adapter) | EACH | 1
INSTALLATION OF Outdoor/ AERIAL FIBER DISTRIBUTION BOX 16 PORTS Fully Equipped with Splitter | EACH | 1
INSTALLATION OF FIBER OPTIC PIGTAILS G.652D 2M (With one splice) | EACH | 12
INSTALLATION OF FIBER OPTIC ADAPTORS | EACH | 12
INSTALLATION OF JOINTING CLOSURE FOR FOC FULLY EQUIPPED SIZE L (288) Without Splicing (For Jointing or Midspan Access) | EACH | 1
INSTALLATION OF JOINTING CLOSURE FOR FOC FULLY EQUIPPED SIZE M (72-144) Without Splicing (For Jointing or Midspan Access) | EACH | 1
INSTALLATION OF JOINTING CLOSURE FOR FOC FULLY EQUIPPED SIZE S (<=48) Without Splicing (For Jointing or Midspan Access) | EACH | 1
Splicing One Fiber | EACH | 12
Open/Reclose Jointing Closure For FOC Fully Equipped Size L (288 &/or 256) Without Splicing | EACH | 4
Open/Reclose Jointing Closure For FOC Fully Equipped Size M (72-144) Without Splicing | EACH | 6
Open/Reclose Install Jointing Closure For FOC Fully Equipped Size S (>=48) Without Splicing | EACH | 6
INSTALLATION OF 4 OPTICAL FIBERS CABLE G652D (Including Roding & Roping of subduct or empty/occupied duct) | KM | 3
INSTALLATION OF 12 OPTICAL FIBERS CABLE G652D (Including Roding & Roping of subduct or empty/occupied duct) | KM | 3
INSTALLATION OF 24 OPTICAL FIBERS CABLE G652D (Including Roding & Roping of subduct or empty/occupied duct) | KM | 2
INSTALLATION OF 48 OPTICAL FIBERS CABLE G652D (Including Roding & Roping of subduct or empty/occupied duct) | KM | 2
INSTALLATION OF 72 OPTICAL FIBERS CABLE G652D (Including Roding & Roping of subduct or empty/occupied duct) | KM | 2
INSTALLATION OF 96 OPTICAL FIBERS CABLE G652D (Including Roding & Roping of subduct or empty/occupied duct) | KM | 2
INSTALLATION OF 144 OPTICAL FIBERS CABLE G652D (Including Roding & Roping of subduct or empty/occupied duct) | KM | 2
INSTALLATION OF 288 OPTICAL FIBERS CABLE G652D (Including Roding & Roping of subduct or empty/occupied duct) | KM | 2
INSTALLATION OF 4 AERIAL OPTICAL FIBERS CABLE G652D with pole accessories | KM | 3
INSTALLATION OF 12 AERIAL OPTICAL FIBERS CABLE G652D with pole accessories | KM | 2
INSTALLATION OF 24 AERIAL OPTICAL FIBERS CABLE G652D with pole accessories | KM | 2
INSTALLATION OF 48 AERIAL OPTICAL FIBERS CABLE G652D with pole accessories | KM | 2
INSTALLATION OF 1 SUB-DUCT IN EMPTY DUCT (Including Roding & Roping in duct) | KM | 3
INSTALLATION OF 1 SUB-DUCT IN OCCUPIED DUCT (Including Roding & Roping in duct) | KM | 3
INSTALLATION OF 2 SUB-DUCT IN EMPTY DUCT (Including Roding & Roping in duct) | KM | 2
INSTALLATION OF 2 SUB-DUCT IN OCCUPIED DUCT (Including Roding & Roping in duct) | KM | 2
INSTALLATION OF 3 SUB-DUCT IN EMPTY DUCT 32 or 28mm.bundled or unbdled (Including Roding & Roping of one duct) | KM | 2
INSTALLATION OF 5 SUB-DUCT IN EMPTY DUCT (Including Roding & Roping of one duct) | KM | 2
Install optical fiber cable on wall/Tray with flexible 20mm in loop | M | 100
lnstall Oprical Fiber Cable on wall/Tray without flexible | M | 100
INSTALLATION OF VERTICAL FIBER CABLE BETWEEN THE ELECTRICAL/MAINTENANCE ROOM AND THE SITE | M | 100
INSTALLATION OF PATCH PANEL INSIDE THE 19 INCH RACK OR OUTDOOR CABINET | EACH | 1
INSTALLATION OF WALL MOUNTED 4U CABINET TO INSTALL THE FIBER PATCH PANEL | EACH | 1
TESTING EXISTING EMPTY OR OCCUPIED DUCT AND CLEANING BLOCKAGE BY WATER PRESSURE | M | 250
TESTING EXISTING EMPTY SUB-DUCT AND CLEANING BLOCKAGE BY WATER PRESSURE | M | 250
TESTING EXISTING EMPTY OR OCCUPIED DUCT ADDITIONAL AFTER FIRST ONE (shall not exceed 50% of Subduct installation price) | Km | 3
REPAIR OF EXISTING EMPTY OR Occupied DUCT ENCASED IN CONCRETE Up to 2 Meters For 1PVC or 1 (50mm) PVC, including breaking and reinstatement of asphalt or concrete. | EACH | 2
REPAIR OF EXISTING EMPTY OR Occupied DUCT ENCASED IN CONCRETE 3m-5m For 1PVC or 1 (50mm) PVC, including breaking and reinstatement of asphalt or concrete. | EACH | 2
REPAIR OF EXISTING EMPTY OR Occupied DUCT ENCASED IN CONCRETE 6m-10m For 1PVC or 1 (50mm) PVC, including breaking and reinstatement of asphalt or concrete. | EACH | 2
REPAIR OF EXISTING EMPTY OR Occupied DUCT ENCASED IN CONCRETE additional after first one. | M | 100
Rehabilitation of PB | EACH | 2
SUPP. & INST. CONDUIT 1 WAY PVC 100mm. IN CONCRETE, including breaking or excavation and reinstatement of asphalt or concrete. | M | 400
Tracing & Locating Manhole/Handhole/PB cover (Depth>=5cm) | EACH | 15
Supply and Install U-Guard | EACH | 10
MANHOLE CLEANING (from 0 to 0.75 cu.m) | EACH | 10
MANHOLE CLEANING ( from 0 to 1.5 cu.m) | EACH | 10
MANHOLE CLEANING ( from > 1.5 cu.m) | EACH | 10
REPLACE MH COVER AND FRAME Without Supply | EACH | 2
REPLACE HH1C COVER AND FRAME Without Supply | EACH | 2
REPLACE HH2C COVER AND FRAME Without Supply | EACH | 2
REPLACE HH3C COVER AND FRAME Without Supply | EACH | 2
REPLACE BUILDING ENTRANCE STEEL COVER AND FRAME 40 X 40 with supply | EACH | 2
REPLACE BUILDING ENTRANCE STEEL COVER 40 X 40 with supply | EACH | 2
RAISE/LOWER MANHOLE ENTRANCE COVER W/O SUPPLY OF THE FRAME AND COVER (UP TO 15 Cm) | EACH | 10
RAISE/LOWER MANHOLE ENTRANCE COVER W/O SUPPLY OF THE FRAME AND COVER (FROM 15 UP TO 30 Cm) | EACH | 10
RAISE/LOWER MANHOLE ENTRANCE COVER W/O SUPPLY OF THE FRAME AND COVER (above 30 Cm) | EACH | 10
RAISE/LOWER HH1C ENTRANCE COVER W/O SUPPLY OF THE FRAME AND COVER (UP TO 15 Cm) | EACH | 10
RAISE/LOWER HH1C ENTRANCE COVER W/O SUPPLY OF THE FRAME AND COVER (From 15 UP TO 30 Cm) | EACH | 10
RAISE/LOWER HH1C ENTRANCE COVER W/O SUPPLY OF THE FRAME AND COVER (above 30 Cm) | EACH | 10
RAISE/LOWER HH2C ENTRANCE COVER W/O SUPPLY OF THE FRAME AND COVER (UP TO 15 Cm) | EACH | 10
RAISE/LOWER HH2C ENTRANCE COVER W/O SUPPLY OF THE FRAME AND COVER (From 15 UP TO 30 Cm) | EACH | 10
RAISE/LOWER HH3C ENTRANCE COVER W/O SUPPLY OF THE FRAME AND COVER (UP TO 15 Cm) | EACH | 10
RAISE/LOWER HH3C ENTRANCE COVER W/O SUPPLY OF THE FRAME AND COVER (From 15 UP TO 30 Cm) | EACH | 10
Supply & Install HHAF/HHBF Concrete Cover | EACH | 2
Supply and Install Buried Two bundeled Subduct In Mini Trench for Drop Cables (Depth of 60 cm width 16cm) | M | 100
Install Wooden Pole (8M) | EACH | 4
OTDR Testing per Fiber (End-to-End with report) | EACH | 12
Power Meter Testing per Fiber (Insertion Loss Measurement) | EACH | 12
Installation of protective pipes (HDPE Pipe) for Building Entry | EACH | 1
Installation of Aerial Fiber on Existing OGERO Poles | EACH | 1
Installation of Pole Brackets & Clamps | EACH | 20
Core Drilling Through Wall (coring per hole diameter category) | EACH | 10
Sealing of Wall Penetration | EACH | 5
Supply and Installation of Cable Ladder/Tray (Indoor/Outdoor) | EACH | 1
Pole-to-Building aerial cable Drop Installation | EACH | 1
Pumping Water from Flooded Manhole | EACH | 15
Dewatering and Drying of Duct | EACH | 15
Removal of non-used Cables in Duct | EACH | 2
Fiber Labeling and Tagging (at both ends) | EACH | 24
As-Built Documentation Preparation (AutoCAD + KMZ + route marking) | EACH | 1
Fiber Route Survey (Pre-Execution Survey Report) | EACH | 1
Supply and installation of outdoor/metalic flexible tube (for veritcal cable) | EACH | 1
Supply and installation of cable tray (for veritcal cable) | EACH | 1