Dear Vendor,
Kindly send your best priced offer as per the attached documents needed for RFQ (Fire protection system) (Requirement, BOQ, layout) no later than Monday 21 September 2026 before 12:00 PM.

The distributor/installer shall:
1. Be trained by the manufacturer to calculate/design, install, test and maintain the FM-200 fire suppression system 
1. be able to produce a certificate stating such on request

Integrity tests
1. The room integrity must be carried out by a licensed and qualified specialist
1. All rooms must be completely sealed 

Delivery time of all above works shall be mentioned in the offer.

Offers should be submitted in USD currency to be paid by bank transfer in LBP at time of payment as per current rate.

The sealed envelope should be submitted by hand and marked visibly with the reference TechProcurement /BEIRUTTOWFM200/11/9/2026 and submitted 
to the following address:
 
Procurement Department 8th floor
Beirut Central Building (Touch Building)
Plot # 1526 / Bashoura - Block B
Fouad Chehab Avenue
Beirut
PO. BOX 175051

For contact: Georges (03) 694 634
Best Regards,
