Dear Vendor,
 
Kindly send your best priced offer as per the below no later than Thursday 17 September 2026 before 12:00 PM:

1. Supply and installation of UPS Batteries

1. UPS: 2X250Kva, each UPS : 2X40 Battery (total 160 batteries)

The existing batteries’ model is: Sprinter XP12V3400 (12V-105Ah)  Dimension: LxWxH = 351x172x223 mm

To note that there is no additional space on the battery racks, batteries are to be the same size or smaller of the existing ones (see attached).

Delivery time of all above works shall be mentioned in the offer.

Offers should be submitted in USD currency to be paid by bank transfer in LBP at time of payment as per current rate.

The sealed envelope should be submitted by hand and marked visibly with the reference TechProcurement /UPSBATTERIES/11/9/2026 and submitted 
to the following address:
 
Procurement Department 8th floor
Beirut Central Building (Touch Building)
Plot # 1526 / Bashoura - Block B
Fouad Chehab Avenue
Beirut
PO. BOX 175051

For contact: Mazen  (03) 732 855

Best Regards,

	Technology Procurement  
	

	T:
	 + 961 (03) 792000

	T:
	 + 961 (03) 792243



www.touch.com.lb
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