## Sheet1
Items | Unit | Floor | Estimated quantities | Notes
Insurance of the Works should be submitted
Insurance of Contractor’s Equipment and Labor should be submitted
Third-Party Insurance
Maintenance and repairing painted wood partitions, with replacing accessories if needed. | m2 | GF |  | Sample of painted wood should be submitted
|  | F1 | 20
|  | F2 | 30
|  | F3 | 45
|  | F4 | 28
|  | F5 | 50
|  | F6 | 36
|  | F7 | 38
|  | F8 | 32
|  | F9 | 30
Supply and installing new wood partitions, painted, with replacing accessories if needed. | m2 | F1 |  | Sample of painted wall wood should be submitted
|  | F2 | 18 | Same as ecisting design
|  | F3 | 18
|  | F4 | 17
|  | F5 | 18
|  | F6 | 9
|  | F7 | 19
|  | F8 | 22
|  | F9 | 19
Supply and installimg clear tempered glass 8mm for wood partition 160x115 approx. (Machine-seamed edges) | unit | F1 | 5
|  | F2 | 8
|  | F3 | 8
|  | F4 | 4
|  | F5 | 6
|  | F6 | 4
|  | F7 | 8
|  | F8 | 4
|  | F9 | 8
Supply and install new double wall gypsumboard with rockwool 5cm with all needed accessories | m2 | GF
|  | F1 | 35
|  | F2 | 50
|  | F3 | 40
|  | F4 | 45
|  | F5 | 48
|  | F6 | 35
|  | F7 | 40
|  | F8 | 35
Repairing gypsum board partitions with accessories if needed | m2 | GF
|  | F1 | 23
|  | F2 | 21
|  | F3 | 10
|  | F4 | 6
|  | F5 | 8
|  | F6 | 9
|  | F7 | 17
|  | F8 | 19
|  | F9 | 10
Supply and installing painted wooden french oak door, with frame, hinges, stopper, lock and handle. | unit | GF | 2 doors 255x95 1 white glossy door 255x90 | Same a existing design
|  | F1 | 1 door (120x237 with frame 42 depth) sound isolation sides and bottom
Toilet door MDF painted Grey
3 door 255x83
|  | F2 | 4 doors 255x85
|  | F3 | 4 doors 255x85
|  | F4 | 4 doors 255x85
|  | F5 | 4 doors 255x85
|  | F6 | 4 doors 255x85
|  | F7 | 5 doors 255x85
|  | F8 | 3 doors 255x85
|  | F9 | 2 wallnut doors 255x90
Repairing and painting wooden french oak door | unit | LG | 8
|  | GF | 10
|  | Mezz | 5 frame for doors
|  | F1 | 3 frame for doors 235Hx90
3 frame for doors 235Hx115x26D
|  | F2 | 2 frame for doors 235Hx90
|  | F3 | 3 frames for doors 235Hx90
|  | F4 | 1 doors 235Hx90
|  | F5 | 2 doors 235Hx90
|  | F6 | 2 doors 235Hx90
|  | F7 | 2 frame for door 235Hx90
|  | F8 | 5 frame for door 235Hx90
|  | F9 | 4 wallnut doors 255x90
Supply and install sunscreen curtains 330Hx130W approx. | unit | LG |  | Catalogs should be submitted
|  | GF | 15 | Same as existing
|  | F1 | 32
|  | F2 | 19
|  | F3 | 28
|  | F4 | 19
|  | F5 | 18
|  | F6 | 23
|  | F7 | 9
|  | F8 | 15
|  | F9 | 8
Supply and installing motor for curtains | unit | GF | 2 | Should be compatible with the existing remote control
|  | F9 | 1
Repairing gypsum board ceiling | m2 | B1
GF
|  | Mezz | 9
|  | F1 | 8
|  | F2 | 8
|  | F3 | 10
F4
|  | F5 | 12
|  | F6 | 8
|  | F7 | 10
|  | F8 | 9
|  | F9 | 8
Supply and installing new gypsum board panel to close the area at the ceiling level between the existing false ceiling and the above concrete ceiling. | m2 | All Floors | 450
Supply and installing Gypsum board ceiling with grid and needed accessories | m2 | B1
GF
Mezz
|  | F1 | 19
|  | F2 | 13
|  | F3 | 10
|  | F4 | 13
|  | F5 | 5
|  | F6 | 23
|  | F7 | 20
F8
F9
Supply and installing perforated gypsum board ceiling | m2 | GF | 30
Supply and installing gypsumboard ceiling access panel 60x60cm with hinges and click lock Panel should be covered by an aluminum plate, which provides layer of protection against water in case of leakage | unit | All Floors | 150
Supply and installing gypsumboard ceiling access panel 80x80cm with hinges and click lock Panel should be covered by an aluminum plate, which provides layer of protection against water in case of leakage | unit | All Floors | 650
Supply and applying putty and acrilic washble paint | m2 | B1 | 2007 | Brand should be submitted
|  | GF | 2306
|  | Mezz | 738
|  | F1 | 2837
|  | F2 | 2837
|  | F3 | 2837
|  | F4 | 2837
|  | F5 | 2837
|  | F6 | 2837
|  | F7 | 2837
|  | F8 | 2837
|  | F9 | 2084
Supply and installing accoustic false ceiling 60x60 Maple melamine-leo 32 with grid and needed accessories | unit | LG |  | Same design as existing
|  | F1 | 36
Dismantle existing ceiling with all items (elec,mec) where needed, and reinstalling the new one |  | F2 | 36
|  | F3 | 31
|  | F4 | 67
|  | F5 | 40
|  | F6 | 70
|  | F7 | 59
|  | F8 | 27
|  | F9 | 28
Supply and installing accoustic false ceiling 60x60 Maple melamine-leo 32 same as existing (only wood panels) | unit | LG |  | Sample should be submitted
|  | F1 | 35 | Specs should be submitted
|  | F2 | 39
|  | F3 | 60
|  | F4 | 65
|  | F5 | 25
|  | F6 | 35
|  | F7 | 45
|  | F8 | 60
|  | F9 | 29
Supply and installing galvanized steel sheet for suspended ceiling 0.8mm with all accessories needed, powder coated as existing with 6mm hydrofuge MDF RAL Grey 9006 | unit | LG |  | Sample should be submitted
GF
|  | Mezz | 4(210x90), 4(90x80)
|  | F1 | 60 pcs (190x140)
|  | F2 | 1(200x40), 3(80x80), 2(80x40), 3(80x200)
|  | F3 | 1(100x127), 2(150x90), 2(80x90), 4(200x90), 5(80x90)
|  | F4 | 1(140x70), 8(160x90), 5(190x80), 2(80x80)
|  | F5 | 4(100x150)
|  | F6 | 6(200x80), 2(160x80), 2(80x80)
|  | F7 | 2(150x90)
|  | F8 | 1(100x127), 2(150x90), 2(80x90), 4(200x90), 5(80x90)
|  | F9 | 1(200x90)
Supply and installing new galvanized steel sheet ceiling 120x60cm RAL Grey 9006 | unit | LG
GF
Mezz
|  | F1 | 37
|  | F2 | 37
|  | F3 | 41
|  | F4 | 33
|  | F5 | 35
|  | F6 | 26
|  | F7 | 32
|  | F8 | 36
F9
Supply and installing carpet 50x50cm same as existing | unit | F1 | 25 Grey | Specs should be submitted
|  | F2 | 22 Blue | Sample should be submitted
|  | F3 | 18 Grey
|  | F4 | 25 Grey
|  | F5 | 8 Blue
|  | F6 | 12 Blue
|  | F7 | 19 Blue
|  | F8 | 8 Blue
|  | F9 | 9 Grey
Aluminum ceiling 60x60cm white | unit | LG |  | Specs should be submitted
|  | GF |  | Sample should be submitted
Mezz
|  | F1 | 6
|  | F2 | 9
|  | F3 | 9
|  | F4 | 8
|  | F5 | 8
|  | F6 | 6
|  | F7 | 9
|  | F8 | 8
Supply and installing ceiling access white galvanized 0.8mm panels 160x60 approx. Removing the old existing wood panels and installing the new steel panels instead with reinstalling old lighting spots and fire detectors | unit | LG
|  | GF | 19
|  | Mezz | 0
|  | F1 | 23
|  | F2 | 19
|  | F3 | 26
|  | F4 | 26
|  | F5 | 26
|  | F6 | 26
|  | F7 | 26
|  | F8 | 26
|  | F9 | 6
Repairing aluminum internal glass partition (no glass needed) | m2 | LG |  | Same as existing aluminum
GF
Mezz
|  | F1 | 9
F2
F3
F4
|  | F5 | 5
F6
|  | F7 | 2
|  | F8 | 9
F9
Supply and installing new office partition, aluminum, 10mm clear tempered glass with door | m2 | B1 |  | Same design and profile as existing partition
GF
Mezz
|  | F1 | 17
|  | F2 | 17
|  | F3 | 17
|  | F4 | 17
|  | F5 | 17
|  | F6 | 17
|  | F7 | 17
|  | F8 | 17
Removing existing block cement wall with steel/glass facade | m2 | GF | 15
Supply and installing a new block wall with plastering
Reinstalling the steel/glass façade
Supply and install internal ceramic grey tiles 60x60cm for floor | unit | B1 |  | Same as existing
|  | GF |  | Sample should be submitted
|  | Mezz | 8
|  | F1 | 15
|  | F2 | 13
|  | F3 | 9
|  | F4 | 10
|  | F5 | 12
|  | F6 | 8
|  | F7 | 9
|  | F8 | 12
F9
Supply and install outdoor grey tiles | unit | B1
|  | GF | 40
Mezz
|  | F1 | 40
Deep clean for all floor carpets in block B&C | LS | All Floors | 1
Supply cylinder key lock for wooden door | unit | All Floors | 30
Fire rated door | unit | All FLoors | 3 | Same as existing
Supply and installing Control box for A/Cs | unit | All Floors | 424 | 3 relays 220v 3DPT, wires control, junction box,flexible etc…
Domestic water ballon pressure refix DT 100 | unit |  | 1 | volume 100L-70deg c- 10 bar-test pressure 14.3b bar-
pressure switch | unit |  | 2 | siemens-QPE2003-P1/ rel:0…1bar- p max:3 bar-
water level reading senssor | unit |  | 1 | roof top with siemens
water control pumps | unit |  | 1 | type VR 202KW-2 WA wilo
repair duct with insulation and flexible | m |  | 100 | plate thermo break
supply and installation circle defuser with dumper D36cm | unit |  | 15 | white color made dy KBE
supply and installationcircle defuser with dumper D70cm | unit |  | 15 | white color made dy KBE
repair ERU | unit |  | 4 | repair of Daikin ADN03FCN1
water fire system 2" | m |  | 50 | repair and supply and installation when needed iron pipes with red paint ( Galvanized steel pipes ASTM A 53 type E or S grade B hot-dip galvanized)
water fire system 1.5" | m |  | 50 | repair and supply and installation when needed iron pipes with red paint ( Galvanized steel pipes ASTM A 53 type E or S grade B hot-dip galvanized)
water fire system 1" | m |  | 50 | repair and supply and installation when needed iron pipes with red paint ( Galvanized steel pipes ASTM A 53 type E or S grade B hot-dip galvanized)
water fire system 3/4" | m |  | 50 | repair and supply and installation when needed iron pipes with red paint ( Galvanized steel pipes ASTM A 53 type E or S grade B hot-dip galvanized)
gate valve for water fire system 2" | m |  | 15 | UL/FM listed gatecheck and OS&y valves must meet NFPA 13/NFPA 24 red color paint
gate valve for water fire system 1.5" | m |  | 15 | UL/FM listed gatecheck and OS&y valves must meet NFPA 13/NFPA 24 red color paint
gate valve for water fire system 1" | m |  | 15 | UL/FM listed gatecheck and OS&y valves must meet NFPA 13/NFPA 24 red color paint
gate valve for water fire system 3/4" | m |  | 15 | UL/FM listed gatecheck and OS&y valves must meet NFPA 13/NFPA 24 red color paint
springler | unit |  | 50 | 57°C to 77°C temperature rating red
water softner | LS |  | 1 | check up and repair , treatment,… ( AKIKI ENG)
Type B 18W | unit | All Floors | 350 | 18w/4000K/D 228mm//including driver
Type A 40W | unit | All Floors | 120 | 40w/4000K/size 595x595mm//with driver
Type L 24W | unit | All Floors | 70 | false ceiling recessed aluminum profile 12x120 equipped with 24W/Lm LED light//with driver
Type E 40W | unit | All Floors | 40 | 40w/4000K/rectangle 1200x300mm//with driver
Type D 6W | unit | All Floors | 25 | 6W/400k/size D 113mm//with driver
Type B3 23W | unit | All Floors | 50 | 23w LED Lamp//with driver
Type E7 2W | unit | All Floors | 50 | exit light 2w-LED 3 hrs autonomy
ceiling motion sensor | unit | All Floors | 15 | Motion detector used As a light switch220v/ 300W reactive load
wall motion sensor | unit | All Floors | 7 | Motion detector used As a light switch220v/ 300W reactive load
Outdoor socket 9 floor | unit | All Floors | 10 | water proof force socket Legrand
G9 led | unit | All Floors | 25 | 220V-10W
T8 Led | unit | All Floors | 300 | one side connection 6500k 120cm
Sprinklers checkup (Adjustment and cover installation)
Supply and installation of Sprinkler |  | unit | 14
Supply and installation of cover for sprinkler (UL) |  | unit | 38
Supply and installation od Escutcheon for Sprinklers |  | unit | 13