## BOQ
Mobile Interim Company 2 S.A.L
MIC 2
Civil works on existing sites (Estimated BOQ)
Various sites
# | Description | Unit | Estimated Qty | U/Price | Total
1 | Chouifat 2 MPT S1319 (4 floors)
1 | Supply & installation of exhaust system (pipe-filter type) for the existing two generators,made up of HDG pipes 3",(4mm) (running in GF area and along facade).Works include antivibration supports,threaded sealed connection,connection to CO2 filter (H=240cm) ,flexibles,proper sealing ,welding,outlets.All complete with outline drawing details and testing. | L.m | 20
2 | Supply & installation of CO2 filter (H=240)cm | each | 1
3 | Supply & installation of steel tent for equipment (including lighting) | M2 | 12
4 | Apply painting for 18m Tower (150 micron final thickness (water base paint approved 1st choice quality)Works include tightening,1m ladder and platform installation. | each | 1
5 | Supply & installation of obstruction light as per MIC2 requirement (including lamp,cables,panel and connection to MDB and testing) | each | 1
6 | Supply and installation of ESE head for the lightning system. | each | 1
2 | Faqra Club MPT S1192 (GF site in MPT premises)
1 | Supply & installation of Brick tent with lighting (3 lamps 120cm double waterproofed) and steel water drain channel and outlet spouts | M2 | 20
2 | Supply & installation of cable tray 15cm with cover | L.m | 20
3 | Supply & installation of exhaust system (pipe-cap) as per drawing and MIC2 specs. | L.m | 12
3 | Bchaele MPT S1119 (GF site at MPT premises)
1 | Excavation works too prepare generator area and ramp backfill with proper compaction | M3 | 60
2 | Reinforced concrete to retain the new area (works include excavation works,..) | M3 | 6
3 | Concrete slab for generators (MIC2 specs) | M2 | 35
4 | Supply & installation of HBW 20cm (H=220cm) including interval columns 30x20cm and lintel on top | M2 | 18
5 | Plastering | M2 | 36
6 | Painting | M2 | 60
7 | Supply & installation of 6" UPVC drain pipe (approved quality 1st choice) connected to existing water channel (concrete) with proper supports (each 1m) and insprction opening (each 6m) | L.m | 24
8 | Supply & installation of fence fitted with 2mm perforated sheets including gate (200x220)cm double leaf (lock,handle,louvre),paint. | M2 | 10
9 | Supply & installation of Brick tent with lighting (3 lamps 120cm double waterproofed) and steel water drain channel and outlet spouts | M2 | 24
10 | Supply & installation of cable tray 15cm with cover | L.m | 45
11 | Supply & installation of exhaust system (pipe-cap) as per drawing and MIC 2 specs. | L.m | 15
4 | Rijmeh S178 (RT outdoor,2G)
1 | Apply waterproofing membrane (4mm granule membrane of approved quality 1st choice) (PU membrane where carpet not applicable).Works include all preparation works needed (removal of old membrane, cleaning,cracks repair,concrete screed and filling if needed,drainage repair and connect to main roof drain estimated 1m with accessories), plastering ,tray dismantling & reinstall,parapet maintenance 6m....) guarantee and testing | M2 | 20
5 | Raml el Ali 2 S185 (RT outdoor 2G) 8 floors
1 | Apply waterproofing membrane (4mm granule membrane of approved quality 1st choice) .Works include all preparation works needed (cleaning,cracks repair,concrete screed and filling,drainage repair, relocation of 2WT to steel chassis,relocation of CO2 filter,plastering,tray dismantling & reinstall,....) guarantee and testing | M2 | 150
2 | Replacement of damaged cable tray,including dismantling and reinstall of cables.(Cable tray 20cm with cover) on new concrete blocks | L.m | 70
3 | Repair for roof parapet (th.14cm,h85cm).Works include cracks reapir,apply PU paint 3 coats. | Lm | 40
4 | Repair for existing tent by replacment roofing sheets (6x2)m by new ones HDG 6/10mm prepainted and paint for steel frame. | LS | 1
6 | Sinay S1380 (RT outdoor,No G) 2 floors
1 | Dismantling of ATS panel (with all related connections,tray and cabinet) from GF current location & reinstall on roof within MIC2 equipment area,and connection to MDB | each | 1
2 | Dismantling of power cables (EDL and subscription),ground/control cables and reinstall properly inside cable tray and termination to ATS on roof (estimated 40m) | LS | 1
3 | Supply & installation of cable tray 15cm with cover (install on 9 blocks) | L.m | 20
7 | Tyre West S749 (RT indoor,2G in basement) (10 floors)
1 | Supply & installation of exhaust system (pipe-filter type) for the existing generators,made up of HDG pipes 4",(4mm) as vertical with antivibration supports with 3m spacing,threaded sealed connection,bottom valve fitted with valve and drain 1", HDG pipes (3",4mm) for generator-vertical connection,new CO2 filter H=240cm,connection to CO2 filter (H=240cm) on roof.All Works shall include supports,flanges,flexibles,proper sealing,welding,outlets.All complete with outline drawing details and testing. | L.m | 60
2 | Dismantling & transportation to MIC2 warehouse of the existing damaged exhaust system and filter. (L=60m) | L.S | 1
TOTAL