## Killing Factors
Killing Factors
Eligibility & Vendor Compliance
The Bidder must demonstrate that they are certified by the vendor to supply and support the proposed servers,as per vendor’s standards, and support policies. Bidder should provide a gold level partnership certificate minimum.
Certified Engineers
The Bidder must have at least two Certified Engineers, based in Lebanon, including but not limited to the proposed solution. Copies of the certifications must be provided. Also, bidder should be authorized by the vendor to deploy and support the proposed systems. Authorization letters to be provided.
References
The Bidder must provide at least two deployment references for the proposed servers solution in Lebanon.
The Bidder must provide at least two support references for the proposed servers solution in Lebanon.
Deployment & Migration Services
Project deployment and migration services shall be carried out with the mandatory presence of certified installation and maintenance engineers from the Bidder’s side, in coordination with the vendor if needed.
Servers Requirements
The proposed solution must be fully aligned with the technical specifications, implementation methodology, and deployment approach defined in this RFP. Any deviation from the requested requirements, standards, or project steps may lead to disqualification.
3 Years Warranty HW/SW 24/7 Vendor and Partner support