## Matrix Facilitator Guidance
| RFT Compliance Matrix | Reference Number | SF-CF-25
|  | Owner | PRO
|  | Revision Code | 1.0
|  | Implementation Date | 2022-11-01
The following should be considered, while filling the RFT/RFQ Compliance Matrix:
Every Offer shall contain a clear reference to the supporting documentation within the Bidder’s provided set of technical documentation. The reference must indicate explicitly the document title, page and section.
* “Fully Compliant”, when the Bidder fully complies with the requirements or fully agrees to the related statement, along with a clear explanation in both cases, in addition to the related reference to the supporting documentation when applicable.
* “Partially Compliant”, when the Bidder partially complies with the requirements or partially agrees to the related statement, along with a clear explanation in both cases for the compliance limits and / or agreement limitation, in addition to the related reference to the supporting documentation when applicable.
* “Non Compliant”, where the Bidder does not comply with the requirements or does not agree to the related statement, along with a clear explanation in both cases for the non-compliance / limitation, and with the related reference to the supporting documentation when applicable.
* "Noted" when a statement is not a requirement but is only for information purposes. "Noted" will be accepted as meaning that the Bidder has read and understood the information. "Noted" is not accepted when a "Compliant" or "Non-Compliant" is the proper response.
In cases of doubt, during the evaluation of the Offer by MIC1 as provided for in article 12 hereunder, any "Noted" statement shall be considered as "Compliant" for the purpose of such evaluation, and for PO / contract purposes as the Offer to the RFT/RFQ will form an integral part of any potential PO / contract signed with the Bidder.
The Compliance Matrix will be analyzed by MIC1 in detail and the compliance statements will be used within the RFT assessment model.
In case the Offer states “Compliant” to a MIC1 requirement and the analysis of the solution shows that there is no full compliance, such statement will be assessed as “Non-Compliant” and an additional penalty will be applied.
In case the Offer states “Compliant” to a MIC1 requirement while not specifying any reference, such statement will be assessed as “Non-Compliant” and an additional penalty will be applied.
For any item that is not supported and / or for which no quote exists in the Commercial/Financial Offer, the price penalty is computed by taking the highest price amongst other Bidders.
For any clause that is marked by “K”, within the Compliance Matrix, it means the clause/item is a “Killer” point. Any partial or non- compliance to a “Killer” point, leads to a complete disqualification from the RFT process.
If at any stage during the evaluation of the Compliance Matrix it becomes obvious to MIC1, that the solution offered by the Bidder substantially deviates from the requirements as defined in the RFT/RFQ, such Offer will be disqualified at MIC1 sole discretion with immediate effect.

## General Requirements
| RFT/RFQ Compliance Matrix |  |  |  | Reference Number | SF-CF-25
[5 empty] | Owner | PRO
[5 empty] | Revision Code | 8.0
[5 empty] | Implementation Date | 2025-11-01
Project Name: | Monitoring System at Alfa Premises
Reference Number: | MIC1/RFT/CFO/PRO/0047-26
RFT/RFQ Article (Part Number or Title) | Requirements (Description) | Killer | Fully Compliant | Partially Compliant | Non-Compliant | Reference (Specify document & page nbr, Provide explanation)
Article 4 | Conditions for the Participation of the Eligible Bidders
4.1 | 1- Bidders shall meet the following conditions, declared in accordance with the required documents in the First section of this Article mentioned below as (First: Envelope No. (1) Administrative Documents and Transactions):
a- That there is no proven violation, by the bidders, of professional ethics generally accepted and stipulated in the relevant provisions, if any;
b- Bidders have the legal capacity to enter into the procurement contract;
c- Bidders have fulfilled their obligations to pay taxes and social security contributions;
d- Bidders have not been convicted, neither their directors nor employees involved with the procurement process, by a court decision of any criminal offence - even if the verdict can still be appealed - related to their professional conduct or the making of false statements or misrepresentations as to their qualifications to enter into a procurement contract, or corrupting a public procurement or a contract awarding process, or have not been otherwise disqualified pursuant to administrative suspension or debarment proceedings, or have been in a situation of exclusion from participation in public procurements;
e- Bidders are not the subject of legal proceedings for insolvency or bankruptcy, or were declared bankrupt by a court of law;
f- Bidders have not been convicted by a court decision - even if the verdict can still be appealed - of usury or money laundering;
g- Bidders have not participated in the decision-making process of the contracting authority or have any conflict of interest, or any material interest linking them to any of the decision makers;
h- Any other conditions set forth by the contracting authority in the tender documents that are commensurate with the required works;
| i- Certificate from the Ministry of Economy proving compliance with the provisions of the Law on Boycott of Israel (added by Law No. 309, dated April 19, 2023). (K) | K
j- Declaration of the economic beneficiaries (according to Law No. 309, dated April 19, 2023).
Bidders commit to applying existing laws that protect employee rights and well-being, and abide by national regulations and UN principles that prohibit employment of children or individuals under the age of 18
Bidders apply highest road safety rules while performing business activities with Alfa and are willing to cooperate with Alfa to implement reforms and improvements on road safety practices if needed
4.2 | 2- The bid must be submitted clearly and unequivocally without any deletion, alteration, or modification.
4.3 | 3- The bidders state in their offer that they have reviewed the Tender document and its complementary documents and have obtained a copy. They accept and undertake to adhere to all the conditions outlined therein without any reservations or exceptions. The bidder submits their offer on this basis and affixes financial stamps worth fifty thousand Lebanese pounds covering all the documents.
4.4 | 4- Any bid containing reservations or exceptions is rejected.
4.5 | 5- The bidder mentions in their offer a clear address and place of residence for prompt communication.
Administrative Documents and Transactions | First: Envelope No. (1) Administrative Documents and Transactions
A- General Conditions:
1- Undertaking Letter (Declaration), according to the attached form, signed and stamped by the bidder, this Undertaking includes the bidder's confirmation of their commitment to the price and the validity of the offer. A financial stamp of 1,000,000 LBP is affixed.
2- Commercial Circular specifying the authorized signatory of the bidder and a sample of their signature.
3- Legal Authorization: If the offer is signed by someone other than the person authorized to sign according to the commercial circular, it must be notarized by a notary public.
4- Police Record of the Authorized Signatory or his “legal representative”, not exceeding three months from the bid opening date.
5- Partnership Contract legalized by a notary public if required.
6- Registration Certificate before the Directorate of Value Added Tax, if applicable, or a certificate of non-registration if not subject to it. In the latter case, the bidder commits to their bid price even if they become registered for VAT during the execution period.
7- Registration Certificate issued by the Ministry of Finance – Department of Revenue.
8- Certificate issued by the Ministry of Finance proving the bidder's compliance with tax obligations.
9- Clearance Certificate from the National Social Security Fund “comprehensive or valid for participation in public tenders and bids” valid on the date of the bid opening session, stating that the bidder has paid all his subscriptions (the bidder must be registered before the National Social Security Fund and any statement mentioning the phrase “unregistered institution” will be rejected).
10- Certificate issued by the Municipality, proving full payment of municipal fees by the bidder, issued by the municipality within its jurisdiction based on the commercial registration certificate.
11- Comprehensive Certificate issued by the Commercial Register showing founders, members, contributors, or partners, authorized signatories, the manager, capital, the bidder's activity, and ongoing liabilities.
12- Certificate issued by the relevant authorities proving that the bidder is not in a state of bankruptcy.
13- Certificate issued by the relevant authorities proving that the bidder is not in a state of judicial liquidation.
| 14- Bid bond as required in the specific Tender document of the procurement project, in accordance with Articles 34 and 36 of the Public Procurement Law. (K) In case the supplier did not commit to his offer and refused to proceed with contract signature or scope of work execution, within the approved upon validity period of the offer, the bid bond will be confiscated. If the bid bond was delivered to the bidder, and a performance bond has been submitted, and in case of offer cancelation by the bidder within the approved upon validity period of the offer or after contract signature or PO issuance, MIC1 has the right to apply the penalties clause and to seize up to 20% of the performance bond. | K
15- Declaration from the Bidder identifying the economic beneficiary/beneficiaries according to Form M18 issued by the Ministry of Finance (any natural person who owns or effectively controls the ultimate outcome of the activity practiced by the bidder, either directly or indirectly, whether the bidder is a natural person or a legal entity.)
16- Copies of Identification Cards (ID/Passport) for the economic beneficiary/beneficiaries.
17- Copies of Identification Cards (ID/Passport) for each person representing the bidder (those acting on behalf of the bidder in their relationship with the contracting authority: legal representative, representative of the legal entity, or authorized signatory).
18- Integrity Declaration Document signed by the bidder in accordance with the prescribed format
Miscellaneous | The bidder shall declare any relative relations with any Alfa employee up to the 4th degree under Clause 30 of the PPL, for MIC1 to be able to assess the existing of any potential conflict of interests which may lead to deprive the bidder from participating to the tender under the risk of disqualification. | K
| The bidder or any of his employees, partners, agents, contributors, consultants, or their relatives shall declare any relationships that may lead to a conflict of interest in the subject of this contract. | K
Special Conditions | B- Special Conditions Regarding the Subject of the Contract:
Financial Qualifications | 1- Financial Qualifications (To be determined based on the size and nature of the contract).
Technical/Professional Qualifications | 2- Technical/Professional Qualifications (To be determined based on the nature of the contract):
1- Certificate from the Chamber of Commerce, Industry, and Agriculture confirming that the bidder is engaged in the activities related to the subject of the contract, valid as of the date of the bidding session and valid for participation in public tenders.
2- Clearance certificate from the Order of Engineers…
3- Clearance certificate from the Contractors Syndicate…
4- ISO certificate.
5- Five Certificates of good execution and completion for similar projects in terms of size and type.
6- Technical proposal according to the required specifications in the appendix (1) of the RFT/RFQ.
7- Declaration of site inspection by the bidder, denying any unfamiliarity, according to the attached model.
Participation of a foreign bidder | C- In case of the participation of a foreign bidder, the bidder must comply with one of the following conditions:
1- is part of a coalition that includes at least one Lebanese company that meets the conditions required by the specific Tender document of the procurement project.
2- The personal presence of the legal representative of the company to participate in the procurement proceedings (not mandatory).
3- Has an authorized agent or representative in Lebanon responsible for signing the contract on its behalf.
In addition to the above conditions, the foreign bidder must submit the following:
1- Certificate registration of the company or certificate of establishment issued by the relevant authorities in their country.
| 2- Certificate from the Lebanese Ministry of Economy and Trade confirming compliance with the provisions of the Law on Israel Boycott. (K) | K
3- The required certificates according to paragraph (First) above, according to the laws of the country where the bidder is located, provided that these certificates are authenticated according to the regulations of the competent authorities.
For certificates issued without an expiration date, the validity date of each certificate is determined according to its nature, not exceeding six months from the date of the bid opening session.
Information Security Specifications | Information Security Specifications Issuing Department to determine whether all or part of this Article is applicable to their specific RFT/RFQ
| The Bidder shall commit to refrain from offering any product / equipment which can cause security threat or information leakage that jeopardizes MIC1 network security. (K) | K
| The Bidder shall accept that MIC1 runs a vulnerability scan on the proposed solution prior to issuing the acceptance and in case any vulnerability is found, the Bidder undertakes to take the necessary actions to remedy such vulnerability within _____________________ days from its notification. (K) | K
The Bidder shall mention the security standards adopted/followed in designing the proposed solution.
The Bidder should specify if it has acquired the ISO27001 certification or any other equivalent security certification and submit with the Offer a copy of such certificate.
| The Bidder shall not hard code passwords in the proposed solution. (K) | K
The provided application should run without the need of root (unix) and / or admin (win) privileges.
Source code of proposed application should be owned by MIC1.
| System shall allow generation of user, operator as well as alarms logs. (K) | K
Solution and storage shall be sized to host history logs for at least 1 year back.
The Bidder should submit a data flow diagram and schema of the solution architecture.
| In case of online payment, the Bidder shall use encryption. (K) | K
The Bidder shall harden systems servers / storage before being published online, and describe hardening aspects applied on each type.
The Bidder shall describe security checking and audits performed on the designed solution prior to putting it on the market.
The Bidder shall change default errors / messages and configuration.
Application should support role-based access, specific privileges per user (i.e specific access to application modules and reports)
Database should support restricted access per user or groups to data (i.e access per field or per table, …)
| Encryption shall be used in all communications / interactions between systems, especially if the communication is through web access. Web based access shall always be used through HTTP+SSL. (K) | K
Each user shall have only one account / profile to access data.
Least-privileges should always be specified on nodes / applications.
Pseudocode flow chart shall be provided by the Bidders.
| The Bidder should commit to improve solution / systems information security weaknesses whenever needed or highlighted by MIC1 information security team. (K) | K
Health, Safety and Environmental Specifications | To ensure that the proposed products and services bidders are compliant with HSE culture, bidders should state basic HSE specifications and compliance information:
Bidder shall provide the product’s specifications that have an environmental impact (power consumption, gas emissions, etc…)
Bidder shall provide the product specifications that contribute into preserving the environment (made of recycled material, ozone friendly, low volatile organic compounds, etc…)
Bidder shall provide the product’s specifications that contribute towards the health and safety of the users (ergonomic design, safety features, etc)
Bidder shall state the safety measures being followed by personnel performing the work on Alfa’s sites (ISO45001 certification, specific best practices, etc…).
Bidder shall provide the product’s life cycle data if available.
Corporate VPN Lines | Winning bidder is encouraged to have Corporate VPN Lines with Alfa.

## Technical Requirements
| RFT/RFQ Compliance Matrix |  |  |  | Reference Number | SF-CF-25
[5 empty] | Owner | PRO
[5 empty] | Revision Code | 8.0
[5 empty] | Implementation Date | 2025-11-01
Project Name: | Monitoring System at Alfa Premises
Reference Number: | MIC1/RFT/CFO/PRO/0047-26
| Scope | Killer | Fully Compliant | Partially Compliant | Non-Compliant | Reference (Specify document & page nbr, Provide explanation)
| Bidder shall propose a flexible and expandable solution and include in their proposal all necessary requirements that allow full integration between the new monitoring systems and the existing Security devices (access control and cameras) installed and operating on GENETEC platform as well as other NVRs. Integration shall include all current features running and active on the existing platform. The solution shall be dimensioned to encompass all MIC1 sites in the future (around 1,400 sites). The bidder shall mention the capacity of the proposed solution. | Yes
Presentation of Offers
Company‘s Profile.
List of Member of the board of directors.
Working in Security Systems fields for more than 10 years.
The bidder shall have at least 3 Engineers in the VMS field including their CVs within the technical offer.
The bidder shall include in his technical offer the official Certificates of registration of the above Engineers within NSSF under the Bidder’s company name..
The bidder shall include in his technical offer the Certificate of registration of at least 20 technicians within NSSF under the Bidder’s company name.
| Only companies having valid authorization and partnership (partnership needs to be a minimum of 3 years with vendors) letters from the CCTV manufacturers to bid for this project are allowed to participate in the tender. | Yes
Company’s list of references; at least 3 local company names from existing clients of a similar scope as in MIC1, with a related detailed scope of work and the number of consecutive years of business with said client stating their experience and level of satisfaction with the services provided.
Recommendation letters from at least 3 local clients for whom the company has conducted similar services at the same volume as MIC1. (Customer name, address, contact persons, contact details) MIC1 reserves the right to communicate with the listed reference customers to inspect their satisfaction with the installed systems and might ask for a joint visit to customer’s site to check physically the quality of the installed system.
Valid awarded standards and Certificates granted to the bidder company.
Technical Qualifications:
| Brand specifications of items, materials, accessories would be installed in MIC1 premises (data sheets of items to be attached to this RFT for MIC1 assessment) | Yes
Spare Parts and Consumables list according to concerned lots subject to this RFT
The tentative action plan and schedule of project implementation and period of execution.
The bidder may submit additional Unpriced offers for maintenance support after sales and execution; the Bidder shall be able to supply such services. And enclose within Envelop 1, all detailed services related to after sales/execution of the scopes subject the present RFT.
Certificates from the vendors of VMS confirming that the bidder is qualified to install the vendor’s solution and product which are subject to latter’s support.
Special terms
Delivery Penalty / Liquidated Damages
| In case of delay in the delivery, a penalty of 0.75% per day of delay shall be deducted from the total amount for a maximum of 20%; Each Bidder is requested to submit a detailled delivery time A penalty of 5% from the total amount of the project cost will be applied for each feature/functionality or item not delivered by the Bidder. This amount will be deducted from the final acceptance payment. If the penalty value exceeds the amount remaining to be paid for the project, then MIC1 has the right to cancel the project with immediate effect and the Bidder will have to refund the total amount paid to the Bidder without the need for a prior notice or any judicial or extra-judicial proceedings. | Yes
Technical Specifications
General Solution Requirements
| The Bidder shall provide: VMS (Video Management System) with the capability of managing all Physical Security systems, within the same platform, including but not limited to: Cameras, Access Control, Intrusion, Fire Detection…. The solution shall provide the possibility of integrating BMS (Building management System) to supervise and manage all electrical, and security services. The BMS will not be implemented at this stage, but should be analysed with its respective proposal within this RFT, for future records and needs, taking into consideration that Soft Integration between VMS and BMS is a must. | Yes
| A POC (proof of concept) will be required for the demonstration of the solution. If the bidder fails to deliver the POC, then he will be disqualified. The bidder shall provide a Detailed System Architecture and Network Topology Diagram (in PDF or equivalent format) illustrating all devices, interconnections, switches, routers, and communication links required for the proposed solution | Yes
The bidder shall specify the number of client users who can access simultaneously, through the unified platform, with free licenses, both VMS & BMS; moreover, the bidder shall advise if the systems can be accessed through web browser and the maximum number of users (the number should be > 15).
The supplier shall consider -48V DC to run the systems at MIC1 Telco sites (Annex2). If the proposed equipment do not support -48V, then appropriate converter to be considered, knowing that -48V DC is available 24/7 at Telco Sites. However, 220V AC to be considered for all other Alfa premises (Annex1). Data sheets and power-consumption information for every device must be provided with the technical response
| The supplier shall use a cable with wires to connect any power source and/or communicate with another device. Wireless connections of the devices are not accepted. | Yes
It shall be possible to run the software on a dedicated big screen at MIC1 premises. Systems should be monitored by a dedicated team for physical security. The server and matrix of the big screen shall be checked by the bidder and specs upgrades needed shall be provided and included to run the solution in an optimal way.
The bidder shall confirm assigning resources during the installation, and at later stages for maintenance support. Configuration and maintenance of the platform shall be executed inside MIC1 offices; VPN access is not allowed.
The Bidder shall be responsible of supplying a “Turnkey Solution” of the Site Monitoring System together with all the required hardware & software including but not limited to:  Management platform unit (or main processing unit)  Related software for monitoring and data collection  Sensors  Measuring meters  Installation  Accessories cables and connectors  Switches and routers needed for system connectivity. (if Cisco switches are available at MIC1, then they will be provided by MIC1 and the bidder shall consider the configuration and installation)  Commissioning (including detailed acceptance sheet)  Technical drawings  Support  Warranty services  Trainings  Set of initial spare parts
The system shall be able to manage the Intrusion System and the Fire Detection systems. Moreover, smart motion cameras need to be used as intrusion system where needed.
Monitoring System Architecture and Functions
The system shall have a centralized management function that allows:
Real time monitoring and equipment operation status
Data Recording
Real-time reports and history logs
Malfunction detection of any unit, camera or sensor and on-time notification to MIC1 Physical SoC
Equipment remote operation
Possibility of setting actions of the installed security devices to be generated in case of detection (email, SMS, instant Pop-up, Push notifications, upload FTP…).
It shall be possible to program events to trigger recordings from IP cameras.
Create multiple alerts for any installed sensor.
| The Monitoring System shall guarantee a full expandability: vertically, to expand the number of controlled sites, and horizontally, to expand the number of controlled devices inside the site. In other words, the supervision system shall be flexible and modifiable at any time without any impact on the existing implemented structure. Moreover, the monitoring system shall be able to integrate auxiliary devices made by different suppliers. (limitation and specifications to be defined). | Yes
Monitoring System Functional Features and User Capabilities
The Monitoring System provided by each vendor shall have the ability to monitor all the equipment and parameters detailed below.
The Bidder shall provide all necessary documentation explaining the parameter monitoring in detail.
The solution shall allow Computer, Smartphone, or Tablet to access the software through web browser; however, the solution shall provide Self-Security to block access list regarding specifics IPs. It shall be possible to create user profiles based on methods defined on active directory, as well as their related IPs.
| Virtual machines shall be supported. | Yes
The solution shall be one-time purchase-no monthly fees including the auto updates of the installed licenses, during the first 3 years (upon deployment).
The solution shall have a friendly interface of displaying the values and status for individual or list of sensors and per categories. During monitoring, all notifications should be displayed on the screen as well as the live cameras where motions are detected.
The solution shall have the option to display the alerts/alarms into categories as per criticality level.
The solution shall be flexible to customize dashboards to display status of the installed sensors.
It shall be possible to configure pre-loaded or upload geographical maps/images for a visual presentation of sensor locations.
The solution shall provide users with a real-time view of the premises/sites, and status of all connected units and sensors.
It shall be possible to generate different types of reports in different formats. The bidder shall describe the types of reports and formats.
| It shall be possible to generate a report of all failures and disconnected devices. | Yes
| The system shall send a notification alarm regarding any disconnection or failure of any connected device. | Yes
| No alarms or pop-up pictures shall be sent when a site is disarmed; however, recordings shall be permanently active. | Yes
| The system must have the ability to automatically arm a site after being set as disarmed after a certain duration. | Yes
Video Management and Control Requirements
The current environment hosts different surveillance systems:
All the cameras shall be controllable from the Software with a user-friendly interface providing the user the possibility to navigate easily. Tile pattern for displaying multi-cam is mandatory. Proposed solution shall give the possibility to define different user profiles with different privileges (Admin, Monitoring, Playback, Setup). It shall be possible to restrict user access to predefined sites or modules. In other words, certain sites or modules will be banned for certain users.
Proposed solution shall support AI (Artificial Intelligence). It shall be possible to set rules to identify the subject and filter videos/alarms according to predefined settings. (example showing videos alarms only when a person is detected during a predefined time), multi alarms to be grouped for a unique event. The facial recognition shall be active and operational for the cameras requested in Annex1.
The system shall support different types of notifications (Popup instant playback, Beep, Trigger, Send email, Upload FTP) for typical critical cases (NETWORK LOSS, VIDEO LOSS, NETWORK RECOVERY, VIDEO RECOVERY, MOTION, failure of any device, rotating or blocking a camera “scene change”)
Solution shall provide Flexibility to record: Pre-Event Buffer / Post-Event Buffer / Recording Schedule / Full-Time Recording / Event Recording / Motion Recording
| The supplier shall consider the integration of the proposed solution with all the active cameras listed below in Annex 1. Otherwise, the bidder shall include the replacement of these cameras in his offer. The same applies to the access control system.It shall be possible to generate a report: login date & time, logout date & time. | Yes
It shall be possible to generate a report: login date & time, logout date & time.
It shall be possible to Search by Time, Date, Event, Camera…Moreover, it is mandatory to playback the recordings continuously for the same event (the recording should not be saved in different files as long as there is motion in the same event /unlimited time, which makes it difficult to playback or to download different files for the same event. It shall be possible to specify the time of the recordings needed to be exported (from hh:mm:ss to hh:mm:ss)
It shall be possible to Adjust: frame rate, resolution pixels/image, motion sensitivity to save bandwidth and storage.The supplier shall mention in his reply the bandwidth needed at each location mentioned below in Annex 1 & Annex 2.
The retention period shall be at minimum 1 year of the history logs/ data/ alerts.
The solution should be centralized; servers, storages with data redundancy shall be in Parallel Data Center with a retention period of 1 month at 8FPS is required for the footage of the cameras. A backup solution for local storage shall be available in case of disconnection at every site, and all data shall be saved and retransmitted when connection is restored. (Local NVR at each location with a retention period of 1 month). Redundancy in case of failover shall be available as requested below.
It shall be possible to export the video in universal format and to an external storage device.
IP cameras shall have the minimum specifications as described in below Annex 1, in addition to IR motion detector, compression H.265+, WDR, BLC, auto iris, ONVIF.
The ability to create users with multiple levels of permissions and the possibility to change the password of the Admin. The users account shall be retrieved from our active directory. The possibility of granting permissions per group of users is required. (Passwords should be owned by MIC1)
The system shall have the ability to record audio if needed for future purposes.
The system shall detect, and record videos based on motion detection of the cameras.
Support and Maintenance
| The bidder shall affirm and provide adequate support / maintenance based on the following SLAs: The bidder shall affirm and provide adequate support / maintenance based on the following SLAs: (Table attached in annex 1) | Yes
MIC1 Premises
| A- BoQ of the current surveillance systems at MIC1 Stores, Warehouses, Switches, Buildings and Data Centers, (220V AC) (attached in annex 1) The system shall be able to analyze the data of the AI cameras (facial recognition); the bidder shall consider the needed hardware and software integration for the completion of this task. To note that face recognition cameras to be connected to the main software. A soft integration between the centralized software and the third party is mandatory. The bidder shall consider in his offer all the requirements to run the cameras properly including the needed servers. | Yes
B- Bill of Quantities (BoQ) for the Access Control Systems at MIC1 Stores, Warehouses, Switches, Buildings, and Data Centers (220V AC): If the proposed solution is based on a platform other than Genetec (the current system in use), the supplier shall inspect the existing Genetec system to ensure that all features are fully supported by the proposed solution. Then this section is to be quoted to integrate the existing access control devices with the proposed solution. The integration shall maintain all features currently available in the existing system, including the configuration of access authorizations assigned to all users. The proposed solution shall integrate all the security systems
Access Control
B- Bill of Quantities (BoQ) for the Access Control Systems at MIC1 Stores, Warehouses, Switches, Buildings, and Data Centers (220V AC): If the proposed solution is based on a platform other than Genetec (the current system in use), the supplier shall inspect the existing Genetec system to ensure that all features are fully supported by the proposed solution. Then this section is to be quoted to integrate the existing access control devices with the proposed solution. The integration shall maintain all features currently available in the existing system, including the configuration of access authorizations assigned to all users. The proposed solution shall integrate all the security systems Access Control The solution shall include, but not be limited to, the following features: a. Support Access card / biometric reader / keypad with in/out records b. Controllers to be independent and controlling 2 readers. Each reader shall be able to enroll up to 3000 users (similar to the capacity of the current readers). c. Remote door opening and granting/denying access based on individual profiles or per groups; it shall be possible to register and retrieve, from MIC1 offices, the biometric templates remotely from any reader, or at a local reader inside MIC1 offices. Both options should be available. (Table attached word document)
Telco Sites
Note: The proposed solution must have the capability to fulfill the requirements outlined below for all Telco sites in the future. At each Telco site a -48V DC power is available. If any device does not support -48V DC, the bidder shall include a suitable power converter (fully isolated, including transformer) in the proposal. Data sheets and power-consumption information for every device must be provided with the technical response. The bidder may request a visit to one typical Telco site to assess the requirements, as all sites have similar conditions. The Procurement Department will provide the necessary support to facilitate this site visit.
List of Equipment to be installed and configured by the Bidder at MIC1 Telco Sites: Note: The quantities listed below refer to a single site. Intrusion system (including 2 motion detectors IP65 and related devices, to be connected to the proposed solution). It shall be possible to deactivate the system locally or remotely using the platform at our offices. When the system is disarmed, it shall cease sending notifications but shall continue camera recording without interruption. The system shall automatically re-arm after a user-configurable timeout period. This feature is mandatory to accommodate site disarming during intervention activities. Access Control devices (1 controller, 2 Biometric fingerprint Readers, Magnetic Door Lock (including door contact embedded to monitor the opened and closed doors) and related devices, to be connected to the proposed solution) 1NVR and 1 Indoor Camera dome IK10, 5MP, 4mm lens (to be connected to the proposed solution). To note that the NVR should be mounted on metallic chassis or a small panel with keylock for the outdoor sites. 3 Outdoor Camera IK10-, IP67, AI, Varifocal lens, IP67, 5MP, auto-iris (to be connected to the proposed solution). Cabling Per Site (all cables should be installed in galvanised tubes and in specific locations security measures should be considered to avoid cutting cables in the outdoor area) The bidder shall offer the price per unit/feature/service for Annex2, as well as the equipment needed to run the system properly at each site (panels, NVRs, controllers….). Site visits could be performed to Telco sites to be able to assess the cabling needed. Lumpsum offers will be rejected. Prices for this section to be presented separately and to be included only in the Commercial part. On top of the above, the bidder is requested to submit within his commercial envelope the best and final discount that can be offered according to the below scheme/batch of sites: (attached in annex 1)
IT Infrastructure Requirements
Overall Architecture Solution
Bidder shal provide a comprehensive technical architecture diagram detailing the components, connections, and data flow within the system.Include elements such as servers, storage devices, networking equipment, and user interfaces.Clearly outline how data moves through the system, indicating all relevant protocols and interfaces.
Bidder shall describe the role and functionality of each element and node in the proposed solution. He shall specify relevant details, including manufacturer, model, and hardware generation for servers, storage devices, and networking components.
Bidder shall provide a detailed breakdown of the specifications for Host/Server Hardware and Operating Systems, including the choice of standalone servers or virtual machines.
Bidder shall define the necessary network accesses for the solution, including inbound and outbound traffic requirements. He shall specify the network protocols and ports that need to be open for seamless communication between components. He shall ensure secure communication channels are established and data encryption standards are implemented where necessary.
| All infrastructure shall be installed in alfa datacenters and no traffic shall be sent to outside alfa datacenter or to a public cloud infrastructure | k
| The systems and solution must operate on the most recent versions of operating systems and virtualization platforms. Additionally, they should be designed to adapt seamlessly, ensuring continuous support for upcoming versions. Bidder shall specify the frequency that his solution is updated to take into account the support of latest OS and Virtualization platform versions . Bidder shall confirm that he will make sure to upgrade his solution continously as part of the yearly support contract to support latest OS and virtualization | k
Availability and Reliability
| All operation critical modules in the systems shall be provided in a redundant configuration ( i.e. NICs,HBAs , ..) and the rack shall be connected to 2 alternative power supplies. | k
| Infrastructure shall be designed for High availabilty and full redundancy at all levels to ensure continuous service- | k
Scalability
| System architecture shall allow for seamless expansion of capacity and functional features.Bidder shall confirm that scalability will be achieved through addition rather than modification or substitution of existing hardware or software. Bidder describe the capacity expansion strategy for servers, storage modules, or virtual instances to accommodate increased workloads and functionalities. | k
Technical Components
| Bidder shall offer industry standard platforms . He shall supply , install and configure all hardware that will be needed for the solution , servers , storage, and backup | k
| Proposed systems shall support hot or online upgrades including but not limited to Hard Drives, Firmware, controllers etc.. | k
The bidder shall detail the technical and physical requirements of each of the proposed equipment, storage, servers, CPU, MEMORY Cards; Network cards, Fiber Channel cards if required, switches, racks
| Bidder shall offer all fiber , powers , and network cables needed for the implementation of the offered infrastructure | k
| The platform shall be scalable to accommodate growing workloads and virtual machines (VMs) without swapping complete hardware | k
Virtualization and Containers Requirements
Bidder to specify if virtualization will be used (Public Cloud infrastructure is not accepted)
| Bidder shall specify the hypervisor supported by the solution (e.g., VMware vSphere, Microsoft Hyper-V, KVM) and related version. He shall quote separately for the hypervisors. MIC1 will decide if they purchase or use exsiting licenses | k
If virtualization will be used, bidder to specify all VMs specifications (Memory,CPU,Storage) needed for each application
| Hypervisor shall support live migration of VMs between hosts for load balancing and maintenance purposes. | k
| Bidder to make sure that all needed licences are included in the BoQ- details about each license shall be provided with 3 years support | k
| Bidder shall implement high availability features to ensure VMs remain accessible in case of host failures. | k
| Bidder shall set up alerting mechanisms for abnormal resource usage and system health issues. List of alerts shall be agreed upon during implementation | k
Bidder shall specify the licensing model of the proposed hypervisor (e.g., per host, per VM)
Bidder shall specify if containers are used in his solution and which applications are containerized
| If containers are used for applications, bidder shall specify the container platform (e.g., Docker, Kubernetes) and shall quote related licenses | k
If containers are used, it shall be designed to ensure scalability horizontally (adding more instances) or vertically (increasing resources for a single instance).
| Bidder shall specify load balancing mechanisms used for distributing traffic across multiple servers and multiple container instances to ensure high availability and performance. | k
| Bidder shall recommed and support in the configuration if needed the backup frequency, methods, and retention policies for the proposed solution - Backup shall include but not limited to OS, application, VM instance, container data and configurations | k
| Bidder shall offer all licenses needed for Backup | k
Storage requirements
| The Storage solution should be scalable to accommodate future growth in terms of storage capacity and performance at least double from the initial configuration . | k
| Storage shall be compatible with the proposed hardware and software infrastructure, including servers, operating systems, and applications. | k
| The Storage should feature built-in redundancy and failover capabilities to ensure continuous operations in case of component failures. | k
| The bidder shall sized the storage system with the needed capacity to host 3 years data including the space needed for regular back ups - | k
| Storage shall support robust security features, including data encryption, access control, and authentication mechanisms to protect sensitive data. | k
Bidder shall specify the Raw and usable capacity after deduplication and compression, RAID 5 shall be configured , and appropriate redundancy and hot spares shall be proposed
| The proposed storage shall be equipped with a combination of Solid State Drives (SSDs) and Hard Disk Drives (HDDs) . Bidder shall specify the proposed capacity of each for optimal performance of the solution | k
Bidder shall specify the I/O operations per second (IOPS) and data throughput in gigabits per second (Gbps) for read and write operations needed for optimal performance of the solution
| Storage systems shall support Fibre Channel or iSCSI | k
| Storage shall be designed for automated storage tiering to optimize performance and cost-efficiency based on data usage patterns | k
Storage system shall have capabilities for creating snapshots and data replication for backup and disaster recovery purposes
| Storage system shall have deduplication capabilities for capacity optimization | k
Bidder shall provide intuitive and comprehensive management tools for monitoring, provisioning, and troubleshooting the storage environment.
| Storage system shall comply with relevant industry standards and regulations (e.g., GDPR, HIPAA). | k
| Needed SAN switches shall be provided as part of the project while ensuring high availability of their functionnality | k
Network requirements
| Bidder shall offer 2 Data center switches , compatible and to be managed by Cisco APIC controller, providing 48 Ports 1G/10G/25G Fiber and 6 ports 40G/100G, with performance that supports up to 3.6 Tbps of bandwidth and 1.2 Bpps, redundant hot-swappable Power-Supply Units (PSUs) and 4 fans with N+1 redundancy, 4 cores CPU and Default RAM of 16GB and Expandable with 16GB | k
| bidder shall include with the switches : 100G SR1.2 BiDi QSFP Transceiver, LC, 100m OM4 MMF qty 8 | k
| licenses DCN Advantage with 5Y support - qty 2 | k
Bidder shall quote, as optional, switches for the different sites where the cameras will be installed . The number of ports needed will be determined by the bidder based on the site location
| full PoE+ x 10/100/1000 and number of ports based on need per site or more ports | k
| Uplink Interfaces: 4 x 10G SFP or more- 2x10GB Fiber Multimode SFP per switch to be provided | k
| Forwarding rate: 95.23 Mpps (with stacking 155 Mbps) or more | k
| Switching Capacity:128 Gbps (with stacking 208 Gbps) or more | k
| Stacking Bandwidth:min 80 Gbps | k
| DRAM:min 2 GB | k
| Flash Memory:min 4 GB | k
Power Over Ethernet (PoE) Support:Power Over Ethernet (PoE) Support up to 370W PoE budget or more
Layer 2 Features:min VLAN, STP, MSTP, IGMP,
Layer 3 Features:min Static routing, RIP, OSPF, EIGRP, PBR,
| Security Features: min ACLs, MACsec, TrustSec, IPsec, SSH, . | k
quality of Service (QoS):with support for DSCP, COS, and WRR
| Power Supply:Dual power supply | k
| Fans: Dual fans | k
| Switches shall be comaptible with Cisco ISE for authentication otherwise bidder shall propose a new authentication solution | k
| Bidder shall include all licenses needed for the device to operate | k
| Installation , support and warranty shall follow terms in articles 9 and 10 | k
Performance
| Sizing of the HW Shall be the bidder’s responsibility and he shall be held responsible for any performance issues for the upcoming three years starting from the implementation date. The Performance on CPU/Memory usage shall not exceed 50% at peak time. Any performance issues shall require the vendor to upgrade the server CPU/Memory at his own expenses. | k
Database Server
Bidder shall provide detailed specifications for the database server, including the server model, operating system, CPU specifications (name, type, number of cores, multi-chip sockets), number of sockets per server, and server datasheet.
| Storage shall be sized to store at least one year of data in addition to the space needed for the backup to disk retention policy. | k
Database Software
| Bidder shall specify the Database type, version and release which will be deployed. | k
| Solution shall support latest available database versions and it shall support the possibility of upgrading it to newer released versions once available . | k
Database Licenses
| Bidder shall provide comprehensive details covering DB software licenses needed for the solution and licensing rule scheme. | k
If licensing is based on the number of users, bidder shall provide a diagram illustrating connections to the database and the workflow process.
Bidder shall specify the database installation type and options that will be applied and if any additional features will be included. He shall as well detail the associated costs if applicable
Database redundancy
| The database architecture shall be Highly Available. Bidder shall describe the design adopted to ensure HA and the related DB availability percentage. | k
Bidder shall specify the DB architecture whether it is : Active/Active, Active/Passive, Active/standby or stand-alone database.
Database Administration
| Bidder shall acknowledge that the data is owned by MIC1 and prior approval is required whenever he or any third party requests access. | k
| No databases files will be present on (C:) local disk drive or on the root directory. | k
Bidder shall describe the adopted backup strategy and provide its related documentation.The backups to disk should be taken on a separate partition. The backup should be configured in a way that doesn’t tolerate any loss of data for any type of failure. The backup retention policy should cover at least two weeks back with two full backups to disk
Bidder shall describe the adopted recovery process and provide its related documentation. The database should be recovered to the point of failure. Full recovery time and data loss if any should be specified.
Bidder shall specify the maximum allowed number of concurrent sessions.
Bidder shall state if inactive sessions will be automatically killed once timeout is reached.
Data files, log files and tempdb files of the database should be located on separate partitions/LUNs (high I/O) to optimize the database performance
Database Support and Responsibility
The bidder shall detail the DB responsibility matrix related to the following:
Full administration of the database (backup, recovery in case of failure, whether schedules will be implemented through the solution itself, maintenance plan…).
Database upgrades , updates and patching
Database installation and configuration.
The bidder shall specify how the support will be handled at database level and to provide the process to be followed.(support will be provided directly by database vendor or by the selected bidder).
| Support shall be provided 24x7 with response time within 30 minutes for critical issues, 2 hours for major issues and next business day for minor issues and queries - onsite support shall be provided in case needed | k
Database Audit
Bidder shall apply needed configurations to log all Database changes and user activities
Bidder shall configure notification alerts for all database events
Bidder shall configure audit reports that include and not be limited to the database changes and user activities . These reports should be automatically generated daily.
Bidder shall provide information on the following database auditing details:
- Is database auditing configured through the application or at database level only
- Policies and level of auditing should be determined
Database Security
| Application administrator/owner and users shall not have administrative db powerful privileges and access to the database. This privilege should be restricted to MIC1 DBA. | k
| Database users password should not be hard coded with the ability to change them periodically and dynamically. The password should be complex based on password complexity rule and password verification function. | k
| Each user shall be admin on his own schema only. | k
| All database users and database service accounts shall conform to the principle of least privilege | k
| Application administrator/owner and normal users shall not have access to the system directories that contains database binaries / database files / database backups / database scripts except system and database administrators OS user accounts. | k
| Application administrator/owner should be able to run, operate and administer the application without the need of "Administrator/root" and DBAs OS user account. | k
| Separate domain accounts shall be used to run database server services | k
| All database scripts should exist only under DBAs scheduled tasks OS user account. | k
| Bidder shall make the application compatible with the latest DB patches including but not limited to security patches in maximum 4 months. | k
Bidder shall confirm if security access, users and system privileges are controllable in the system.
Bidder shall provide information about the database security: configuration settings, different available profiles and roles, level of security/hierarchy, logging and reports
Reliability
Bidder shall specify the key performance for DB metrics that will be guaranteed
Bidder shall provide a comprehensive list of events that generate alarms for database-related events. Specify the methods and channels used to deliver alarms and notifications. This could include email alerts, SMS notifications
Implementation / Installation
| Successful vendor will be responsible for supply, installation, configuration, customization, fine tuning, applying hardening guidelines based on on his best practices and according to MIC1 ( Alfa) requirements | k
| Installation shall be performed by certified engineers and under the vendor's supervision.CV of the implementation team should be shared and commitment shall be provided on allocating these same resources for the project implementation - sharing cv of team members and then allocating other team members for the project implementation will result in applying a penalty of 2% from project cost | k
| Partnership level: The bidder shall provide documents about his partnership level with the equipment vendor and that he is certified to sell, implement, and provide aftersales support | k
| Reference List: the Bidder shall provide a reference list for similar hardware installations that have been performed by his team the past 5 years and are still being supported by the bidder- | k
| Additional cost or delay due to any missing equipment, compatibility issues, accessories or SW needed for the proper operation of the ordered material and which was not taken into account in the offered BOM will be born by the vendor. A penalty of 2% per week on the total value of the PO will be applied on the contractor due to delays induced due to an incomplete BOM. | k
| Bidder shall offer proactive services as part of the device acquisition/support during the warranty/support period. ( number of site visit per year (min 2) , Patch, firmware upgrades | k
| It is the bidder’s responsibility to make sure that the environment in which the equipments will be installed is equipped with all the pre-requisites HW and SW. Should the bidder require to perform a site survey to enable him include all the needed equipment and accessories in the bill of material, please send an email to technology.purchasing@alfamobile.com.lb | k
Bidder shall provide detailed SOW for installation.
Warranty, Maintenance and support
| Bidder shall provide free of charge warranty (parts and labor) and support services including incident resolution and configuration changes for 3 years (36 months) after the successful implementation of the solution. Warranty and suport period shall start from the date of final acceptance issued by MIC1 | k
| Back to back support with hardware vendor for a 24x7 with 2 hours response time shall be provided - vendor Part number to be provided | k
| Warranty/support: any failure, defect or problem in the Solution provided for MIC1 (Alfa) is considered as critical and supplier shall remedy to that failure in terms of labor & parts and restore the service within 4 to 6 hours of placing the service call. Each time the resolution is not implemented within 4 to 6 hours the vendor will be subject to a penalty of 2% from total amount of the project. | k
| Bidder shall retrieve from alfa premises the deffected equipment/parts/items and shall replace it with identical or better one the next business day . A penalty of 2% of the cost of the impacted equipment will be applied everytime the supplier fails to comply with this SLA. (working hours is from 8am to 5 pm during week days) | k
Bidder should confirm that he has in his local stock all the needed spare parts for the systems covered under warranty. Bidder shall ensure in its local stock the needed quantities of each part to comply with the replacement SLA
| Contractor shall provide and install during the 3 years of Warranty/support period all firmware and OS versions , SW updates and upgrades (minor and major) which occur as a result of continuous improvement or enhancements | k
| End of sales date of proposed equipment shall be at least more than 5 years from the Closing Date. If by the time the PO is issued by MIC1, the vendor announces end of sales of the proposed platform, then the vendor shall offer the next generation equipment with equivalent or better specifications at no extra cost for MIC1. | k
| It shall be possible to upgrade the capacity of the proposed systems for the next 5 years. If end of sales of the platform is reached before the next 5 years after final accepatance, then the bidder shall offer the next generation device at no extra cost . | k
| Bidder shall provide the end of support and end of life dates of the proposed systems- it shall not be less than 7 years from the bid submission date | k
| The Bidder must provide commitment for escalation for any incident during installation or warranty period as specified below to the support center of the vendor- A back to back agreement for support with the equipment vendor shall be signed for the whole duration of the support period requested in this RFP | k
Bidder should share with alfa IT team the procedure to follow and the support point of contact name and details to open tickets with his support team
| For security and confidentiality purposes, deffected disks are destroyed by MC1 before returning them to the supplier for replacement | k
Integration
| The Solution should be able to integrate with the existing monitoring system i.e.: Instantaneous notification of failures ( i.e. SNMP trap) to enable IT support staff to ensure maximum system availability | k
| Logs of the OS, application , DB etc… shall be sent to the existing SIEM solution . All needed customization shall be done by the bidder | k
Hosting Requirements
The vendor shall detail the technical and physical requirements of each of the proposed equipment, Storages, racks and provide a detailed calculation of power consumption, power supply and weight/heat distribution. Vendor shall provide information on the proposed solution as well as information for future expansions to reach max capacity of proposed equipment.
Power consumption
Heat dissipation
Footprint
Documentation
The bidder shall provide detailed documentation related to design, functional, operational and maintenance aspects of the solution
The bidder shall deliver as built documents for the database installation and configuration
Compliance references
vendor shall provide references (the document, the page number & the section) for each of the requirement items in the compliance matrix.
General Requirements
Bidder should specify the delivery time line of the proposed equipment.
| In case of delay in delivery a penalty of 1% per week of delay shall be deducted from total amount of the PO for a maximum of 20% | k
| In Case the bidder/supplier fails to deliver a feature , functionality or item that he had mentioned as compliant and included in the RFP response, then the following will be applied: • A penalty of 5% from the total amount of the project cost will be applied for each feature/functionality or item not delivered by the supplier. This amount will be deducted from the final acceptance payment. • If the penalty value exceeds the amount remaining to be paid for the project, then MIC1 has the right to cancel the project and the supplier will have to refund the total amount paid to the supplier without the need of any legal recourse . • If a feature , functionality or item is marked as killer and supplier/bidder fails to deliver it upon implementation then MIC1 have the right to cancel the project and the supplier will have to refund the total amount paid without the need of any legal recourse. | k
Training -Transfer of knowledge
| Bidder shall include in his offer the necessary transfer of knowledge sessions to enable the IT engineers perform the needed support, operation and maintenance of the platform. | k
Bidder shall quote as optional for instructor led training for two persons on the offered infrastructure administration - course name to be specified- fees shall cover, travel, accommodation , and course cost in case course is not available locally in lebanon
Bidder shall quote as optional for instructor led training for two persons on the DB administration used in the solution course name to be specified- fees shall cover, travel, accommodation , and course cost in case course is not available locally in lebanon
General Requirements
Bidder should specify the delivery timeline of the proposed equipment.
| Additional cost or delay due to any missing equipment, accessories, or software needed for the proper operation of the proposed material and which was not taken into account in the offered BOM will be borne by the Bidder | k
| In case of delay in delivery a penalty of 1% per day of delay shall be deducted from total amount of the PO for a maximum of 10% | k
| In Case the bidder/supplier fails to deliver a feature , functionality or item that he had mentioned as compliant and included in the RFP response, then the following will be applied: • A penalty of 5% from the total amount of the project cost will be applied for each feature/functionality or item not delivered by the supplier. This amount will be deducted from the final acceptance payment. • If the penalty value exceeds the amount remaining to be paid for the project, then MIC1 has the right to cancel the project and the supplier will have to refund the total amount paid to the supplier without the need of any legal recourse . • If a feature , functionality or item is marked as killer and supplier/bidder fails to deliver it upon implementation then MIC1 have the right to cancel the project and the supplier will have to refund the total amount paid without the need of any legal recourse. | k
Bidder shall have an authorized service center in Lebanon for aftersales support - service center should have been established and operational in Lebanon at least 5 years from the present RFP date- the address of the service center location should be provided
Equipment offered shall be fully built and assembled at the manufacturing plant of the proposed brand -manufacturer proof letter to be submitted - equipment assembled in Lebanon are not accepted
| Bidder shall have at least two engineers with certifications and experience in implementing the proposed systems ( servers, network) | k
| Partnership level: The Bidder should provide documents showing the partnership level that the bidder has with the equipment vendor. The bidder must provide proof that he is certified to sell, implement, and support enterprise grade systems on the Lebanese territory and hold Titanium , Platinum or Gold partnership with qualifications and certifications in DB, servers, storage , networking and implementation services | k
| Reference List: the Bidder shall provide a reference list for similar installations that have been performed by his team the past 5 years and the bidder team is still providing support services for such solutions- details to be provided on performed installations | k
Infrastructure
Information Security Specifications
1. General Security Requirements
| a-The Bidder shall commit to refrain from offering any product SW or equipment which can cause security threat or information leakage that jeopardizes MIC1 network security. | yes
| b-The Bidder shall accept that MIC1 runs a vulnerability scan on the proposed solution prior to taxissuing the acceptance and in case any vulnerability is found, the Bidder undertakes to take the necessary actions to remedy such vulnerability within 15 days from its notification. | yes
| c-The Bidder shall not hard code passwords in the proposed solution. | yes
1.1. Supplier must ensure the proposed solution complies with:
ISO/IEC 27001 & ISO/IEC 27002 (security controls)
ISO/IEC 30137 (CCTV security)
1.2. All system components (controllers, cameras, NVRs, VMS, access panels) must support: Encrypted communication,Secure authentication,Role-based access control (RBAC),Secure firmware upgrade mechanisms
1.3. Supplier must provide a Secure Architecture Design Document describing: Network segmentation,Encryption protocols,Integration points,Data flow and logging locations
2. Hardware & Device Security
2.1 Cameras
Must support secure boot, signed firmware, and tamper detection.
Video streams must support SRTP or equivalent encryption.
Must allow password hardening, disabling default credentials.
No cloud dependency unless explicitly requested and approved.
2.2 Physical Access Control Panels
Support TLS 1.2+ for controller-to-server communication.
Must have locally encrypted credential storage.
Must support multi-factor access for sensitive zones (MFA, biometric, PIN+card, etc.)
2.3 NVR / VMS Appliances
Must run hardened OS with unnecessary services disabled.
All recordings must be encrypted at rest.
External USB ports must be lockable/disabled unless approved.
3. Network & Communication Security
| 3.1. All traffic between cameras, controllers, servers, sensors, and monitoring consoles must support end-to-end encryption (TLS). | yes
3.2. The system must support network segmentation: Management VLAN, Video VLAN, Access control VLAN,External integration VLAN
3.3. Devices must not communicate over insecure protocols (Telnet, HTTP, FTP, SNMPv1/v2).
3.4. PACS and CCTV components must support:802.1x authentication,
Secure API authentication (token-based/OAuth2)
4. Access Control & User Management
4.1. Solution must support:
RBAC with least-privilege roles
Strong password policy enforcement
Multi-factor authentication for admins
LDAP/AD integration
4.2. Supplier must implement:
Separation of duties for admin, operator, auditor
Audit trail for all actions (viewing, exporting, deleting)
4.3. Remote access must require:
VPN + MFA
Secure jump server architecture (no direct access)
5. Logging, Monitoring & SOC Integration
5.1. The solution must support real-time and near real-time log export to the operator’s SOC through:
Syslog over TLS
REST API
Webhooks (if available)
5.2. Logs must include:
System configuration changes
Failed login attempts
5.3. Supplier must provide a Log Schema + Mapping Guide for SIEM onboarding.
6. Video & Access Data Security
6.1. Video storage must support:
Encryption at rest (AES-256)
Digital watermarking or hashing for evidentiary integrity
Configurable retention periods
Automatic secure wiping after retention expiry
6.2. Exported videos must be:
Encrypted or password-protected
Digitally signed
Logged in the audit trail
6.3. Access control data (cardholder info, biometric templates) must be encrypted at rest and in transit.
7. Cybersecurity Hardening & Lifecycle Requirements
7.1. Supplier must deliver hardening guidelines for:Cameras,NVR/VMS,Access controllers,Servers,Client workstations
7.2. Vendor must provide:
Monthly or quarterly security patches
Vulnerability advisories
End-of-support lifecycle details
7.3. Supplier must support remote patching through secure channels.
7.4. Unused modules and default accounts must be disabled during installation.
8. Secure Installation & Implementation
8.1. All installation activities must follow:
Secure cabling requirements
8.2. Supplier must ensure:
Passwords changed at commissioning
Test access removed before handover
All default settings hardened
8.3. A Security Acceptance Test (SAT) must be conducted to validate:
Encryption
RBAC
Logging
Firmware integrity
Vulnerability scanning results
9. Integration Requirements
9.1. The system must integrate with operator systems (where applicable):
SOC / SIEM
FM/PM systems
ITSM (ServiceNow, Remedy)
LDAP/AD
9.2. Must support open, secure standards:RESTful APIs,Syslog (TLS),SNMPv3
9.3. No proprietary-only protocols shall be used for essential integration.
10. Supplier Security & Compliance
10.1. Supplier must provide:Secure SDLC documentation,Penetration testing reports,Vulnerability assessment results,Security certifications (ISO 27001, SOC2, etc.)
10.2. Supplier must sign:
SLA for cybersecurity patching
Support for incident response
Backdoor-free compliance attestation
Note on B137: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: Specify RAID level needed

## Commercial Requirements
| RFT/RFQ Compliance Matrix |  |  |  | Reference Number | SF-CF-25
[5 empty] | Owner | PRO
[5 empty] | Revision Code | 8.0
[5 empty] | Implementation Date | 2025-11-01
Project Name: | Monitoring System at Alfa Premises
Reference Number: | MIC1/RFT/CFO/PRO/0047-26
RFT/RFQ Article (Part Number or Title) | Requirements (Description) | Killer | Fully Compliant | Partially Compliant | Non-Compliant | Reference (Specify document & page nbr, Provide explanation)
Commercial Conditions | Bidders shall submit their best and final price. No negotiations shall be made after offers submissions.
• MIC1 reserves the right to negotiate with the selected Bidder all or part of the Offer as MIC1 deems convenient. In other words, MIC1 has the full flexibility to buy the full scope of the Offer or certain parts of it without any impact on unit rates and discount granted. It might also select different Bidders to supply different parts of the RFT’s scope of work depending on its strategy and needs.
| A Bid Bond from the participating bidders’ bank to MIC1 with a value of 5,000 USD should be presented for participation within envelop 2. The validity of this LG should be for 208 days as of offers submission date; it will be returned to non-selected bidders. This Bid Bond will be returned to selected bidder after submission of the Performance Bond mentioned below. The Bid Bond is ruled by the article 34 of Public Procurement Law 244 dated 19 July 2021. It can be provided as LG from bidders’ bank or in Cash, or banker’s cheque. (K) In case the supplier did not commit to his offer and refused to proceed with contract signature or scope of work execution, within the approved upon validity period of the offer, the bid bond will be confiscated. If the bid bond was delivered to the bidder, and a performance bond has been submitted, and in case of offer cancelation by the bidder within the approved upon validity period of the offer or after contract signature or PO issuance, MIC1 has the right to apply the penalties clause and to seize up to 20% of the performance bond. | K
| Another mandatory Performance bond from winning bidder’ bank to MIC1 with a value of 10% of the quoted services should be presented upon tender award only within 15 days from contract start date. (K) | K
| • The performance bond shall remain valid and effective from the date of issuance up to the contract expiry date. (K) | K
| • The Performance Bond is ruled as by the article 35 of Public Procurement Law 244 dated 19 July, 2021. (K) | K
• The bidder is not allowed to introduce any new technical offer in the commercial envelop which will be considered a subject to disqualification.
• Fees submitted by bid winner will be announced on PPA website following tender award as per Public Procurement Law requirments.
• Any subcontracting scope by the bidder shall be clearly indicated in the offer. Bidders should not in any way subcontract more than 50% of the bid scope inline with Clause 30 of PPL.
| Subcontracting the entire contracting obligations to other parties is strictly forbidden. | K
| The Prime bidder shall submit a report detailing the portions of the project they intend to subcontract, and the assigned subcontractors and their technical response in the submitted technical offer, without disclosing any pricing information. | K
| Pricing details shall be provided exclusively in the commercial envelopes. | K
| If after the commercial evaluation, MIC1 discovers that the commitment of the bidder was not accurate, the bidder will be disqualified as per clause 30 following the commercial opening. | K
Conditions for the Participation of the Eligible Bidders | Bidder is informed of, and undertakes to abide by, the legal requirements of the Republic of Lebanon concerning the Boycott of Israel in accordance with the law dated June 23rd, 1955. Bidder shall not hold Israeli nationality, or be domiciled in or resident of Israel, or work for it, directly or indirectly, or represent or act for, in any way, directly or indirectly, the interests of Israel or an Israeli entity. Bidder shall not have any main or branch factories or assembly plants or offices in Israel, and shall not participate in any Israeli business. Bidder shall not license its name, trademarks, manufacturing or technological patents to any Israeli individual or entity, and shall not provide any technological assistance to any Israeli business. In addition, no person holding Israeli nationality or domiciled in or resident of Israel or working for it directly or indirectly or representing or acting for, in any way, directly or indirectly, the interests of Israel or an Israeli entity may be employed or used, in any way, directly or indirectly, by the Bidder in the project subject to the RFT. Bidder is explicitly obliged to take into consideration this requirement in the allocation and management of its personnel resources, employees, contractors and subcontractors for any activity or solution or mean whatsoever linked to Israel and contributing to the project subject of the RFT. Any time the Bidder violates such requirements and / or any direct or indirect relation between the Bidder and Israel is brought to MIC1’s knowledge, MIC1 shall immediately exclude the Bidder from the RFT process or terminate the PO/contract without the need for any judicial or extra-judicial proceedings and without incurring any liability whatsoever to the affected Bidder / Bidders and / or any third party. | K
Support of the Contract | The commercial proposal should include the prices for all requirements set within this RFT separately along with the following mandatory requirement: - 3 years support FOC - years 4 & 5 are to be quoted separately | K
Payment of the Contract Value | The contract value shall be paid after its execution thereof in US dollars, provided that its value is paid in Lebanese pounds according to the market rate on payment day by virtue of: • 40% Down Payment • 30% upon Delivery and installation, 45 days after invoice receipt • 20% upon PAC (Provisional Acceptance), 45 days after invoice receipt • 10% upon FAC (Final Acceptance), 45 days after invoice receipt
Penalties | The contractor shall comply with the time limits set forth in the contract, subject to payment of the penalties specified therein. Penalties shall necessarily be incurred by the bidder as soon as the bidder violates the provisions of the contract, without the need to prove the damages occurred. A monetary delay penalty is calculated at a rate of (0.75%) of the contract value for each day of delay in completing the required work. Each part of a week is considered a full day, provided that these penalties do not exceed (20%) of the contract value. If the delay penalties exceed the specified percentage, the provisions of Article 33 of the Public Procurement Law apply in this regard. In all cases, the performance guarantee is temporarily seized until the settlement of the commitment. | K
Others | In the event the Bidder submits a Joint Tender or is otherwise structured as a Consortium or Joint Venture with any other legal entity, the Bidder shall be strictly required to submit a Partnership Agreement (or equivalent Consortium/Joint Venture Agreement). This Agreement shall constitute a mandatory administrative document and must be included within Envelope 1 of the Tender Submission. Non-submission will result in the administrative non-responsiveness of the Bid. The submitted Agreement must be duly notarized or otherwise legally attested in accordance with the laws of its governing jurisdiction and shall explicitly stipulate, among other provisions, the purpose and scope, contribution of each party, management and governance of the agreement, repartition of profits and losses as well as a clear responsibility matrix. | K
Commercial Conditions | On top of the above, the bidder is requested to submit within his commercial envelope the best and final discount that can be offered according to the below scheme/batch of sites: Batch of Sites Discount to be offered in % From 1 to 100 sites From 101 to 200 sites From 201 to 300 sites From 301 to 400 sites From 401 to 500 sites From 501 to 600 sites From 601 to 700 sites From 701 to 800 sites From 801 to 900 sites From 901 to 1,000 sites From 1,001 to 1,100 sites From 1,101 to 1,200 sites From 1,201 to 1,300 sites From 1,301 to 1,400 sites Above 1,400 sites The bidder should also confirm his willingness and commitment to consider the discount offered on the final and total number of sites requested by MIC1 even if split into several POs and different durations and according to the above batches. In other words, the bidder should consider the offered discount on the total ordered number of sites. | K