## Dismantling Justice Data Center
JUSTICE SWITCH - DISMANTLING & BUYBACK
Switch Telco Room, Switch Battery Room, GSF B1 Generator Room, GSF GF Generator Area
Item Ref. | Location | Category | DESCRIPTION | UNIT | QTY | Scope | Dismantling Unit Price | BuyBack Unit Price | Buyback Total USD | Column1
Just.DBK.001 | Battery Room | Electrical Panel | Dismantle ATS panel in the battery room at B2. Refer to drawing EP-03 | Ea. | 1 | Dismantle & Buyback
Just.DBK.002 | Battery Room | Electrical Panel | Dismantle MDB panel in the battery room at B2. Refer to drawing EP-01 | Ea. | 1 | Dismantle & Buyback
Just.DBK.003 | Battery Room | Electrical Panel | Dismantle MDB REC panel in the battery room at B2. Refer to drawing EP-01 | Ea. | 1 | Dismantle & Buyback
Just.DBK.004 | Battery Room | Electrical Panel | Dismantle MDB UPS panel in the battery room at B2. Refer to drawing EP-01 | Ea. | 1 | Dismantle & Buyback
Just.DBK.005 | Battery Room | Electrical Panel | Dismantle UPS CHANGEOVER (COP) panel in the battery room at B2. Refer to drawing EP-04 | Ea. | 1 | Dismantle & Buyback
Just.DBK.006 | Switch Room | Electrical Panel | Dismantle SDB UPS - 1 panel in the Switch Room 2nd floor. Refer to drawing EP-05 | Ea. | 1 | Dismantle & Buyback
Just.DBK.007 | Switch Room | Electrical Panel | Dismantle SDB UPS - 2 panel in the Switch Room 2nd floor. Refer to drawing EP-06 | Ea. | 1 | Dismantle & Buyback
Just.DBK.008 | Switch Room | Electrical Panel | Dismantle SDB UPS - 3 panel in the Switch Room 2nd floor consisting of: * Metallic panel wall mounted * Main Switch 4P, 100A, INS100, Schneider * 6 Nos. MCB, 4P, Schneider iC63N, C32A * Power meter, Schneider EasyLogic PM220 | Ea. | 1 | Dismantle & Buyback
Just.DBK.009 | Switch Room | Electrical Panel | Dismantle SDB UPS - 4 panel in the Switch Room 2nd floor consisting of: * Metallic panel wall mounted * Main Switch 4P, 100A, INS100, Schneider * 6 Nos. MCB, 4P, Schneider iC63N, C32A * Power meter, Schneider EasyLogic PM220 | Ea. | 1 | Dismantle & Buyback
Just.DBK.010 | Switch Room | Electrical Panel | Dismantle MDB MSC panel in Switch Room 2nd floor. Refer to drawing EP-07 | Ea. | 1 | Dismantle & Buyback
Just.DBK.011 | Battery Room | Electrical Panel | Dismantle SDB UPS panel in the battery room at B2. Refer to drawing EP-08 | Ea. | 1 | Dismantle & Buyback
Just.DBK.012 | Battery Room | Electrical Panel | Dismantle SDB EDL panel in the battery room at B2. Refer to drawing EP-09 | Ea. | 1 | Dismantle & Buyback
Just.DBK.013 | Battery Room | Electrical Panel | ATS charger panel with 2 batteries, 40AH, 24V | Ea. | 1 | Dismantle & Buyback
Just.DBK.014 | Switch Room | Electrical Panel | Dismantle UDP 1 panel in the Switch Room 2nd floor. Refer to drawing EP-11 | Ea. | 1 | Dismantle & Buyback
Just.DBK.015 | Switch Room | Electrical Panel | Dismantle UDP 2 panel in the Switch Room 2nd floor. Refer to drawing EP-12 | Ea. | 1 | Dismantle & Buyback
Just.DBK.016 | Switch Room | Power Cable | Dismantle power cable 3x4 mm² (SDB UPS to racks) (22 cable*15m each) | Lm | 330 | Dismantle & Buyback
Just.DBK.017 | Switch Room | Wiring Devices | Dismantle Female socket Gewiss 32Amps | Ea. | 22 | Dismantle & Buyback
Just.DBK.018 | Switch Room | Wiring Devices | Dismantle male socket Gewiss 32Amps | Ea. | 22 | Dismantle & Buyback
Just.DBK.019 | Battery Room | Network Cable | STP cable from RJ 45 outlet in battery room to switch room | Lm | 300 | Dismantle & Buyback
Just.DBK.020 | All Rooms | Environmental Devices | Dismantle water leakage detector controller with 10 sensors in Switch Room | Ea. | 1 | Dismantle & Buyback
Just.DBK.021 | All Rooms | Environmental Devices | Dismantle water leakage detector controller with 4 sensors in Battery Room | Ea. | 1 | Dismantle & Buyback
Just.DBK.022 | All Rooms | Lighting | Dismantle Non-maintained self containing emergency fixture, surface mounted. IP43. 8W fluorescent, 360 lumens and the battery autonomy 1 hour | Ea. | 13 | Dismantle & Buyback
Just.DBK.023 | All Rooms | Lighting | Dismantle Self contained, ceiling/wall mounted exit light with pictogram, ip65, class ii, 230v 50hz, 6w 165ln fluorescent lamp, one (1) hour duration. | Ea. | 3 | Dismantle & Buyback
Just.DBK.024 | Switch Room | Lighting | Dismantle Recessed mounted fixture, 4x18w cool white 4000k lamps similar to osram l36/21-840 lumilux plus, v-aluminum diffuser, 220vac, rapid strat ballast, class i, similar to debbas rma4/18nc25 | Ea. | 26 | Dismantle & Buyback
Just.DBK.025 | Battery Room | Lighting | Dismantle Surface mounted fixture IP55, with transparent plexiglas cover, RAL 7035 gray; 220Vac, Rapid start ballast, Class I, similar to Gewiss 800 11; 2x36w cool white 4000K lamps similar to OSRAM L36/21-840 LUMILUX PLUS. | Ea. | 15 | Dismantle & Buyback
Just.DBK.026 | Battery Room | Power Cable | Dismantle power cable 4x185mm² Copper running from EDL meter to ATS in the Battery Room - 2 runs | Lm | 100 | Dismantle & Buyback
Just.DBK.027 | Battery Room | Power Cable | Dismantle power cable 4x185mm² Copper running from ATS 2 to MDB in the Battery Room - 2 runs | Lm | 20 | Dismantle & Buyback
Just.DBK.028 | Battery Room | Power Cable | Dismantle power cable 4x150mm² Copper running from MDB in battery room to Switch Room in 2nd Floor - 1 run | Lm | 75 | Dismantle & Buyback
Just.DBK.029 | Battery Room | Power Cable | Dismantle power cable flexible type 1x120mm² running from UPS COP panel TO UPS #1 - 12 runs | Lm | 120 | Dismantle & Buyback
Just.DBK.030 | Battery Room | Power Cable | Dismantle power cable flexible type 1x120mm² running from UPS COP panel TO UPS #2 - 12 runs | Lm | 144 | Dismantle & Buyback
Just.DBK.031 | Battery Room | Power Cable | Dismantle power cable 4x120mm² Copper running from MDB-UPS to UPS COP in battery room - 4 run | Lm | 80 | Dismantle & Buyback
Just.DBK.032 | Battery Room | Power Cable | Dismantle power cable 4x120mm² Copper running from UPS COP in battery room to UDP 1 in Switch Room - 1 run | Lm | 75 | Dismantle & Buyback
Just.DBK.033 | Battery Room | Power Cable | Dismantle power cable 4x120mm² Copper running from UPS COP in battery room to UDP 2 in Switch Room - 1 run | Lm | 75 | Dismantle & Buyback
Just.DBK.034 | Switch Room | Power Cable | Dismantle power cable 4x120mm² Copper running from MDB in battery room to SDB Resistive Load in generator room - 1 run | Lm | 15 | Dismantle & Buyback
Just.DBK.035 | Switch Room | Power Cable | Dismantle power cable 4x50mm² Copper running from MDB-REC to Rectifiers in Battery Room - 4 runs | Lm | 40 | Dismantle & Buyback
Just.DBK.036 | Battery Room | Power Cable | Dismantle power cable 4x50mm² Copper running from MDB REC in battery room to Old Rectifiers in Switch Room - 2 runs | Lm | 180 | Dismantle & Buyback
Just.DBK.037 | Switch Room | Power Cable | Dismantle power cable 4x35mm² Copper running from UDP 1 to SDB UPS 1 in Switch Room - 1 run | Lm | 15 | Dismantle & Buyback
Just.DBK.038 | Switch Room | Power Cable | Dismantle power cable 4x35mm² Copper running from UDP 1 to SDB UPS 3 in Switch Room - 1 run | Lm | 20 | Dismantle & Buyback
Just.DBK.039 | Switch Room | Power Cable | Dismantle power cable 4x35mm² Copper running from UDP 2 to SDB UPS 2 in Switch Room - 1 run | Lm | 10 | Dismantle & Buyback
Just.DBK.040 | Switch Room | Power Cable | Dismantle power cable 4x35mm² Copper running from UDP 2 to SDB UPS 4 in Switch Room - 1 run | Lm | 15 | Dismantle & Buyback
Just.DBK.041 | Switch Room | Power Cable | Dismantle power cable 4x25mm² Copper running from MDB MSC to AC units in Switch Room - 4 runs | Lm | 100 | Dismantle & Buyback
Just.DBK.042 | Battery Room | Power Cable | Dismantle power cable 4x25mm² Copper running from MDB in battery room to SDB-GEN generator room - 1 run | Lm | 55 | Dismantle & Buyback
Just.DBK.043 | Battery Room | Power Cable | Dismantle power cable 4x16mm² Copper running from UDP 2 in Switch room to SDB UPS in battery Room - 1 run | Lm | 75 | Dismantle & Buyback
Just.DBK.044 | Battery Room | Power Cable | Dismantle power cable 4x16mm² Copper running from MDB to SDB EDL in Battery Room - 1 run | Lm | 10 | Dismantle & Buyback
Just.DBK.045 | All Rooms | Power Cable | Dismantle power cable 4x6mm² Copper - multiple runs | Lm | 80 | Dismantle & Buyback
Just.DBK.046 | All Rooms | Power Cable | Dismantle power cable 3x4mm² Copper - multiple runs | Lm | 250 | Dismantle & Buyback
Just.DBK.047 | All Rooms | Power Cable | Dismantle power cable 3x2.5mm² Copper - multiple runs | Lm | 550 | Dismantle & Buyback
Just.DBK.048 | All Rooms | Power Cable | Dismantle power cable 2x10mm² Copper - 2 runs | Lm | 100 | Dismantle & Buyback
Just.DBK.049 | All Rooms | Power Cable | Dismantle power cable 2x4mm² Copper - multiple runs | Lm | 400 | Dismantle & Buyback
Just.DBK.050 | All Rooms | Power Cable | Dismantle power cable Cu/PVC/PVC 600/1000 volts, NYAF, 1x50 mm² - multiple runs | Lm | 200 | Dismantle & Buyback
Just.DBK.051 | Switch Room | Power Cable | Dismantle all power cables not mentioned in this B.O.Q. inside the switch room, 2nd floor | LS | 1 | Dismantle & Buyback
Just.DBK.052 | Battery Room | Power Cable | Dismantle all power cables not mentioned in this B.O.Q. inside the battery room, B1 | LS | 1 | Dismantle & Buyback
Just.DBK.053 | Battery Room | Power Cable | Dismantle the dc power cable 1x 240mm² Copper running from battery racks to Rectifiers in the battery room | Lm | 244 | Dismantle & Buyback
Just.DBK.054 | Battery Room | Power Cable | Dismantle the dc power cable 1x150mm² Copper running from battery room to the switch room in the 2nd floor. | Lm | 1340 | Dismantle & Buyback
Just.DBK.055 | Battery Room | Power Cable | Dismantle the dc power cable 1x185mm² Copper running from battery room to the switch room in the 2nd floor. | Lm | 150 | Dismantle & Buyback
Just.DBK.056 | Battery Room | Power Cable | Dismantle the dc power cable 1x240mm² Copper running from battery room to the switch room in the 2nd floor. | Lm | 320 | Dismantle & Buyback
Just.DBK.057 | Switch Room | Power Cable | Dismantle the dc power cable 2x6mm² Copper running from dc distribution panels to racks in the 2nd floor. | Lm | 1726 | Dismantle & Buyback
Just.DBK.058 | Battery Room | Power Cable | Dismantle power cable 4x185mm² Copper running from ATS 2 in battery room to MDB in Battery room - 2 runs | Lm | 40 | Dismantle & Buyback
Just.DBK.059 | All Rooms | Earth Cable | Dismantle earth cable 1x120mm² Y/G - multiple runs | Lm | 300 | Dismantle & Buyback
Just.DBK.060 | All Rooms | Earth Cable | Dismantle earth cable 1x90mm² Y/G - multiple runs | Lm | 350 | Dismantle & Buyback
Just.DBK.061 | All Rooms | Earth Cable | Dismantle earth cable 1x70mm² Y/G - multiple runs | Lm | 300 | Dismantle & Buyback
Just.DBK.062 | All Rooms | Earth Cable | Dismantle earth cable 1x50mm² Y/G - multiple runs | Lm | 200 | Dismantle & Buyback
Just.DBK.063 | All Rooms | Earth Cable | Dismantle earth cable 1x35mm² Y/G - multiple runs | Lm | 100 | Dismantle & Buyback
Just.DBK.064 | All Rooms | Earth Cable | Dismantle earth cable 1x25mm² Y/G - multiple runs | Lm | 200 | Dismantle & Buyback
Just.DBK.065 | All Rooms | Earth Cable | Dismantle earth cable 1x16mm² Y/G - multiple runs | Lm | 300 | Dismantle & Buyback
Just.DBK.066 | All Rooms | Earth Cable | Dismantle earth cable 1x10mm² Y/G - multiple runs | Lm | 100 | Dismantle & Buyback
Just.DBK.067 | All Rooms | Grounding | Dismantle earth bus bar | Ea. | 7 | Dismantle & Buyback
Just.DBK.068 | All Rooms | Grounding | Dismantle 30x2mm copper tape | Lm | 50 | Dismantle & Buyback
Just.DBK.069 | All Rooms | Grounding | Dimantle main earth bars | Ea. | 6 | Dismantle & Buyback
Just.DBK.070 | All Rooms | Environmental Devices | Dismantle temperature thermostat 30 °C | Ea. | 3 | Dismantle & Buyback
Just.DBK.071 | GSF Parking - GF | Fuel | Dismantle the 2 inch fuel pipe including refueling box in the parking at GF | Lm | 60 | Dismantle & Buyback
Just.DBK.072 | GSF Parking - GF | Power Cable | Dismantle power cable 3x150mm² +70mm² Aluminum running from Perkins 350KVA generator to circuit breaker box in MoT generators room - 2 runs | Lm | 80 | Dismantle & Buyback
Just.DBK.073 | GSF Parking - GF | Earth Cable | Dismantle earth cable 1x50mm² Copper running from Perkins 350KVA generator to circuit breaker box in MoT generators room - 1 run | Lm | 40 | Dismantle & Buyback
Just.DBK.074 | GSF Parking - GF | Cable Tray | Dismanlte cable tray running on wall from generator to B1 | Lm | 40 | Dismantle & Buyback
Just.DBK.075 | Switch Room | Alarm | Dismantle ADF Krone in Switch room 100 pairs in Switch room | Ea. | 2 | Dismantle & Buyback
Just.DBK.076 | Battery Room | Alarm | Dismantle ADF Krone in Switch room 50 pairs in battery room | Ea. | 1 | Dismantle & Buyback
Just.DBK.077 | All Rooms | Wiring Devices | 6A, push button, 1 module, 250Vac, similar to LG 74030. | Ea. | 6 | Dismantle & Buyback
Just.DBK.078 | All Rooms | Wiring Devices | Wall mounted socket outlets box : 6 outlets, 3 pin, 10/16A, 250Vac, similar to LG 741 14 (individually wired) | Ea. | 15 | Dismantle & Buyback
Just.DBK.079 | Battery Room | Cable Tray | Dismantle all cable trays inside in the battery room at B1 | LS | 1 | Dismantle & Buyback
Just.DBK.080 | Switch Room | Cable Tray | Dismantle all cable trays inside the switch room, 2nd floor | LS | 1 | Dismantle & Buyback
Just.DBK.081 | All Rooms | All Cables | Dismantle all cables and cable trays running from switch room, 2nd floor, to the tower located on the rooftop | LS | 1 | Dismantle & Buyback
Just.DBK.082 | Battery Room | UPS | Dismantle PCE UPS 120KVA, Model NP120K33, in the battery room at B1 | Ea. | 2 | Dismantle & Buyback
Just.DBK.083 | Battery Room | UPS | Dismantle UPS batteries, 12V - 140AH, Sonnenschein A512 in the battery room at B1 | Ea. | 90 | Dismantle & Buyback
Just.DBK.084 | Battery Room | UPS | Dismantle UPS batteries metallic racks in the battery room at B1 | LS | 1 | Dismantle & Buyback
Just.DBK.085 | Battery Room | UPS | Dismantle UPS DC Fuse panel in the battery room at B1 | Ea. | 2 | Dismantle & Buyback
Just.DBK.086 | Switch Room | AirCon | Dismantle copper pipes of precision air-conditioning units running from the switch room to the condensers at GF | Lm | 170 | Dismantle & Buyback
Just.DBK.087 | Battery Room | AirCon | Dismantle split air conditioning units, 40,000 BTU, (indoor & outdoor) with copper pipes in the battery room at B1 | Ea. | 2 | Dismantle & Buyback
Just.DBK.088 | Battery Room | Fire Suppression | Dismantle fire suppression system, FACP, detectors, FM200 cylinders (90Kg), pipes, nozzles, portable extinguishers and all related acessories in the battery room at B1 | Ea. | 1 | Dismantle & Buyback
Just.DBK.089 | Switch Room | Fire Suppression | Dismantle fire suppression system, FACP, detectors, FM200 cylinders(2 x 102Kg), pipes, nozzles, portable extinguishers and all related acessories in the Switch room at 2nd floor | Ea. | 1 | Dismantle & Buyback
Just.DBK.090 | Switch Room | Raised Floor | Dismantle raised floor in switch room, 2nd floor including: raised floor panels (800x600x50mm), pedestals (80x40mm), metallic beams (80x40mm) | m² | 35 | Dismantle & Buyback
Just.DBK.091 | Switch Room | False Ceiling | Dismantle false ceiling in switch room, 2nd floor | m² | 70 | Dismantle & Buyback
Just.DBK.092 | Battery Room | DC System | Dismantle DC batteries, Exide A602/1250 - 10 OPzV, 2V-1200AH, in the battery room at B1 | Ea. | 192 | Dismantle & Buyback
Just.DBK.093 | Battery Room | DC System | Dismantle DC batteries metallics racks in the battery room at B1 | Ea. | 7 | Dismantle & Buyback
Just.DBK.094 | Battery Room | AirCon | Dismantle split air conditioning units, 40,000 BTU, (indoor & outdoor) with copper pipes in the battery room at B1 | Ea. | 2 | Dismantle & Buyback
Just.DBK.095 | Battery Room | Service | Dismantle all metallic platforms and galvanized steel sheets in battery room | LS | 1 | Dismantle & Buyback
Just.DBK.096 | GSF Parking - B1 | Doors | Dismantle soundproof metallic door with inlet baffle of the MPT generator room |  | 1 | Dismantle & Buyback
Just.DBK.097 | GSF Parking - B1 | Fire Suppression | Dismantle fire suppression system, FACP, detectors, CO2 cylinders (2x45Kg), pipes, nozzles, portable extinguishers and all related acessories in the MPT Generators Room | Ea. | 1 | Dismantle & Buyback
Just.DBK.098 | GSF Parking - B1 | Generator | Dismantle dummy load with fan | Ea. | 1 | Dismantle & Buyback
Just.DBK.099 | GSF Parking - B1 | Cable Tray | Dismantle cable tray in MPT generators room | LS | 1 | Dismantle & Buyback
Just.DBK.100 | GSF Parking - B1 | Generator | Dismantle extraction fan with steel louver in MPT generators room | Ea. | 1 | Dismantle & Buyback
Just.DBK.101 | GSF Parking - B1 | Lighting | Dismantle lighting fixtures in MPT generators room | Ea. | 4 | Dismantle & Buyback
Just.DBK.102 | GSF Parking - B1 | Chimney | Dismantle exhaust pipe with insulation 2"Ø | Lm | 20 | Dismantle & Buyback
Just.DBK.103 | GSF Parking - GF | Chimney | Dismantle exhaust zone | Ea. | 1 | Dismantle & Buyback
Just.DBK.104 | GSF Parking - B1 | Generator | Dismantle mufflers | Ea. | 2 | Dismantle & Buyback
Just.DBK.105 | GSF Parking - B1 | Generator | Dismantle hot air ducts | LS | 1 | Dismantle & Buyback
Just.DBK.106 | GSF Parking - B1 | Electrical Panel | Dismantle ATS 1 | Ea. | 1 | Dismantle & Buyback
Just.DBK.107 | GSF Parking - B1 | Electrical Panel | Dismantle ATS 2 | Ea. | 1 | Dismantle & Buyback
Just.DBK.108 | GSF Parking - B1 | Electrical Panel | Dismantle EDB | Ea. | 1 | Dismantle & Buyback
Just.DBK.109 | GSF Parking - B1 | Electrical Panel | Dismantle charger box | Ea. | 1 | Dismantle & Buyback
Just.DBK.110 | GSF Parking - B1 | Electrical Panel | Dismantle SPD box | Ea. | 1 | Dismantle & Buyback
Just.DBK.111 | GSF Parking - B1 | Electrical Panel | Dismantle KWH meter | Ea. | 1 | Dismantle & Buyback
Just.DBK.112 | GSF Parking - B1 | Earth Cable | Dismantle 50mm² earth cable in room perimeter | Lm | 26 | Dismantle & Buyback
Just.DBK.113 | GSF Parking - B1 | Fuel | Dismantle fuel tank 1000L | Ea. | 2 | Dismantle & Buyback
Just.DBK.114 | GSF Parking - B1 | Fuel | Dismantle fuel pipes | LS | 1 | Dismantle & Buyback
Just.DBK.115 | GSF Parking - GF | Circuit | Dismantle circuit breaker box in GSF parking area containing circuit breaker C63H Merlin Gerin, 63A | Ea. | 1 | Dismantle & Buyback
Just.DBK.116 | GSF Parking - B1 | Power Cable | Dismantle power cable 4x35mm² Copper running from ATS in Generator Room MPT to 15th Floor - 1 run | Lm | 100 | Dismantle & Buyback
Just.DBK.117 | GSF Parking - B1 | Power Cable | Dismantle power cable 4x35mm² Copper running from Generators to ATS in Generator Room MPT - 2 runs | Lm | 20 | Dismantle & Buyback
Just.DBK.118 | GSF Parking - B1 | Earth Cable | Dismantle earth cable 1x16mm² Copper Y/G running from ATS in Generator Room MPT to 15th Floor - 1 run | Lm | 100 | Dismantle & Buyback
Just.DBK.119 | GSF Parking - B1 | Power Cable | Dismantle power cable 4x25mm² Copper running from EDL meter to ATS in Generator Room MPT - 1 run | Lm | 60 | Dismantle & Buyback
Just.DBK.120 | GSF Parking - B1 | Power Cable | Dismantle power cable 2x10mm² Copper running from ATS to EDB in Generator Room MPT - 1 run | Lm | 5 | Dismantle & Buyback
Just.DBK.121 | GSF Parking - B1 | Earth Cable | Dismantle earth cable 1x10mm² Copper Y/G running from ATS to EDB in Generator Room MPT - 1 run | Lm | 5 | Dismantle & Buyback
Just.DBK.122 | GSF Parking - B1 | Control Cable | Dismantle control cable 8x1.5mm² | Lm | 20 | Dismantle & Buyback
Just.DBK.123 | GSF Parking - B1 | Doors | Dismantle metallic door of the fuel tank MPT generator room at GSF Parking B1 | Ea. | 1 | Dismantle & Buyback
Just.DBK.124 | GSF Parking - B1 | Alarm | Dismantle alarm cable from MPT generators room to 15th floor | Lm | 100 | Dismantle & Buyback
It's mandatory to note that a site visit is mandatory before quoting and that the scope includes dismantling from the switch room and from shafts and other connected areas and may involve cranes and other hoisting equipment. MIC 1 is selling the entire items listed under this BoQ without removing any part of it (one for all and all for one) except fro the GE which is listed in a separate sheet and will be sold seperately based on the highest received price.

## Buyback Only
JUSTICE SWITCH - BUYBACK
Switch Telco Room, Switch Battery Room, GSF B1 Generator Room, GSF GF Generator Area
Item Ref. | Location | Category | DESCRIPTION | UNIT | QTY | Scope | BuyBack Unit Price | Buyback Total USD
Just.BBK.001 | GSF Parking - B1 | Generator | Dismantle Caterpillar 365KVA, Frame Size LC6114B, 3406C TA, I-6, 4-Stroke-Cycle Watercooled Diesel, Running Hours: 41,830 hrs (13-02-26) Open Type | Ea. | 1 | Buyback |  | 0
0
The GE dismantling is the responsibility of MIC 1. The winner should provide a truck to host the GE upon project award