## New XLS Worksheet
جدول التسعير العائد لصيانة تجهيزات المعلوماتية
لائحة رقم /1/ بالتجهيزات المعلوماتية في المكاتب والدوائر المركزية والإقليمية والمراكز الإقليمية
متسلسل | الفئة | الماركة | الموديل | الكمية | السعر الإفرادي | السعر الإجمالي
1 | ADF SCANNER | FUJISTSU | FI-5750C | 1 | 0 | 0
2 |  |  | FI-6670 | 3 | 0 | 0
3 |  |  | FI-6770 | 2 | 0 | 0
4 |  |  | FI-7160 | 30 | 0 | 0
5 |  |  | FI-7260 | 6 | 0 | 0
6 | BACKUP SOLUTION | HP | D2D4106FC (12X500GB+12X1TB) | 1 | 0 | 0
7 |  |  | STOREONCE 4210 | 1 | 0 | 0
8 |  |  | STOREONCE 4500 | 1 | 0 | 0
9 |  |  | STOREONCE 5100 | 1 | 0 | 0
10 | BLADE ENCLOSURE | HP | BLc7000 CTO 3 GEN8 (+FLEXFABRIC) | 1 | 0 | 0
11 |  |  | BLc7000 CTO 3 GEN9 (+FLEXFABRIC) | 3 | 0 | 0
12 |  | IBM | 8721 HC1 (+FLEXFABRIC) | 1 | 0 | 0
13 | BLADE SERVER | HP | BL460C GEN7 | 2 | 0 | 0
14 |  |  | BL460C GEN8 | 6 | 0 | 0
15 |  |  | BL460C GEN9 | 40 | 0 | 0
16 |  | IBM | X240 | 3 | 0 | 0
17 | LASERJET PRINTER | HP | CLJ 4525N | 2 | 0 | 0
18 |  |  | M651DN | 3 | 0 | 0
19 | Multifunction Printer | HP | 8730 | 5 | 0 | 0
20 | SAN SWITCH | HP | SN3000B | 2 | 0 | 0
21 |  |  | SN6000 | 1 | 0 | 0
22 | SERVER | HP | DL180 GEN10 | 3 | 0 | 0
23 |  |  | DL360 GEN9 | 18 | 0 | 0
24 |  |  | DL360P | 2 | 0 | 0
25 |  |  | DL380 G10 | 5 | 0 | 0
26 |  |  | DL380 G5 | 4 | 0 | 0
27 |  |  | DL380 G6 | 6 | 0 | 0
28 |  |  | DL380 G7 | 1 | 0 | 0
29 |  |  | DL380P G8 | 7 | 0 | 0
30 | STORAGE | HP | 3PAR 7400 4-N (96X900GB)+(32X1.2TB) | 1 | 0 | 0
31 |  |  | 3PAR STORSERV 7200C-2N (32X900GB) | 4 | 0 | 0
32 |  |  | 3PAR STORSERV 7400C-4N (48X900GB) | 1 | 0 | 0
33 |  |  | MSA1040 | 5 | 0 | 0
34 |  |  | MSA2040 | 3 | 0 | 0
35 |  |  | MSA2042 | 1 | 0 | 0
36 |  |  | MSA500: 8X146GB | 2 | 0 | 0
37 |  |  | P2000 G3 10GbE iscsi MSA (12X3TB) | 1 | 0 | 0
38 |  | HPE | 3PAR 8400 4N | 1 | 0 | 0
39 |  | SYNOLOGY | DS1813+ | 2 | 0 | 0
40 | UPS | EATON | EATON 93PM(80KVA) | 1 | 0 | 0
41 |  | GTEC | AP160N | 40 | 0 | 0
42 |  |  | SIRIUS 100 KVA | 6 | 0 | 0
43 |  |  | SIRIUS 20 KVA | 19 | 0 | 0
44 |  |  | SR060T 60 KVA | 2 | 0 | 0
45 |  | LEGRAND | 20 KVA | 2 | 0 | 0
46 |  | PCE | 20 KVA | 10 | 0 | 0
47 | TFT | HP | 7600 RKM | 2 | 0 | 0
48 | THIN CLIENT | HP | T5740E | 5 | 0 | 0
المجموع الإجمالي |  |  |  |  | 0
لائحة رقم /2/ لائحة بجزئيات التشبيك المحلية LAN والواسعة WAN
متسلسل | الفئة | الموديل والشرح |  | رقم القطعة | العدد | السعر الإفرادي | السعر الإجمالي
1 | CISCO Core Switch B3 | 4500X-32 10GE (Supervisor Engine) |  | WS-C4500X-32 | 2 | 0 | 0
2 |  | Catalyst C6807-XL 7 Slots Chassis System + FAN Tray + Dual Power Supply |  | C6807-XL | 2 | 0 | 0
3 |  | C6807-XL CEF720 16 PORT 10GE |  | WS-X6816-10GE | 1 | 0 | 0
4 |  | C6807-XL CEF720 48 PORT 10/100/1000 |  | WS-X6848-GE-TX | 1 | 0 | 0
5 |  | C6807-XL VS-SUP2T-10G 5 Ports Supervisor Engine 2t 10GE |  | VS-SUP2T-10G | 2 | 0 | 0
6 |  | C6807-XL SFP CEF720 48 PORT 1000mb |  | WS-X6848-SFP | 1 | 0 | 0
7 | CISCO Core Switch B1 | Catalyst 9600 series 6 slot, 1xSup,2xLC,DNA-A LIC |  | C9606R | 2 | 0 | 0
8 | Palo alto Fire wall | Palo alto Networks PA-3410 with redundant Ac power Supplies |  | PAN -PA-3410 | 2 | 0 | 0
9 | CISCO fire power | CISCO fire power 4112NGFW appliance, 1U,2xNetMod Base |  | FPR4112-NGFW-K9 | 2 | 0 | 0
10 | WAF | Barracuda Web Application Fire Wall 862W/Fiber NIC&Bypass |  | BWFi862C | 2 | 0 | 0
11 |  | Barracuda Web Application Fire Wall Appliance 660B |  | WFi660a-e | 2 | 0 | 0
12 | CISCO HQ Remote Access Server | AS5350XM Voice; 2E1 60 DSPs. Single AC. IOS IP+ |  | AS535XM-2E1- 60-V | 1 | 0 | 0
13 |  | AS5350XM AC RPS |  | AS535XM-AC-RPS | 1 | 0 | 0
14 | CISCO HQ Router | Cisco 3900 series security bundle w/SEC license PAK, 4GB DRAM, 1GB Flash (Includes 1xHWIC-4B-S/T + 3xHWIC-4T + PWR-3900-AC/2) |  | CISCO3945- SEC/K9 | 3 | 0 | 0
15 | CISCO Branch Router | Cisco 2921 security bundle w/SEC license PAK, 1GB DRAM, 256MB Flash |  | CISCO2921/K9 | 2 | 0 | 0
16 |  | CISCO C881/K9 DRAM: 256 MB (default), Flash: 128 MB |  | CISCO881-K9 | 3 | 0 | 0
17 |  | CISCO C891-24/K9 1 GB RAM, 256 MB Flash |  | C891-24X/K9 | 3 | 0 | 0
18 |  | CISCO C892/K9 512 MB RAM, 256 MB Flash |  | CISCO892-K9 | 3 | 0 | 0
19 |  | Cisco 2911 security bundle w/SEC license PAK, 1GB DRAM, 256MB Flash (includes 1xHWIC-1T + 1xHWIC-2SHDSL) |  | CISCO2900- SEC/K9 | 13 | 0 | 0
20 | CISCO Branch Fiber Switch | Cisco C3750X 512MB 16 SFP (15 SFP installed) 4: single-mode, 11: multi-mode |  | CISCO-WS- C3750X-12S-S/K9 | 2 | 0 | 0
21 | EFM MODEM | ZHONE |  | ETHX-3484-EXT-EU | 4 | 0 | 0
22 | Firewall | McAfee NGF 1401-C1 |  | 1401-C1 | 2 | 0 | 0
23 |  | ASA5545-X |  | ASA5545-X | 2 | 0 | 0
24 | WAN Router | ASR1002-X 4 GB DRAM (Aggregation Services Router) |  | ASR1002-X | 2 | 0 | 0
25 | Edge Switch | HP 2910A With 2x10G Modules |  | 2910AL-24G | 2 | 0 | 0
26 |  | CISCO 2960X-24 Ports |  | WS-C2960S- 24TS-S | 5 | 0 | 0
27 |  | CISCO 2960X-48 Ports |  | WS-C2960X- 48TS-L | 5 | 0 | 0
28 |  | CISCO 3560-24 Ports |  | WS-C3560G- 24TS-S | 3 | 0 | 0
29 |  | CISCO 3560-48 Ports |  | WS-C3560G- 48TS-S | 3 | 0 | 0
30 |  | CISCO SG300-10 Ports |  | SG300-10- K9-NA | 3 | 0 | 0
31 |  | CISCO SG300-16 Ports |  | SG300-10MPP- K9-NA | 3 | 0 | 0
32 | Cisco Fiber Switch | Cisco Fiber Switch C1000-8P-G-L |  | C1000-8P-G-L | 30 | 0 | 0
33 | Load Balancer | CITRIX MPX 5550 |  | 3006527-G2 | 2 | 0 | 0
34 |  | CITRIX MPX 5650 |  | 3006527-G2 | 8 | 0 | 0
35 |  | Barracuda 340 |  | BBF340A | 1 | 0 | 0
36 |  | Barracuda 440 |  | BBF440A | 2 | 0 | 0
37 |  | CITRIX 8005 |  | CTX-8500018_C | 2 | 0 | 0
المجموع الإجمالي | [5 empty] | 0
لائحة رقم /3/ لائحة بأجهزة نظام تبريد غرف الخوادم المركزية
متسلسل | الفئة | الماركة | الموديل | الكمية | السعر الإفرادي | السعر الإجمالي
1 | Air Condition | Airedale | HVAC | 4 | 0 | 0
المجموع الإجمالي |  |  |  |  | 0
المجموع الإجمالي العام |  |  |  |  | 0
فقط |  |  |  |  | ليرة لبنانية