## MIC1
ANNEX 1
Fiber materials BoM required for 93 sites in GBA and 57 aggregation sites
Item | Description | Unit | Quantity
Fiber Box | Outdoor Fiber Distribution Box (ODB) - 12 Ports to be deployed outdoor | EACH | 40
Fiber Box | Supply Fiber Distribution Box (FDB) - 24 Ports to be deployed indoor | EACH | 110
Fiber Cable | Outdoor Fiber Cable 4 cores (vertical connection inside the building) | KM | 5
Fiber Cable | Single mode Self Supported Armored Aerial Fiber Optic Cable 12 Fibers, G.652D | KM | 10
Fiber Cable | Single mode Self Supported Armored Aerial Fiber Optic Cable 24 Fibers, G.652D | KM | 8
Fiber Cable | Supply Single mode fiber optic cable 12 fibers G652D (1*12LT) | KM | 20
Fiber Cable | Supply Single mode Fiber Optic cable 144 Fibers G652D | KM | 15
Fiber Cable | Supply Single mode fiber optic cable 24 fibers G652D (2*12LT) | KM | 30
Fiber Cable | Supply Single mode Fiber Optic cable 288 Fibers G652D (24*12LT) | KM | 20
Fiber Cable | Supply Single mode fiber optic cable 48 fibers G652D (4*12LT) | KM | 40
Fiber Cable | Supply Single mode fiber optic cable 96 fibers G652D (8*12LT) | KM | 5
Fiber Closure | Fiber closure large number of fibers: 12-288, cable diameter: 6-20MM | EACH | 80
Fiber Closure | Fiber closure medium number of fibers: 72-96, cable diameter: 6-18MM | EACH | 30
Fiber Closure | Fiber closure small number of fiber: 4-48, cable diameter: 6-12MM | EACH | 70
Fiber Patch Panel | Patch Panel 48 SC/APC Single mode (to be deployed inside Ogero room) | EACH | 50
Fiber Patchcord | Patch chord LC/APC-LC/UPC, 10 M | EACH | 400
Fiber Patchcord | Patch chord LC/APC-LC/UPC, 15 M | EACH | 200
Fiber Patchcord | Patch chord LC/APC-LC/UPC, 20 M | EACH | 200
Fiber Pigtail | LC/APC Pigtail SM 2M | EACH | 3500
Fiber Pigtail | LC/UPC Pigtail SM 2M | EACH | 1500
Flexible | Outdoor Flexible Tube 1/2 inch diameter (vertical connection inside the building) with fixations | KM | 5
Pole Accessories | Clamps for wooden poles | EACH | 1000
Subduct | Subducts 1 way 28mm | KM | 185