Dear Vendor,
 
Kindly send your best priced offer for Zahle Fiber Civil Works Phase 2 no later than Wednesday 5 August 2026 before 12:00 PM.
 
Delivery time of all above works shall be mentioned in the offer.
 
Offers should be submitted in USD currency to be paid by bank transfer in LBP at time of payment as per current rate.
 
The BoQ for the scope of work is listed below:
 
1. Cutting of asphalt: 640 LM (2 × 320 LM)
1. Removal of existing asphalt: 320 LM
1. Excavation to a depth of 1 meter: 320 LM
1. Supply and installation of gravel: 320 LM
1. Supply and installation of spacers for two 110 mm PVC pipes: 320 LM
1. Supply and installation of concrete covering the PVC pipes with a minimum thickness of 5 cm: 320 LM
1. Supply and installation of base course: 320 LM
1. Supply and installation of asphalt matching the existing pavement thickness: 320 LM
1. Supply and installation of one manhole (HH1) complete with cover: 1 
 
The sealed envelope should be submitted by hand and marked visibly with the reference TechProcurement /FIBERZAHLESH/28/7/2026 and submitted 
to the following address:
 
Procurement Department 8th floor
Beirut Central Building (Touch Building)
Plot # 1526 / Bashoura - Block B
Fouad Chehab Avenue
Beirut
PO. BOX 175051
 
For contact: Mohamed  70 703 181
 
Best Regards,
