# Bill of Quantities (BOQ) – RFP for Rectifiers and Batteries for Core Sites

This Bill of Quantities (BOQ) outlines the required materials, equipment, and services for the implementation, commissioning, and integration of rectifier and battery systems at MIC2’s core sites: Jdeideh, Adlieh (Justice), Bir Hassan, Tripoli, and Saida.

| Site Location | Rectifier System – Complete (including controller, modules, shelves, monitoring) (kW) | LiFePO₄ Battery Bank – Including integrated BMS, interconnection cables, and racks (kWh) | DC Distribution Unit (DCDU) – 3000A, -48VDC, with load and battery fuses as per specs | Aerosol Fire Suppression System – | Installation, Commissioning, and Testing – Full scope per site |
| --- | --- | --- | --- | --- | --- |
| Jdeideh | 288 | 672 | 0 |  |  |
| Justice | 240 | 576 | 0 | One per each battery cabinet | 1 |
| Bir Hassan | 240 | 576 | 0 | One per each battery cabinet | 1 |
| Tripoli | 2 rectifiers 96kW each | 384 | 2 | One per each battery cabinet | 1 |
| Saida |  | 384 | 0 | One per each battery cabinet | 1 |

- Sites survey and warehousing during project execution

- Training and documentation

- Spare parts and consumables

Notes:

2. Prices shall be inclusive of all accessories, installation, and commissioning works.

3. The supplier shall be responsible for logistics, warehousing, and site preparation as required.

4. All equipment shall comply with the technical specifications and killing factors defined in the RFP.