## Sheet1
Killing Factors | Yes /No | Notes
The contractor shall have a minimum of 3 years of experience in fiber optic installation and related works.
The contractor shall demonstrate experience in executing similar fiber optic installation projects. Previous project references must be provided as evidence.
The contractor shall comply with the fiber installation specifications, workmanship requirements, testing procedures, and standards stated in Appendix 1. Any proposed deviation shall be clearly identified in the technical offer.
The contractor shall provide suitably qualified and experienced personnel capable of performing fiber installation, termination, splicing, and testing works.
The contractor shall have access to the necessary tools and equipment required to execute the works properly, including fiber fusion splicing and testing equipment. Equipment may be owned or made available through rental/subcontracting arrangements.
The contractor shall perform the required fiber testing and provide the relevant OTDR traces, optical loss measurements, and installation/test reports as specified in Appendix 1.
The contractor shall comply with the Company's applicable HSE and site safety requirements and shall execute the works according to the agreed project schedule.